## Setup
Enter Stakeholder Committee Name in cell A2:
Markets Implementation Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Stability Limits in Markets and Operations

## 1. Interest Identification
Markets Implementation Committee
Stability Limits in Markets and Operations
Interest Identification
Instructions: List interests of all parties on this page.
1 | Maintain compliance with NERC standards to ensure there are no System Operating Limit (SOL) exceedances
2 | Solution respects data confidentiality for market participant data
3 | Consistent and uniform treatment across all stability limitations
4 | Accurate tracking of reserves and regulation
5 | Ensure feasibility of market cleared solution in Real Time in order to maintain system reliability
6 | Minimize out of market payments
7 | Minimize gaming opportunities
8 | Incent resources to follow PJM dispatch instructions
9 | Solutions are consistent with must offer requirements
10 | Solutions are consistent with outage reporting requirements
11 | Efficient Market Prices
12 | Adequate and accurate compensation
13 | Consistent with competitive market outcomes
14 | Transparent transmission limitations that in place across DA and RT
15 | Non discrimnitory treatment of resources
16 | Appropriate pricing of FTRs
17
18
19
20

## 2. Options Matrix- Design Comp.
Markets Implementation Committee
Stability Limits in Markets and Operations
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo(Unit Parameter Reduction option) | Status Quo( Thermal Surrogate option) | A | B | C | D | E
* | Implementation
I | Economic Max Reduction Option ( eDART option)
1 | Treatment of Emergency Max
1a | Day Ahead Market |  | Reduce Emergency Max to Stability Limit | N/A
1b | Real Time Market |  | Reduce Emergency Max to Stability Limit | N/A
2 | Treatment of Economic Max |  |  | N/A
2a | Day Ahead Market |  | Reduce Economic Max to Stability Limit | N/A
2b | Real Time Market |  | Reduce Economic Max to Stability Limit | N/A
3 | Outage Ticket Submission Requirement |  |  | N/A
3a | Type |  | A Maintenance Ticket needs to be submitted in eDART and eGADS | N/A
3b | MW |  | Economic Maximum of the units needs to lowered to less than the stability limit | N/A
3c | eFORD impacts |  | None | N/A
4 | Communication
4a | Parties that must be notified in DA and RT |  | Market Seller | Market Seller
4b | Method |  | Phone call | Phone call
4c | Timing |  | Prior to Day Ahead Market Close or as soon as possible for emergent conditions | Prior to Day Ahead Market Close or as soon as possible for emergent conditions
5 | Allocation of limit to multiple units |  | No current rules in place to address this scenario | N/A
6 | Penalty/Financial incentive |  | Economic Dispatch | Thermal surrogate volatility may lead to deviation and manual dispatch from not following basepoint
Low
II | Thermal Surrogate Option | [8 empty] | Low - Medium
7 | Modeling of stability limit in SCED |  | N/A | [6 empty] | Low - High
| Day Ahead Market |  | N/A | Engineers develop a MP1 'thermal surrogate' consisting of a transmission element or elements that carry 100% of the generator's output. The rating of the thermal surrogate is manually reduced to reflect the generator stability limit. It is used in the Day Ahead and Real Time Market so that LMP will be utilized to reflect the stability constraints | [5 empty] | Medium
| Real Time Market |  | N/A | Engineers develop a MP1 'thermal surrogate' consisting of a transmission element or elements that carry 100% of the generator's output. The rating of the thermal surrogate is manually reduced to reflect the generator stability limit. It is used in the Day Ahead and Real Time Market so that LMP will be utilized to reflect the stability constraints | [5 empty] | Medium - High
8 | Determination of stability limit |  | N/A | [6 empty] | High
| Day Ahead Market |  | N/A | The generator stability limit is determined based on TSA study results + special operating procedures addressing stability limit issues that are presented in Manual 3, Section 5. This limit is then reflected to the thermal surrogate by manually reducing the rating of the transmission equipment to reflect the stability limit
| Real Time Market |  | N/A | Transmission Stability Assessment (TSA) tool computes stability limits by using real time network models. It interfaces with the EMS and uses the State Estimation solution. Engineers then manually adjust the thermal surrogate rating used in SCED accordingly.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Markets Implementation Committee
Stability Limits in Markets and Operations
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Markets Implementation Committee
Stability Limits in Markets and Operations
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Markets Implementation Committee
Stability Limits in Markets and Operations
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Markets Implementation Committee
Stability Limits in Markets and Operations
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Markets Implementation Committee
Stability Limits in Markets and Operations
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Markets Implementation Committee
Stability Limits in Markets and Operations
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2019-11-05 | Populated PJM interests and initial design components and status quo
2
3