## Setup
Enter Stakeholder Group Name in cell A2:
DER Subcommittee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Wholesale DER Interconnection

## 1. Interest Identification
DER Subcommittee
Wholesale DER Interconnection
Interest Identification
Instructions: List interests of all parties on this page.
High Level Interest
1 | Faster interconnection | Time
2 | Lower cost | Cost
3 | Up-front clarity on costs and timelines | Cost - Time - Transparency
4 | After-the-fact transparency on costs | Cost - Transparency
5 | Avoid redundant studies | Cost - Time
6 | Clarify purpose of interconnection process for resources that are already allowed to inject power, and/or will be injecting regardless of outcome | Education - Transparency
7 | Reduce barriers for DERs to have different arrangements (different resource types, customer locations, aggregation, multiple DERs at a site) to be interconnected to PJM | Flexibility
8 | Better coordination between PJM and RERRAs | State coordination
9 | Guidance from PJM to RERRAs regarding roles and responsibilities (and vice versa) for the interconnection process | State coordination
10 | Better alignment with RERRA interconnection requirements. Find best practices. | State coordination
11 | Allow resources to derate to meet interconnection requirements | Flexibility
12 | Consider resources' controllability when interconnecting, along with intended mode of operation. | Flexibility
13 | Where applicable, more efficient and streamlined process, more aligned with size or distribution sited projects, better alignment | Efficiency
14 | Understanding the planned operation of aggregations of different types of resources at one site for the purposes of understanding impacts on the system, whether it be distribution or transmission | Aggregation impacts
15 | Comparable treatment between EDC and merchant projects | Fairness
16 | Explore the efficiencies, potential use, and cost responsibility of third parties in the interconnection process such as third party engineering firms. | Use of 3rd parties
17 | Safe and reliable operation of transmission and distribution systems | Safety and reliability
18 | Maintain cost-causality for transmission upgrade cost allocation | Fairness
19 | Establish a procedure to determine the FERC-jurisdictionality and communicate to all parties when a generator interconnection request is made | Education - Transparency - Jurisdiction
20 | Ensure that one party is responsible for determining jurisdiction of interconnection | Education - Transparency - Jurisdiction
21 | Maintain fairness across all interconnection customers, no matter size or location | Fairness

## 2. Options Matrix- Design Comp.
DER Subcommittee
Wholesale DER Interconnection
OPTIONS MATRIX
| Updated: April 3, 2019 |  | Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
* | Implementation
1a | Application process |  | Customer determines which attachment to fill out. Multiple generation request forms: Att BB: 10kW or less inverter based (energy only) Att Y: 2 MW or less synchronous or up to 5 MW or less inverter based connecting to FERC jurisdictional facilities (energy only) Att N: Any size generation connecting at any location. (capacity) Multiple technologies allowed behind the same point of interconnection (POI). May submit one application and one deposit. | Single application form | Allow multiple technologies behind the same meter to submit one application (and deposit) | Allow multiple similar resources within the same zone to submit one application | For Energy Only resources that have a fully executed IA with TO/EDC first and then enter the PJM queue for a WMPA (5.20.2019)
1b | Project size |  |  | Apply at less than max (nameplate) capability if DER will never inject at their full rated capability. For verification, solutions such as timers, meters at POI that communicate with inverter, and software-controlled systems will be acceptable.
2 | Study deposits (or fee) |  | Vary based on application type, size of resource, queue timing, and TO zone | Deposit based on expected cost (according to historical study costs). Customer responsible for actual cost. | Deposit amount tied to actual median study costs for similarly-sized resources
2a | Feasability Study Deposit |  | Unused Feasibility Study deposit cannot be rolled over to System Impact Study deposit and will not be returned until 90 days after execution of Impact Agreement | Allow rollover of deposit to next study AND refund unused balance of deposits within several weeks after close of study
3 | PJM interconnection analysis process
3a | Screen process / applicability of screens |  | Screens process when FERC jurisdictional and qualify for Att Y or Att BB | No transmission studies required if approved for interconnection by EDC | For very small DER: no transmission studies required if approved for interconnection by EDC No transmission studies required if approved for interconnection by EDC and passes the following screen for non-injection: all distributed generation at a transmission node is less than 25% of annual minimum load at the node. resources not expected to impact transmission system studied immediately upon submission of application (no waiting in queue) | No transmission studies required if approved for interconnection by EDC DERs below 20MW interconnecting to distribution systems under retail tariffs do not apply to PJM. Follows expanded version of NEM procedues: 1. Impact of DERs shows up in quarterly NEMS report 2. If PJM determines a transmission node is of concern, PJM may require EDC to limit further NEM/DER interconnections feeding into that node. 3. [Optional] If PJM proactively determines a transmission node is near concern, may require EDC to submit NEM/DER interconnections for screens. Possible criteria: Status of transmission node with addition of a 20MW, 100% capacity factor resource.
3b | Study process jurisdictional |  | Applies to all Att N and any that fail screen process. Feasibility, System Impact, and Facilities Study.
3c | Study process non-jurisdictional |  | PJM will look for impacts to transmission system.
3d | Expedited study process/expedited options |  | Expedite available for projects 20 MW or less. Combined Feasibility/Impact study may be available. Or combined Impact/Facility study | PJM is looking at additional ways to expedite small gen projects (5.20.2019)
3e | Use of 3rd party engineering firms to perform studies |  | third party engineers can perform facilities study if on PJM's approved contractor list | Allow developers to hire third party engineers to do feasibility, system impact, and facilities studies. Provide access to PJM's and TO's system models. To be determined: allocation of risk for flawed studies.
4 | Communication and documentation |  | The process is provided in the PJM Tariff and further described in PJM manuals and the PJM website. For individual projects, PJM project managers have regular communications with the customer.
4a | Jurisdiction |  | Applicability of federal vs. state jurisdiction is described in Manual 14G | [5 empty] | Low
4a1 | Jurisdiction over distribution study… …when RERRA jurisictional? …when dual use? Clarify what/when…
4a2 | Transparency of criteria for jurisdiction determination |  |  | Establishing a procedure to determine the FERC-jurisdictionality and communicate to all parties when a generator interconnection request is made Ensure that one party is responsible for determining jurisdiction of interconnection
4b | State interconnection processes |  | Each distribution utility is responsible for administering the applicable state rules for distribution interconnections. PJM WMPA includes a milestone for the customer to obtain an interconnection agreement for the distribution connection. | [5 empty] | Low - Medium
4c | Acceptable / Unacceptable interconnection configurations |  | Common practices are followed, but not described in a single PJM document | Clarify third-party wheeling | PJM cannot facilitate retail transactions being shared on wholesale facilities if retail regulator prohibits it (Former design component) | Provide boundaries around what is acceptable (Former design component) | DER can utilize customer's existing connection to distribution system; no duplicate line required |  | Low - High
5 | Metering/SCADA (operations v markets) |  | Documented in TO connection requirements and per PJM Manuals; data sufficient to be seen in EMS for settlements | [5 empty] | Medium - High
6 | Relaying applicability
7 | Treatment and applicability of previously completed studies for export |  | Honored for QFs (connected through PURPA), not used otherwise. | Don't restudy resources already approved for injection (both QFs and other resources like NEM) | Honored for any resource with a fully executed IA |  |  |  | High
8 | Treatment of projects injecting through load nodes |  | Automatic for retail-only, not available otherwise
9 | Applicable PJM Governing document |  | ISA, PJM Tariff, WMPA
10 | TO conditions on wholesale interconnections |  | Allowed. Connection requirements are dictated by posted TO technical requirements | Allowed. Connection requirements are dictated by posted TO technical requirements
11 | EMS Model Management |  |  | DER that has signed WMPA/IA/ISA does not need to wait until new model build to participate in market
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.
Note on F8: Baker, Scott: PJM believes this is the status quo 4/3/19 - moved to status quo column
Note on E10: Baker, Scott: PJM believes this is the status quo

## 2a. Design Component Details
DER Subcommittee
Wholesale DER Interconnection
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
DER Subcommittee
Wholesale DER Interconnection
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
DER Subcommittee
Wholesale DER Interconnection
PACKAGE/ PROPOSAL MATRIX
Updated: September 3, 2019
Packages
# | Design Components | Priority | Status Quo | A - Removed | B - PJM | C - Removed | D | E
1 | Application process |  | Customer determines which attachment to fill out. Multiple generation request forms: Att BB: 10kW or less inverter based (energy only) Att Y: 2 MW or less synchronous or up to 5 MW or less inverter based connecting to FERC jurisdictional facilities (energy only) Att N: Any size generation connecting at any location. (capacity) Multiple technologies allowed behind the same point of interconnection (POI). May submit one application and one deposit. | Allow multiple technologies behind the same meter (POI) to submit one application (and deposit) Allow multiple similar resources within the same zone to submit one application (Tariff change) | This proposal concerns Attachment Y projects only Att Y: 2 MW or less synchronous or up to 5 MW or less inverter based (energy only) This applies to both FERC and non-FERC jurisditional facilities. | Att Y: 2 MW or less synchronous or up to 5 MW or less inverter based Att BB: 10 kW or less. For FERC-juris, this upper limit for Att BB projects must be adhered to. For state-juris, it should be raised to 25 kW in line with IREC recommendations for state expedited interconnection. Energy only This applies to both FERC and non-FERC jurisditional facilities. Identify region (zone or smaller) and resource criteria (such as size), within which multiple similar resources could follow simplified application process, perhaps reducing total deposit required (Tariff change)
1b | Project size |  | Customer can apply requesting any level of Capacity Interconnection Rights and Maximum Facility Output below nameplate | Apply at less than max (nameplate) capability if DER will never inject at their full rated capability. For verification, solutions such as timers, meters at POI that communicate with inverter, and software-controlled systems will be acceptable. | Attachment Y: 2 MW or less synchronous or up to 5 MW or less inverter based (energy only) | PJM says they defer to EDCs on acceptable verification processes. Record this in manuals.
2 | Study deposits (or fee) |  | Vary based on application type, size of resource, queue timing, and TO zone | Deposit amount tied to actual average study costs for similarly-sized resource category. PJM will attempt to define these categories by identifying criteria that determine actual cost. (Tariff change) | Same as Attachment Y $2,000, if entering the queue during months 1-4 $3000, if entering the queue in month 5 $5000, if enetering the queuein month 6 | Initial deposit based on average cost for size. If deposit is fully used, PJM will not complete further work on the project until addtl deposit is received.
2a | Feasability Study Deposit |  | Unused Feasibility Study deposit cannot be rolled over to System Impact Study deposit and will not be returned until 90 days after execution of Impact Agreement | Allow rollover of deposit to next study AND refund unused balance of deposits within several weeks after close of study. | Same as Attachment Y $2,000 - months 1-4 $3000 - month 5 $5000 - month 6 | Manuals should state that unused balance of deposits will be refunded within specified time period (eg, four weeks rather than current three months) after close of study
3 | PJM interconnection analysis process
3a | Screen process / applicability of screens |  | Screens process when FERC jurisdictional and qualify for Att Y or Att BB | No transmission studies required if approved for interconnection by EDC | Yes, a screening process will be applied to both FERC and non-FERC jurisdictional Attachment Y projects. | Identify criteria such that some resources not covered by the PJM staff proposal (particularly those requesting capacity rights) avoid queue and transmission studies. For example, resources could avoid queue 1) by a process similar to ISO-NE where small resources have deliverability screeen in lieu of queue 2) if they were interconnecting to a load bus with high volume at all times 3) the POIs or resources fit other criteria to be determined
3b | Study/screen process, FERC jurisdictional projects |  | Applies to all Att N and any that fail screen process. Feasibility, System Impact, and Facilities Study. |  | Section 112A (Tariff) Screens process when FERC jurisdictional and qualify for Att Y.
3c | Study/screen process, non-FERC jurisdictional projects |  | PJM will look for impacts to transmission system. |  | Transmission impact evaluation for non-FERC jurisdictional projects.
3d | Expedited study process/expedited options |  | Expedite available for projects 20 MW or less. Combined Feasibility/Impact study may be available. Or combined Impact/Facility study |  | Non-jurisdictional: customer will receive WMPA within 90 days of a valid Attachement Y request.
3e | Use of 3rd party engineering firms to perform studies |  | third party engineers can perform facilities study if on PJM's approved contractor list | Allow developers to hire third party engineers to do feasibility, system impact, and facilities studies. Provide access to PJM's and TO's system models. To be determined: allocation of risk for flawed studies. | Status quo | Allow developers to hire third party engineers to do feasibility, system impact, and facilities studies. Provide access to PJM's and TO's system models. To be determined: allocation of risk for flawed studies.
4 | Communication and documentation |  | The process is provided in the PJM Tariff and further described in PJM manuals and the PJM website. For individual projects, PJM project managers have regular communications with the customer.
4a | Jurisdiction |  | Applicability of federal vs. state jurisdiction as described in Manual 14G OATT 109 Pre-Application Process “109.4 Jurisdictional Review Within five (5) Business Days following the receipt of a completed formal written request, submitted along with a $300 deposit paid by the prospective Interconnection Customer, the Transmission Provider will evaluate whether the proposed project contemplates FERC jurisdictional service and/or will be interconnected with FERC-jurisdictional facilities. If it is determined that the proposed project does not contemplate FERCjurisdictional service and/or will not be interconnecting with FERC-jurisdictional facilities, the Transmission Provider will so inform the prospective Interconnection Customer and refund the $300 deposit.” | Establish a procedure to determine the FERC-jurisdictionality and communicate to all parties when a generator interconnection request is made. Ensure that one party is responsible for determining jurisdiction of interconnection.
4a1 | Jurisdiction over distribution study… …when RERRA jurisictional? …when dual use? Clarify what/when…
4a2 | Transparency of criteria for jurisdiction determination
4b | State interconnection processes |  | Each distribution utility is responsible for administering the applicable state rules for distribution interconnections. PJM WMPA includes a milestone for the customer to obtain an interconnection agreement for the distribution connection. |  | Status quo. State interconnection scoping document developed and posted to Subcommittee homepage.
4c | Acceptable / Unacceptable interconnection configurations |  | Common practices are followed, but not described in a single PJM document | DER can utilize customer's existing connection to distribution system; no duplicate line required | Status quo. | Clarify third-party wheeling for all resources. DER can utilize customer's existing connection to distribution system; no duplicate line required Establish interconnection procedure for bi-directional electric vehicles. Owner of stationary electric vehicle supply equipment (EVSE; the charging station, etc) should be the interconnection customer. EVSE will police EVs, prohibiting any EV that does not meet set criteria from interconnecting. EVSE owner will have contract with EV owner allowing temporary control of EV insofar as necessary for wholesale market participation.
5 | Metering/SCADA (operations v markets) |  | Documented in TO connection requirements and per PJM Manuals; data sufficient to be seen in EMS for settlements |  | Status quo.
6 | Relaying applicability
7 | Treatment and applicability of previously completed studies for export |  | Honored for QFs (connected through PURPA), not used otherwise. | Don't restudy resources already approved for injection (both QFs and other resources like NEM). | Status quo. | Don't restudy resources already approved for injection (both QFs and other resources like NEM). PJM says this is already honored for any resource with a fully executed IA.
8 | Treatment of projects injecting through load nodes |  | Automatic for retail-only, not available otherwise
9 | Applicable PJM Governing document |  | ISA, PJM Tariff, WMPA |  | Status quo
10 | TO conditions on wholesale interconnections |  | Allowed. Connection requirements are dictated by posted TO technical requirements |  | Status quo
11 | EMS Model Management |  |  | Allow DER with signed WMPA/ISA to participate in market even before they are added to the quarterly update to the Energy Management System. |  | Record in manuals that DER with signed WMPA/ISA can participate in market even before they are added to the quarterly update to the Energy Management System.
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
DER Subcommittee
Wholesale DER Interconnection
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
DER Subcommittee
Wholesale DER Interconnection
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
DER Subcommittee
Wholesale DER Interconnection
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3