## Notes
Data from presentation here:
https://www.pjm.com/-/media/committees-groups/subcommittees/las/2021/20211206/20211206-item-04b-pjm-distributed-solar-generation-2022.ashx
Slide | Spreadsheet tab
Slide 3 | Historical Nameplate Solar
Slide 7 | IHS Solar Forecast - Cumulative
Slide 8 | Historical and IHS Forecast Solar - Cumulative
Slide 13 | IHS Battery Forecast - Annual Additions

## Historical GADS data - slide3
Historical Nameplate Capacity of Distributed Solar Generation (MW - AC)
| 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
AE | [5 empty] | 0.13046 | 0.39494 | 1.6342 | 4.2606 | 5.6107 | 11.7641 | 24.6605 | 45.1434 | 96.6884 | 129.3146 | 154.4146 | 186.3224 | 220.278 | 287.461 | 335.8188 | 403.8201 | 455.2968 | 510.0192 | 544.5492
AEP |  |  |  |  | 0.001536 | 0.004224 | 0.010848 | 0.017376 | 0.044832 | 0.07536 | 0.28675 | 0.53021 | 13.5131 | 17.2501 | 23.1346 | 29.0989 | 35.5937 | 39.3376 | 44.6524 | 45.8364 | 67.8131 | 74.9011 | 82.1566 | 141.7769
APS | 0.002976 | 0.002976 | 0.002976 | 0.005568 | 0.006816 | 0.007776 | 0.020928 | 0.020832 | 0.020832 | 0.062784 | 0.11952 | 0.99101 | 5.135 | 11.3624 | 16.5381 | 20.6072 | 30.3078 | 55.5691 | 97.6399 | 127.972 | 127.9671 | 138.5772 | 150.1504 | 178.9477
ATSI |  |  |  |  | 0.030336 | 0.03024 | 0.0456 | 0.053856 | 0.0624 | 0.064608 | 0.24518 | 0.49843 | 5.3058 | 19.0803 | 36.5478 | 44.2833 | 47.852 | 53.2212 | 59.5823 | 89.1807 | 93.8372 | 101.4025 | 112.0445 | 118.2795
BGE | [6 empty] | 0.003936 | 0.006816 | 0.03504 | 0.10858 | 1.632 | 3.537 | 8.9094 | 22.9852 | 39.9788 | 53.7841 | 78.7273 | 162.1276 | 259.1813 | 296.2617 | 325.6535 | 377.7736 | 429.0892 | 466.9299
COMED |  |  | 0.006912 | 0.015264 | 0.068928 | 0.1176 | 0.11712 | 0.1656 | 0.17347 | 0.1727 | 0.20054 | 0.30662 | 0.92352 | 1.2575 | 23.9823 | 24.9551 | 25.9404 | 28.2777 | 33.2022 | 43.8343 | 50.4465 | 101.2761 | 263.2698 | 458.7643
DAYTON | [9 empty] | 0.002688 | 0.022368 | 0.1031 | 0.47155 | 2.1597 | 8.8965 | 11.1009 | 12.5705 | 16.9864 | 17.4534 | 17.4698 | 23.9151 | 39.138 | 39.0939 | 39.0804
DPL |  | 0.00096 | 0.00096 | 0.00096 | 0.00576 | 0.01056 | 0.026016 | 0.044064 | 0.3193 | 0.75984 | 2.2443 | 4.8438 | 7.9776 | 33.3843 | 61.6964 | 83.347 | 98.3103 | 128.7189 | 159.58 | 182.5663 | 213.5473 | 239.8196 | 273.8942 | 280.8926
DQE | [6 empty] | 0.009888 | 0.0192 | 0.019104 | 0.019008 | 0.019008 | 0.038112 | 0.64925 | 1.0884 | 3.6338 | 4.1318 | 4.3396 | 4.7655 | 6.6369 | 16.0876 | 19.3412 | 21.0265 | 22.7556 | 27.5859
DUKE |  | 0.051744 | 0.051552 | 0.05136 | 0.051168 | 0.050976 | 0.050688 | 0.072288 | 0.10858 | 0.13037 | 0.32198 | 0.62074 | 1.6552 | 6.128 | 11.4257 | 11.8505 | 13.3144 | 15.2645 | 15.8353 | 15.8968 | 24.4106 | 24.9047 | 24.1294 | 24.1609
EKPC | [9 empty] | 0.013632 | 0.013536 | 0.0312 | 0.0648 | 0.12173 | 0.1464 | 0.16886 | 0.25027 | 0.52387 | 0.64541 | 11.0854 | 11.0315 | 11.0198 | 10.969 | 10.9207
JCPL |  |  | 0.016992 | 0.016992 | 0.0744 | 0.912 | 1.7791 | 5.4207 | 11.407 | 15.3762 | 24.1481 | 37.1825 | 66.3655 | 161.8529 | 236.2037 | 298.7217 | 355.265 | 408.2621 | 486.2535 | 519.0875 | 594.6521 | 695.9141 | 772.4167 | 811.2168
METED |  |  | 0.00192 | 0.00192 | 0.034848 | 0.042624 | 0.042432 | 0.063168 | 0.067872 | 0.10099 | 0.15283 | 1.499 | 13.1595 | 32.7037 | 35.2336 | 35.927 | 36.9489 | 38.3928 | 42.7722 | 51.1527 | 54.5687 | 65.1801 | 74.2352 | 92.037
PECO | 0.016128 | 0.017856 | 0.02976 | 0.037536 | 0.11338 | 0.18211 | 0.25056 | 0.32822 | 0.50794 | 0.62621 | 0.89779 | 3.486 | 15.4749 | 33.4936 | 43.9678 | 48.7323 | 49.4698 | 51.2632 | 64.7299 | 77.1951 | 83.5565 | 92.1541 | 108.3413 | 119.6803
PENLC |  |  | 0.020736 | 0.02064 | 0.020544 | 0.020448 | 0.020448 | 0.020352 | 0.020256 | 0.02016 | 0.028704 | 0.26381 | 1.335 | 4.0021 | 4.4656 | 5.0487 | 5.5068 | 5.7058 | 6.8475 | 7.0702 | 7.5832 | 8.8322 | 10.9645 | 14.2591
PEPCO | [5 empty] | 0.005376 | 0.01104 | 0.032064 | 0.054528 | 0.16714 | 0.46858 | 3.3559 | 6.5071 | 13.5636 | 27.9083 | 41.2027 | 60.5598 | 116.3198 | 209.3614 | 260.5611 | 303.489 | 346.2248 | 434.5425 | 479.3384
PL | [7 empty] | 0.005952 | 0.023232 | 0.079008 | 0.19142 | 2.4708 | 29.0122 | 67.2659 | 77.0852 | 80.1517 | 82.3726 | 93.6635 | 107.4644 | 120.1001 | 134.5167 | 147.7316 | 170.7222 | 194.868
PS |  |  | 0.002592 | 0.34464 | 0.50304 | 0.58637 | 1.0819 | 4.6631 | 14.3585 | 21.4409 | 32.4359 | 65.3706 | 115.7163 | 264.0389 | 414.7953 | 507.6867 | 547.503 | 598.1772 | 692.7779 | 756.6268 | 895.5891 | 989.673 | 1119.0925 | 1245.2124
RECO |  |  | 0.002496 | 0.004896 | 0.004896 | 0.0048 | 0.036672 | 0.087264 | 0.13613 | 0.93994 | 1.0097 | 1.6224 | 2.0991 | 4.9901 | 11.0002 | 12.2392 | 12.5027 | 12.9242 | 13.7984 | 14.7756 | 16.1256 | 18.4464 | 26.4663 | 29.2028
UGI | [10 empty] | 0.003264 | 0.096864 | 0.2305 | 0.38035 | 0.40224 | 0.43718 | 0.45149 | 0.44957 | 0.46003 | 0.45811 | 0.44304 | 0.45149 | 0.46013 | 0.48922
VEPCO |  | 0.001056 | 0.0024 | 0.0024 | 0.01008 | 0.01008 | 0.01008 | 0.019968 | 0.043584 | 0.073344 | 0.17098 | 0.58982 | 2.8578 | 4.5124 | 11.34 | 25.5045 | 109.737 | 269.0925 | 543.1465 | 566.5372 | 708.7061 | 805.2925 | 992.3044 | 1102.0577
PJM RTO | 0.019104 | 0.074592 | 0.1393 | 0.50218 | 0.92573 | 2.1156 | 3.9122 | 12.6751 | 31.6632 | 45.8442 | 76.3766 | 152.0984 | 342.5065 | 798.3097 | 1217.6969 | 1493.394 | 1793.8455 | 2319.3211 | 3149.4817 | 3555.5743 | 4161.0132 | 4755.0362 | 5627.1176 | 6380.2499
Note: All years except for 2021 are based on calendar year, 2021 is through 8/31/2021

## IHS Solar Forecast - slide7
Distributed Solar Generation Forecast by Zone (Cumulative Additions of Nameplate Capacity)
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
AE | 29.3946 | 62.5526 | 94.2939 | 121.5434 | 143.8767 | 162.9755 | 179.4141 | 194.0625 | 212.9994 | 233.5321 | 255.0611 | 276.2032 | 294.0336 | 314.6605 | 341.4579 | 368.0661
AEP | 105.0825 | 201.2578 | 270.5671 | 307.2841 | 391.6348 | 495.0737 | 607.7692 | 733.7084 | 857.4146 | 940.7189 | 1000.6793 | 1054.9992 | 1110.8313 | 1171.4794 | 1238.3049 | 1304.0076
APS | 41.3774 | 82.5794 | 117.3511 | 142.5365 | 203.7255 | 285.1842 | 378.015 | 484.514 | 592.5704 | 679.7492 | 751.1385 | 817.376 | 883.7015 | 951.4215 | 1012.4922 | 1070.6587
ATSI | 67.4896 | 132.6625 | 178.4635 | 197.6835 | 215.5776 | 232.0057 | 247.8071 | 265.7748 | 284.9842 | 300.7445 | 318.6231 | 342.0868 | 367.478 | 394.2795 | 420.8994 | 445.6592
BGE | 69.3151 | 144.354 | 206.5835 | 246.1337 | 280.9375 | 332.1083 | 406.1213 | 510.1019 | 617.2059 | 759.4545 | 912.7828 | 1065.5167 | 1218.0085 | 1370.1457 | 1484.1962 | 1596.0595
COMED | 241.9435 | 465.7171 | 666.6814 | 817.8265 | 939.2709 | 1073.1024 | 1217.4809 | 1360.7569 | 1518.6662 | 1676.3728 | 1830.8979 | 1951.7006 | 2076.1973 | 2217.6559 | 2346.5761 | 2477.0695
DAYTON | 17.8845 | 35.1148 | 47.1026 | 51.9139 | 56.4111 | 60.4871 | 64.3581 | 68.7718 | 73.4822 | 77.268 | 81.4873 | 87.0795 | 93.2415 | 99.8676 | 106.6163 | 112.9901
DPL | 37.7626 | 64.6274 | 90.8483 | 109.2007 | 127.733 | 150.136 | 176.6254 | 212.6544 | 279.6522 | 390.5001 | 509.9456 | 626.8571 | 732.2348 | 819.6891 | 898.2077 | 976.0421
DQE | 8.2184 | 16.5565 | 23.8612 | 29.4163 | 34.4748 | 39.781 | 45.4921 | 51.9963 | 59.1246 | 65.9571 | 74.6903 | 85.7746 | 96.8397 | 107.5177 | 116.5918 | 124.1694
DUKE | 24.1382 | 47.5329 | 64.0203 | 70.8016 | 77.4757 | 83.8438 | 90.3578 | 97.8174 | 105.7153 | 112.177 | 119.4731 | 128.6545 | 138.6245 | 149.2353 | 160.0254 | 170.3187
EKPC | 1.23 | 2.3635 | 3.4302 | 4.2015 | 5.7243 | 7.8751 | 11.065 | 14.755 | 18.4879 | 21.7618 | 25.6294 | 29.4819 | 33.3202 | 37.1436 | 40.9515 | 44.7427
JCPL | 67.3392 | 143.6741 | 217.0718 | 280.3333 | 332.3542 | 376.993 | 415.5356 | 449.9959 | 494.669 | 543.2627 | 594.4017 | 644.7721 | 687.3858 | 736.8586 | 801.3487 | 865.6081
METED | 9.5176 | 19.096 | 27.4563 | 33.808 | 39.5958 | 45.6776 | 52.2355 | 59.7226 | 67.9501 | 75.8673 | 86.0325 | 98.9985 | 112.0097 | 124.6375 | 135.4201 | 144.441
PECO | 23.648 | 47.4268 | 68.1286 | 83.7971 | 98.0107 | 112.8783 | 128.8466 | 147.0072 | 166.9015 | 185.9664 | 210.3519 | 241.3433 | 272.3431 | 302.3275 | 327.8511 | 349.131
PENLC | 10.3817 | 20.8186 | 29.9114 | 36.8055 | 43.0783 | 49.6615 | 56.7564 | 64.8509 | 73.7441 | 82.2963 | 93.2726 | 107.2712 | 121.3188 | 134.9538 | 146.6011 | 156.3387
PEPCO | 70.4408 | 145.565 | 213.1823 | 260.8613 | 294.2797 | 332.9929 | 384.5743 | 453.591 | 524.9954 | 612.1806 | 701.8596 | 789.1255 | 872.2571 | 958.6097 | 1023.0541 | 1085.6992
PL | 24.2712 | 48.6846 | 69.9918 | 86.1736 | 100.9143 | 116.3983 | 133.0842 | 152.1189 | 173.0323 | 193.1412 | 218.9397 | 251.8186 | 284.7847 | 316.7444 | 344.0144 | 366.8153
PS | 131.5611 | 280.5103 | 423.5785 | 546.6858 | 647.7702 | 734.3436 | 808.971 | 875.5752 | 961.8054 | 1055.4587 | 1153.8326 | 1250.5763 | 1332.2783 | 1426.9665 | 1550.2346 | 1672.8708
RECO | 4.3239 | 9.1716 | 13.7909 | 17.7413 | 20.9697 | 23.7224 | 26.0825 | 28.1791 | 30.88 | 33.8004 | 36.8525 | 39.8406 | 42.3529 | 45.2507 | 49.0015 | 52.7127
UGI | 0.62312 | 1.2487 | 1.7935 | 2.206 | 2.5806 | 2.9728 | 3.3944 | 3.8737 | 4.3988 | 4.9022 | 5.5463 | 6.3646 | 7.183 | 7.9741 | 8.6475 | 9.2089
VEPCO | 173.3459 | 302.895 | 392.0664 | 441.6246 | 548.0834 | 673.0871 | 799.5502 | 952.1161 | 1084.4898 | 1188.3208 | 1275.103 | 1341.7543 | 1404.1489 | 1458.3128 | 1518.8633 | 1579.6391
PJM RTO | 1159.2888 | 2274.4092 | 3220.1748 | 3888.5783 | 4604.4787 | 5391.3005 | 6233.5369 | 7181.9438 | 8203.1693 | 9233.4326 | 10256.6007 | 11237.5951 | 12180.5732 | 13145.7311 | 14071.3559 | 14972.2484

## Hist and IHS Forecast - slide8
Distributed Solar Generation Forecast by Zone - Cumulative Nameplate Capacity - Includes Historical Degraded Values and IHS Forecast
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
AE | 569.5875 | 598.4239 | 625.8782 | 648.8751 | 666.9897 | 681.9036 | 694.1908 | 704.721 | 719.5726 | 736.0527 | 753.5615 | 770.7157 | 784.59 | 801.2924 | 824.1968 | 846.943
AEP | 245.7252 | 340.7754 | 408.9685 | 444.5784 | 527.8307 | 630.18 | 741.7947 | 866.6616 | 989.3043 | 1071.5534 | 1130.4671 | 1183.7487 | 1238.5508 | 1298.1772 | 1363.9891 | 1428.6863
APS | 218.8936 | 258.6755 | 292.0384 | 315.8262 | 375.6289 | 455.7125 | 547.179 | 652.3247 | 759.0386 | 844.8856 | 914.9539 | 979.8808 | 1044.9063 | 1111.3367 | 1171.1281 | 1228.0255
ATSI | 184.8228 | 249.0571 | 293.927 | 312.2233 | 329.201 | 344.7201 | 359.6198 | 376.693 | 395.0151 | 409.8952 | 426.9005 | 449.498 | 474.0299 | 499.979 | 525.7533 | 549.6743
BGE | 532.5095 | 603.8429 | 662.3965 | 698.3002 | 729.4866 | 777.0691 | 847.5223 | 947.9717 | 1051.5728 | 1190.3464 | 1340.2276 | 1489.5419 | 1638.6416 | 1787.4137 | 1898.1261 | 2006.6779
COMED | 697.0377 | 917.1706 | 1114.5233 | 1262.0855 | 1379.9759 | 1510.2818 | 1651.1628 | 1790.9694 | 1945.437 | 2099.7294 | 2250.8677 | 2368.3106 | 2489.4744 | 2627.6268 | 2753.2673 | 2880.5071
DAYTON | 56.6523 | 73.5724 | 85.2526 | 89.7587 | 93.9531 | 97.7288 | 101.3018 | 105.42 | 109.8372 | 113.3322 | 117.2629 | 122.569 | 128.447 | 134.7915 | 141.2608 | 147.3575
DPL | 316.4081 | 341.0437 | 365.0533 | 381.2121 | 397.5683 | 417.8126 | 442.1606 | 476.0653 | 540.9558 | 649.7133 | 767.0851 | 881.9395 | 985.2765 | 1070.7064 | 1147.2169 | 1223.0593
DQE | 35.5836 | 43.7028 | 50.7903 | 56.13 | 60.9748 | 66.069 | 71.5698 | 77.8654 | 84.7867 | 91.4139 | 99.9435 | 110.8257 | 121.6904 | 132.1696 | 141.0465 | 148.4284
DUKE | 48.1058 | 71.3088 | 87.6059 | 94.1986 | 100.6855 | 106.868 | 113.1978 | 120.4746 | 128.1913 | 134.4731 | 141.5909 | 150.5953 | 160.3898 | 170.8264 | 181.4438 | 191.5658
EKPC | 12.0634 | 13.1102 | 14.0909 | 14.7769 | 16.2151 | 18.282 | 21.3886 | 24.996 | 28.647 | 31.8396 | 35.6266 | 39.3991 | 43.1581 | 46.9028 | 50.6325 | 54.3464
JCPL | 872.0662 | 941.9633 | 1008.9747 | 1065.901 | 1111.6374 | 1150.0419 | 1182.4001 | 1210.7255 | 1249.3128 | 1291.8693 | 1337.0195 | 1381.4489 | 1418.1692 | 1461.7957 | 1520.4863 | 1578.9927
METED | 100.8183 | 109.6663 | 117.302 | 122.935 | 128.0098 | 133.3843 | 139.2405 | 146.0316 | 153.5686 | 160.8009 | 170.2866 | 182.5786 | 194.9212 | 206.8856 | 217.0102 | 225.3784
PECO | 142.3708 | 165.1999 | 184.9595 | 199.6934 | 212.9798 | 226.9276 | 241.9835 | 259.2391 | 278.2355 | 296.4098 | 319.9117 | 350.0266 | 380.1569 | 409.2788 | 433.9468 | 454.3779
PENLC | 24.5267 | 34.8504 | 43.831 | 50.6137 | 56.776 | 63.2497 | 70.2359 | 78.2225 | 87.0087 | 95.4549 | 106.3259 | 120.2201 | 134.1641 | 147.6963 | 159.2417 | 168.8781
PEPCO | 545.9445 | 617.2646 | 681.1084 | 725.0439 | 754.7488 | 789.7783 | 837.7054 | 903.097 | 970.9054 | 1054.5233 | 1140.6636 | 1224.4191 | 1304.0683 | 1386.9664 | 1447.984 | 1507.2297
PL | 217.5803 | 240.4472 | 260.2203 | 274.8803 | 288.1113 | 302.0977 | 317.298 | 334.859 | 354.3105 | 372.9692 | 397.329 | 428.7808 | 460.3312 | 490.8866 | 516.7634 | 538.1823
PS | 1366.8117 | 1505.879 | 1639.1442 | 1752.527 | 1843.9646 | 1920.9684 | 1986.1029 | 2043.29 | 2120.1785 | 2204.5649 | 2293.7459 | 2381.3703 | 2454.0259 | 2539.7401 | 2654.106 | 2767.9113
RECO | 33.2931 | 37.909 | 42.2985 | 46.0208 | 49.0229 | 51.5512 | 53.6887 | 55.5644 | 58.0462 | 60.7493 | 63.5859 | 66.3601 | 68.6602 | 71.3475 | 74.8896 | 78.3936
UGI | 1.1084 | 1.7301 | 2.2711 | 2.6798 | 3.0505 | 3.439 | 3.8569 | 4.3324 | 4.8539 | 5.3536 | 5.9941 | 6.8089 | 7.6237 | 8.4113 | 9.0812 | 9.6392
VEPCO | 1266.5871 | 1387.3903 | 1467.8858 | 1508.8374 | 1606.7585 | 1723.2928 | 1841.3543 | 1985.5858 | 2109.6917 | 2205.321 | 2283.9673 | 2342.5477 | 2396.9359 | 2443.1575 | 2495.8293 | 2548.7893
PJM RTO | 7488.4967 | 8552.9834 | 9448.5204 | 10067.0971 | 10733.5694 | 11471.3585 | 12264.9544 | 13165.11 | 14138.4701 | 15121.251 | 16097.3166 | 17031.5853 | 17928.2114 | 18847.3883 | 19727.3997 | 20583.0439

## IHS Battery Forecast - slide13
Behind the Meter Battery Forecast by Zone - Annual Additions of Nameplate Capacity
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
AE | 0.11001 | 0.32611 | 0.46237 | 0.3402 | 0.2932 | 0.37268 | 0.49914 | 0.71595 | 0.97438 | 0.93706 | 0.98727 | 0.89207 | 0.92911 | 1.0518 | 1.2662 | 1.5261
AEP | 0.50942 | 0.94886 | 1.3041 | 1.2162 | 1.2475 | 1.5699 | 1.9346 | 2.5761 | 3.264 | 3.2554 | 3.8877 | 4.488 | 5.3314 | 6.2818 | 7.4692 | 9.0103
APS | 0.25249 | 0.55134 | 0.80361 | 0.74525 | 0.6478 | 0.78007 | 0.96933 | 1.3523 | 1.7205 | 2.4911 | 2.9168 | 3.3478 | 3.8306 | 4.1515 | 4.0879 | 4.5307
ATSI | 0.24666 | 0.4608 | 0.64156 | 0.60674 | 0.61924 | 0.7833 | 1.0138 | 1.3339 | 1.7198 | 1.6953 | 2.0716 | 2.327 | 2.8356 | 3.5476 | 4.2892 | 5.2235
BGE | 0.20272 | 0.75669 | 1.183 | 0.89055 | 0.60517 | 0.80331 | 1.0893 | 1.8236 | 2.3928 | 5.3243 | 6.0367 | 6.7689 | 7.521 | 8.2928 | 7.4067 | 8.1149
COMED | 0.91722 | 1.9936 | 2.5663 | 2.1015 | 2.0222 | 2.6135 | 3.4574 | 4.2192 | 5.1601 | 6.2222 | 7.4359 | 7.0812 | 7.2238 | 9.2641 | 11.3339 | 13.8746
DAYTON | 0.06125 | 0.11391 | 0.1588 | 0.14938 | 0.15552 | 0.19879 | 0.25815 | 0.34029 | 0.43926 | 0.43029 | 0.52648 | 0.59418 | 0.7302 | 0.93413 | 1.1486 | 1.4121
DPL | 0.17727 | 0.36042 | 0.48091 | 0.39796 | 0.34351 | 0.4162 | 0.51863 | 0.73512 | 0.93535 | 2.2001 | 2.2402 | 2.364 | 2.4562 | 2.6126 | 2.2345 | 2.4572
DQE | 0.073539 | 0.14349 | 0.20043 | 0.20234 | 0.17624 | 0.20483 | 0.2601 | 0.34599 | 0.44772 | 0.48467 | 0.60474 | 0.6716 | 0.78201 | 0.7994 | 0.8042 | 0.87289
DUKE | 0.090398 | 0.16716 | 0.23064 | 0.21591 | 0.22397 | 0.28562 | 0.37056 | 0.48819 | 0.63056 | 0.62069 | 0.75708 | 0.85472 | 1.0468 | 1.3323 | 1.6341 | 2.0069
EKPC | 0.024135 | 0.039491 | 0.045355 | 0.0376 | 0.035252 | 0.041271 | 0.050094 | 0.063099 | 0.078176 | 0.082107 | 0.091493 | 0.10098 | 0.11059 | 0.12027 | 0.13002 | 0.13983
JCPL | 0.25201 | 0.75075 | 1.0692 | 0.7898 | 0.68296 | 0.87105 | 1.1703 | 1.6843 | 2.2986 | 2.2177 | 2.3451 | 2.1253 | 2.2205 | 2.5228 | 3.0472 | 3.6855
METED | 0.085164 | 0.16483 | 0.2294 | 0.23136 | 0.20165 | 0.23477 | 0.29866 | 0.39827 | 0.51676 | 0.56162 | 0.70389 | 0.78562 | 0.91955 | 0.94537 | 0.95561 | 1.0391
PECO | 0.2116 | 0.40921 | 0.56803 | 0.57072 | 0.49522 | 0.57393 | 0.72724 | 0.96604 | 1.2495 | 1.3524 | 1.6886 | 1.8778 | 2.1909 | 2.2448 | 2.262 | 2.4513
PENLC | 0.092896 | 0.17961 | 0.2495 | 0.25112 | 0.21855 | 0.25413 | 0.32312 | 0.43058 | 0.55857 | 0.60668 | 0.76005 | 0.84818 | 0.9928 | 1.0208 | 1.0322 | 1.1217
PEPCO | 0.24798 | 0.76399 | 1.135 | 0.86608 | 0.597 | 0.76192 | 1.0107 | 1.581 | 2.078 | 3.5292 | 3.9014 | 4.2552 | 4.4148 | 4.7272 | 4.1128 | 4.4602
PL | 0.21718 | 0.42013 | 0.58464 | 0.58942 | 0.51358 | 0.59772 | 0.75992 | 1.0125 | 1.3136 | 1.4265 | 1.7864 | 1.9922 | 2.3298 | 2.3926 | 2.4168 | 2.6265
PS | 0.49235 | 1.4649 | 2.084 | 1.537 | 1.3271 | 1.6893 | 2.266 | 3.2553 | 4.4369 | 4.2741 | 4.5112 | 4.082 | 4.2573 | 4.8285 | 5.8245 | 7.0337
RECO | 0.016182 | 0.047676 | 0.067289 | 0.04932 | 0.042383 | 0.053715 | 0.071662 | 0.10247 | 0.13897 | 0.13328 | 0.13996 | 0.12608 | 0.13091 | 0.14777 | 0.17723 | 0.21285
UGI | 0.0055757 | 0.010765 | 0.01495 | 0.015025 | 0.013049 | 0.015142 | 0.0192 | 0.025495 | 0.032983 | 0.035708 | 0.044602 | 0.049582 | 0.057837 | 0.059228 | 0.059678 | 0.064676
VEPCO | 0.76756 | 1.6481 | 2.4074 | 2.2461 | 2.2412 | 2.8836 | 3.3518 | 4.8054 | 6.1577 | 7.1912 | 8.592 | 9.8417 | 11.3096 | 12.1116 | 14.2531 | 17.474
PJM RTO | 5.0536 | 11.7218 | 16.4864 | 14.0495 | 12.7023 | 16.0049 | 20.4196 | 28.2551 | 36.5443 | 45.0715 | 52.0292 | 55.4741 | 61.6213 | 69.3889 | 75.9456 | 89.3385