## Setup
Enter Stakeholder Group Name in cell A2:
Energy Price Formation Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Energy Price Formation

## 1. Updated Interest ID
Energy Price Formation Senior Task Force
Energy Price Formation
Interest Identification
Instructions: List interests of all parties on this page.
Accurate Pricing
1 | Efficient market outcomes
2 | Elimination or minimization of subjective inputs
3 | Ensure proper price formation and minimize opportunities for market manipulation
4 | Ensure proper price formation and prevent reserve market manipulative behavior
5 | Interest in the price setting function producing just and reasonable rates regardless of fuel prices
6 | Maximize the opportunity for markets to producing prices organically (Without administrative intervention)
7 | Minimizing cost impact on customers when minimizing uplift
8 | Price reflect short run marginal cost
9 | Prices result from accurate underlying supply and demand
Accurate Pricing/Reliability
1 | Accurately reflect cost of resources required to serve load in prices and minimize out of market incentive payments
2 | Reserve prices that reflect the reliability contribution of reserves
3 | Reserve products that support the operational objective of maintaining a reliable system
4 | To accurately reflect cost of resources required to serve load in prices
Adjacencies
1 | Ensure that shifts in revenues to energy and ancillary markets are concurrently reflected in parameters used in future capacity market solicitations (Avoid double dipping)
2 | Minimize impacts on pre-existing commercial transactions or arrangements (energy contracts)
3 | Promote efficient and least cost access to capital markets (understandability of markets, undue risks placed developers or other market participants)
4 | Understanding the impact of self-scheduling on price formation and uplift
Hedging
1 | Improve ability to hedge energy prices and congestion
Implementation
1 | Practicality of implementation
Incentives
1 | Disincent hoarding of capabilities
2 | Market facilitates competition
3 | Prices that incent maximum competitive behavior in terms of maximizing resource flexibility at lowest cost
4 | Resources have the incentive to offer representative of their true capabilities (as flexibly as possible)
5 | Resources have the incentive to perform as directed in real-time
Market Power Mitigation
1 | Market power is mitigated
2 | No opportunities for market manipulation
Transparency
1 | Ability to replicate
2 | Certainty with respect to results / Robustness
3 | Transparency in pricing
4 | Well understood properties and impacts of the solution
Miscellaneous
1 | Settlements use the same LMP as developed by dispatch
2 | Loss of load cost reflected in an administrative adder used in price formation
3 | Required RUC units include in DA LMP as added cost

## 1. Interest Identification-Orig
Energy Price Formation Senior Task Force
Energy Price Formation
Interest Identification
Instructions: List interests of all parties on this page.
|  |  | Group | Lisa Group Suggestion
1 | To accurately reflect cost of resources required to serve load in prices |  | Accurate Pricing/Reliability
2 | Ensure proper price formation and minimize opportunities for market manipulation |  | Accurate Pricing
3 | Accurately reflect cost of resources required to serve load in prices and minimize out of market incentive payments |  | Accurate Pricing/Reliability
4 | Resources have the incentive to offer representative of their true capabilities (as flexibly as possible) |  | Accurate Pricing/Reliability | Incentives
5 | Resources have the incentive to perform as directed in real-time |  | Accurate Pricing/Reliability | Incentives
6 | Reserve prices that reflect the reliability contribution of reserves |  | Accurate Pricing/Reliability
7 | Ensure proper price formation and prevent reserve market manipulative behavior |  | Accurate Pricing
8 | Reserve products that support the operational objective of maintaining a reliable system |  | Accurate Pricing/Reliability
9 | Well understood properties and impacts of the solution |  | Transparency
10 | Transparency in pricing |  | Transparency
11 | Ability to replicate |  | Transparency
12 | Elimination or minimization of subjective inputs |  | Accurate Pricing
13 | Improve ability to hedge energy prices and congestion |  | Hedging
14 | Practicality of implementation |  | Implementation
15 | Certainty with respect to results / Robustness |  | Transparency
16 | Efficient market outcomes |  | Accurate Pricing
17 | Market facilitates competition |  | Accurate Pricing | Incentives
18 | Prices result from accurate underlying supply and demand | Solution? | Accurate Pricing
19 | Price reflect short run marginal cost | Solution? | Accurate Pricing
20 | Market power is mitigated |  | Market Power Mitigation
21 | No opportunities for market manipulation |  | Market Power Mitigation
22 | Loss of load cost reflected in an administrative adder used in price formation |  | Scarp
23 | Required RUC units include in DA LMP as added cost |  | Scarp
24 | Prices that incent maximum competitive behavior in terms of maximizing resource flexibility at lowest cost |  | Accurate Pricing | Incentives
25 | Ensure that shifts in revenues to energy and ancillary markets are concurrently reflected in parameters used in future capacity market solicitations (Avoid double dipping) |  | Adjacencies
26 | Minimize impacts on pre-existing commercial transactions or arrangements (energy contracts) |  | Adjacencies
27 | Minimizing cost impact on customers when minimizing uplift |  | Accurate Pricing
28 | Interest in the price setting function producing just and reasonable rates regardless of fuel prices |  | Accurate Pricing
29 | Understanding the impact of self-scheduling on price formation and uplift |  | Adjacencies
30 | Disincent hoarding of capabilities | Deter? | Transparency | Incentives
31 | Settlements use the same LMP as developed by dispatch | Why?
32 | Maximize the opportunity for markets to producing prices organically (Without administrative intervention) |  | Accurate Pricing
33 | Promote efficient and least cost access to capital markets (understandability of markets, undue risks placed developers or other market participants) |  | Adjacencies

## 2. Options Matrix-Energy
Energy Price Formation Senior Task Force
Energy Price Formation
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | Fast Start Pricing Response | B | C | D | E
* | Implementation |  |  | TBD pending issuance of FERC Order FERC Order expected by Sep 2018
1 | LMP Calculation Method |  | Restricted LMP | Extended LMP via single-period Integer Relaxation applied to subset of resources. All other resources subject to restricted LMP calculation.
2 | Resources eligible for Extended LMP Treatment |  | N/A | All online, PJM-scheduled fast-start resources: A fast-start resource for this purpose is defined as one with a <= 2 hour min run time and <= 2 hour time to start (Startup plus notification time) on the schedule on which it is committed, regardless of technology type
3 | Treatment of the following in Extended LMP Calculation: |  | N/A
3a | Economic Minimum Constraint |  |  | Relaxed to 0 in both DA and RT markets
3b | Startup Costs |  |  | Included through the minimum run time of the unit, then excluded in both the DA and RT markets Exceptions: - In RT, fast start units that were committed in the DA market will have startup cost excluded from their offer for purposes of calculating LMP (output down to 0 still eligible for setting price) |  |  |  |  | Low
3c | No Load Costs |  |  | Included through entire run time of the unit in both the DA and RT markets Exceptions: - In RT, units that were committed in the DA market will have no load cost excluded from their offer for purposes of calculating LMP |  |  |  |  | Low - Medium
4 | Application of extended LMP to interfaces and externally owned market-to-market flowgates |  |  | requires further discussion with MISO and NYISO |  |  |  |  | Low - High
5 | Methods for incenting resources to follow dispatch when dispatch instructions and pricing are inconsistent |  |  | Unit-specific Lost Opportunity Cost credits Calculated based on difference between dispatch MW (from dispatch run) and profit maximizing output based on pricing run LMP. Profit maximizing output is found by taking prices from pricing run, fixing the commitment variables, then resolving to find the dispatch MW while enforcing the unit's physical operating constraints and system constraints. This results in paying LOC only for those MW that are physically attainable. |  |  |  |  | Medium
5a | Resources eligible for incentive in DA |  |  | Resources eligible for LOC in DA: - online flexible generators (regardless of whether they are fast-start or not), including self-scheduled dispatchable generators - Dispatchable import and export transactions (treated same as an online flexible generator) - Economic demand response that is reduced in the dispatch solution (treated same as online flexible generator) |  |  |  |  | Medium - High
5b | Exceptions to incentive eligibility in DA |  |  | The following are exceptions to the above incentive eligibility criteria in the DA market: - Self-scheduled, non-dispatchable resources - virtual transactions and price-sensitive demand - these resources will be made whole if cleared uneconomically, but will not be eligible for LOC to cover foregone profit - offline generator - economic demand response that is not reduced (committed) in the dispatch solution (treated same as offline generator) |  |  |  |  | High
5c | Resources eligible for incentive in RT |  |  | Resources eligible for LOC in RT: - online flexible generators (regardless of whether classified as fast-start or not), including self-scheduled dispatchable resources - Economic demand response that is reduced in the dispatch solution (treated same as online flexible generator) - "RT with Price" dispatchable transactions
5d | Exceptions to incentive eligibility in RT |  |  | The following are exceptions to the above incentive eligibility criteria in the RT market: - Self-scheduled, non-dispatchable resources - offline generators - economic demand response that is not reduced (committed) in the dispatch solution (treated same as offline generator) - CTS transactions - clearing occurs in IT SCED, while settlement is based off of real-time LMPs. No makewhole is currently paid for uneconomic clearing. No LOC will be paid consistent with this premise.
6 | Clearing of virtual resources and price-sensitive demand in the DA market |  |  | Clear virtuals and price-sensitive demand in both the dispatch run and pricing run. Cleared MW comes from dispatch run. LMP at which they are settled comes from pricing run. This may result in some bids being cleared that are not economic based on pricing run LMPs. Provide DA makewhole payments to such bids to make them whole to their offer. Allocation of makewhole is TBD.
Other Impacted Areas
7 | Market Power Mitigation |  |  | Pending discussion with IMM. Current thinking is that no changes are needed. Offer capping is a commitment decision and the unit commitment and dispatch processes will not change.
8 | Reserve Clearing - Addressing False Negative and False Positive shortages |  |  | The following changes are proposed for the pricing run in order to prevent false positive and false negative shortages: 1. Global constraints: a. If the reserve constraint is binding in dispatch run, enforce the constraint in the pricing run b. If the reserve constraint is violated in the dispatch run, violate it in the pricing run (on the same step of the demand curve) 2. Unit constraints: a. If a unit is not eligible to provide reserves in the dispatch run, do not allow it to provide reserves in the pricing run b. Do not allow units to provide reserves below their eco min.
9 | Application of fast start pricing to reserve pricing |  |  | Apply fast start pricing in the reserve market. Allow resources providing inflexible reserves to set price in the reserve market down to 0 MW of reserve assignment. Include commitment costs specific to reserve assignments (condenser start costs and energy usage costs) in pricing. Use integer relaxation or similar methodology.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2. Options Matrix-Reserves
Energy Price Formation Senior Task Force
Energy Price Formation
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Track | Priority | Status Quo | A | B | C | D | E
* | Implementation
| Group 1 - Shortage Pricing | Short-Term
Operating Reserve Demand Curve (General)
| Shape |  |  | Stepped demand curve | Downward sloping demand curve Initial horizontal segment representing Minimum Reserve Requirement (dynamic, real-time output of largest online contingency), plus downward sloping curve based on the probability of reserves falling below the minimum reserve requirement (PBMRR) in real-time based on uncertainties
| Uncertainties Modeled on downward sloping portion of ORDC |  |  | N/A | The following uncertainties should be used to model the downward sloping portion of ORDC: 1) Load Forecast 2) Wind Forecast 3)Solar Forecast 4)Forced Outages from Thermal Units
| Time Horizon for Uncertainty Calculation |  |  | N/A | Uncertainty within a 30 Minute time horizon will be used to produce the SR and PR ORDC
| Penalty Factor (Y Axis) |  |  | Step 1: $850 Step 2: $300 | Maintain $850 price for initial horizontal segment of curve (Minimum Reserve Requirement). Replace second step of curve with downward sloping segment of curve, valued at $850*PBMRR
| Reserve MW (X Axis) |  |  | X axis measures available reserves. MW breakpoints are at the following: Step 1: Reliability Requirement Step 2: Reliability Requirement + 190 MW + Additional MW for Conservative Ops | X axis measures available reserves. Replace MW breakpoints with the following: 1st segment: Flat, non-sloped portion of the curve representing Minimum Reserve Requirement (MRR) 2nd segment: MWs beyond MRR are valued using sloped reserve demand curve based on PBMRR
| Minimum Reserve Requirement (MRR) |  |  | SR: real-time output of Largest Single Contingency PR: 150% of real-time output of Largest Single Contingency | MRR should be the value operated to by Dispatch (status quo plus any adjustments for operator actions)
| Cascading across reserve products and locations |  |  | Prices cascade by both product and location. However, cascading is limited such that: Primary Reserve is capped at 1* Penalty Factor ($850) Synchronized Reserve is capped at 2 * Penalty Factor ($850) | Status Quo
| Reserve measurement used for declaration of shortage pricing |  |  | PJM declares shortage pricing consistent with the latest dispatch solution. Reserves are measured as the amount available in the latest RT SCED solution (10 minute look ahead). | Status Quo
| Incorporating Operator Actions into Pricing (and/or RUC commitments) |  |  | 2nd step of demand curve can be extended to account for additional reserves committed under conservative operations | The ORDC will be adjusted when PJM dispatch identifies the need for additional reserves. Operator actions would be added to the Minimum Reserve Requirement (MRR) portion of the curve only (not the slope of the curve). Operator will enter desired additional reserve MW to the MRR and define the hour (s) the MRR is adjusted based on the operating condition driving the need for additional reserves. Market Participants would be notified as far in advance of the effective time of the adjustment as possible
| Time Blocks |  |  | N/A | Individual ORDC are defined by season and time of day blocks. 24 different combinations of ORDC are calculated based on 6 time of day blocks and 4 seasons. Seasons: Winter (Dec - Feb) Spring (Mar - May) Summer (Jun - Aug) Fall (Sep - Nov) Time of Day Blocks: 1 (2300-0200) 2 (0300-0600) 3 (0700-1000) 4 (1100-1400) 5 (1500-1800) 6 (1900-2200)
| Periodicity for ORDC Recalculating |  |  | N/A | Adjusted annually based on historical data for prior 3 years
Transition Plan
| Group 2 - Reserve Products | Short-Term
| Reserve Locations for DASR |  |  | DASR is procured for the RTO, with no sub-zones defined. Synch Reserve and Primary Reserve are procured for the RTO reserve zone and the MAD sub-zone. | Keep DASR at the RTO level (no change).
| Reserve Locations for Synchronized and Primary Reserves |  |  |  | For Synch Reserve and Primary Reserve: Keep existing RTO reserve sub-zone structure, but define several possible reserve sub-zones. (Likely reserve sub-zones = Mid-Atlantic Dominion to capture West/East constraints & an additional reserve sub-zone to capture North/South constraints). Existing RTO/MAD structure will be the default subzone structure. Only one reserve sub-zone may be implemented at a time. Reserve sub-zone to be used for a given operating day will be defined on a day-ahead basis and will apply for the entire operating day. Notification of the sub-zone to be modeled each day will be made on a day-ahead basis; however, changes to the reserve sub-zone in use can be made intra-day on an exception basis. Stakeholders will be notified of all intra-day switches in the modeled reserve sub-zone as soon as possible (method TBD). | RTO wide reserve zone. Reserve subzones used for any area of the PJM footprint for which a transmission constraint prevents the use of RTO wide reserves, or larger subzone reserves, for the loss of a generator. Allow for more than one defined subzone
| Reserve Locations Transparency |  |  |  | Reserve sub-zone definitions will be published quarterly in advance of the network model builds.
| SR Charges |  |  | For the effective sub-zone, PJM allocates the total cost of reserve credits to each PJM member based on their obligation ratio share in the applicable zone or subzone. Obligation ratio share is the load ratio share of total estimated and assigned SR MW, adjusted for SR bilateral transactions. See Manual 28 Section 6 for full details. | Status Quo. No change to SR charge calculation* *Calculation will not change, but the sub-zone in which a load is located may change when the sub-zone in use changes.
Transition Plan
| Synchronized Reserve | Short-Term |  | 10 minute online reserve product
| Eligibility Requirements |  |  | -electrically located within RTO -online and synchronized to the grid -able to provide energy or reduce load within 10 minutes -has not designated entire capacity as emergency -able to sustain response for 30 minutes -available to provide reserves (ex: not testing) | Status Quo | no change Electrically located within the RTO excludes pseudo tied resources.
| MW Capability |  |  | minimum of 0.1MW of capability to participate (for generation and Demand Response) | Status Quo
| Tier 1 MW Estimate |  |  | Tier 1 is estimated on resources with unloaded 10 minute capability as a result of their economic dispatch point Estimated using ecomax or spin max (if provided) limited by ramp rate (spin ramp rate used if available, else energy ramp rate is used) No Tier 1 is estimated on Demand Response resources No Tier 1 is estimated for solar, wind, nuclear, energy storage, and hydro resources (but can request an exception if resource can actually provide Tier 1) | Do not differentiate between Tier 1 and Tier 2 capability. Reserves available from unloaded capability as a result of a resource's economic dispatch point will continue to be used as Synchronized Reserve. See additional detail in the Tier 2 Offer MW component below. | Tier 1 estimate using Eco rate and ecomax
Tier 1 Offer Structure
| Availability |  |  | N/A - Availability for Tier 1 is not submitted to PJM | See description in Tier 2 Availability option below.
| Offer MW |  |  | N/A - Tier 1 offer MW is not expressly submitted | See description in Tier 2 Offer MW component below.
| Tier 1 MW Adjustments: Deselection |  |  | Tier 1 Deselection - Synchronized Reserve capability is not calculated for the following resource types which typically cannot be relied upon to provide synchronized reserve response: solar, wind, nuclear, energy storage, and hydro resources (but they can request an exception if they indicate and demonstrate an ability to provide synchronized reserves) | Deselection will continue to be used to exclude specific unit classes from providing synchronized reserves. Synchronized Reserve capability will not be automatically calculated for the following resource types only: solar, wind, nuclear, energy storage, and hydro resources (but they can request an exception if they indicate and demonstrate an ability to provide synchronized reserves) No deselection on a unit specific basis. (this is just noted as a clarification of existing practice, not a change from status quo)
| Tier 1 MW Adjustments: DGP |  |  | Degree of Generation Performance (DGP) - DGP score is used to adjust a unit’s ramp rate for the purpose of Tier 1 MW estimation. It is the responsiveness of a unit to PJM dispatch instruction in terms of its recent actual MW output and is modeled as an approximation of the unit's realistic capability. | DGP will continue to be used. | Eliminate DGP
| Tier 1 MW Adjustments: Bias |  |  | Tier 1 Bias - The Tier 1 Bias is used by dispatchers to adjust the amount of total Tier 1 MW modeled in the hour-ahead ASO solution to more closely match dispatcher expectations of the amount of Tier 1 that will be available throughout the hour. | Tier 1 Bias will no longer be used.
| Offer Price |  |  | N/A - Tier 1 MW are assumed to be offered at $0 (resources do not incur an LOC) | See Tier 2 Offer Price component below.
| Synchronized Reserve Maximum |  |  | This value represents the maximum MW output a resource can achieve in response to a Synchronized Reserve Event and is only considered for Tier 1 resources. Synchronized Reserve maximum for Tier 1 resources must be greater than or equal to the economic maximum for the resource except for qualified resources that have been granted exception due to their physical limitation (i.e. duct burners). | This value represents the MW above which the resource cannot provide Synchronized Reserve Event response. Synchronized Reserve Maximum must be less than or equal to Economic Maximum (which means Synch Reserve capability will be less than or equal to 10 minute energy capability). Synchronized Reserve Maximum may only be used for qualified units that are granted exception due to physical limitations (i.e. duct burners). Resources not qualified to use Synch Reserve Maximum will not be able to enter a value for this parameter in Markets Gateway. Use Synch Reserve Maximum in the calculation of reserve assignments for units backed down to provide reserves (Tier 2) going forward.
| Synchronized Reserve Ramp Rate |  |  | Expressed in (MW/minute). A separate ramp rate may be submitted for multiple segments of a resource’s MW range, and these ramp rates must be greater than or equal to the real-time economic ramp rate(s) submitted for the resource. Synchronized Reserve ramp rates that exceed economic ramp rates must be justified via submission of actual data from past Synchronized Reserve Events to the PJM Performance Compliance Department. | Remove Synchronized Reserve Ramp Rate. Use segmented Energy Ramp Rate submitted to Markets Gateway for all Synchronized Reserve capability calculations. Allow hourly ramp rates to be specified and allow them to be updated up to 65 minutes prior to start of operating hour. Require in the OATT that Market Sellers submit ramp rates based on actual, physical operating capability.
| Tier 2 Capability |  |  | MWs of additional capacity when resources are operating at a point that deviates from economic dispatch or providing reserves in condensing mode | remove distinction between Tier 1 and Tier 2
Tier 2 Offer Structure
| Availability |  |  | Resources may be made unavailable to provide Tier 2 Synchronized Reserve only if they are physically unavailable. Otherwise, they must be made available or self-scheduled to provide Tier 2 Synchronized Reserve per the must offer requirement. | All online, PJM scheduled capacity resources will be assumed to be available for reserves if available for energy. However, the following subset of capacity resources will be allowed to update their availability to provide reserves, if desired. - Hydro units, units self-scheduled for energy, condensers that are offline or in condensing mode, and Demand Resources - Resources outside of the above defined set will NOT be able to change their availability for reserves. All non-capacity resources available for energy will be considered available for synchronized reserves by default, but will be allowed to update their availability to provide reserves, if desired. Units must adhere to the current Tier 2 Must Offer requirement. Offline condensers with a capacity commitment must be available to provide reserves if the system is in emergency conditions. | All resources available for energy are available for reserves.
| Offer MW |  |  | Resources capable of providing Tier 2 must offer into the market a MW amount greater than or equal to 90% of its energy ramp rate for the ramp rate segment including its economic max, multiplied by 10 minutes | N/A - 10 minute reserve capability (offer MW) will be automatically calculated using segmented energy ramp rate, limited by Economic Max (or Spin Max where available) for all eligible resources bid in as available for synchronized reserves (remain consistent with must offer requirement), with the exception of the following resources which will be allowed to specify a synchronized reserve offer MW amount: - Hydro units, units self-scheduled for energy, condensers that are offline or in condensing mode and Demand Resources - Resources outside of the above defined set will NOT be able to specify offer MW. The following resource types will be excluded from the calculation of synchronized reserves (as defined in M11): solar, wind, nuclear, energy storage, and hydro resources (but they can request an exception if they indicate and demonstrate an ability to provide synchronized reserves) Energy Storage will require further discussion.
| Offer Price |  |  | Synchronized Reserve offer prices will be capped at a maximum value of the resource’s O&M cost (as determined by the Cost Development Task Force) plus $7.50/MWh margin. | N/A - no offer is submitted. Resource cost is based solely on LOC plus the cost of energy consumption for condensing operations, if applicable. (Requires revision to M15) More discussion needed for Demand Response and Energy Storage Can submit an offer price up to an established margin $7.50, plus condensing-specific costs Remove VOM from offer | N/A - no offer is submitted. Resource cost is based solely on LOC plus the cost of energy consumption for condensing operations, if applicable. (Requires revision to M15) More discussion needed for Demand Response and Energy Storage Can submit an offer price up to an established margin $3.80, plus condensing-specific costs Remove VOM from offer | Can submit an offer price up to an established margin $12.42, plus condensing-specific costs
| Synchronized Reserve Maximum |  |  | N/A - not currently used in the assignment of Tier 2 MW | This value represents the MW above which the resource cannot provide Synchronized Reserve Event response. Synchronized Reserve Maximum must be less than or equal to Economic Maximum. Synchronized Reserve Maximum may only be used for units that are granted exception due to physical limitations (i.e. duct burners). Synchronized Reserve Maximum cannot be zero.
| Condenser specific offer parameters |  |  | Units that can provide synchronized reserve in condensing mode submit offer costs and parameters specific to their operation in condensing mode and transition from condensing mode to generating energy. These offer parameters and costs include: Energy Usage MW Condenser Startup Cost Condense Hourly Cost Condense to Gen Cost Condense Notification Time Condense Available Status | Status Quo
Compensation
| Tier 1 credits |  |  | outside of SR event: paid the SRMCP when the NSRMCP > $0 response during SR event: paid Synchronize Reserve energy premium price multiplied by actual MW provided | same as Tier 2 - resources assigned synchronized reserves will be paid SRMCP regardless of whether a synchronized reserve event occurs or not. (Tier 1 premium price no longer used) Discontinue payment of Tier 1 premium price for synchronized reserve event response from resources that are not assigned for reserves. Discontinue payment of Tier 1 resources when NSRMCP > $0 (assigned resources will be credited at SRMCP all the time, regardless of the NSRMCP) | MW response during SR event times total SRMCP for the event day plus 2 prior days.
| Tier 2 credits |  |  | paid the higher of SRMCP or (offer plus LOC) | no change - all assigned resources paid SRMCP. Resources will be made whole to offer cost plus LOC as needed.
| SR Charges |  |  | PJM allocates the total cost of reserve credits to each PJM member based on their obligation ratio share in the applicable zone or subzone. Obligation ratio share is the load ratio share of total estimated and assigned SR MW, adjusted for SR bilateral transactions. See Manual 28 Section 6 for full details. | Charge is calculated based on obligation ratio share of total assigned SR in the applicable zone or sub-zone adusted for SR bilateral transactions (Tier 1 estimate portion of calculation goes away)
| MCP calculation - See energy price formation matrix |  |  |  | No change. Price formation matrix is a separate package. MCP calculation only changes if price formation modified.
| Co-optimization |  |  | Co-optimized with energy and non-synchronized reserve | Status Quo | Co-optimized with energy and non-synchronized reserve on a five minute basis
Event Performance
| Performance Measurement |  |  | magnitude of response to an event is the difference between the resource's output at the start of the event and its output 10 min after the start of the event (for compliance); resource must maintain an output level greater than or equal to the level at 10 min for the duration of the event or 30 min, whichever is shorter; resource is credited the difference between output at 10 min and output at the lesser of the end of event or 30 min | Status Quo
| Consequence of Non-Performance |  |  | No consequences for Tier 1 For Tier 2, owner incurs a retroactive obligation to refund at SRMCP the amount of the shortfall measured in MW for all hours the resource was assigned or self-scheduled over the immediate past interval (defined as the lesser of the avg number of days between events as determined by annual review over last 2 years (19 days for 2018), or number of days since resource failed to response to SR event) Retroactive obligations are only assessed for SR events that last 10 minutes or longer | No change in penalty calculation or look back period. Penalty applies to both Tier 1 and Tier 2 assigned MWs. | Revise penalty calculation so that penalty does not exceed the historic synchronized reserve revenues in the relevant historic time period. Penalty applies to both Tier 1 and Tier 2 assigned MWs. | Tier 2 - No change. Tier 1 - Shortfall time total SRMCP for Event day plus 2 prior days.
| Synch Reserve Operating Reserve Demand Curve |  |  |  | See ORDC section of matrix
| Shape |  |  | Stepped demand curve
| Penalty Factor (Y Axis) |  |  | Step 1: $850 Step 2: $300
| Reserve MW (X Axis) |  |  | Step 1: Reliability Requirement Step 2: Reliability Requirement + 190 MW
| Transition Plan |  |  | N/A | Implement steps to identify and address causes of Tier 1 performance gap before implementing non-performance penalties 1 - investigate Tier 1 performance shortfalls by resource type and (possibly) by unit 2 - ID common issues and address as possible 3 - upgrade notification of Tier 1 assignments to at least the level of Tier 2 4 - if feasible, provide automated dispatch instruction to all SR resources (e.g. raise set point) to minimize human intervention as source of poor performance Introduce non-performance penalties only after these other steps.
| Non-Synchronized Reserve | Mid-Term |  | 10 minute offline reserve product
| Eligibility Requirements |  |  | -electrically located within the RTO -not synchronized to the grid -able to provide energy within 10 minutes -has not designated entire capacity as emergency -available for energy
MCP calculation - See energy price formation matrix
| Co-optimization |  |  | Co-optimized with energy and synchronized reserve
| Consequence of Non-Performance |  |  | Currently none
Operating Reserve Demand Curve
| Shape |  |  | Stepped demand curve
| Penalty Factor (Y Axis) |  |  | Step 1: $850 Step 2: $300
| Reserve MW (X Axis) |  |  | Step 1: Reliability Requirement Step 2: Reliability Requirement + 190 MW
| 30 Minute Reserve Market | Mid Term |  | N/A
Requirement
Resource Eligibility Requirements
How Procured
Offer Requirements
Offer Structure
Clearing Timeline
Consequence of Non-Performance
Settlement
Credit Calculation
Offset to Operating Reserve Credits
Charges
Calculation
Allocated to
Operating Reserve Demand Curve
Shape
Penalty Factor (Y Axis)
Reserve MW (X Axis)
| DA Scheduling Reserve Changes Associated with RT 30 Minute Reserves | Mid Term
| Eligibility Requirements |  |  | -electrically located within RTO -online and synchronized to the grid or offline -able to reliably provide energy or reduce load within 30 minutes -available for energy
| Co-optimization |  |  | Co-optimized with energy
| Consequence of Non-Performance |  |  | Currently none
| Operating Reserve Demand Curve |  |  | N/A
Shape
Penalty Factor (Y Axis)
Reserve MW (X Axis)
| Requirement |  |  |  | Status Quo + Largest Contingency
| Determination of the Reserve Requirement in the DA Market |  |  | The sum of the requirements for all zones within the RTO and any additional reserves scheduled ‒ In response to an RTO-wide Hot or Cold Weather Alert or other conservative operations. It is calculated by adding the Load Forecast Error (about 2%) to the Forced Outage Rate (FOR) Component (about 3.25%
| Participation in the DASR Market |  |  | Generation and Demand Resources Only for those resources located electrically within the PJM RTO Resources that are available but have no offer price will be considered to have an offer of $0 for DASR Offline units providing DASR: • Start time + notification time of ≤ 30 minutes • May be requested to start at any hour of the day • Completes startup within specified startup and notification time from the time the PJM operator issued the instruction
| DASR Compensation |  |  | • Those resources receiving a day-ahead award for DASR receive the hourly clearing price for the awarded MW amount as long as they were capable of providing the reserve in real time as scheduled • Performance measured after the fact • No penalty for non-performance: penalty = forgone revenue • Those resources receiving a Day-Ahead award for DASR having a Real-time dispatchable range less than the resource’s DA dispatchable range become ineligible to receive a DASR Market payment
| Payment for DASR |  |  | • Those resources receiving a day-ahead award for DASR receive the hourly clearing price for the awarded MW amount as long as they were capable of providing the reserve in real time as scheduled • Performance measured after the fact • No penalty for non-performance: penalty = forgone revenue • Those resources receiving a Day-Ahead award for DASR having a Real-time dispatchable range less than the resource’s DA dispatchable range become ineligible to receive a DASR Market payment
| DASR Commitments in the Real Time Market |  |  | The DASR Requirement is not maintained in Real Time market. • There are no DASR events for resources to respond • Resources will be responding to normal PJM dispatch instructions
| Additional Reserve Products | Long-Term |  | N/A
Requirement
Resource Eligibility Requirements
How Procured
Offer Requirements
Offer Structure
Clearing Timeline
Consequence of Non-Performance
Settlement
Credit Calculation
Offset to Operating Reserve Credits
Charges
Calculation
Allocated to
Operating Reserve Demand Curve
Shape
Penalty Factor (Y Axis)
Reserve MW (X Axis)
| DA Scheduling Reserve | Long-Term
| Eligibility Requirements |  |  | -electrically located within RTO -online and synchronized to the grid or offline -able to reliably provide energy or reduce load within 30 minutes -available for energy
| Co-optimization |  |  | Co-optimized with energy
| Consequence of Non-Performance |  |  | Currently none
| Operating Reserve Demand Curve |  |  | N/A
Shape
Penalty Factor (Y Axis)
Reserve MW (X Axis)
Concept that Units that do not have capacity obligation, they must buy it from someone else during a spin event
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Energy Price Formation Senior Task Force
Energy Price Formation
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Energy Price Formation Senior Task Force
Energy Price Formation
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Energy Price Formation Senior Task Force
Energy Price Formation
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | PJM | IMM | DC People's Councel | IMM
Group 1 - Shortage Pricing | Short-Term
Operating Reserve Demand Curve (General)
Shape |  |  | Stepped demand curve | Downward sloping demand curve Initial horizontal segment representing Minimum Reserve Requirement (dynamic, real-time output of largest online contingency), plus downward sloping curve based on the probability of reserves falling below the minimum reserve requirement (PBMRR) in real-time based on uncertainties minus the regulation requirement | Downward sloping demand curve Initial horizontal segment representing Minimum Reserve Requirement (dynamic, real-time output of largest online contingency), plus downward sloping curve based on the relative intertemporal benefit of purchasing additional reserves rather than relying on an out of market real time commitment to meet load and reserves when the market is tight. | status quo - no ORDC | Move sloped ORDC discussion to EPFSTF Phase 2, including ORDC for synchronized, primary and secondary reserves and interactions between day ahead and real time markets for each product. Discuss additivity of ORDCs for each product and zone, and level of ORDC penalty factor, currently $850/MWh.
Uncertainties Modeled on downward sloping portion of ORDC |  |  | N/A | The following uncertainties should be used to model the downward sloping portion of ORDC: 1) Load Forecast 2) Wind Forecast 3)Solar Forecast 4)Forced Outages from Thermal Units | Reserve levels and LMPs. The determinants differ for synchronized and primary reserves. | status quo | Move sloped ORDC discussion to EPFSTF Phase 2.
Time Horizon for Uncertainty Calculation |  |  | N/A | Uncertainty within a 30 Minute time horizon will be used to produce the SR and PR ORDC | From the operating hour applicable to the ORDC to the time of the next peak load | status quo | Move sloped ORDC discussion to EPFSTF Phase 2.
Penalty Factor (Y Axis) |  |  | Step 1: $850 Step 2: $300 | Maintain $850 price for initial horizontal segment of curve (Minimum Reserve Requirement). Replace second step of curve with downward sloping segment of curve, valued at $850*PBMRR | Maintain $850 price for initial horizontal segment of curve (Minimum Reserve Requirement). Replace second step of curve with downward sloping intertemporal ORDC extension | status quo | Move sloped ORDC discussion to EPFSTF Phase 2.
Reserve MW (X Axis) |  |  | X axis measures available reserves. MW breakpoints are at the following: Step 1: Reliability Requirement Step 2: Reliability Requirement + 190 MW + Additional MW for Conservative Ops | X axis measures available reserves. Replace MW breakpoints with the following: 1st segment: Flat, non-sloped portion of the curve representing Minimum Reserve Requirement (MRR) 2nd segment: MWs beyond MRR are valued using sloped reserve demand curve based on PBMRR | X axis measures available reserves. Replace MW breakpoints with the following: 1st segment: Flat, non-sloped portion of the curve representing Minimum Reserve Requirement (MRR) 2nd segment: MWs beyond MRR are valued using sloped reserve demand curve based on intertemporal demand for reserves | status quo | Move sloped ORDC discussion to EPFSTF Phase 2.
Minimum Reserve Requirement (MRR) (Initial horizontal segment on the curve) |  |  | SR: real-time output of Largest Single Contingency PR: 150% of real-time output of Largest Single Contingency | SR: real-time output of Largest Single Contingency plus any adjustments for operator actions PR: 150% of real-time output of Largest Single Contingency plus any adjustments for operator actions | SR: real-time output of Largest Single Contingency plus any adjustments for operator actions PR: 150% of real-time output of Largest Single Contingency plus any adjustments for operator actions | status quo | Move sloped ORDC discussion to EPFSTF Phase 2.
Cascading across reserve products and locations |  |  | Prices cascade by both product and location. However, cascading is limited such that: Primary Reserve is capped at 1* Penalty Factor ($850) Synchronized Reserve is capped at 2 * Penalty Factor ($850) | Status Quo | Status Quo | Status quo. | Status Quo | Low
Low - Medium
Reserve measurement used for declaration of shortage pricing |  |  | PJM declares shortage pricing consistent with the latest dispatch solution. Reserves are measured as the amount available in the latest RT SCED solution (10 minute look ahead). | Status Quo | Status Quo | Status quo | Status Quo | Low - High
Medium
Incorporating Operator Actions into Pricing (and/or RUC commitments) |  |  | 2nd step of demand curve can be extended to account for additional reserves committed under conservative operations | The ORDC will be adjusted when PJM dispatch identifies the need for additional reservess, based on practices defined in the PJM Market Rules. Operator actions would be added to the Minimum Reserve Requirement (MRR) portion of the curve only (not the slope of the curve). Operator will enter desired additional reserve MW to the MRR and define the hour (s) the MRR is adjusted based on the operating condition driving the need for additional reserves. Market Participants would be notified as far in advance of the effective time of the adjustment as possible, including the MW of adjustment, applicable reserve products, effective start and end time, and reason. | The ORDC will be adjusted when PJM dispatch identifies the need for additional reservess, based on practices defined in the PJM Market Rules. Operator actions would be added to the Minimum Reserve Requirement (MRR) portion of the curve only (not the slope of the curve). Operator will enter desired additional reserve MW to the MRR and define the hour (s) the MRR is adjusted based on the operating condition driving the need for additional reserves. Market Participants would be notified as far in advance of the effective time of the adjustment as possible, including the MW of adjustment, applicable reserve products, effective start and end time, and reason. | #1 Need defined guidelines and transparency around use and timing? More clarity needed around "practices defined in the PJM market rules. The language must be prescriptive enough b/c of intent. #2 Shifting to the second step -- $300 level. | The ORDC will be adjusted when PJM dispatch identifies the need for additional reservess, based on practices defined in the PJM Market Rules. Operator actions would be added to the Minimum Reserve Requirement (MRR) portion of the curve only (not the slope of the curve). Operator will enter desired additional reserve MW to the MRR and define the hour (s) the MRR is adjusted based on the operating condition driving the need for additional reserves. Market Participants would be notified as far in advance of the effective time of the adjustment as possible, including the MW of adjustment, applicable reserve products, effective start and end time, and reason. | Medium - High
High
Time Blocks |  |  | N/A | Individual ORDC are defined by season and time of day blocks. 24 different combinations of ORDC are calculated based on 6 time of day blocks and 4 seasons. Seasons: Winter (Dec - Feb) Spring (Mar - May) Summer (Jun - Aug) Fall (Sep - Nov) Time of Day Blocks: 1 (2300-0200) 2 (0300-0600) 3 (0700-1000) 4 (1100-1400) 5 (1500-1800) 6 (1900-2200) | Individual ORDCs are defined by season, time of day, and load level. | status quo | Move sloped ORDC discussion to EPFSTF Phase 2.
Periodicity for ORDC Recalculating |  |  | N/A | Adjusted annually based on historical data for prior 3 years | Adjusted annually based on historical data for prior 3 years | status quo | Move sloped ORDC discussion to EPFSTF Phase 2.
Transition Plan |  |  |  | Adjust the E&AS offset for delivery years falling prior to the implementation date of this package for use in any BRAs conducted after the implementation date of this package. Assuming this package is implemented on 6/1/2019, it means the reference resource’s energy and ancillary service revenues from the 2018/19 Delivery Year and any years prior will be adjusted for use in the 2022/23 BRA and future BRAs that reference any of those years. The reference resource’s energy and ancillary service revenues for years falling prior to the implementation date of this proposal will be adjusted by either a) determining the revenues it would have received based on a simulation conducted for that delivery year using the proposed market rules or b) scaling up the actual revenues received in that year by the percentage increase in revenues observed in the simulation that was conducted for the 2017/2018 delivery year (i.e. the one presented to the task force). | Cleared capacity auction prices need to be addressed to prevent double recovery. Calculate a forward looking Energy and Ancillary Service offset. | status quo | status quo
Implementation Date |  |  |  | 2019-06-01
Group 2 - Reserve Products | Short-Term
Reserve Locations for DASR |  |  | DASR is procured for the RTO, with no sub-zones defined. Synch Reserve and Primary Reserve are procured for the RTO reserve zone and the MAD sub-zone. | Keep DASR at the RTO level (no change). | Keep DASR at the RTO level (no change). | Status quo | Keep DASR at the RTO level (no change).
Reserve Locations for Synchronized and Primary Reserves |  |  |  | For Synch Reserve and Primary Reserve: Keep existing RTO reserve sub-zone structure, but define several possible reserve sub-zones. (Likely reserve sub-zones = Mid-Atlantic Dominion to capture West/East constraints & an additional reserve sub-zone to capture North/South constraints) Existing RTO/MAD structure will be the default subzone structure. Only one reserve sub-zone may be implemented at a time. Reserve sub-zone to be used for a given operating day will be defined on a day-ahead basis and will apply for the entire operating day. Notification of the sub-zone to be modeled each day will be made on a day-ahead basis; however, changes to the reserve sub-zone in use can be made intra-day on an exception basis. Stakeholders will be notified of all intra-day switches in the modeled reserve sub-zone as soon as possible (method TBD). | Allow for multiple concurrent predefined subzones. | For Synch Reserve and Primary Reserve: Keep existing RTO reserve sub-zone structure, but define several possible reserve sub-zones. (Likely reserve sub-zones = Mid-Atlantic Dominion to capture West/East constraints & an additional reserve sub-zone to capture North/South constraints) Existing RTO/MAD structure will be the default subzone structure. Only one reserve sub-zone may be implemented at a time. Reserve sub-zone to be used for a given operating day will be defined on a day-ahead basis and will apply for the entire operating day. Notification of the sub-zone to be modeled each day will be made on a day-ahead basis; however, changes to the reserve sub-zone in use can be made intra-day on an exception basis. Stakeholders will be notified of all intra-day switches in the modeled reserve sub-zone as soon as possible (method TBD). | Allow for multiple concurrent predefined subzones.
Reserve Locations Transparency |  |  |  | Reserve sub-zone definitions will be published quarterly in advance of the network model builds. | Reserve sub-zone definitions will be published quarterly in advance of the network model builds. | Reserve sub-zone definitions will be published quarterly in advance of the network model builds. | Reserve sub-zone definitions will be published quarterly in advance of the network model builds.
SR Charges |  |  | For the effective sub-zone, PJM allocates the total cost of reserve credits to each PJM member based on their obligation ratio share in the applicable zone or subzone. Obligation ratio share is the load ratio share of total estimated and assigned SR MW, adjusted for SR bilateral transactions. See Manual 28 Section 6 for full details. | Status Quo. No change to SR charge calculation* *Calculation will not change, but the sub-zone in which a load is located may change when the sub-zone in use changes. | Status Quo. No change to SR charge calculation* *Calculation will not change, but the sub-zone in which a load is located may change when the sub-zone in use changes. | Status Quo. No change to SR charge calculation* *Calculation will not change, but the sub-zone in which a load is located may change when the sub-zone in use changes. | Status Quo. No change to SR charge calculation* *Calculation will not change, but the sub-zone in which a load is located may change when the sub-zone in use changes.
Transition Plan |  |  |  |  | Cleared capacity auction prices need to be addressed to prevent double recovery. Calculate a forward looking Energy and Ancillary Service offset. | ?? | Cleared capacity auction prices need to be addressed to prevent double recovery. Calculate a forward looking Energy and Ancillary Service offset.
Implementation Date |  |  |  | 2019-06-01
Synchronized Reserve | Short-Term |  | 10 minute online reserve product
Eligibility Requirements |  |  | -electrically located within RTO -online and synchronized to the grid -able to provide energy or reduce load within 10 minutes -has not designated entire capacity as emergency -able to sustain response for 30 minutes -available to provide reserves (ex: not testing) | Status Quo | Status Quo | Status quo | Status Quo
MW Capability |  |  | minimum of 0.1MW of capability to participate (for generation and Demand Response) | Status Quo | Status Quo | status quo | Status Quo
Tier 1 MW Estimate |  |  | Tier 1 is estimated on resources with unloaded 10 minute capability as a result of their economic dispatch point Estimated using ecomax or spin max (if provided) limited by ramp rate (spin ramp rate used if available, else energy ramp rate is used) No Tier 1 is estimated on Demand Response resources No Tier 1 is estimated for solar, wind, nuclear, energy storage, and hydro resources (but can request an exception if resource can actually provide Tier 1) | Do not differentiate between Tier 1 and Tier 2 capability. Reserves available from unloaded capability as a result of a resource's economic dispatch point will continue to be used as Synchronized Reserve. See additional detail in the Tier 2 Offer MW component below. | Do not differentiate between Tier 1 and Tier 2 capability. Reserves available from unloaded capability as a result of a resource's economic dispatch point will continue to be used as Synchronized Reserve. See additional detail in the Tier 2 Offer MW component below. | Do not differentiate between Tier 1 and Tier 2 capability. Reserves available from unloaded capability as a result of a resource's economic dispatch point will continue to be used as Synchronized Reserve. See additional detail in the Tier 2 Offer MW component below. | Do not differentiate between Tier 1 and Tier 2 capability. Reserves available from unloaded capability as a result of a resource's economic dispatch point will continue to be used as Synchronized Reserve. See additional detail in the Tier 2 Offer MW component below.
Tier 1 Offer Structure
Availability |  |  | N/A - Availability for Tier 1 is not submitted to PJM | See description in Tier 2 Availability option below. | See description in Tier 2 Availability option below. | See description in Tier 2 Availability option below. | See description in Tier 2 Availability option below.
Offer MW |  |  | N/A - Tier 1 offer MW is not expressly submitted | See description in Tier 2 Offer MW component below. | See description in Tier 2 Offer MW component below. | See description in Tier 2 Offer MW component below. | See description in Tier 2 Offer MW component below.
Tier 1 MW Adjustments: Deselection |  |  | Tier 1 Deselection - Synchronized Reserve capability is not calculated for the following resource types which typically cannot be relied upon to provide synchronized reserve response: solar, wind, nuclear, energy storage, and hydro resources (but they can request an exception if they indicate and demonstrate an ability to provide synchronized reserves) | Deselection will continue to be used to exclude specific unit classes from providing synchronized reserves. Synchronized Reserve capability will not be automatically calculated for the following resource types only: solar, wind, nuclear, energy storage, and hydro resources (but they can request an exception if they indicate and demonstrate an ability to provide synchronized reserves) No deselection on a unit specific basis. (this is just noted as a clarification of existing practice, not a change from status quo) | Deselection will continue to be used to exclude specific unit classes from providing synchronized reserves. Synchronized Reserve capability will not be automatically calculated for the following resource types only: solar, wind, and nuclear (but they will request an exception if they have an ability to provide synchronized reserves) No deselection on a unit specific basis. (this is just noted as a clarification of existing practice, not a change from status quo) | PJM and IMM -- question on the difference | Deselection will continue to be used to exclude specific unit classes from providing synchronized reserves. Synchronized Reserve capability will not be automatically calculated for the following resource types only: solar, wind, and nuclear (but they will request an exception if they have an ability to provide synchronized reserves) No deselection on a unit specific basis. (this is just noted as a clarification of existing practice, not a change from status quo)
Tier 1 MW Adjustments: DGP |  |  | Degree of Generation Performance (DGP) - DGP score is used to adjust a unit’s ramp rate for the purpose of Tier 1 MW estimation. It is the responsiveness of a unit to PJM dispatch instruction in terms of its recent actual MW output and is modeled as an approximation of the unit's realistic capability. | DGP will continue to be used. Publicly post detailed documentation of DGP calculation and its uses in clearing energy and reserves. | DGP will continue to be used. Publicly post detailed documentation of DGP calculation and its uses in clearing energy and reserves. | DGP will continue to be used. Publicly post detailed documentation of DGP calculation and its uses in clearing energy and reserves. | DGP will continue to be used. Publicly post detailed documentation of DGP calculation and its uses in clearing energy and reserves.
Tier 1 MW Adjustments: Bias |  |  | Tier 1 Bias - The Tier 1 Bias is used by dispatchers to adjust the amount of total Tier 1 MW modeled in the hour-ahead ASO solution to more closely match dispatcher expectations of the amount of Tier 1 that will be available throughout the hour. | Tier 1 Bias will no longer be used. | Tier 1 Bias will no longer be used. | Tier 1 Bias will no longer be used. | Tier 1 Bias will no longer be used.
Offer Price |  |  | N/A - Tier 1 MW are assumed to be offered at $0 (resources do not incur an LOC) | See Tier 2 Offer Price component below. | See Tier 2 Offer Price component below. | See Tier 2 Offer Price component below. | See Tier 2 Offer Price component below.
Synchronized Reserve Maximum |  |  | This value represents the maximum MW output a resource can achieve in response to a Synchronized Reserve Event and is only considered for Tier 1 resources. Synchronized Reserve maximum for Tier 1 resources must be greater than or equal to the economic maximum for the resource except for qualified resources that have been granted exception due to their physical limitation (i.e. duct burners). | This value represents the MW above which the resource cannot provide Synchronized Reserve Event response. Synchronized Reserve Maximum must be less than or equal to Economic Maximum (which means Synch Reserve capability will be less than or equal to 10 minute energy capability). Synchronized Reserve Maximum may only be used for qualified units that are granted exception due to physical limitations (i.e. duct burners). Resources not qualified to use Synch Reserve Maximum will not be able to enter a value for this parameter in Markets Gateway. Use Synch Reserve Maximum in the calculation of reserve assignments for units backed down to provide reserves (Tier 2) going forward. | This value represents the MW above which the resource cannot provide Synchronized Reserve Event response. Synchronized Reserve Maximum must be less than or equal to Economic Maximum (which means Synch Reserve capability will be less than or equal to 10 minute energy capability). Synchronized Reserve Maximum may only be used for qualified units that are granted exception due to physical limitations (i.e. duct burners). Resources not qualified to use Synch Reserve Maximum will not be able to enter a value for this parameter in Markets Gateway. Use Synch Reserve Maximum in the calculation of reserve assignments for units backed down to provide reserves (Tier 2) going forward. |  | This value represents the MW above which the resource cannot provide Synchronized Reserve Event response. Synchronized Reserve Maximum must be less than or equal to Economic Maximum (which means Synch Reserve capability will be less than or equal to 10 minute energy capability). Synchronized Reserve Maximum may only be used for qualified units that are granted exception due to physical limitations (i.e. duct burners). Resources not qualified to use Synch Reserve Maximum will not be able to enter a value for this parameter in Markets Gateway. Use Synch Reserve Maximum in the calculation of reserve assignments for units backed down to provide reserves (Tier 2) going forward.
Synchronized Reserve Ramp Rate |  |  | Expressed in (MW/minute). A separate ramp rate may be submitted for multiple segments of a resource’s MW range, and these ramp rates must be greater than or equal to the real-time economic ramp rate(s) submitted for the resource. Synchronized Reserve ramp rates that exceed economic ramp rates must be justified via submission of actual data from past Synchronized Reserve Events to the PJM Performance Compliance Department. | Remove Synchronized Reserve Ramp Rate. Use segmented Energy Ramp Rate submitted to Markets Gateway for all Synchronized Reserve capability calculations. Allow hourly ramp rates to be specified and allow them to be updated up to 65 minutes prior to start of operating hour. Require in the OATT that Market Sellers submit ramp rates based on actual, physical operating capability. | Remove Synchronized Reserve Ramp Rate. Use segmented Energy Ramp Rate submitted to Markets Gateway for all Synchronized Reserve capability calculations. Allow hourly ramp rates to be specified and allow them to be updated up to 65 minutes prior to start of operating hour. Require in the OATT that Market Sellers submit ramp rates based on actual, physical operating capability. | Remove Synchronized Reserve Ramp Rate. Use segmented Energy Ramp Rate submitted to Markets Gateway for all Synchronized Reserve capability calculations. Allow hourly ramp rates to be specified and allow them to be updated up to 65 minutes prior to start of operating hour. Require in the OATT that Market Sellers submit ramp rates based on actual, physical operating capability. | Remove Synchronized Reserve Ramp Rate. Use segmented Energy Ramp Rate submitted to Markets Gateway for all Synchronized Reserve capability calculations. Allow hourly ramp rates to be specified and allow them to be updated up to 65 minutes prior to start of operating hour. Require in the OATT that Market Sellers submit ramp rates based on actual, physical operating capability.
Tier 2 Capability |  |  | MWs of additional capacity when resources are operating at a point that deviates from economic dispatch or providing reserves in condensing mode | remove distinction between Tier 1 and Tier 2 | remove distinction between Tier 1 and Tier 2 | remove distinction between Tier 1 and Tier 2 | remove distinction between Tier 1 and Tier 2
Tier 2 Offer Structure
Availability |  |  | Resources may be made unavailable to provide Tier 2 Synchronized Reserve only if they are physically unavailable. Otherwise, they must be made available or self-scheduled to provide Tier 2 Synchronized Reserve per the must offer requirement. | All online resources will be assumed to be available for reserves if available for energy. However, the following resource types will be excluded from the calculation of synchronized reserves by default (as defined in M11): - solar, wind, nuclear (but they will request an exception if they have an ability to provide synchronized reserves) - Units assigned regulation (clarification of status quo) The following subset of resources will be allowed to update their availability to provide reserves, based on physical limitations - Hydro units, Demand Resources, solar, wind, nuclear, and energy storage - Resources outside of the above defined set will NOT be able to change their availability for reserves. All capacity resources with an energy must offer requirement must adhere to the synchronized reserve Must Offer requirement with no distinction between offline and online units. Any physical limitation on the amount of capacity available as reserves (Spin Max value) must be documented in detail and reviewed by PJM prior to use in reserve offers. | All online resources will be assumed to be available for reserves if available for energy. However, the following resource types will be excluded from the calculation of synchronized reserves by default (as defined in M11): - solar, wind, nuclear (but they will request an exception if they have an ability to provide synchronized reserves) - Units assigned regulation (clarification of status quo) The following subset of resources will be allowed to update their availability to provide reserves, based on physical limitations - Hydro units, Demand Resources, solar, wind, nuclear, and energy storage - Resources outside of the above defined set will NOT be able to change their availability for reserves. All capacity resources with an energy must offer requirement must adhere to the synchronized reserve Must Offer requirement with no distinction between offline and online units. Any physical limitation on the amount of capacity available as reserves (Spin Max value) must be documented in detail and reviewed by PJM prior to use in reserve offers. | All online resources will be assumed to be available for reserves if available for energy. However, the following resource types will be excluded from the calculation of synchronized reserves by default (as defined in M11): - solar, wind, nuclear (but they will request an exception if they have an ability to provide synchronized reserves) - Units assigned regulation (clarification of status quo) The following subset of resources will be allowed to update their availability to provide reserves, based on physical limitations - Hydro units, Demand Resources, solar, wind, nuclear, and energy storage - Resources outside of the above defined set will NOT be able to change their availability for reserves. All capacity resources with an energy must offer requirement must adhere to the synchronized reserve Must Offer requirement with no distinction between offline and online units. Any physical limitation on the amount of capacity available as reserves (Spin Max value) must be documented in detail and reviewed by PJM prior to use in reserve offers. | All online resources will be assumed to be available for reserves if available for energy. However, the following resource types will be excluded from the calculation of synchronized reserves by default (as defined in M11): - solar, wind, nuclear (but they will request an exception if they have an ability to provide synchronized reserves) - Units assigned regulation (clarification of status quo) The following subset of resources will be allowed to update their availability to provide reserves, based on physical limitations - Hydro units, Demand Resources, solar, wind, nuclear, and energy storage - Resources outside of the above defined set will NOT be able to change their availability for reserves. All capacity resources with an energy must offer requirement must adhere to the synchronized reserve Must Offer requirement with no distinction between offline and online units. Any physical limitation on the amount of capacity available as reserves (Spin Max value) must be documented in detail and reviewed by PJM prior to use in reserve offers.
Offer MW |  |  | Resources capable of providing Tier 2 must offer into the market a MW amount greater than or equal to 90% of its energy ramp rate for the ramp rate segment including its economic max, multiplied by 10 minutes | N/A - 10 minute reserve capability (offer MW) will be automatically calculated using segmented energy ramp rate, limited by Economic Max (or Spin Max where available) for all eligible resources bid in as available for synchronized reserves (remain consistent with must offer requirement), with the exception of the following resources which will be allowed to specify a synchronized reserve offer MW amount: - Hydro units, Demand Resources, and energy storage - Resources outside of the above defined set will NOT be able to specify offer MW. Reserve capability for condensers will be calculated as: Max(Eco Min + (10 minutes - Condense to Gen Time) * ramp rate, Eco Max) Energy Storage will require further discussion. See detailed document describing revisions to reserve must offer requirement. | N/A - 10 minute reserve capability (offer MW) will be automatically calculated using segmented energy ramp rate, limited by Economic Max (or Spin Max where available) for all eligible resources bid in as available for synchronized reserves (remain consistent with must offer requirement), with the exception of the following resources which will be allowed to specify a synchronized reserve offer MW amount: - Hydro units, Demand Resources, and energy storage - Resources outside of the above defined set will NOT be able to specify offer MW. Reserve capability for condensers will be calculated as: Max(Eco Min + (10 minutes - Condense to Gen Time) * ramp rate, Eco Max) Energy Storage will require further discussion. See detailed document describing revisions to reserve must offer requirement. | N/A - 10 minute reserve capability (offer MW) will be automatically calculated using segmented energy ramp rate, limited by Economic Max (or Spin Max where available) for all eligible resources bid in as available for synchronized reserves (remain consistent with must offer requirement), with the exception of the following resources which will be allowed to specify a synchronized reserve offer MW amount: - Hydro units, Demand Resources, and energy storage - Resources outside of the above defined set will NOT be able to specify offer MW. Reserve capability for condensers will be calculated as: Max(Eco Min + (10 minutes - Condense to Gen Time) * ramp rate, Eco Max) Energy Storage will require further discussion. See detailed document describing revisions to reserve must offer requirement. | N/A - 10 minute reserve capability (offer MW) will be automatically calculated using segmented energy ramp rate, limited by Economic Max (or Spin Max where available) for all eligible resources bid in as available for synchronized reserves (remain consistent with must offer requirement), with the exception of the following resources which will be allowed to specify a synchronized reserve offer MW amount: - Hydro units, Demand Resources, and energy storage - Resources outside of the above defined set will NOT be able to specify offer MW. Reserve capability for condensers will be calculated as: Max(Eco Min + (10 minutes - Condense to Gen Time) * ramp rate, Eco Max) Energy Storage will require further discussion. See detailed document describing revisions to reserve must offer requirement.
Offer Price |  |  | Synchronized Reserve offer prices will be capped at a maximum value of the resource’s O&M cost (as determined by the Cost Development Task Force) plus $7.50/MWh margin. | Can submit an offer price up to an established margin $7.50, the expected value of the penalty (approx. $0.02/MWh), plus condensing-specific costs Expected value of the penalty is recalculated annually and based on: - Average rate of non-performance - Probability of an event 10 minutes or greater occurring - Average penalty rate (expressed in $/MWh) Remove VOM from offer | Remove offer margin. Remove VOM from offer | IMM proposal - Question on what is the right figure. | Remove offer margin. Remove VOM from offer
Synchronized Reserve Maximum |  |  | N/A - not currently used in the assignment of Tier 2 MW | See above. | See above. |  | See above.
Condenser specific offer parameters |  |  | Units that can provide synchronized reserve in condensing mode submit offer costs and parameters specific to their operation in condensing mode and transition from condensing mode to generating energy. These offer parameters and costs include: Energy Usage MW Condenser Startup Cost Condense Hourly Cost Condense to Gen Cost Condense Notification Time Condense Available Status | Add 'Condense to Generation Time' to the parameters that must be submitted for condensers. | Add 'Condense to Generation Time' to the parameters that must be submitted for condensers. | Add 'Condense to Generation Time' to the parameters that must be submitted for condensers. | Add 'Condense to Generation Time' to the parameters that must be submitted for condensers.
Compensation
Tier 1 credits |  |  | outside of SR event: paid the SRMCP when the NSRMCP > $0 response during SR event: paid Synchronize Reserve energy premium price multiplied by actual MW provided | same as Tier 2 - resources assigned synchronized reserves will be paid SRMCP regardless of whether a synchronized reserve event occurs or not. (Tier 1 premium price no longer used) Discontinue payment of Tier 1 premium price for synchronized reserve event response from resources that are not assigned for reserves. Discontinue payment of Tier 1 resources when NSRMCP > $0 (assigned resources will be credited at SRMCP all the time, regardless of the NSRMCP) | same as Tier 2 - resources assigned synchronized reserves will be paid SRMCP regardless of whether a synchronized reserve event occurs or not. (Tier 1 premium price no longer used) Discontinue payment of Tier 1 premium price for synchronized reserve event response from resources that are not assigned for reserves. Discontinue payment of Tier 1 resources when NSRMCP > $0 (assigned resources will be credited at SRMCP all the time, regardless of the NSRMCP) | same as Tier 2 - resources assigned synchronized reserves will be paid SRMCP regardless of whether a synchronized reserve event occurs or not. (Tier 1 premium price no longer used) Discontinue payment of Tier 1 premium price for synchronized reserve event response from resources that are not assigned for reserves. Discontinue payment of Tier 1 resources when NSRMCP > $0 (assigned resources will be credited at SRMCP all the time, regardless of the NSRMCP) | same as Tier 2 - resources assigned synchronized reserves will be paid SRMCP regardless of whether a synchronized reserve event occurs or not. (Tier 1 premium price no longer used) Discontinue payment of Tier 1 premium price for synchronized reserve event response from resources that are not assigned for reserves. Discontinue payment of Tier 1 resources when NSRMCP > $0 (assigned resources will be credited at SRMCP all the time, regardless of the NSRMCP)
Tier 2 credits |  |  | paid the higher of SRMCP or (offer plus LOC) | no change - all assigned resources paid SRMCP. Resources will be made whole to offer cost plus LOC as needed. | no change - all assigned resources paid SRMCP. Resources will be made whole to offer cost plus LOC as needed. | no change - all assigned resources paid SRMCP. Resources will be made whole to offer cost plus LOC as needed. | no change - all assigned resources paid SRMCP. Resources will be made whole to offer cost plus LOC as needed.
SR Charges |  |  | PJM allocates the total cost of reserve credits to each PJM member based on their obligation ratio share in the applicable zone or subzone. Obligation ratio share is the load ratio share of total estimated and assigned SR MW, adjusted for SR bilateral transactions. See Manual 28 Section 6 for full details. | Charge is calculated based on obligation ratio share of total assigned SR in the applicable zone or sub-zone adusted for SR bilateral transactions (Tier 1 estimate portion of calculation goes away) | Charge is calculated based on obligation ratio share of total assigned SR in the applicable zone or sub-zone adusted for SR bilateral transactions (Tier 1 estimate portion of calculation goes away) | Charge is calculated based on obligation ratio share of total assigned SR in the applicable zone or sub-zone adusted for SR bilateral transactions (Tier 1 estimate portion of calculation goes away) | Charge is calculated based on obligation ratio share of total assigned SR in the applicable zone or sub-zone adusted for SR bilateral transactions (Tier 1 estimate portion of calculation goes away)
MCP calculation - See energy price formation matrix |  |  |  | No change. Price formation matrix is a separate package. MCP calculation only changes if price formation modified. | No change. | status quo | No change.
Co-optimization |  |  | Co-optimized with energy and non-synchronized reserve | Status Quo
Synch Reserve Must Offer Penalty |  |  | No penalty | Status Quo | Any resource that fails to offer all available cleared RPM capacity capable of providing reserves as reserves will incur a penalty. The penalty will be equal to the withheld MW times the relevant synchronized reserve market clearing price(s), summed over all applicable reserve products and market intervals with withheld MW. The penalty is automatic, with no discretion on the part of PJM or the IMM. | IMM (Penatly is desirable. Advocates think of the Polar Vortex and the capacity performance fix) | Any resource that fails to offer all available cleared RPM capacity capable of providing reserves as reserves will incur a penalty. The penalty will be equal to the withheld MW times the relevant synchronized reserve market clearing price(s), summed over all applicable reserve products and market intervals with withheld MW. The penalty is automatic, with no discretion on the part of PJM or the IMM.
Event Performance
Performance Measurement |  |  | magnitude of response to an event is the difference between the resource's output at the start of the event and its output 10 min after the start of the event (for compliance); resource must maintain an output level greater than or equal to the level at 10 min for the duration of the event or 30 min, whichever is shorter; resource is credited the difference between output at 10 min and output at the lesser of the end of event or 30 min | Status Quo | Requires clarification of status quo. | status quo - always want clarity | Requires clarification of status quo.
Consequence of Non-Performance |  |  | No consequences for Tier 1 For Tier 2, owner incurs a retroactive obligation to refund at SRMCP the amount of the shortfall measured in MW for all hours the resource was assigned or self-scheduled over the immediate past interval (defined as the lesser of the avg number of days between events as determined by annual review over last 2 years (19 days for 2018), or number of days since resource failed to response to SR event) Retroactive obligations are only assessed for SR events that last 10 minutes or longer | No change in penalty calculation or look back period. Penalty applies to both Tier 1 and Tier 2 assigned MWs. | Penalties are based on the time period since the last spinning event that exceeds 10 minutes duration and the time of nonperformance. Penalty is the revenues per MWh received in the reserve market, including uplift, since the time of the last spinning event with duration greater than 10 minutes during which the resource performed, or 12 months if the resource did not clear and perform in 12 months, times the nonperformance MWh. | Penalties are based on the time period since the last spinning event that exceeds 10 minutes duration and the time of nonperformance. Penalty is the revenues per MWh in the reserve market, including uplift since the time of the last spinning even with duration greater than 10 minutes, times the nonperformance MWh | Penalties are based on the time period since the last spinning event that exceeds 10 minutes duration and the time of nonperformance. Penalty is the revenues per MWh received in the reserve market, including uplift, since the time of the last spinning event with duration greater than 10 minutes during which the resource performed, or 12 months if the resource did not clear and perform in 12 months, times the nonperformance MWh.
Synch Reserve Operating Reserve Demand Curve | [5 empty] | ?
Shape |  |  | Stepped demand curve |  |  | ?
Penalty Factor (Y Axis) |  |  | Step 1: $850 Step 2: $300 |  |  | ?
Reserve MW (X Axis) |  |  | Step 1: Reliability Requirement Step 2: Reliability Requirement + 190 MW |  |  | ?
?
Transition Plan |  |  | N/A |  | Cleared capacity auction prices need to be addressed to prevent double recovery. Calculate a forward looking Energy and Ancillary Service offset. | ??? A tranisition plan is needed b/c capacity market offset will not happen three years.
Implementation Date |  |  |  | 2019-06-01
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Energy Price Formation Senior Task Force
Energy Price Formation
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Energy Price Formation Senior Task Force
Energy Price Formation
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Energy Price Formation Senior Task Force
Energy Price Formation
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3