## Summary
Baltimore Gas and Electric requested PJM conduct two scenarios. Each scenario consists of two peak shaving programs (direct load control and behavior) with a corresponding time-of-day reduction matrix (see tab 'Reduction Matrix'). Each scenario has the same size for each program and only differ in their THI trigger points.
Scenario 1
DLC Trigger 81.5
Behavior Trigger 83
Scenario 2
DLC Trigger 82
Behavior Trigger 83.5

## Reduction Matrix
Direct Load Control
MW that Equals 100% | 220 | (generator level)
THI
| 89 | 88.5 | 88 | 87.5 | 87 | 86.5 | 86 | 85.5 | 85 | 84.5 | 84 | 83.5 | 83 | 82.5 | 82 | 81.5 | 81 | 80.5 | 80 | 79.5 | 79 | 78.5 | 78 | 77.5 | 77 | 76.5 | 76 | 75.5 | 75
Hour Ending 14 | 120% | 117.7% | 115.4% | 113.1% | 110.8% | 108.5% | 106.2% | 103.8% | 101.5% | 99.22% | 96.9% | 94.59% | 92.28% | 89.96% | 87.65% | 85.33% | 83.02% | 80.71% | 78.39% | 76.08% | 73.77% | 71.52% | 69.35% | 67.24% | 65.2% | 63.21% | 61.29% | 59.43% | 57.62%
15 | 161.4% | 156.9% | 152.4% | 148% | 143.5% | 139% | 134.5% | 130.1% | 125.6% | 121.1% | 116.6% | 112.2% | 107.7% | 103.2% | 98.74% | 94.26% | 89.79% | 85.31% | 80.84% | 76.36% | 71.88% | 67.67% | 63.7% | 59.97% | 56.46% | 53.15% | 50.03% | 47.1% | 44.34%
16 | 160.2% | 156.1% | 152% | 147.9% | 143.8% | 139.7% | 135.6% | 131.5% | 127.4% | 123.3% | 119.2% | 115.1% | 111% | 106.9% | 102.8% | 98.65% | 94.55% | 90.45% | 86.35% | 82.25% | 78.15% | 74.25% | 70.55% | 67.03% | 63.68% | 60.51% | 57.49% | 54.62% | 51.9%
17 | 182.8% | 177.3% | 171.8% | 166.2% | 160.7% | 155.2% | 149.7% | 144.2% | 138.6% | 133.1% | 127.6% | 122.1% | 116.6% | 111% | 105.5% | 100% | 94.48% | 88.96% | 83.44% | 77.92% | 72.4% | 67.27% | 62.5% | 58.07% | 53.96% | 50.13% | 46.58% | 43.28% | 40.21%
18 | 138.2% | 135.1% | 132.1% | 129.1% | 126.1% | 123.1% | 120.1% | 117.1% | 114.1% | 111.1% | 108.1% | 105.1% | 102.1% | 99.13% | 96.13% | 93.13% | 90.13% | 87.13% | 84.13% | 81.12% | 78.12% | 75.23% | 72.45% | 69.77% | 67.19% | 64.7% | 62.31% | 60% | 57.78%
19 | 138.2% | 135.1% | 132.1% | 129.1% | 126.1% | 123.1% | 120.1% | 117.1% | 114.1% | 111.1% | 108.1% | 105.1% | 102.1% | 99.13% | 96.13% | 93.13% | 90.13% | 87.13% | 84.13% | 81.12% | 78.12% | 75.23% | 72.45% | 69.77% | 67.19% | 64.7% | 62.31% | 60% | 57.78%
Behavior Load Reduction
MW that Equals 100% | 150 | (generator level)
THI
| 89 | 88.5 | 88 | 87.5 | 87 | 86.5 | 86 | 85.5 | 85 | 84.5 | 84 | 83.5 | 83 | 82.5 | 82 | 81.5 | 81 | 80.5 | 80 | 79.5 | 79 | 78.5 | 78 | 77.5 | 77 | 76.5 | 76 | 75.5 | 75
Hour Ending 14 | 81.5% | 81.5% | 81.5% | 81.5% | 81.5% | 81.5% | 81.5% | 81.5% | 80.69% | 79.89% | 77.76% | 76.97% | 76.18% | 74.03% | 73.25% | 72.48% | 70.31% | 69.54% | 68.79% | 66.6% | 65.86% | 64.42% | 63.02% | 61.65% | 60.31% | 59% | 57.72% | 56.46% | 55.24%
15 | 86.29% | 86.29% | 86.29% | 86.29% | 86.29% | 86.29% | 86.29% | 86.29% | 83.67% | 81.05% | 79.71% | 77.09% | 74.47% | 71.84% | 69.22% | 67.87% | 65.24% | 62.61% | 61.25% | 58.61% | 55.97% | 53.54% | 51.21% | 48.99% | 46.86% | 44.82% | 42.87% | 41.01% | 39.22%
16 | 103.5% | 103.5% | 103.5% | 103.5% | 103.5% | 103.5% | 103.5% | 103.5% | 101.5% | 99.47% | 97.48% | 95.5% | 93.53% | 91.57% | 89.63% | 87.7% | 85.79% | 83.9% | 82.03% | 80.18% | 78.37% | 75.52% | 72.77% | 70.13% | 67.58% | 65.12% | 62.75% | 60.47% | 58.27%
17 | 106.3% | 106.3% | 106.3% | 106.3% | 106.3% | 106.3% | 106.3% | 106.3% | 105.4% | 103.4% | 102.6% | 102% | 100% | 99.46% | 99.02% | 98.69% | 97.01% | 96.94% | 97.06% | 97.4% | 98.03% | 94.71% | 91.5% | 88.4% | 85.4% | 82.5% | 79.71% | 77.01% | 74.39%
18 | 123.8% | 123.8% | 123.8% | 123.8% | 123.8% | 123.8% | 123.8% | 123.8% | 120.5% | 118.5% | 115.2% | 113.3% | 110% | 108% | 104.7% | 102.8% | 100.9% | 97.49% | 95.57% | 93.66% | 91.77% | 88.85% | 86.03% | 83.3% | 80.66% | 78.1% | 75.62% | 73.22% | 70.89%
19 | 125.1% | 125.1% | 125.1% | 125.1% | 125.1% | 125.1% | 125.1% | 125.1% | 123.2% | 119.9% | 118% | 114.7% | 112.8% | 109.5% | 107.5% | 105.6% | 102.3% | 100.4% | 98.51% | 96.64% | 93.27% | 88.97% | 84.86% | 80.94% | 77.21% | 73.65% | 70.25% | 67% | 63.91%

## Results
BRA Planning Parameters for 2021 DY
| Base | Scenario 1 |  | Scenario 2
Coincident Peak | 6385.6297 | 6116.97 | -268.6597 | 6151.2293 | -234.4004
CETO* | 4470 | 4790 |  | 4810
Reliability Requirement | 7910 | 7633.964 | -276.036 | 7653.964 | -256.036
*CETOs are not directly comparable. The Base case assumes available load management according to Table B-7 of the 2018 PJM Load Forecast Report. Scenario cases include reductions to the forecast yet no additional load management.