## Sheet1
Updated - August 12, 2014
ID | Requester | Action Item | Response
1 | Ed Tatum | Were the coal units that were off on January 7 back on for the winter storm?
2 | Mike Borgati | For the gas interruption outages, what percent were called outside of their DA awards?
3 | Ed Tatum | Please add percentage on slide 6 for January 24 and 28.
4 | Susan Bruce | Of the January outages, how much was from units that are planning to retire?
5 | Jim Benchek | Are the outages from all generators or just capacity resources? | see item 7
6 | Susan Bruce Will Burns | Was generator location important to outage numbers? For instance, a particular LDA or behind a certain LDC?
7 | Jim Wilson | Please split outage numbers based on energy or capacity resources.
8 | Will Burns | Slide 6 - are these chronically curtailed units that were on forced outage during January? Or, is it related to specific pipeline issues.
9 | Will Burns | Please provide more data on outages compared to temperatures. | Slide 7
10 | Ed Tatum | Can we see wind chill and outage by primary mover?
11 | Dan Griffiths | What does it take to improve physical performance at colder temps and what is the associated capital cost?
12 | Jim Benchek | Is outage performance at cold temperatures better when the market incentives exist or was in demand during the time?
13 | Susan Bruce | Is the generator performance also worse in hotter weather? (bathtub curve)
14 | Jim Wilson | Is the wind chill and outage graph showing bad performance on just a few days? Can you show the cluster of days?
15 | Ed Tatum | Part II report, please add more verbiage about the wind chill and forced outage chart?
16 | Ed Tatum | Do we have similar information for other zones? Can we see the wind chill and forced outage charts?
17 | Brock Ondayko Jim Wilson | Are outages higher in years with lower capacity prices? Is there correlation between EFORd and the prices?
18 | Jim Wilson | Please elaborate on the analysis demonstrating that January was a 1 in 10 event.
19 | Dan Griffiths | slide 9 - Please make it more clear that this is excess outage above expected outages.
20 | Jim Wilson | Remove the weather-outages units from the cumulative prob table so they are not double counted
21 | Bruce Campbell | How did wind perform in the winter?
| Ed Tatum | Part II report, please add more verbiage about how a 15% outage over the expected outage in winter translates to a loss of load on a peak day.
23 | Ed Tatum Marji Philips | Please further explain the 15.7% and 37.3% reserve margin graph.
24 | Jim Wilson | Please detail what resources were included for 2015 and 2016 comparison on slide 9.
25 | Will Burns | Please share the differences in capacity between winter 2015 and 2016. What are your CIR assumptions.
26 | Susan Bruce | How much of the existing generation in PJM is dual fuel?
27 | Jim Wilson | Please increase summer capacity to push LOLE less than 0.1 as a sensitivity analysis and see how much that impacts the winter requirement.
28 | Jim Wilson | In the final report, please be clear if the potential loss of load is about the model or the real world. | Real World
29 | Katie Guerry | How much generation from the queue is ultimately built on a MW-basis and a generator-basis by primary mover (fuel-type)?
30 | Katie Guerry | If a planned generator cleared in a BRA, how much of the queue is that? (slides 11&12)
31 | Jung Suh | What percent of the uplift from January was caused by gas/electric day coordination? | large chunk
32 | Jim Wilson | Lack of compensation for resource flexibility. Please be more clear in the report and add further detail.
33 | Eric Matheson | Please provide further education regarding the current ability to recover staffing costs.
34 | Bruce Campbell | Please provide additional information about EFORp and how it is utilized.
35 | Ed Tatum | Please include implementation explanations for any potential proposed solutions.
36 | Walter Hall | Slide 13 - please provide a thorough discussion of the low probability and high reliability impact events which costs are not permitted recovery under current market rules.
37 | Marji Philips | Interested if performance results vary based on LDA versus rest of RTO.
38 | Susan Bruce | What protections exist against the exercise of market power including portfolio effects? | To be included in Draft Whitepaper Part II
39 | Susan Bruce | Please bound the potential impacts on end-use customer costs - both incentives and penalties. | To be included in Draft Whitepaper Part II
40 | Michelle Gardner | Slide 9 - what did PJM project with regard to wind resources and its performance for 2015 and 2016?
41 | Jim Wilson | Please ensure that the discussion of incentives includes the impacts of portfolio effects. | To be included in Draft Whitepaper Part II
42 | Jim Wilson | Would like the generator survey to be updated with a follow-up based on the current thinking. | Considering performing survey follow-up
43 | Tom Rutigliano | Slide 9 & 10 - Please provide more intraday information. (energy storage related)
44 | Mike Borgati | Slide 3 - What was the deviation between peak load and DA load?
45 | Rene Demuynck | Slide 10 - Please indicate how the GADS-filed unit ratings for the winter months posted by generators and reflected in the 190,000 MW IRM line.
46
47
48
49
50
51
52
53
54
55