## Setup
Enter Stakeholder Group Name in cell A2:
MIC Special Session
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Gas Pipeline Contingency Costs

## 1. Interest Identification
MIC Special Session
Gas Pipeline Contingency Costs
Interest Identification
Instructions: List interests of all parties on this page.
1 | Tariff contains specific provisions that clearly state PJM's authority to direct generators to take action to maintain reliability
2 | Appropriate costs directly attributed to a PJM Operating Instruction are 1.) reflected in LMP, and if not, 2.) recovered out of market
3 | Ensure appropriate level of transparency for these additional costs
4 | Reliable operations, ability to meet NERC standards
5 | All resources are treated non-discriminatory; technology neutral
6 | Clearly identify the limits of PJM's authority
7 | Incurred cost, including lost opportunity cost, attributed to PJM operating instructions are recovered
8 | Incurred cost, including lost opportunity cost, attributed to PJM operating requests are recovered
9 | Incurred costs are allocated to resources that benefited from the operational change made by other resources
10 | Transparent market signals that reflect the operational constraint
11 | Consistency between PJM authority to direct operations and cost recovery
12 | Allowing for costs to be accounted for in LMP
13 | When is DR considered vs. directing a fuel or pipeline switch?
14 | How best for cost to be seen by dispatchers so that other dispatcher operating actions could be considered
15
16
17
18
19
20

## KWA#5
KWA #5: Discuss the costs (i.e. incremental and opportunity) that could be incurred as a result of following PJM Operating Instructions and the methods used to quantify them
Item | Generator Costs Associated with Operating Instruction | Method to Quantify
1 | Gas Balancing
On the primary pipeline
On the alternate pipeline
2 | Pipeline / LDC Penalties
3 | LOC - reduced output
Startup costs
Cycling costs
Emission costs
Deviation charges
4 | Value for using limited run hours
5 | Performance Assessment Penalty - attributable to actions for following operating instruction
6 | Alternate fuel costs
7 | Variance between available schedule and immediate calculation / temporal costs associated with schedules
8 | Violation of fuel cost policy in following directive
9 | Prorated share of Firm Transportation
10 | Recovery of Day-Ahead profit
Duration for capturing costs
Note on B7: Brown, Rich: Including failed to restart

## 2. Options Matrix- Design Comp
MIC Special Session
Gas Pipeline Contingency Costs
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Timing - available to include in FCP? | Priority | Status Quo | As Filed | A | B | C | D | E
* | Implementation
1 | Intraday Offers participation |  | Low - High | Opt in' or 'Opt out' |  | Either Opt-in or Opt-out | Opt in for cost recovery
2A | Gas Balancing costs: (cost associated with imbalance of gas nominated vs. used) Not the commodity cost (e.g. 'Park' charge for gas left on primary pipeline; 'Loan" charge for gas used on alternate pipeline; penalities, such as, charges for exceeding Maximum Daily Quantity; charges for exceeding min/max Storage Balance, etc) Including penalties enforced on the pipeline for any reason. | Yes, at least partially | Low - High | Costs associated gas pipeline storage, park and loan, or other similar tariff-based rate for gas balancing can be included if the cost is included in the FCP and can be calculated prior to creating a cost-based offer. |  | Compensate unit for costs associated with switching at PJM direction, but violating FCP/ Include FCP provision to allow & compensate switching costs / Tariff provision to compensate for defined switching scenarios Including compensation for gas balancing costs | • Pre-contingency: Make whole payment for costs developed IAW FCP on primary and/or alternate pipelines • Post-contingency: no recovery, unless evidence provided that unit could have continued operation on primary source, where make whole payment for costs developed IAW FCP on primary and/or alternate pipelines | Make-whole compensation for gas balancing costs | Pre-contingency: Make whole payment for costs regardless of FCP on primary and/or alternate pipelines Post-contingency: recovery consistent with pre-contingency recovery. If PJM can prove the unit could not operate, there will be no recovery. |  |  | Medium
2B | Gas Balancing costs: Commodity cost on primary pipeline (e.g. daily 'cash out' requirements) | No | Low - High | No compensation |  | Make-whole payments for fuel commodity costs | • Pre-contingency: Make whole payment for costs developed IAW FCP on primary pipeline • Post-contingency: no recovery, unless evidence provided that unit could have continued operation on primary source, where make whole payment for costs developed IAW FCP on primary pipeline |  | Pre-contingency: Make whole payment for costs regardless of FCP on primary and/or alternate pipelines Post-contingency: recovery consistent with pre-contingency recovery. If PJM can prove the unit could not operate, there will be no recovery. |  |  | High
2C.1 | Transparency to the Dispatch Operator
2C.2 | Transparency to the Market Participant of the requirements to receive make-whole
2C.3 | Review process for compensation mechanism
3 | Startup Cost |  | Low - High | Included in Operating Reserve Calculation Units committed by PJM | Startup cost recovered under extended LMP as filed in Fast start compliance filing | Compensate for unrecovered money associated with startup as filed in Fast Start Yes, if restart is required to switch to alternate fuel source | Yes, if restart is required to switch to alternate fuel source • Are SU costs for switching to alternate fuel different than standard SU cost? |  |  |  |  | Low - Medium
4 | (Operational) Cost to Switch ex - open gas valve |  | Low - High | No compensation |  |  | Yes, as outline in Manual 15 Already included in 2A/2B? |  |  |  |  | Low - High
5A | Emission Costs |  | Low - High | Allowances as specified in Fuel Cost Policy |  |  | Status Quo |  |  |  |  | Medium - High
6 | Lost Opportunity Credits
6A | Reduced output |  | Low - High | LOC (subject to review) |  |  | Status Quo • would require changes to calculation (e.g. which schedule is used) |  |  |  | Low
6B | Cycling costs |  | Low - High | Recovered in unit's maintenance adder |  |  | Status quo |  |  |  | Low - Medium
6C | Deviation charges (Operating Charge & DA v. RT LMP Differential) |  | Low - High | No Operating Reserve charges for deviation (subject to review, assumes following dispatch) |  |  | Status quo |  |  |  | Low - High
7 | Performance Assessment Penalty - attributable to actions for following Operating Instruction | No | Low - High | Exempt MWs include: • Associated with approved gen outage • MWs not scheduled by PJM • MWs scheduled down by PJM |  |  | • Pre-Contingency: Expand the scope of exempt MWs to include Performance Shortfall resulting from switching to alternate fuel/source to comply with a PJM Operating Instruction • Post-contingency: Status Quo, unless evidence provided that unit could have continued operation on primary source Limited to PAIs during the Operating Instruction period and up to xx hours after |  |  |  | Medium - High
8 | Alternate fuel costs | Yes, at least partially | Low - High | No compensation |  | Recover verified costs associated with using alternate fuels including short notice purchase costs incurred. Includes Lost Opportunity Revenues Associated with Using a Different Fuel (Fuel B). (Cost of Fuel B- Cost of Fuel A) * MWs The segment covers the period of the fuel switch only. | Is this accounted for in 2B? (Manual 11 Attachment xx?)
8A | Segments for fuel switch
9 | Value for using limited run hours | Yes | Low - High | Use Opportunity Cost Calculator to update offer and follow defined process Does not address CP penalty risk |  |  | These issues are being discussed in MIC Any updates needed?
9A | Limited Fuel (non-environmental) |  |  |  |  | CP Penalty risk excluded
9B | Limited Emission hours (including 2nd fuel) |  |  |  |  | N/A: (PJM to dispatch unit offline, unless units obtains a regulatory waiver)
10 | Variance between available schedule and immediate calculation / temporal costs associated with schedules (e.x. active schedule not reflective of unit operating on multiple fuels) | No | Low - High | No compensation |  | After-the-fact Cost development based on circumstances to be approved by PJM | Is this accounted for in 2A/2B? (Manual 11 Attachment xx?)
11 | Prorated share of Firm Transportation |  | Low - High | No compensation |  | After-the fact Calculation of Cost of Property Right, which was prevented from being used | Status Quo
12 | Recovery of Day-Ahead profit |  | Low - High | Not covered in current Tariff language/No compensation |  | Includes Lost Opportunity Revenues Associated with Using a Different Fuel (Fuel B). (Cost of Fuel B- Cost of Fuel A) * MWs (that would have been scheduled using Fuel A | Status Quo
13 | Recovery mechanism
13A | Schedules available |  | Low - High |  |  | Alter schedules immediately after operating instruction notification
13B | Recovery of additional costs (not known or included in cost offers) |  | Low - High | No compensation |  | 5 days to submit after operating day
13C | Recovery of future costs realized on future date after Operating Instruction e.g. CP event |  | Low - High | 2 years after the bill issued |  | 5 days to submit after costs are known | Status quo
13D | PJM actions that trigger recovery |  | Low - High | N/A |  | PJM Operating Instruction or a voluntary operating request made by PJM | PJM dispatch communication for generator to switch to alternate source
13E | Fuel Cost Policy Impact |  | Low - High |  |  | Fuel Cost Policy can be Deviated from. After the Fact Agreement by PJM on Costs incurred per Matrix.
14 | Allocation of Costs |  | Low - High |  |  | Units with Inferior Service that Displace Units with Firm Service responsible for Design Components 11 through PJM settlements. Status quo for rest of Design Components. | Units with Inferior Service that Displace Units with Firm Service responsible for Design Components (TBD) through PJM settlements. Status quo for rest of Design Components.
15 | TPS |  | Low - High
16
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## Priorities
# | Design Components
2A & 2B | Gas Balancing costs: • both the imbalance charges and commodity costs
3 | Startup costs
6A - 6C | Lost Opportunity • Reduced Output • Cycling Costs • Deviation Charges
7 | Performance Assessment Penalty • attributable to actions for following Operating Instruction
9 | Value for using limited run hours • Limited Fuel (non-environmental) • Limited Emission hours (including 2nd fuel)

## 2a. Design Component Details
MIC Special Session
Gas Pipeline Contingency Costs
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
MIC Special Session
Gas Pipeline Contingency Costs
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
MIC Special Session
Gas Pipeline Contingency Costs
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
MIC Special Session
Gas Pipeline Contingency Costs
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
MIC Special Session
Gas Pipeline Contingency Costs
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
MIC Special Session
Gas Pipeline Contingency Costs
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3