## Setup
Enter Stakeholder Committee Name in cell A2:
Market Implementation Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Co-Located Load Service

## 1. Interest Identification
Market Implementation Committee
Co-Located Load Service
Interest Identification
Instructions: List interests of all parties on this page.
Ensure System Reliability
1 | Ensure that reliability is not adversely impacted by any changes made to the status quo, and, ensure this is the case regardless of the total MW quantity of co-located load that might be added to the system.
4 | Sustainable general competitive definition of capacity
7 | Allow mechanism to preserve capacity in the market
13 | Prevent double counting of capacity or energy through this effort
Ensure that the proper transmission service is applied
Ensure Market Efficiency
2 | Ensure that any new processes, rules, requirements, etc. that are put in place to support any change to the status quo are transparent and robust.
3 | Ensure that any new processes, rules, requirements, etc. that are put in place do not create an uncompetitive market or incentivize uncompetitive market outcomes.
4 | Sustainable general competitive definition of capacity
6 | Enhance economic efficiency
Respect Regulatory Authority of States and Support State and Consumer Preferences
8 | Facilitate the location of these types of customers into PJM states
9 | Develop rules that allow these types of customers to locate into PJM states
10 | Respect state commission and RERRA regulatory authority
11 | Do not conflict with state laws
5 | Facilitate consumer choice
14 | Want to ensure visability of these resources to state commissions and EDCs
Ensure New Rules are Compatible With Other Compliance Efforts
12 | Avoid trumping or conflicting with PJM compliance efforts related to FERC Order 2222

## 2. Options Matrix- Design Comp.
Market Implementation Committee
Co-Located Load Service
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Status Quo | A | B | D | Column3 | Column1 | Column2
* | Implementation
Scenario Set Up
A | Configurations |  | Two different configurations will be considered: Co-Located Load without Service from the System: The co-located load is served exclusively by the co-located generation and is disconnected whenever not being served by the co-located generation. The arrangment is electrically designed and configured to ensure that the co-located load can never be served from the system. Co-Located Load with Service from the System: The co-located load is normally served by the co-located generation but is served from the system when not being served by the co-located generation. | Both "Co-Located Load without Service" and "Co-Located Load with Service" rely on PJM system and thus are not distinct use cases in terms of cost allocation. All customers are fairly subject to the same costs of the system. The example here is load that is not station power and should thus be treated as any other load.
B | Jurisdiction | Any modification made to a Generation Interconnection Customer’s facility, including the addition of co-located load, is premised on the Market Seller’s adherence with any and all applicable state and local rules for serving co-located behind the meter load.
Solution Components
C | Engineering
1 | Load Trip/Frequency Control | Following load trip, no special scheme in place to reduce generator output. Generator would reduce net output to achieve net MW basepoint under the generator existing control mode (AGC or manual dispatch). | Generator output self-scheduled. | An existing Host Generator must install any special protection schemes or equipment, or institute any procedures required by PJM following the Necessary Studies Agreement or ISA modifications prior to energizing a BTML.
2 | Generator Trip | Co-Located Load without Service from the System: Upon generator trip, the load is curtailed automatically (net POI output never goes negative). Co-Located Load with Service from the System: Upon generator trip, the load is not curtailed but instead supplied by the grid via the GSU (net POI output goes negative) or via a secondary feed from the system. | Relay scheme established to automatically curtail load contemporaneous with generator trip. | Host Generator must install a relay scheme to assure that, contemporaneious with a Host Generator trip, the BTML is shut down or electrically disconnected from the Host Generator.
3 | RT Metering and Telemetry | MW/MVAR Metering (real-time quality only) required for significant sized loads >= 10 MW.
4 | Settlement Metering | Wholesale meter reflects output of generator net of BTML
5 | Reactive Modeling | Load needs to be modeled explicitly with MVAR metering to accurately assess reactive impact of the load at the POI. Generator and load modeled separately. Generator D-curve still based on physical reactive capability at generator terminals (not netted against the load). | BTML must be modeled explicitly with MVAR metering to accurately assess reactive impact of the load at the POI. Generator and load modeled separately. Generator D-curve still based on physical reactive capability at generator terminals (not netted against the load).
30 | Reactive Requirements at Generator POI |  | See Reactive Modeling, Line 5
6 | Contingency Modeling | Model separate generator and load contingencies to reflect reality (no netted generator/load contingency). Question about who will define the load contingency (PJM or the GO). Typically the TO reviews or supplies contingencies for PJM's analysis. | Load contingency modeling will be addressed and modeled with TO input.
D | Market Design
Capacity Market
7 | Capacity Market Must Offer Requirement | With the exception of Intermittent Resources and Capacity Storage Resources, all existing generation resources must offer available MW in each RPM Auction.
8 | Capacity Offer Development | A sell offer above $0 for an existing generation resource must seek unit-specifc exception request by submitting ACR data in accordance with section 6.8 of Attachment DD, or may utilize an offer cap based on default gross ACR if available.
9 | Capacity Accreditation | Capacity value of co-located generation is reduced by MW quantity of BTML, regardless of whether or not the BTML is curtailable. Reduction is applied to ICAP MW of thermal generation and to accredited UCAP MW of ELCC Resource. | Proposed change dependent upon configuration: Co-Located Load without Service from the System: Capacity value of co-located generation is NOT reduced by MW quantity of co-located load provided the load can curtail in order to make the full capability of the co-located generation available to the system in accordance with all other requirements of this package. Co-Located Load with Service from the System: Status Quo | Proposed change dependent upon configuration: Co-Located Load without Service from the System: Capacity value of co-located generation is NOT reduced by MW quantity of BTML provided all other requirements of this package can be satisfied. Co-Located Load with Service from the System: Load service from generator and system are seperated by a breaker in open position. Breaker closure (parallel operation) would subject the full co-located facility to grid service charges (capacity, energy, transmission, A/S). | Co-Located Load with Generation: Capacity Value of Host Generation is reduced by MW quantity of inflexible load. Reduction is applied to ICAP MW of thermal generation and to accredited UCAP MW of ELCC Resource.
15 | CIRs | CIRs are reduced by MW quantity of BTML, regardless of whether or not the BTML is curtailable | Proposed change dependent upon configuration: Co-Located Load without Service from the System: CIRs are not reduced provided all other requirements of this package can be satisifed. Co-Located Load with Service from the System: SQ | Co-Located Load without Service from the System: Host Generator with BTML load that is fully curtailable within the allotted time and that is not purchasing grid service retains its full Capacity Injection Right, subject to any further reliability conditions established by PJM that are codified in the Necessary Studies Agreement or Interconnection Services Agreement amendments.
13 | Capacity Testing | Net Test Capacity equal to gross capability less station service/auxiliary load less co-located host/process load where gross capability and station service/auxiliary load are based on measurements made at time of each seasonal capacity verification test and co-located host/process load is based on the highest hourly MW quantity measured during the most recent 36 months at time of verification test. | Proposed change dependent upon configuration: Co-Located Load without Service from the System: Net Test Capacity equal to gross capability less station service/auxiliary load where gross capability and station service/auxiliary load are based on measurements made at time of each seasonal capacity verification test. Co-Located Load with Service from the System: Status Quo | Same as status quo. Host Generator shall be tested based on is gross capability (i.e., not net of BTML), consistent with its CIRs
21 | Demand Response Eligibility | End-use customers may participate in RPM as DR in a MW quantity not to exceed the customer's Peak Load Contribution ("PLC"). | Co-located load without system service is ineligible to provide demand response. | Load co-located behind a Host Generator is ineligible to provide demand response.
28 | Participation Caps | N/A
Energy Market
10 | Energy Market Must Offer Requirement | A generator with a capacity commitment must submit a cost-based offer into the PJM DA and RT energy market each day (unless unavailable due to outage) in a MW quantity commensurate with the resource’s ICAP commitment level. A market-based offer submitted by such generator must also be in a MW quantity commensurate with it's ICAP commitment level. A Capacity Storage Resource or an Intermittent Resource may satisfy this energy market must offer requirement by either self-scheduling or offering the unit as a dispatchable resource where the hourly DA self-scheduled values may vary hour to hour from the capacity commitment. | SQ plus clarification that offered values of a Capacity Storage Resource or an Intermittent Resource may not account for reserving MWs to serve any co-located load for which CIRs/capacity value have not been reduced.
11A | Cost-based Offer Development (Section 1.2 of Schedule 1 of OA) | Cost-based offers for energy from generating resources shall not exceed the variable cost of producing such energy as determined in accordance with Schedule 2 to this Agreement and applicable regulatory standards, requirements and determinations; provided that, a Market Seller may offer to the PJM Interchange Energy Market the right to call on energy from a resource the output of which has been sold on a bilateral basis, with the rate for such energy if called equal to the curtailment rate specified in the bilateral contract. | Status quo. Cost-based offers for energy from generating resources shall not exceed the variable cost of producing such energy as determined in accordance with Schedule 2 of the OA. Plus Hydro resources with co-located load shall have the option to make DAM cost based offer. (Hydro resource owner may not currently make DAM offer)
11B | Permissible Components of Cost-based Offers of Energy (Section 1.1 of Schedule 2 of OA) | (a) For generating units powered by boilers Firing-up cost Peak-prepared-for maintenance cost (b) For generating units powered by machines Starting cost from cold to synchronized operation (c) For all generating units Incremental maintenance cost No-load cost during period of operation Labor cost Operating Costs Opportunity Costs Emission allowances/adders Maintenance Adders Ten percent adder Charging costs for Energy Storage Resources Fuel Cost
12 | Market-based Offer Development | Market-based offers cannot exceed $1,000/MWh, except (1) when the cost-based offer is above $1,000/MWh and less than or equal to $2,000/MWh, then the market-based offer must be less than or equal to the cost-based offer; and (2) when the cost-based offer is greater than $2,000/MWh, then the market-based offer must be less than or equal to $2,000/MWh. | Applies to both configurations: Status Quo with this clarification: A Host Generator (with Market Based Rate Authority) with a capacity commitment may submit distinct market-based offer segments for the respective portions of the facility serving primarily system load and primarily co-located load. The portion of the generator primarily serving co-located load may make a market based offer consistent with the opportunity cost of curtailing the co-located load. Plus Hydro resources with co-located load shall have the option to make DAM market based offer (Hydro resource owner may not currently make DAM offer).
22 | Curtailment Procedures | N/A
14 | Response Time (how quickly load must be able to be interrupted) | N/A | <10 Minutes, consistent with primary reserve response time
23 | Settlements
24 | Energy Settlements | Generator settlements measured at generator revenue meter.
18 | Transmission Costs | PJM network load customers pay transmission-related costs based on their Network Service Peak Load ("NSPL"). The NSPL is determined by each EDC using EDC-specific procedures that, in general, base the NSPL on the customer load (net of operating BTMG) at the time of specific peak load hours. | Status Quo. Co-located Load without Service from the System is not using transmission service and thus is not expected to contribute to zonal NSPL. | Co-Located Load with Service Status quo. Co-Located Load without Service Status quo. "Without service" does not exist. Customers pay for the services they utilize from the transmission system. Generation does not pay for transmission service (other than its specific costs of interconnection) on the assumption that loads are paying to maintain the system. Absent a transmission cost being allocated to the co-located load, these costs would be unfairly and unnecessarily passed on to all other rate payers.
19 | Distribution Costs | N/A | Distribution costs established by state law.
20 | Capacity Costs | LSEs pay capacity costs (i.e., RPM charges) based on their Peak Load Contribution ("PLC"). The PLC is determined by each EDC using EDC-specific procedures that, in general, base the PLC on the LSE's load (net of operating BTMG) at the time of specific peak load hours. | Co-located load in a serial configuration will not pay for system capacity supply as it is not using system capacity service. | Co-Located Load with Service Status quo. Co-Located Load without Service Status quo. The two cases are not distinct. If the load is there when PLC is determined, then the system is providing service and capacity costs should be allocated accordingly.
| Ancillary Services Costs | LSEs pay ancillary services costs based on their real-time load served by the system. | Status quo. Generators do not purchase Ancillary Services. Co-located BTML that is not purchasing or using grid services is not billed for ancillary services costs to support the transmission network.
25 | Inclusion in billing determinants used to assess Member Default Charges and PJM Administrative Charges | PJM Default Allocation Assessments are billed according to Section 15.2.2 (Default Allocation Assessment) of the OA. Each PJM member receives an equal share of 1/10 of the default allocation amount. The remainder of the default allocation amount is allocated to all members based on their pro rata share of PJM billing, where PJM billing is the sum of all absolute values of the charges and credits on the monthly billing statement for the month of default and the two prior months. PJM Administrative Charges refers to Schedules 9 and 10. These charges are billed in accordance with Section 2 of Manual 27. In general, it is charged based on hourly transmission usage, load, generation and/or market activity.
Planning / Studies
16 | Load Interconnection (Planning) | The generation owner must notify PJM and the Interconnected TO of any modification to the generation facility, including the addition of co-located load, at least 90 days in advance of the beginning of physical construction so that PJM and the Interconnected TO can evaluate potential reliability impacts of the modification. The modification request will initiate the Necessary Study process. | SQ plus a Generation Owner seeking to retain CIRs for a generator that adds co-located BTML must demonstrate that the arrangment meets all requirements to retain CIRs including requirements that (1) the co-located load is never to be served from the system when not being served by its co-located generation and (2) must be capable of reducing from full consumption to 0 MW in no more than XX minutes. Such demonstration shall include Professional Engineer stamped technical documentation including but not limited to drawings, procedures, and description of protection systems and other systems, that will be in place to prevent the co-located load from being fed from the system when co-located generation is not serving it and that will allow the co-located load to be reduced from full consumption to 0 MW in no more than XX minutes.
17 | Load Forecasting | Load that is netted out by co-located BTM generation in any given hour is not included in the hourly PJM metered load for that hour. Historical hourly PJM metered load is used in developing the PJM peak load forecast therefore load that is normally netted out by operating BTM generation will not be reflected in the peak load forecast. The MW quantity of such load that is reflected in the peak load forecast is dependent upon historical hourly operation of the BTM generation as it relates to netting out the co-located load. | Co-Located load in a serial configuration is not included in the PJM load forecast as it is not consuming grid services.
26 | Treatment in PJM planning studies (e.g., Reserve, CETO, CETL, ELCC, Market Efficiency, etc.) | BTM co-located generation/load is not modeled separately in the Reserve Requirement Study model, the ELCC model or the Market Efficiency model. This is predominately the case with CETL & CETO, however, there are a small number of instances where the TO has separately reflected BTM co-located generation/load in the transmission planning power flow models that are ultimately used for CETL purposes. In these instances, the CETO model is updated to separately reflect this BTM generation/load for purpose of maintaining consistency between the two models. | BTM co-located generation/load is not modeled separately in the Reserve Requirement Study model, the ELCC model, the Market Efficiency model, or CETO/CETL studies. This reform effort does not address Behind the Meter Generation.
27 | Amendments to ISA | The ISA or other relevant service agreement is amended to reduce CIRs to an amount equal to the generator's current CIRs less the capacity dedicated to the BTML (based on the highest expected hourly demand of the BTML). The MFO in the agreement may remain unchanged, provided the generator’s full output capability remains available to the system whenever the host load is offline. The ISA is also modified to reflect the facility modifications to incorporate the load (description of the load facility, updated one-line diagram in ISA Schedule B), as well as any additional required load metering (ISA Schedule C). | Proposed change dependent upon configuration: Co-Located Load without Service from the System: CIRs are not reduced by the amount of BTML that can satisfy all requirements of this package including requirements that (1) the co-located load is never to be served from the system when not being served by its co-located generation and (2) must be capable of reducing from full consumption to 0 MW in no more than XX minutes. Include requirements in Schedule F of the ISA for non-standard terms and conditions that specify the type and MW quantity of co-located load that is never to be served from the system when not being served by its co-located generation and must be capable of reducing from full consumption to 0 MW in no more than XX minutes. Co-Located Load with Service from the System: SQ | ISA may be modified to reflect prescence of Co-Located load, but CIRs stay the same.
Others
29 | Transmission Service Requirement | See design component #18 | None. Co-located, BTML that is not purchasing or using grid services is not billed (and cannot be billed) for transmission service costs to support the transmission network.
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Market Implementation Committee
Co-Located Load Service
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component |  | Detailed Description
Scenario Set Up |  | The following rows describe the various scenarios that the solutions developed through this matrix will need to consider or accommodate. They will not be part of the package matrix. They are for informational purposes only.
A | Configurations | Describe interconnection relationship between transmission network, generator, and Behind the Meter Load (BTML)
B | Jurisdiction | Describe the jurisdiction responsible for the sale of power to the BTML and the conditions predicate for such jurisdiction
Solution Components |  | The following rows contain the design components that are expected to be part of the package matrix that is ultimately developed. Solution options will need to be offered for each of these rows.
C | Engineering | Header for the Engineering section of design components.
1 | Load Trip/Frequency Control | Describe the remedy for any new impacts to the grid as a consequence of the BTML tripping.
2 | Generator Trip | Describe remedy for any new impacts to the grid as a consequence of the generator tripping.
3 | RT Metering and Telemetry | Describe metering requirements for BTML, if needed.
4 | Settlement Metering | Describe settlement metering requirements for BTML, if needed.
5 | Reactive | Describe modeling and metering requirements to accurately assess reactive impact of BTML.
6 | Contingency Modeling | Describe impacts of BTML on contingency modeling.
D | Market Design | Header for the Market Design section of design components.
7 | Capacity Market Must Offer Requirement | Describe capacity must offer requirement obligation for the subject generator, including portion dedicated to BTML and portion that is not.
8 | Capacity Offer Development | Describe capacity offer distinctions, if any, for the portion dedicated to BTML and the portion that is not.
9 | Capacity Accreditation | Describe capacity accreditation impact of BTML
10 | Energy Market Must Offer Requirement | Describe DAM offer distinctions, if any, for the portion dedicated to BTML and the portion that is not.
11 | Cost-based Offer Development | Describe CBO distinctions, if any, for the portion dedicated to BTML and the portion that is not.
12 | Market-based Offer Development | Describe MBO distinctions, if any, for the portion dedicated to BTML and the portion that is not.
13 | Capacity Testing | Describe changes to capacity testing requirements, if any.
14 | Response Time (how quickly load must be able to be interrupted) | Describe how quickly must the load curtail to satisfy all engineering and market requirements.
15 | CIRs | Describe change to CIR retention rules, if any, for generator with co-located load.
16 | Load Interconnection (Planning) | Describe any required changes to load interconnection studies to accommodate the engineering and market requirements.
17 | Load Forecasting | Describe changes to PJM load forecasting (incl. add backs if necessary) and the conditions under which such changes are required.
18 | Transmission Costs | Describe any reforms to transmisison cost assessment.
19 | Distribution Costs | Describe any reforms to distribution cost assessment.
20 | Capacity costs | Describe any reforms to capacity cost assessment.
21 | Demand Response Eligibility | Describe conditions for BTML to participate in PJM DR programs.
22 | Curtailment Procedures | Describe engineering or market conditions that would require load curtailment. Describe responsible entity or entities.
23 | Settlements | Describe any settlements reforms required for the participating co-located generator or load.
24 | Treatment in PJM planning studies (e.g., Reserve, CETO, CETL, ELCC, Market Efficiency, etc.) | Do we need to make any changes to how we model or treat a resource with co-located load service in our studies?
25 | Amendments to ISA | Do we need new provision(s) in ISA to cover a resource with co-located load service?
26 | Participation Caps | Do we need some type of safety valve? Is there a point at which the proposed solution is no longer viable if too many existing generators choose to participate with co-located load service?

## 2b. Option Details
Market Implementation Committee
Co-Located Load Service
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Market Implementation Committee
Co-Located Load Service
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
* | Implementation
Scenario Set Up
A | Configurations |  | Two different configurations will be discussed: Co-Located Load without Service from the System: The co-located load is served exclusively by the co-located generation and is disconnected whenever not being served by the co-located generation. The arrangment is electrically designed and configured to ensure that the co-located load can never be served from the system. Co-Located Load with Service from the System: The co-located load is normally served by the co-located generation but is served from the system when not being served by the co-located generation. | Only Host Generators with co-located load "without system service" are eligible. Host Generator with BTML is eligible to sell full accredited capacity if the BTML is not directly interconnected to the PJM transmission network and is not a PJM transmission service customer; as well as meeting other qualifying conditions. A Host Generator shall not be eligible to sell full capacity output if it hosts co-located, BTML that is interconnected on Transmission Owner side of the Host Generators point of interconnection.
B | Jurisdiction |  | Any modification made to a Generation Interconnection Customer’s facility, including the addition of co-located load, is premised on the Market Seller’s adherence with any and all applicable state and local rules for serving co-located behind the meter load. | Any modification made to a Generation Interconnection Customer’s facility (i.e., the Host Generator), including the addition of co-located load, is premised on the Market Seller’s adherence with any and all applicable state and local rules for serving co-located behind the meter load.
Solution Components
C | Engineering
1 | Load Trip/Frequency Control |  | Following load trip, no special scheme in place to reduce generator output. Generator would reduce net output to achieve net MW basepoint under the generator existing control mode (AGC or manual dispatch). | Applies to both configurations: An existing Host Generator must install any special protection schemes or equipment, or institute any procedures required by PJM following the Necessary Studies Agreement or ISA modifications prior to energizing a BTML.
2 | Generator Trip |  | Co-Located Load without Service from the System: Upon generator trip, the load is curtailed automatically (net POI output never goes negative). Co-Located Load with Service from the System: Upon generator trip, the load is not curtailed but instead supplied by the grid via the GSU (net POI output goes negative) or via a secondary feed from the system. | Co-Located Load without Service from the System: Host Generator must install a relay scheme to assure that, contemporaneous with a Host Generator trip, the BTML is shut down or electrically disconnected from the Host Generator. Co-Located Load with Service from the System: Status Quo
3 | RT Metering and Telemetry |  | MW/MVAR Metering (real-time quality only) required for significant sized loads >= 10 MW. | Applies to both configurations: status quo |  |  |  |  | Low
4 | Settlement Metering |  | Wholesale meter reflects output of generator net of BTML | Applies to both configurations: status quo |  |  |  |  | Low - Medium
5 | Reactive Modeling |  | Load needs to be modeled explicitly with MVAR metering to accurately assess reactive impact of the load at the POI. Generator and load modeled separately. Generator D-curve still based on physical reactive capability at generator terminals (not netted against the load). | Applies to both configurations: BTML must be modeled explicitly with MVAR metering to accurately assess reactive impact of the load at the POI. Generator and load modeled separately. Generator D-curve still based on physical reactive capability at generator terminals (not netted against the load).
30 | Reactive Requirements at Generator POI
6 | Contingency Modeling |  | Model separate generator and load contingencies to reflect reality (no netted generator/load contingency). Question about who will define the load contingency (PJM or the GO). Typically the TO reviews or supplies contingencies for PJM's analysis. | Applies to both configurations: Load contingency modeling will be addressed and modeled with TO input.
D | Market Design
Capacity Market
7 | Capacity Market Must Offer Requirement |  | With the exception of Intermittent Resources and Capacity Storage Resources, all existing generation resources must offer available MW in each RPM Auction. | Applies to both configurations: Status Quo
8 | Capacity Offer Development |  | A sell offer above $0 for an existing generation resource must seek unit-specifc exception request by submitting ACR data in accordance with section 6.8 of Attachment DD, or may utilize an offer cap based on default gross ACR if available. | Applies to both configurations: Status quo with this clarification: Contract revenues would be considered along with PJM energy market sales to establish an E&AS offset for any Avoidable Cost Rate.
9 | Capacity Accreditation |  | Capacity value of co-located generation is reduced by MW quantity of BTML, regardless of whether or not the BTML is curtailable. Reduction is applied to ICAP MW of thermal generation and to accredited UCAP MW of ELCC Resource. | Co-Located Load without Service from the System: Host Generator with BTML load that is fully curtailable within the allotted time and that is not purchasing grid service, retains its full Capacity Injection Rights, subject to any further reliability conditions established by PJM that are codified in the Necessary Studies Agreement or Interconnection Services Agreement amendments. Co-Located Load with Service from the System: Status Quo
15 | CIRs |  | CIRs are reduced by MW quantity of BTML, regardless of whether or not the BTML is curtailable | Co-Located Load without Service from the System: Host Generator with BTML load that is fully curtailable within the allotted time and that is not purchasing grid service retains its full Capacity Injection Right, subject to any further reliability conditions established by PJM that are codified in the Necessary Studies Agreement or Interconnection Services Agreement amendments. Co-Located Load with Service from the System: Status Quo
13 | Capacity Testing |  | Net Test Capacity equal to gross capability less station service/auxiliary load less co-located host/process load where gross capability and station service/auxiliary load are based on measurements made at time of each seasonal capacity verification test and co-located host/process load is based on the highest hourly MW quantity measured during the most recent 36 months at time of verification test. | Co-Located Load without Service from the System: Status Quo except Host Generator shall be tested based on its gross capability (i.e., not net of BTML), consistent with its CIRs Co-Located Load with Service from the System: Status Quo
21 | Demand Response Eligibility |  | End-use customers may participate in RPM as DR in a MW quantity not to exceed the customer's Peak Load Contribution ("PLC"). | Co-Located Load without Service from the System: Load co-located behind a Host Generator is ineligible to provide demand response. Co-Located Load with Service from the System: Status Quo
28 | Participation Caps |  | N/A | Applies to both configurations: N/A
Energy Market
10 | Energy Market Must Offer Requirement |  | A generator with a capacity commitment must submit a cost-based offer into the PJM DA and RT energy market each day (unless unavailable due to outage) in a MW quantity commensurate with the resource’s ICAP commitment level. A market-based offer submitted by such generator must also be in a MW quantity commensurate with it's ICAP commitment level. A Capacity Storage Resource or an Intermittent Resource may satisfy this energy market must offer requirement by either self-scheduling or offering the unit as a dispatchable resource where the hourly DA self-scheduled values may vary hour to hour from the capacity commitment. | Applies to both configurations: Status quo, plus clarification that offered values of a Capacity Storage Resource or an Intermittent Resource may not account for reserving MWs to serve any co-located load for which CIRs/capacity value have not been reduced.
11A | Cost-based Offer Development (Section 1.2 of Schedule 1 of OA) |  | Cost-based offers for energy from generating resources shall not exceed the variable cost of producing such energy as determined in accordance with Schedule 2 to this Agreement and applicable regulatory standards, requirements and determinations; provided that, a Market Seller may offer to the PJM Interchange Energy Market the right to call on energy from a resource the output of which has been sold on a bilateral basis, with the rate for such energy if called equal to the curtailment rate specified in the bilateral contract. | Applies to both configurations: Status quo. Cost-based offers for energy from generating resources shall not exceed the variable cost of producing such energy as determined in accordance with Schedule 2 of the OA. Plus Hydro resources with co-located load shall have the option to make DAM cost based offer. (Hydro resource owner may not currently make DAM offer)
11B | Permissible Components of Cost-based Offers of Energy (Section 1.1 of Schedule 2 of OA) |  | (a) For generating units powered by boilers Firing-up cost Peak-prepared-for maintenance cost (b) For generating units powered by machines Starting cost from cold to synchronized operation (c) For all generating units Incremental maintenance cost No-load cost during period of operation Labor cost Operating Costs Opportunity Costs Emission allowances/adders Maintenance Adders Ten percent adder Charging costs for Energy Storage Resources Fuel Cost | Not applicable.
12 | Market-based Offer Development |  | Market-based offers cannot exceed $1,000/MWh, except (1) when the cost-based offer is above $1,000/MWh and less than or equal to $2,000/MWh, then the market-based offer must be less than or equal to the cost-based offer; and (2) when the cost-based offer is greater than $2,000/MWh, then the market-based offer must be less than or equal to $2,000/MWh. | Applies to both configurations: Status Quo with this clarification: A Host Generator (with Market Based Rate Authority) with a capacity commitment may submit distinct market-based offer segments for the respective portions of the facility serving primarily system load and primarily co-located load. The portion of the generator primarily serving co-located load may make a market based offer consistent with the opportunity cost of curtailing the co-located load. Plus Hydro resources with co-located load shall have the option to make DAM market based offer (Hydro resource owner may not currently make DAM offer).
22 | Curtailment Procedures |  | N/A | N/A
14 | Response Time (how quickly load must be able to be interrupted) |  | N/A | Applies to both configurations: <10 Minutes, consistent with primary reserve response time
23 | Settlements
24 | Energy Settlements |  | Generator settlements measured at generator revenue meter. | Applies to both configurations: Status Quo
18 | Transmission Costs |  | PJM network load customers pay transmission-related costs based on their Network Service Peak Load ("NSPL"). The NSPL is determined by each EDC using EDC-specific procedures that, in general, base the NSPL on the customer load (net of operating BTMG) at the time of specific peak load hours. | Applies to both configurations: Status quo with this clarification: Generators do not purchase transmission service. Co-located BTML that is not purchasing or using grid services is not billed for transmission costs.
19 | Distribution Costs |  | N/A | Applies to both configurations: Distribution costs established by state law.
20 | Capacity Costs |  | LSEs pay capacity costs (i.e., RPM charges) based on their Peak Load Contribution ("PLC"). The PLC is determined by each EDC using EDC-specific procedures that, in general, base the PLC on the LSE's load (net of operating BTMG) at the time of specific peak load hours. | Applies to both configurations: Status quo with this clarification: Generators do not purchase capacity. Co-located, BTML that is not purchasing transmission service is not consuming system capacity. Co-located, BTML with interruption capability and protection schemes to assure no consumption of grid power is not consuming system capacity.
| Ancillary Services Costs |  | LSEs pay ancillary services costs based on their real-time load served by the system. | Applies to both configurations: Status quo with this clarification: Generators do not purchase Ancillary Services. Co-located BTML that is not purchasing or using grid services is not billed for ancillary services costs to support the transmission network.
25 | Inclusion in billing determinants used to assess Member Default Charges and PJM Administrative Charges |  | PJM Default Allocation Assessments are billed according to Section 15.2.2 (Default Allocation Assessment) of the OA. Each PJM member receives an equal share of 1/10 of the default allocation amount. The remainder of the default allocation amount is allocated to all members based on their pro rata share of PJM billing, where PJM billing is the sum of all absolute values of the charges and credits on the monthly billing statement for the month of default and the two prior months. PJM Administrative Charges refers to Schedules 9 and 10. These charges are billed in accordance with Section 2 of Manual 27. In general, it is charged based on hourly transmission usage, load, generation and/or market activity. | Applies to both configurations: Status Quo: No change to the billing determinants used to assess Member Default Charges or PJM Administrative fees.
Planning / Studies
16 | Load Interconnection (Planning) |  | The generation owner must notify PJM and the Interconnected TO of any modification to the generation facility, including the addition of co-located load, at least 90 days in advance of the beginning of physical construction so that PJM and the Interconnected TO can evaluate potential reliability impacts of the modification. The modification request will initiate the Necessary Study process. | Co-Located Load without Service from the System: Status Quo, plus a Generation Owner seeking to retain CIRs for a generator that adds co-located BTML must demonstrate that the arrangment meets all requirements to retain CIRs including requirements that (1) the co-located load is never to be served from the system when not being served by its co-located generation and (2) must be capable of reducing from full consumption to 0 MW in no more than XX minutes. Such demonstration shall include Professional Engineer stamped technical documentation including but not limited to drawings, procedures, and description of protection systems and other systems, that will be in place to prevent the co-located load from being fed from the system when co-located generation is not serving it and that will allow the co-located load to be reduced from full consumption to 0 MW in no more than XX minutes. Co-Located Load with Service from the System: Status Quo
17 | Load Forecasting |  | Load that is netted out by co-located BTM generation in any given hour is not included in the hourly PJM metered load for that hour. Historical hourly PJM metered load is used in developing the PJM peak load forecast therefore load that is normally netted out by operating BTM generation will not be reflected in the peak load forecast. The MW quantity of such load that is reflected in the peak load forecast is dependent upon historical hourly operation of the BTM generation as it relates to netting out the co-located load. | Co-Located Load without Service from the System: Co-Located, BTML load that is not purchasing grid services (or expected to do so) is not included in the PJM load forecast. PJM has no obligation to serve co-located BTML in such circumstance. Co-Located Load with Service from the System: Status Quo
26 | Treatment in PJM planning studies (e.g., Reserve, CETO, CETL, ELCC, Market Efficiency, etc.) |  | BTM co-located generation/load is not modeled separately in the Reserve Requirement Study model, the ELCC model or the Market Efficiency model. This is predominately the case with CETL & CETO, however, there are a small number of instances where the TO has separately reflected BTM co-located generation/load in the transmission planning power flow models that are ultimately used for CETL purposes. In these instances, the CETO model is updated to separately reflect this BTM generation/load for purpose of maintaining consistency between the two models. | Applies to both configurations: BTM co-located generation/load is not modeled separately in the Reserve Requirement Study model, the ELCC model, the Market Efficiency model, or CETO/CETL studies. This reform effort does not address Behind the Meter Generation.
27 | Amendments to ISA |  | The ISA or other relevant service agreement is amended to reduce CIRs to an amount equal to the generator's current CIRs less the capacity dedicated to the BTML (based on the highest expected hourly demand of the BTML). The MFO in the agreement may remain unchanged, provided the generator’s full output capability remains available to the system whenever the host load is offline. The ISA is also modified to reflect the facility modifications to incorporate the load (description of the load facility, updated one-line diagram in ISA Schedule B), as well as any additional required load metering (ISA Schedule C). | Co-Located Load without Service from the System: CIRs are not reduced by the amount of BTML that can satisfy all requirements of this package including requirements that (1) the co-located load is never to be served from the system when not being served by its co-located generation and (2) must be capable of reducing from full consumption to 0 MW in no more than XX minutes. Include requirements in Schedule F of the ISA for non-standard terms and conditions that specify the type and MW quantity of co-located load that is never to be served from the system when not being served by its co-located generation and must be capable of reducing from full consumption to 0 MW in no more than XX minutes. Co-Located Load with Service from the System: Status Quo
Others
29 | Transmission Service Requirement |  | See design component #18 | Co-Located Load without Service from the System: None. Co-located, BTML that is not purchasing or using grid services is not billed (and cannot be billed) for transmission service costs to support the transmission network. Co-Located Load with Service from the System: Co-located BTML that takes service from the system will be responsible for transmission service for any load served by the system, consistent with status quo rules.
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Market Implementation Committee
Co-Located Load Service
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Market Implementation Committee
Co-Located Load Service
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Market Implementation Committee
Co-Located Load Service
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2022-03-02 | Initial version.
2 | 2022-03-09 | Post-Meeting version. Additional Interest added.
3 | 2022-05-05 | Version for the 5/11/2022 MIC. Updates to Design Components and Solution Options.
4 | 2022-05-11 | Post-Meeting version. Additional Solution Options added (Column 6).
5 | 2022-06-01 | Version for the 6/8/2022 MIC. Updates to Solution Options, renamed columns to A, B.