## RPM
RPM Facilitation
Requests and Open Topics
Updated October 25, 2011
ID | Old ID | Request/Topic | Status | Notes | Applicable Link | Request Date | Closed Date
1 | N/A | EAS revenue offsets for the reference CC and CT using RT LMPs versus DA LMPs | Complete | Posted under the 6/29/11 MRC RPM | MRC | 2011-06-28 | 2011-06-29
2 | N/A | Question raised about the 16-hour block that a CC must be economic under in energy revenue calculation as opposed to a shorter time period no specific request made however PJM is performing analysis to determine typical run-times for CCs | Complete | Answered here: PJM recently completed analysis of the average run time of CTs and CC similar to reference resource (7FA turbine). Analysis included 16 CCs and 45 CTs and covered the period of 2002 through 2011 (YTD). Analysis results Average CC run time: 19.3 hours Average CT run time: 8 hours | N/A | 2011-06-29 | 2011-09-23
3 | N/A | List of OATT references to the NEPA section of the OATT (section 5.14.c) was requested | Complete | Information from following references shared on 7/7/11 telephone call of MRC: Attachment DD, Section 6.8.a - Capital Expenditures and Project Investment section of the Avoidable Cost Definition section Multi-Year Pricing Option Attachment DD-1 Section M.4 - EE resources section | N/A | 2011-06-29 | 2011-07-07
4 | N/A | New capacity and uprates to capacity for all delivery years in MW by EMAAC and MAAC cumulative offer price numbers for new capacity and uprates to capacity | Complete | Posted under the 9/12/11 MRC RPM request was revised to include additional information about new generation due to commercial sensitivity of pricing information | MRC | 2011-07-13 | 2011-08-17
5 | N/A | Who are the FRR entities, when were their elections made, and when are they eligible to move back to RPM? | Complete | Answered here: AEP elected in 2007, may terminate FRR 2 months in advance of a BRA Duke elected in 2011, may move back for 2016/17 delivery year ATSI an FRR entity for transitional years - 2011/12 and 2012/13 | N/A | 2011-07-11 | 2011-08-02
6 | N/A | Suggested documenting what the status quo is in column A of the proposed solution for FRR | Complete | Included in the FRR matrix for 7/21/11 and going forward | MRC | 2011-07-11 | 2011-07-21
7 | N/A | Explain original purpose of the FRR features and why they are limitations to self supply | Complete | Posted Andy's comments for FERC technical conference | Comments to FERC | 2011-07-21 | 2011-07-22
8 | N/A | Better define wholesale metering | Complete | Additional educational material posted under 7/21/11 meeting date | MRC | 2011-07-21 | 2011-08-02
9 | N/A | Add status quo to all matrices | Complete | added to matrices | MRC | 2011-07-21 | 2011-08-02
10 | N/A | How big a difference is there with all DA versus all RT prices being used? What is the impact on Net CONE? What difference would that change have made in the auction? | Complete | Posted under the 9/12/11 MRC RPM with item 11 | MRC | 2011-08-05 | 2011-08-17
11 | N/A | Investigate dispatch of CTs and CCGTs with regard to day-ahead and real-time prices. | Complete | Posted under the 9/12/11 MRC RPM with item 10 | MRC | 2011-08-05 | 2011-08-17
12 | N/A | Update Brattle EAS charts to what they would be with the revised methodology | Complete | Also refer to pages 88-89 of Brattle Report for discussion of reasons for discrepancies between administratively-determined E&AS and actual E&AS margins | MRC | 2011-09-12 | 2011-09-21
13 | 1 | How does the recommended change to the calculation of EAS offset address the reported concern of an overstatement of revenue and what is the net impact to net CONE when combined with the gross CONE changes | Complete | Net CONE Calculations file | MRC | 2011-08-30 | 2011-09-12
14 | 2 | Real versus nominal - would like more education on the differences and the benefit of moving to real | Complete | Brattle Performance Assessment Report Section 4, page 82-85 | MRC | 2011-08-30 | 2011-08-18
15 | 3 | Clarification around EAS revenue offset 1 - forward looking offset 2 - historic looking offset PJM recommends historic that incorporates DA and RT LMP Feedback - consider using a longer or different historic period | Complete | Brattle Performance Assessment Report pages 96-100 for historic pages 89-92 for forward looking pages 102-106 simulations with both See Brattle Response file to stakeholder feedback #3 regarding use of longer historic period | MRC | 2011-08-30 | 2011-09-12
MRC
16 | 7 | Request full documentation of the Hobbs simulation #7. Request full documentation of the Hobbs simulation, including: random economic growth assumption; random weather-related peak load uncertainty assumption; number of years forward between auction and delivery year; function relating E&AS prices and earnings to reserve margin; treatment of demand response in the model; function defining utility of profits and all parameter values; risk-adjusted forecast profit function and all parameters and weights; maximum new capacity additions function and all parameters; any other assumptions used in the model that are not documented in the 2011 report. | Complete | Posted articles/testimonies of Professor Hobbes on detailed documentation of model have been removed. An abstract file will be added. Brattle Performance Assessment Report for model input parameters. page 101 See "RPM Facilitation Question Topics 16, 20, 21, 42" document under 10/7/11 MRC materials. | MRC | 2011-08-30 | 2011-10-04
17 | 12 | Request for supply curves for LDAs and not just RTO #12: Request for supply curves for LDAs and not just RTO: Please provide one graphic similar to Figure 6 on page 21 (which is for the RTO), for each LDA that has been cleared in RPM multiple times: MAAC, EMAAC, SWMAAC, PEPCO, PS North, DPL South. Each graphic should, similar to Figure 6, show all of the supply curves for a single LDA. If "smoothing" is applied to the supply curves, describe the methodology in a footnote (and, even better, use symbols to highlight all of the points on the smoothed supply curve that correspond to points on the actual supply curve). Include data through the most recent auction (for 2014/2015). | In Process | Supply curves for LDAs are provided in Auction Results Reports posted on PJM RPM web site and MA web site | PJM and MA websites | 2011-08-30
18 | 13 | What would the impact have been on the last BRA without 2.5% | Complete | See "Request 13 Impact of 2.5" document under 9/14/11 MRC materials. | MRC | 2011-08-30 | 2011-09-14
19 | 16 | Further clarify the recommended change to point "a" on the VRR curve and provide examples - Figure 18 from report better explained | Complete | See "VRR Point "a" Example" document under 9/14/11 MRC materials. | MRC | 2011-08-30 | 2011-09-12
20 | 22 | Hobbs - support previous request for additional information and were the 2.5% and IA procurement included in the simulation? | Complete | See "RPM Facilitation Question Topics 16, 20, 21, 42" document under 10/7/11 MRC materials. | MRC | 2011-08-30 | 2011-10-04
21 | 23 | When failing to meet the reliability requirement and making direct procurement - what impact does that have on the overall model result? | Complete | See "RPM Facilitation Question Topics 16, 20, 21, 42" document under 10/7/11 MRC materials. | MRC | 2011-08-30 | 2011-10-04
22 | 26 | Quantities cleared and targeted in BRA - would like it compared to the quantity needed…such as the weather normalized peak or the final forecast preceding the delivery year #26: Quantities cleared in BRAs, compared to quantities needed based on actual weather-normalized peaks or most recent forecast. Prepare a graphic, similar to Figure 4 on page 11, showing the quantities cleared in the BRAs over time compared to the updated reliability requirement based on weather-normalized actual peak (for delivery years that have already passed) or the most recent forecast peak (for future delivery years). Suggest showing the values in MW, with details by LDA. Could further show the reliability requirements used in the auction, to distinguish impact of sloped demand curve. | Complete | RPM Section Quantities cleared in Auction Results Reports Quantities targets in Auction Planning Parameters Planning Section Weather normalized peak and final load forecast in PJM Load Forecast | PJM website | 2011-08-30 | 2011-10-04
23 | 27 | IA - would like a breakdown of cleared and offered by resource type | Complete | This information is provided in Incremental Auction Results Reports posted on PJM RPM web site and MA web site | PJM and MA websites | 2011-08-30 | 2011-09-09
24 | 28 | Would like a summary of how the APIR was used in the auction and how many MW offered at the cap with APIR and how many below the cap #28: Summary of how APIR was used in 2014/2015 BRA: For instance, tables such as Table 4 in the IMM's 2008 report, Analysis of APIR Investment and MW Added Under RPM: 2007 ‐ 2011 RPM Auctions. | In Process | IMM to evaluate |  | 2011-08-30
25 | 29 | Would like further breakdown regarding prices at which new resources were offered #29: Further breakdown of prices at which new resources were offered: To avoid concerns over commercial sensitivity, use broad geographic and price categories, such as: MAAC and Rest of RTO; < $50/MW-day; $50/MW-day up to $150/MW-day; over $150/MW-day. | In Process | Commercially Sensitive | N/A | 2011-08-30
26 | 30 | Would like a breakdown of which resources were offered in various price ranges close to the clearing price on supply curves #30: Breakdown of resources offered at prices in a broad range around the clearing price: To avoid concerns over commercial sensitivity, use broad geographic, resource type, and price categories, such as: MAAC and Rest of RTO; for MAAC, summarized resources offered within $50/MW-day +/- of clearing price: summarize total MW offered in range that were existing resources w/o APIR; existing resources w/APIR; demand response; new generation. For RTO, use range from 1/2 the clearing price to clearing price + $50, same resource categories. | In Process | Commercially Sensitive | N/A | 2011-08-30
27 | 33 | Request Brattle to comment on whether RPM is able to send signal to build generation in a particular area to compete with transmission in the RTEP process - does it tell the market to build at all or to build in a particular area | Complete | See Brattle Response to stakeholder feedback #33 | MRC | 2011-08-30 | 2011-09-09
28 | 37 | CETO/CETL - better educate regarding the meaning to the auction and demystify it - identify the reliability-based interactions with that and the IRM | Part of Discussion |  | N/A | 2011-08-30
29 | 39 | DR - desire some decisions wait until we hear from FERC - and would like to better understand what Brattle meant by DR performance | Complete | See Brattle Response to stakeholder feedback #39 | MRC | 2011-08-30 | 2011-09-09
30 | 41 | Planned resources - is there any hard evidence that delivery on planned DR is an issue? | In Process |  |  | 2011-08-30
31 | 44 | UCAP value of DR - what is the view of performance that leads to the conclusion that GLD and FSL should be treated differently? | Complete | See Brattle Response to stakeholder feedback #44 | MRC | 2011-08-30 | 2011-09-09
32 | 46 | Short term resource procurement target - report discounts expected growth in annual and seasonal products - if more DR appears in those, would Brattle change the treatment? | Complete | See Brattle Response to stakeholder feedback #46 | MRC | 2011-08-30 | 2011-09-09
33 | 54 | The Brattle report compares the E&AS offsets to "margins actually earned" (p. 87, and Figure 15). But the source of the data on actual margins is not identified. Could we have further detail about the source of the actual margins, and further discussion of what this data is: how exactly the actual margin was defined, calculated, etc. | Complete | See Brattle Response to stakeholder feedback #54 | MRC | 2011-08-30 | 2011-09-09
34 | 55 | The Brattle report in a few places suggests or presumes that generating units that fail to clear in an RPM base residual auction will retire. Could we have a summary of the uncleared generation by base residual auction, and the status of the generation -- retired, announced for retirement, cleared in a later auction (so very likely not retiring), etc. Best if by LDA or as disaggregated a level as can be provided. | Complete | See "Request 34 Uncleared Generation Status" document under 10/7/11 MRC materials. | MRC | 2011-08-30 | 2011-10-04
35 | 64 | DR factor on page 139 - inconsistent with member's understanding - desire clarification or further explanation of DR factor | Part of Discussion |  | N/A | 2011-09-09
36 | 67 | Desire to have the Hobbs simulation re-run to adjust 1.3% load growth assumption to 0.8% | In Process |  |  | 2011-09-09
37 | 68 | VRR curve recommended changes at the top of the curve and not the bottom - desire further education | Part of Discussion |  | N/A | 2011-09-09
38 | 69 | Location used for the RTO E&AS offset – did Brattle assess whether using the PJM wide average LMP is appropriate, especially considering additions of ATSI and DEOK into this calculation? Using the E&AS offset from MAAC or DOM zone may be more appropriate for the RTO to avoid artificially incenting excess reserves (between 1-2%) because these two areas, which exceed half of the footprint, signal new entry at IRM+1% approximately $80-100/MW-day lower than the current RTO demand curve. | Complete | Answered here: Brattle assessment of the E&AS offset focused on the accuracy of the current E&AS methodology and suggested potential alternative methodologies. Brattle did not assess whether the PJM-wide average LMP is appropriate for use in determination of the RTO E&AS offset. | N/A | 2011-09-09 | 2011-10-04
39 | 70 | Existing resources not clearing in the BRA dropping offer prices to zero or near zero in subsequent IAs (referenced pg 26-28) – how many MWs by PY does this describe? Of these MWs, how many of these MWs by PY used the capex adders (APIR) in their offer? And if using capex adders (APIR), how many MWs by PY were in the first year of the capex adder (APIR) or in year 2 and beyond? | In Process | IMM to evaluate |  | 2011-09-09
40 | 71 | BRA offer EFORd using the maximum of the Current EFORd and 5-year EFORd – Brattle spent some time discussing the 2.5% STRTP, did Brattle assess/quantify the impact of this BRA offer flexibility? Beginning with 2012-13, how much UCAP more or less would have been offered than was actually offered if: (a) the lower of the Current and 5-year was used, (b) all Current values used, and (c) all 5-year values were used? | Complete | Brattle did not assess this impact. See posted file for data request. | MRC | 2011-09-09 | 2011-10-04
41 | 72 | Empirical CONE (described pg 93) – “Based on these results of our analysis, we conclude that BRA offer data does not provide a sound basis for determining Net CONE empirically from offers for new resources.” Why did the assessment focus solely on the new entry offer levels rather than the fact new entry continued to occur at elevated reserve margins and trends in reserve margins while experiencing new entry? | Complete | Answered here: PJM included in the scope of the study an empirical analysis of Net CONE based on historical offer data from new generating units in order to determine if such an analysis might provide additional insight into the current methodology or might provide a sound alternative to current methodology. | N/A | 2011-09-09 | 2011-10-04
42 | 73 | Please re-run the Hobbs simulation using the following modified assumptions: 1. Set the assumed long-term average load growth assumption to 0.86%/year. Based on the 2011 load forecast report, the average rate of growth is 0.86%/year for the RTO (its lower for MAAC) over the period from 2015 (the first year for which capacity is not already acquired) through 2026 (end of the forecast period). 2. Set the assumed random economic growth assumption to reflect just one year of such random growth between the auction and delivery year. This would be consistent with PJM practice as documented in the Reserve Requirements Study (p. 19, FEF value). This is appropriate because in both the modeling behind the Reserve Requirements Study and the Hobbs model, RPM incremental auctions, which are held to adjust capacity commitments as necessary after the base residual auction, are not modeled. | Complete | See "RPM Facilitation Question Topics 16, 20, 21, 42" document under 10/7/11 MRC materials. | MRC | 2011-09-09 | 2011-10-04
43 | 74 | Add total dollar impact to request #18 (Old ID#13) data | Complete | See "Impact of 2.5 on 2014/15 BRA" document under 9/26/11 MRC materials. | MRC | 2011-09-14 | 2011-09-21
44 | 75 | Break out quantity by generation and demand response in data request #18 (Old ID#13) | Complete | See "Impact of 2.5 on 2014/15 BRA" document under 9/26/11 MRC materials. | MRC | 2011-09-14 | 2011-09-21
45 | 76 | An analysis like data #18 with smooth, sloped supply curves to demonstrate how impacts may effect future auctions (?) | In Process |  |  | 2011-09-14
46 | N/A | In request #34 in existing generation uncleared for the first time. Have first column uncleared in BRA. | In Process |  |  | 2011-10-07
47 | N/A | Request drivers of risk related to CETL (preferable in a graphical format). - Decision tree of CETL (with risk points) that can cause shifts in the calculation. - Include incremental capacity transfer rights. | In Process |  |  | 2011-10-07
48 | N/A | Related to request # 40: • For the RTO level data provided – add two more columns to what you have already provided showing the UCAP amount by PY if all resources had offered (1) using only/exactly the Current EFORd and (2) using only/exactly the 5-year EFORd. • Provide the same data already provided with the these two extra columns at the MAAC level (including the nested MAAC LDAs – note not asking for data to be broken out below the MAAC level). | In Process |  |  | 2011-10-10
49 | N/A | Can NEPA apply to not just planned resources but any resources that have not yet cleared a BRA auction? (specific note to NEPA Package #2 Design comp. 2) | In Process |  |  | 2011-10-14
50 | N/A | Confirm EFORd offer mitigation status in tariff. | In Process |  |  | 2011-10-14
51 | N/A | Additional sensitivity analysis concerning the potential DR clearing if the Limited product and the Extended Summer product are removed as possible products. | Part of Discussion |  |  | 2011-10-19
52 | N/A | Related to #40 and #48: Provide the same data as requested in #40 and #48 (For 2012/13 to 2014/14, for RTO and MAAC, show min/max/actual UCAP offered, and current EFORd, 5-year EFORd), but include in the analysis only generation that cleared in the various auctions. | In Process |  |  | 2011-10-20
53 | N/A | Provide the quantity of generation (MW) in the 2014/2015 base residual auction to which an offer cap applied, that was offered at a price less than its offer cap, and that cleared, for RTO and MAAC. | In Process |  |  | 2011-10-20