## Setup
Enter Stakeholder Committee Name in cell A2:
Operating Committee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Maximum Emergency Changes for Resource Limitation Reporting

## 1. Interest Identification
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
Interest Identification
Instructions: List interests of all parties on this page.
1 | Maintaining reliability for all hours/days, not just a focus on RT/DA.
2 | Detailed information on unit availability and remaining run time
3 | Detailed information with respect to remaining run hours for resources the causes for any resource limitations
4 | Detailed information with respect to the causes for any resource limitations and when those limitations will be mitigated
5 | Clarity of the rules for eligibility for max emergency
6 | Transparency, as permitted by confidentiality rules, into Max Emergency information that is posted publicly for Members
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## 2. Options Matrix- Design Comp.
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A: PJM | B: IMM | C | D | E | Column1 | Column2 | Column3
* | Implementation
1 | Conditional requirements for eligibility for Maximum Emergency utilization | Medium - High | Manual 13 language indicating 32-hour remaining run time for steam units, 16-hour remaing run time for CTs (not including the 'temporary note') | 1. In Manual 13, add an additional range of remaining run hours between 32hrs and 240hrs for Coal units only that can optionally be used by a generation owner to bid their unit in as Maximum Emergency, unless a Hot Weather Alert, Cold Weather Alert, or Conservative Ops has been issued OR if PJM denies the use of Maximum Emergency for any reason, including but not limited to a potential thermal or voltage violation, black start concern, tornado/hurricanes, extreme weather, GMD activity, etc. If a coal unit is offered into the Maximum Emergency state under these conditions, it may remain in that state until one of the following is true: the unit owner elects to offer the unit as economic, the remaining run hours reaches 21-days, PJM issues a Hot or Cold Weather Alert, PJM declares Conservative Operations, PJM requests the unit be offered as economic for any reason. | Hours for Maximum Emergency status should not be extended. If a unit owner makes a unit unavailable, the unit owner will not receive a daily capacity payment for each day that the unit is made unavailable.
| Conditional requirements for eligibility for Maximum Emergency utilization |  |  | 2. Include language in Manual 13 that states any generation owner offering a unit as Maximum Emergency is doing so only after taking all other actions to manage their remaining run hours, such as utilizing the Opportunity Cost Calculator, actively pursuing and continuing to pursue additional fuel sources and non-fuel consumables as applicable | Same as PJM
| Conditional requirements for eligibility for Maximum Emergency utilization |  |  | 3. Specifically note that units that have legistlative imposed output restrictions that do not require PJM to declare an emergency to operate should not utilize Maximum Emergency to conserve hours (i.e. CEJA impacted generators). | 3. Specifically note that units that have legistlatively imposed output restrictions that do not require PJM to declare an emergency to operate should not use Maximum Emergency to conserve hours (e.g. CEJA affected generators). Units with limited hours based on environmental permits can only be placed under Max E when they reach zero hours (or hours needed for tests) if the law/regulation allows the units to only run under PJM defined emergencies beyond their limits.
2 | Entity responsible for identifying units to be placed into Maximum Emergency | Medium - High | Resource owner | resource owner | Resource owner
3 | Reporting requirements for resources utilizing Maximum Emergency | Medium - High | 72-hour fuel limited reporting in Markets Gateway | In addition to the 72-hour resource limited reporting, expand the requirement for all units that utilize Maximum Emergency to: 1.Report remaining run hours in Markets Gateway (except for temporary MW additions) and update the data at least once every 24 hours 2. For Temporary MW additions, enter information in the Operations Restriction field including the details explaining why the MWs are only available temporarily, the notification time to dispatch the additioal MWs, and the duration the MWs are available and update the data at least once every 24 hours. 3. Enter an informational eDART ticket for all uses of Maximum Emergency 4. Verbally notify the PJM Generation Dispatcher for all uses of Maximum Emergency | Same as PJM
4 | Clarify what conditions qualify as a 'temporary megawatt addition' for eligibility for use of Maximum Emergency | Medium - High | MW must have a time limitation or restriction. Limitation must be supported by OEM documentation or air permit. Operating Agreement, Schedule 1: If a resource can provide additional megawatts on a temporary basis by oil topping, boiler over-pressure, or simliar techniques, and such megwatts are not ordinarily otherwise available. | Document in Manual 13 that in order to meet the criteria for temporary MW additions, a generation resource must be able to demonstrate with supporting documentation that MW have a time limitation or restriction and that the Maximum Emergency MWs must be available on demand whenever requested by PJM. If the documentation is not sufficient, the generation owner will be notified to discontinue the use of Maximum Emergency for the resource. Add clarifying lanuage in Manual 13 to provide examples of what does and does not qualify for usage of temporary MW additions. 1. Acceptable documentation for justifying the use of temporary MW additions include, but are not limited to: a. OEM documentation showing a time limitation on the MW b. Air permit showing time restriction 2. Scenarios that do not meet criteria for temporary MW additions: a. Increased wear and tear or maintenance costs b. Power augmentation such as duct firing, steam/water injection, evaporative cooling, inlet chilling, wet compression, or peak firing unless OEM specified limitations c. Inability to provide temporary MWs on demand | Same as PJM
5 | Clarify what type conditions qualify as a 'temporary emergency conditions' at the unit for eligibility for use of Maximum Emergency | Medium - High | Operating Agreement, Schedule 1: If temporary emergency physical conditions at the resource significantly limit its availability. | Document in Manual 13 that in order to meet the criteria for temporary emergency conditions, a generation resource must be able to demonstrate with supporting documentation that MW have a time limitation or restriction and that Maximum Emergency MWs must be available on demand whenever requested by PJM. If the documentation is not sufficient, the generation owner will be notified to discontinue the use of Maximum Emergency for the resource. Add clarifying lanuage in Manual 13 to provide examples of what qualifies for usage of "temporary emergency physical conditions", including a requirement that they must be outside of the control of the generation owner. An example would be if the Original Equipment Manufacturer (OEM) of a unit’s combustion turbines has issued a safety notice that specifies operating limitations for the units until a required upgrade can be implemented at the next outage. | Same as PJM
6 | Penalty for offering a resource as Maximum Emergency | Medium - High | None | No financial penalties would apply, but if Manual and Tariff language are not followed properly, PJM and/or the IMM may refer the entity to FERC. | If a unit owner makes a unit unavailable, the unit owner will not receive a daily capacity payment for each day that the unit is made unavailable. | [6 empty] | Low
7 | [11 empty] | Low - Medium
8 | [11 empty] | Low - High
9 | [11 empty] | Medium
10 | [11 empty] | Medium - High
High
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Operating Committee
Maximum Emergency Changes for Resource Limitation Reporting
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3