## 2029&2032 Simulated Congestion
2024/25 Market Efficiency Base Case |  |  | Base Case Congestion ($Million) |  | Base Case Hours Binding (Hours)
Constraint | From Area | To Area | 2029 Input Assumptions | 2032 Input Assumptions | 2029 Input Assumptions | 2032 Input Assumptions | Type
Wilton Center (B)-AD1-100 Tap 345 kV | COMED | COMED | 296.4519 | 310.0637 | 1562 | 1500
Huffman-Willis Gap 138 kV | AEP | AEP | 71.7348 | 176.9029 | 853 | 1517
Wolfs Crossing #81 TR 345/138 kV | COMED | COMED | 60.205 | 88.6964 | 541 | 576
Keeney-Red Lion 230 kV | DPL | DPL | 0 | 85.4142 | 0 | 724
Aspen-Brambleton 500 kV | DOM | DOM | 0.30432 | 80.186 | 13 | 975
Mt. Zion-Westvaco 138 kV | APS | APS | 34.6933 | 74.488 | 1279 | 1679
Green Acres-University Park 345 kV | NIPS | COMED | 56.6876 | 55.0117 | 393 | 339 | M2M
South Reading-Boonetown 230 kV | METED | METED | 3.647 | 36.9858 | 272 | 2602
AP South Interface | PJM | PJM | 5.4368 | 36.3444 | 68 | 333 | Interface
North Waverly-East Sayre 115 kV | PENELEC | NYZC | 18.5062 | 31.4629 | 6236 | 7400
Boxwood-Clifford 138 kV | AEP | AEP | 16.4676 | 24.9298 | 770 | 778
Three Mile Island-AE2-211 Tap 230 kV | METED | METED | 0.11106 | 21.5956 | 2 | 175
Basin-Chesterfield 230 kV | DOM | DOM | 0.34232 | 16.2915 | 18 | 260
Dauphin-Juniata 230 kV | PLGRP | PLGRP | 8.7102 | 15.4881 | 82 | 68
Scottsville-Bremo 138 kV | DOM | AEP | 6.9768 | 14.549 | 578 | 993
Smith Mountain-Musevillle 138 kV | AEP | AEP | 6.2408 | 13.8782 | 196 | 331
Kewanee-Putnam 138 kV | COMED | AMIL | 8.3488 | 9.0582 | 174 | 159 | M2M
Cherry Valley(B)-Silver Lake (R) 345 kV | COMED | COMED | 13.4724 | 8.2503 | 174 | 117
Dahlgren-Oak Grove 230 kV | DOM | DOM | 0 | 7.7235 | 0 | 139
Chesterfield-Ironbridge 230 kV | DOM | DOM | 0.61098 | 6.5251 | 24 | 183
Turkey Run-Walnut Creek 115 kV | DOM | DOM | 2.2698 | 6.5092 | 227 | 374
Axton-Danville 138 kV | AEP | AEP | 0.32901 | 5.7805 | 38 | 51
Kewanee 138 kV Disconnect B1Z2 | COMED | COMED | 6.6775 | 5.687 | 517 | 450
Olive-Green Acres 345 kV | NIPS | AEP | 7.6397 | 5.6819 | 78 | 57 | M2M
Black Oak-Bedington Interface | PJM | PJM | 1.1871 | 4.1567 | 12 | 46 | Interface
Hillside PAR-East Towanda 230 kV | PENELEC | NYZC | 2.2738 | 4.1227 | 2013 | 2703
Powerton (R)-Tazewell 345 kV | COMED | AMIL | 0.91423 | 3.9529 | 37 | 97 | M2M
Maliszewski TR 765/138 kV | AEP | AEP | 3.4496 | 3.7525 | 25 | 26
Chicago Avenue-Praxair 138 kV | NIPS | NIPS | 2.2424 | 3.4193 | 365 | 509 | M2M
Cedar Grove-Bullitt Country 161 kV | LKE | EKPC | 0.13745 | 3.2871 | 5 | 39
Cumberland-Williams Grove 230 kV | PLGRP | PLGRP | 0.11149 | 3.2122 | 4 | 67
Kincaid-AD2-100 Tap 345 kV | COMED | COMED | 1.0744 | 3.0294 | 30 | 85
Siefried #4 TR 230/138 kV | PLGRP | PLGRP | 4.3673 | 2.7477 | 17 | 8
Kittatinny-Bushkill 230 kV | PLGRP | JCPL | 5.2573 | 2.6845 | 36 | 12
Morrisville-Spotsylvania 500 kV | DOM | DOM | 4.1522 | 2.5778 | 28 | 13
Kokomo Highland Park-Tipton 230 kV | DUK-IN | DUK-IN | 0.24605 | 2.4746 | 16 | 58 | M2M
Fork Union-Bremo 115 kV | DOM | DOM | 1.0371 | 2.4004 | 78 | 153
Electric Junction (B)-Nelson (B) 345 kV | COMED | COMED | 1.3479 | 2.1361 | 32 | 32
Clybourn (B)-Diversey (B) 138 kV | COMED | COMED | 1.8088 | 1.9829 | 6267 | 7103
Crosby (R)-Diversey (R) 138 kV | COMED | COMED | 1.7441 | 1.9163 | 5511 | 6106
Cumberland-Juniata 230 kV | PLGRP | PLGRP | 0 | 1.7302 | 0 | 11
Juniata #2 TR 500/230 kV | PLGRP | PLGRP | 0 | 1.6775 | 0 | 8
Frostburg-Ridgeley 138 kV | APS | APS | 0.79384 | 1.6438 | 37 | 73
Kenney-Roberts 138 kV | AEP | AEP | 1.0332 | 1.6378 | 15 | 19
AEP-DOM Interface | PJM | PJM | 0.097713 | 1.5838 | 4 | 31 | Interface
Lake George-Munster 345 kV | NIPS | NIPS | 3.3292 | 1.5626 | 64 | 30 | M2M
Cunningham-Mount Eagle 230 kV | DOM | DOM | 0.93647 | 1.4947 | 2 | 51
Devon (R)-Rosehill Tap (R) 138 kV | COMED | COMED | 1.4324 | 1.4493 | 4348 | 4543
Quad Cities-Rock Creek 345 kV | ALTW | COMED | 0.019578 | 1.4204 | 1 | 16 | M2M
Juniata #1 TR 500/230 kV | PLGRP | PLGRP | 0 | 1.2872 | 0 | 4
Banister-East Danville 138 kV | AEP | AEP | 1.1059 | 1.2863 | 33 | 49
Bair-Jackson 115 kV | METED | METED | 0 | 1.1975 | 0 | 30
West Cambridge-Linkwood 69 kV | DPL | DPL | 0.66315 | 1.191 | 636 | 877
Grenshaw (B)-University (B) 138 kV | COMED | COMED | 1.0694 | 1.0145 | 1788 | 1714
Natoma (B)-Oak Park (B) 138 kV | COMED | COMED | 0.89406 | 0.99265 | 5779 | 6461
Ferguson South -Somerset 69 kV | LKE | EKPC | 0 | 0.99038 | 0 | 34
Danville-East Danville 138 kV | AEP | AEP | 0.017066 | 0.92328 | 4 | 13
Grenshaw (R)-Washington Park (R) 138 kV | COMED | COMED | 0.82488 | 0.85815 | 5382 | 6305
Morrisville-Front Royal 500 kV | DOM | DOM | 0 | 0.84471 | 0 | 14
St. Johns-Four Rivers 230 kV | DOM | DOM | 3.3006 | 0.82892 | 100 | 24
Des Plaines-Higgins (B) 138 kV | COMED | COMED | 0.784 | 0.81167 | 3305 | 3497
Eugene-Cayuga 345 kV | AEP | DUK-IN | 0.29002 | 0.74006 | 6 | 16 | M2M
Facerock #1 TR 115/69 kV | PLGRP | PLGRP | 0.1561 | 0.73786 | 4 | 15
Elmhurst-Franklin Park (R&B) 138 kV | COMED | COMED | 0.51873 | 0.71889 | 1171 | 1281
Putnam-Mittal Steel 138 kV | AMIL | AMIL | 0.60582 | 0.67034 | 18 | 16 | M2M
Hunterstown-Hunterstown 230 kV | METED | METED | 1.237 | 0.64088 | 61 | 23
Braidwood (B)-AD1-100 Tap 345 kV | COMED | COMED | 0.50487 | 0.6034 | 8 | 5
Northern Neck #6 TR 230/115 kV | DOM | DOM | 0 | 0.6023 | 0 | 60
Monroe 1&2-Brownstown 345 kV | DECO | DECO | 0.529 | 0.6003 | 33 | 16 | M2M
Dahlgren-Arnolds Corner 230 kV | DOM | DOM | 0 | 0.60024 | 0 | 21
Cherry Valley CB 138kV | COMED | COMED | 3.4828 | 0.59267 | 27 | 6
Kewanee 138 kV Disconnect B1Z5 | COMED | COMED | 0.33903 | 0.57525 | 34 | 47
Quad Cities-Sterling Steel 345 kV | COMED | COMED | 0.81731 | 0.54032 | 17 | 11
Crawford (Y)-Crawford PAR 138 kV | COMED | COMED | 0.52292 | 0.53704 | 3856 | 3836
Crescent Ridge (R)-Corbin 138 kV | COMED | AMIL | 0.36801 | 0.52051 | 34 | 46 | M2M
Mazon (R)-AD2-066 Tap 138 kV | COMED | COMED | 0.50289 | 0.51504 | 50 | 46
Ridgway-AE2-113 Tap 115 kV | PENELEC | PENELEC | 0.21554 | 0.51465 | 128 | 257
Crawford (G)-Crawford PAR 138 kV | COMED | COMED | 0.4897 | 0.51413 | 4119 | 4369
Nucor-Whitestown 345 kV | DUK-IN | DUK-IN | 0.08212 | 0.48889 | 2 | 8 | M2M
East Lima-Haviland 138 kV | AEP | AEP | 0.85517 | 0.48827 | 38 | 16
New Freedom-Cardiff 230 kV | AECO | PSEG | 0 | 0.45828 | 0 | 6
Grenshaw (B)-Taylor (B) 138 kV | COMED | COMED | 0.352 | 0.43956 | 2034 | 2676
Summit-Ladysmith 230 kV | DOM | DOM | 1.7448 | 0.38915 | 15 | 2
Devon (B)-Rosehill Tap (B) 138 kV | COMED | COMED | 0.39518 | 0.37751 | 1013 | 1035
Crawford (R)-West Loop (R) 345 kV | COMED | COMED | 0.21285 | 0.32541 | 331 | 408
Roxana-State Line (B) 138 kV | COMED | NIPS | 0.48024 | 0.31832 | 237 | 197 | M2M
Altavista #3 TR 138/115 kV | DOM | DOM | 0 | 0.26341 | 0 | 4
Stanley Terrance-McCarter 230 kV | PSEG | PSEG | 0.0853 | 0.22541 | 1673 | 3668
Ridgeley-Hampshire 138 kV | APS | APS | 0 | 0.21056 | 0 | 9
Grays Branch-Argentum 69 kV | EKPC | AEP | 0.35322 | 0.1917 | 67 | 32
Southwest Lima-West Moulton 138 kV | AEP | AEP | 0 | 0.1887 | 0 | 3
Mcgirr Rd-Rochelle Tap (R) 138 kV | COMED | COMED | 0.22036 | 0.18549 | 17 | 9
Glendon-Northwood 115 kV | METED | METED | 0 | 0.16523 | 0 | 2
Leroy Center Q4-Spruce Q4 138 kV | FE-ATSI | FE-ATSI | 1.1022 | 0.1508 | 100 | 20
Harwood-Susquehanna 230 kV | PLGRP | PLGRP | 0.13134 | 0.15075 | 13 | 9
Birchwood-Comorn Del Pt 230 kV | DOM | DOM | 0 | 0.14485 | 0 | 5
Franklin Park (R)-Franklin Park PAR (R) 138 kV | COMED | COMED | 0.10749 | 0.14078 | 1355 | 1616
All Dam 6 Tap-Kittanning 138 kV | APS | APS | 0.78115 | 0.13399 | 109 | 23
Chickahominy-Elko 230 kV | DOM | DOM | 0 | 0.13262 | 0 | 5
Haumesser Rd. (R)-W De Kalb Tap (R) 138 kV | COMED | COMED | 0.16571 | 0.12714 | 7 | 4
Crosby (R)-West Loop (Y) 138 kV | COMED | COMED | 0.089444 | 0.1249 | 764 | 878
Dune Acres-Michigan City 138 kV | NIPS | NIPS | 1.2166 | 0.12246 | 26 | 4 | M2M
Northern Neck-Garner 115 kV | DOM | DOM | 0 | 0.11595 | 0 | 9
Black Walnut-AD1-152 Tap 230 kV | DOM | DOM | 0.016749 | 0.10897 | 3 | 2
Quad Cities-Cordova 345 kV | COMED | MEC | 0.60994 | 0.1025 | 6 | 1 | M2M
Beverly (Washington IPP)-Muskingum River 345 kV | AEP | AEP | 0.014899 | 0.10081 | 3 | 9
Carroll-Catoctin 138 kV | APS | APS | 0 | 0.098782 | 0 | 2
North Philadelphia-Waneeta 230 kV | PECO | PECO | 0 | 0.098259 | 0 | 4
Dresden (B) #81 TR 345/138 kV | COMED | COMED | 0 | 0.092731 | 0 | 4
Dresden (B)-Mulberry 345 kV | COMED | COMED | 0 | 0.087154 | 0 | 3
Dickerson-Dickerson-H 230 kV | PEPCO | PEPCO | 0 | 0.084689 | 0 | 1
Lewistown-Juniata 230 kV | PENELEC | PLGRP | 0.49767 | 0.083732 | 52 | 19
Zion EC-Pleasant Prairie 345 kV | COMED | WEC | 0 | 0.083271 | 0 | 6
State Line PAR-Washington Park (B) 138 kV | COMED | COMED | 0.041848 | 0.079736 | 567 | 773
Harbor PAR (B)-Harbor (B) 138 kV | COMED | COMED | 0.058566 | 0.077263 | 1422 | 1628
Garrett Tap-Garrett 115 kV | PENELEC | APS | 0.036801 | 0.071463 | 4 | 4
Cayuga-Cayuga 345 kV | DUK-IN | DUK-IN | 0 | 0.069773 | 0 | 5 | M2M
Lallendorf-Monroe 1&2 345 kV | FE-ATSI | DECO | 0.041552 | 0.059749 | 3 | 7 | M2M
Benton Harbor-Segreto 345 kV | AEP | AEP | 0.97864 | 0.059451 | 45 | 6
Silver Run-Hope Creek 230 kV | DPL | DPL | 0.12678 | 0.057838 | 4 | 5
Oak Grove-Westmoreland 230 kV | DOM | DOM | 1.7673 | 0.056168 | 41 | 9
Northwest (R)-Northwest PAR 138 kV | COMED | COMED | 0.05295 | 0.054185 | 582 | 668
Powerton-Towerline 138 kV | AMIL | COMED | 0.055248 | 0.042487 | 6 | 3 | M2M
Yorkana-Brunner Island 230 kV | METED | PLGRP | 0 | 0.041157 | 0 | 1
AC1-074 Tap-Jacksonville 138 kV | EKPC | EKPC | 0 | 0.041042 | 0 | 3
Cherry Run-Morgan 138 kV | APS | APS | 0.35763 | 0.035777 | 6 | 3
Higgins (B)-Natoma (B) 138 kV | COMED | COMED | 0.029672 | 0.032752 | 325 | 475
State Line Blue-State Line PAR 138 kV | COMED | COMED | 0.040891 | 0.030932 | 828 | 866
Westvaco-Cross School 138 kV | APS | APS | 0 | 0.025298 | 0 | 3
Cordova Energy Center-Nelson (B) 345 kV | COMED | COMED | 0 | 0.024958 | 0 | 1
Northern Neck-Sanders Del Pt 230 kV | DOM | DOM | 2.7439 | 0.024367 | 44 | 1
Kokomo Chrysler-Maple 138 kV | DUK-IN | DUK-IN | 0 | 0.024003 | 0 | 1 | M2M
State Line PAR-Washington Park (R) 138 kV | COMED | COMED | 0.022623 | 0.022587 | 104 | 100
Locust-Mcguffy 69 kV | DEOK | DEOK | 0 | 0.020011 | 0 | 1
Master-North Philadelphia 230 kV | PECO | PECO | 0 | 0.019116 | 0 | 6
Ohio (Y)-West Loop (Y) 138 kV | COMED | COMED | 0.0081891 | 0.017579 | 211 | 279
Crosby (B)-Rockwell (B) 138 kV | COMED | COMED | 0.01486 | 0.017531 | 541 | 665
Cedar Grove-Cedar Grove 230 kV | PSEG | PSEG | 0.0016194 | 0.016351 | 16 | 25
West Orange-Orange Heights 230 kV | PSEG | PSEG | 0.037823 | 0.014778 | 828 | 664
Natoma (B)-Northwest 138 kV | COMED | COMED | 0.010753 | 0.014334 | 227 | 256
Universal-Plum 138 kV | DUQ | DUQ | 0 | 0.013741 | 0 | 1
Juniata-Sunbury 500 kV | PLGRP | PLGRP | 0 | 0.012367 | 0 | 2
Elihu -Cooper 161 kV | EKPC | LKE | 0.015313 | 0.011279 | 3 | 1
Sporn-Kyger Creek 345 kV | OVEC | AEP | 0 | 0.006839 | 0 | 2
University (B)-Washington Park (B) 138 kV | COMED | COMED | 0.005857 | 0.0057225 | 1955 | 2443
Halifax-AD1-152 Tap 230 kV | DOM | DOM | 0 | 0.0025509 | 0 | 1
Hegewisch (B)-Hegewisch Tap 138 kV | COMED | COMED | 0.00071022 | 0.0013767 | 27 | 36
Ohio (G)-West Loop (G) 138 kV | COMED | COMED | 0.00040183 | 0.00088274 | 28 | 32
Rocky Mount-Battleboro 115 kV | DOM | CPLE | 0 | 0.00066189 | 0 | 1
Franklin Park (R&B)-Franklin Park PAR (B) 138 kV | COMED | COMED | 0.00067176 | 0.00057903 | 106 | 144
West Loop #81 TR 345/138 kV | COMED | COMED | 1.188e-05 | 0.00033482 | 2 | 1
McCook (R)-Ridgeland (R) 138 kV | COMED | COMED | 0.00028544 | 0.00029105 | 30 | 49
Crosby (R)-Rockwell Feed (R) 138 kV | COMED | COMED | 0.0003348 | 0.00019993 | 70 | 112
Essex-Kearny 230 kV | PSEG | PSEG | 0 | 0.000177 | 0 | 4
Crawford #82 TR 345/138 kV | COMED | COMED | 3.02e-06 | 9.46e-06 | 1 | 4
Francisco-Douglas 345 kV | DUK-IN | DUK-IN | 25.4115 | 0 | 544 | 0 | M2M
He Hubbell-Batesville 138 kV | HE | DUK-IN | 6.5913 | 0 | 130 | 0 | M2M
Elroy-Hosensack 500 kV | PLGRP | PECO | 4.7812 | 0 | 25 | 0
North Anna-Spotsylvania 500 kV | DOM | DOM | 0.33968 | 0 | 1 | 0
Clifford-Colleen 138 kV | AEP | AEP | 0.31655 | 0 | 1 | 0
Munster-Burnham (R) 345 kV | NIPS | COMED | 0.21943 | 0 | 4 | 0 | M2M
Fire Tower Tap-Earleys 230 kV | DOM | DOM | 0.080933 | 0 | 1 | 0
Charlottesville-Proffit Rd Del Pt 230 kV | DOM | DOM | 0.076383 | 0 | 1 | 0
Bath County-Valley 500 kV | DOM | DOM | 0.061127 | 0 | 1 | 0
Tanners Creek-Miami Fort 345 kV | AEP | DEOK | 0.060694 | 0 | 1 | 0
Leesville-Altavista 138 kV | AEP | DOM | 0.059671 | 0 | 1 | 0
Halifax-AC1-221 Tap 230 kV | DOM | DOM | 0.054601 | 0 | 2 | 0
Whitestown-Guion 345 kV | DUK-IN | IPL | 0.049187 | 0 | 2 | 0 | M2M
Sanders Del Pt-Westmoreland 230 kV | DOM | DOM | 0.035476 | 0 | 2 | 0
East Akron-Hayes-Lemmerz 138 kV | FE-ATSI | FE-ATSI | 0.031078 | 0 | 1 | 0
West Interface | PJM | PJM | 0.0095369 | 0 | 1 | 0 | Interface
Fork Union-Bremo 230 kV | DOM | DOM | 0.0064011 | 0 | 1 | 0
*Note: Includes PJM internal and prospective M2M constraints >= $10,000 in 2029 or 2032. This list DOES NOT represent the list of congestion drivers for the 2024/25 Long-Term Window.