## Setup
Enter Stakeholder Group Name in cell A2:
DER Subcommittee
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Wholesale DER Interconnection

## 1. Interest Identification
DER Subcommittee
Wholesale DER Interconnection
Interest Identification
Instructions: List interests of all parties on this page.
High Level Interest
1 | Faster interconnection | Time
2 | Lower cost | Cost
3 | Up-front clarity on costs and timelines | Cost - Time - Transparency
4 | After-the-fact transparency on costs | Cost - Transparency
5 | Avoid redundant studies | Cost - Time
6 | Clarify purpose of interconnection process for resources that are already allowed to inject power, and/or will be injecting regardless of outcome | Education - Transparency
7 | Reduce barriers for DERs to have different arrangements (different resource types, customer locations, aggregation, multiple DERs at a site) to be interconnected to PJM | Flexibility
8 | Better coordination between PJM and RERRAs | State coordination
9 | Guidance from PJM to RERRAs regarding roles and responsibilities (and vice versa) for the interconnection process | State coordination
10 | Better alignment with RERRA interconnection requirements. Find best practices. | State coordination
11 | Allow resources to derate to meet interconnection requirements | Flexibility
12 | Consider resources' controllability when interconnecting, along with intended mode of operation. | Flexibility
13 | Where applicable, more efficient and streamlined process, more aligned with size or distribution sited projects, better alignment | Efficiency
14 | Understanding the planned operation of aggregations of different types of resources at one site for the purposes of understanding impacts on the system, whether it be distribution or transmission | Aggregation impacts
15 | Comparable treatment between EDC and merchant projects | Fairness
16 | Explore the efficiencies, potential use, and cost responsibility of third parties in the interconnection process such as third party engineering firms. | Use of 3rd parties
17 | Safe and reliable operation of transmission and distribution systems | Safety and reliability
18 | Maintain cost-causality for transmission upgrade cost allocation | Fairness
19 | Establish a procedure to determine the FERC-jurisdictionality and communicate to all parties when a generator interconnection request is made | Education - Transparency - Jurisdiction
20 | Ensure that one party is responsible for determining jurisdiction of interconnection | Education - Transparency - Jurisdiction
21 | Maintain fairness across all interconnection customers, no matter size or location | Fairness

## 2. Options Matrix- Design Comp.
DER Subcommittee
Wholesale DER Interconnection
OPTIONS MATRIX
| Updated: November 27, 2018 |  | Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
* | Implementation
1 | Application process |  | Customer determines which attachment to fill out. Multiple generation request forms: Att BB: 10kW or less inverter based (energy only) Att Y: 2 MW or less synchronous or up to 5 MW or less inverter based connecting to FERC jurisdictional facilities (energy only) Att N: Any size generation connecting at any location. (capacity) | Single application form
2 | Study deposits (or fee) |  | Vary based on application type, size of resource, queue timing, and TO zone | Deposit based on expected cost (according to historical study costs). Customer responsible for actual cost.
3 | PJM interconnection analysis process |  | Feasibility, System Impact, and Facilities Study. Expedite available for projects 20 MW or less. Combined Feasibility/Impact study may be available. In lieu of Feasibility, System Impact or Facilities Study, for jurisdictional Att BB or Att Y screens process applies
3a | Screen process / applicability of screens |  | Screen process when Att Y or Att BB and FERC jurisdictional
3b | Study process jurisdictional |  | Applies to all Att N and any that fail screen process. Feasibility, System Impact, and Facilities Study.
3c | Study process non-jurisdictional |  | PJM will look for impacts to transmission system.
3d | Expedited study process/expedited options |  | Expedite available for projects 20 MW or less. Combined Feasibility/Impact study may be available. Or combined Impact/Facility study
4 | Communication and documentation |  | The process is provided in the PJM Tariff and further described in PJM manuals and the PJM website. For individual projects, PJM project managers have regular communications with the customer.
4a | Jurisdiction |  | Applicability of federal vs. state jurisdiction is described in Manual 14G | [5 empty] | Low
4a1 | Jurisdiction over distribution study… …when RERRA jurisictional? …when dual use? Clarify what/when…
4a2 | Transparency of criteria for jurisdiction determination
4b | State interconnection processes |  | Each distribution utility is responsible for administering the applicable state rules for distribution interconnections. PJM WMPA includes a milestone for the customer to obtain an interconnection agreement for the distribution connection. | [5 empty] | Low - Medium
4c | Acceptable / Unacceptable interconnection configurations |  | Common practices are followed, but not described in a single PJM document | Clarify third-party wheeling | PJM cannot facilitate retail transactions being shared on wholesale facilities if retail regulator prohibits it (Former design component) | Provide boundaries around what is acceptable (Former design component) |  |  | Low - High
5 | Metering/SCADA (operations v markets) |  | Documented in TO connection requirements and per PJM Manuals; data sufficient to be seen in EMS for settlements | [5 empty] | Medium - High
6 | Relaying applicability
7 | Treatment and applicability of previously completed studies for export |  | Honored for QFs (connected through PURPA), not used otherwise. | [5 empty] | High
8 | Treatment of projects injecting through load nodes |  | Automatic for retail-only, not available otherwise
9 | Applicable PJM Governing document |  | ISA, PJM Tariff, WMPA
10 | RERRA TO conditions on wholesale interconnections |  | Allowed. Connection requirements are dictated by posted TO technical requirements
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
DER Subcommittee
Wholesale DER Interconnection
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
DER Subcommittee
Wholesale DER Interconnection
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
DER Subcommittee
Wholesale DER Interconnection
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
DER Subcommittee
Wholesale DER Interconnection
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
DER Subcommittee
Wholesale DER Interconnection
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
DER Subcommittee
Wholesale DER Interconnection
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3