## Total Accuracy Explainer
2016 Vintage Total Accuracy Calculations
Horizon | Forecast Vintage | Date | Year | Actual | Rank | Forecast | % Error | Abs % Error
3 | 2016 | 2019-07-02 | 2019 | 138403.111 | 10 | 143853.6975 | 3.938% | 3.938%
3 | 2016 | 2019-07-10 | 2019 | 141567.047 | 4 | 144126.0806 | 1.808% | 1.808%
3 | 2016 | 2019-07-15 | 2019 | 138710.44 | 9 | 142957.1816 | 3.062% | 3.062%
3 | 2016 | 2019-07-16 | 2019 | 139525.479 | 8 | 144615.8301 | 3.648% | 3.648%
3 | 2016 | 2019-07-17 | 2019 | 143008.405 | 3 | 148106.3022 | 3.565% | 3.565%
3 | 2016 | 2019-07-19 | 2019 | 151301.741 | 1 | 154283.5752 | 1.971% | 1.971%
3 | 2016 | 2019-07-20 | 2019 | 149412.248 | 2 | 149551.6109 | 0.09327% | 0.09327%
3 | 2016 | 2019-07-21 | 2019 | 139687.839 | 7 | 143401.7279 | 2.659% | 2.659%
3 | 2016 | 2019-07-29 | 2019 | 139688.005 | 6 | 144316.3831 | 3.313% | 3.313%
3 | 2016 | 2019-08-19 | 2019 | 141158.111 | 5 | 145439.1252 | 3.033% | 3.033%
Horizon: Years out from forecast start
Forecast Vintage: Year in which the forecast would have been effective.
Date: Date of actual load and weather input into forecast model
Year: Year under study
Actual: Unrestricted load, has been reduced by solar
Rank: Rank of the daily load for that given Summer
Forecast: Forecast vintage model solved with actual weather conditions (reduced by solar).
% Error: (Forecast - Actual)/Actual, expressed as a percent
Abs % Error: Absolute value of % Error

## Total Accuracy Data
Horizon | Forecast Vintage | Date | Year | Actual | Rank | Forecast | Pct Error | Abs % Error
0 | 2016 | 2016-07-22 | 2016 | 143099.854 | 6 | 141873.5283 | -0.857% | 0.857%
0 | 2016 | 2016-07-23 | 2016 | 142670.318 | 7 | 140337.9143 | -1.635% | 1.635%
0 | 2016 | 2016-07-25 | 2016 | 151072.536 | 2 | 150299.8513 | -0.5115% | 0.5115%
0 | 2016 | 2016-07-26 | 2016 | 142602.651 | 8 | 144888.4665 | 1.603% | 1.603%
0 | 2016 | 2016-07-27 | 2016 | 144661.513 | 4 | 145129.4471 | 0.3235% | 0.3235%
0 | 2016 | 2016-08-10 | 2016 | 143472.931 | 5 | 143272.0314 | -0.14% | 0.14%
0 | 2016 | 2016-08-11 | 2016 | 152068.548 | 1 | 151262.9966 | -0.5297% | 0.5297%
0 | 2016 | 2016-08-12 | 2016 | 146999.839 | 3 | 149971.8661 | 2.022% | 2.022%
0 | 2016 | 2016-08-16 | 2016 | 142008.729 | 10 | 141499.5438 | -0.3586% | 0.3586%
0 | 2016 | 2016-08-26 | 2016 | 142357.468 | 9 | 140262.1647 | -1.472% | 1.472%
0 | 2017 | 2017-06-12 | 2017 | 140739.175 | 4 | 143479.2423 | 1.947% | 1.947%
0 | 2017 | 2017-06-13 | 2017 | 138440.432 | 5 | 142028.6849 | 2.592% | 2.592%
0 | 2017 | 2017-07-12 | 2017 | 135466.425 | 8 | 140232.3356 | 3.518% | 3.518%
0 | 2017 | 2017-07-13 | 2017 | 135589.131 | 7 | 141958.2884 | 4.697% | 4.697%
0 | 2017 | 2017-07-18 | 2017 | 138395.75 | 6 | 134866.4956 | -2.55% | 2.55%
0 | 2017 | 2017-07-19 | 2017 | 145433.658 | 1 | 143994.439 | -0.9896% | 0.9896%
0 | 2017 | 2017-07-20 | 2017 | 145209.111 | 2 | 145810.6605 | 0.4143% | 0.4143%
0 | 2017 | 2017-07-21 | 2017 | 142105.725 | 3 | 144908.5822 | 1.972% | 1.972%
0 | 2017 | 2017-08-16 | 2017 | 134506.351 | 10 | 131520.0271 | -2.22% | 2.22%
0 | 2017 | 2017-08-22 | 2017 | 135430.386 | 9 | 136911.0315 | 1.093% | 1.093%
0 | 2018 | 2018-06-18 | 2018 | 148250.815 | 2 | 146252.3427 | -1.348% | 1.348%
0 | 2018 | 2018-07-01 | 2018 | 140284.592 | 9 | 139540.1582 | -0.5307% | 0.5307%
0 | 2018 | 2018-07-02 | 2018 | 144963.328 | 5 | 146292.8237 | 0.9171% | 0.9171%
0 | 2018 | 2018-07-03 | 2018 | 145467.163 | 4 | 143717.3252 | -1.203% | 1.203%
0 | 2018 | 2018-07-05 | 2018 | 141205.111 | 8 | 141066.752 | -0.09798% | 0.09798%
0 | 2018 | 2018-07-10 | 2018 | 140150.333 | 10 | 138048.0575 | -1.5% | 1.5%
0 | 2018 | 2018-07-16 | 2018 | 143150.582 | 7 | 142378.7446 | -0.5392% | 0.5392%
0 | 2018 | 2018-08-27 | 2018 | 145597.433 | 3 | 144122.4043 | -1.013% | 1.013%
0 | 2018 | 2018-08-28 | 2018 | 150572.808 | 1 | 150466.509 | -0.0706% | 0.0706%
0 | 2018 | 2018-08-29 | 2018 | 143442.173 | 6 | 145509.387 | 1.441% | 1.441%
0 | 2019 | 2019-07-02 | 2019 | 138403.111 | 10 | 139528.9875 | 0.8135% | 0.8135%
0 | 2019 | 2019-07-10 | 2019 | 141567.047 | 4 | 139764.1227 | -1.274% | 1.274%
0 | 2019 | 2019-07-15 | 2019 | 138710.44 | 9 | 138700.5244 | -0.007148% | 0.007148%
0 | 2019 | 2019-07-16 | 2019 | 139525.479 | 8 | 140459.9852 | 0.6698% | 0.6698%
0 | 2019 | 2019-07-17 | 2019 | 143008.405 | 3 | 143856.3115 | 0.5929% | 0.5929%
0 | 2019 | 2019-07-19 | 2019 | 151301.741 | 1 | 150304.7548 | -0.6589% | 0.6589%
0 | 2019 | 2019-07-20 | 2019 | 149412.248 | 2 | 146396.6726 | -2.018% | 2.018%
0 | 2019 | 2019-07-21 | 2019 | 139687.839 | 7 | 140517.3475 | 0.5938% | 0.5938%
0 | 2019 | 2019-07-29 | 2019 | 139688.005 | 6 | 140016.898 | 0.2354% | 0.2354%
0 | 2019 | 2019-08-19 | 2019 | 141158.111 | 5 | 141546.7369 | 0.2753% | 0.2753%
0 | 2020 | 2020-07-06 | 2020 | 141264.048 | 4 | 147042.5884 | 4.091% | 4.091%
0 | 2020 | 2020-07-09 | 2020 | 143261.19 | 3 | 144782.79 | 1.062% | 1.062%
0 | 2020 | 2020-07-20 | 2020 | 144319.628 | 1 | 148946.3224 | 3.206% | 3.206%
0 | 2020 | 2020-07-21 | 2020 | 140681.328 | 7 | 145043.4927 | 3.101% | 3.101%
0 | 2020 | 2020-07-27 | 2020 | 143576.032 | 2 | 147881.9381 | 2.999% | 2.999%
0 | 2020 | 2020-07-28 | 2020 | 139943.202 | 10 | 145208.2804 | 3.762% | 3.762%
0 | 2020 | 2020-07-29 | 2020 | 140835.75 | 5 | 143041.0126 | 1.566% | 1.566%
0 | 2020 | 2020-08-10 | 2020 | 140487.485 | 8 | 141243.9806 | 0.5385% | 0.5385%
0 | 2020 | 2020-08-24 | 2020 | 140182.293 | 9 | 140626.0164 | 0.3165% | 0.3165%
0 | 2020 | 2020-08-27 | 2020 | 140804.525 | 6 | 144181.7456 | 2.399% | 2.399%
1 | 2016 | 2017-06-12 | 2017 | 140739.175 | 4 | 145911.732 | 3.675% | 3.675%
1 | 2016 | 2017-06-13 | 2017 | 138440.432 | 5 | 144359.0994 | 4.275% | 4.275%
1 | 2016 | 2017-07-12 | 2017 | 135466.425 | 8 | 142445.3296 | 5.152% | 5.152%
1 | 2016 | 2017-07-13 | 2017 | 135589.131 | 7 | 144027.1466 | 6.223% | 6.223%
1 | 2016 | 2017-07-18 | 2017 | 138395.75 | 6 | 137181.7965 | -0.8772% | 0.8772%
1 | 2016 | 2017-07-19 | 2017 | 145433.658 | 1 | 146469.1094 | 0.712% | 0.712%
1 | 2016 | 2017-07-20 | 2017 | 145209.111 | 2 | 148068.1298 | 1.969% | 1.969%
1 | 2016 | 2017-07-21 | 2017 | 142105.725 | 3 | 147080.1033 | 3.5% | 3.5%
1 | 2016 | 2017-08-16 | 2017 | 134506.351 | 10 | 133662.0089 | -0.6277% | 0.6277%
1 | 2016 | 2017-08-22 | 2017 | 135430.386 | 9 | 139043.0538 | 2.668% | 2.668%
1 | 2017 | 2018-06-18 | 2018 | 148250.815 | 2 | 147646.0274 | -0.4079% | 0.4079%
1 | 2017 | 2018-07-01 | 2018 | 140284.592 | 9 | 140471.6706 | 0.1334% | 0.1334%
1 | 2017 | 2018-07-02 | 2018 | 144963.328 | 5 | 147387.8065 | 1.672% | 1.672%
1 | 2017 | 2018-07-03 | 2018 | 145467.163 | 4 | 144580.0411 | -0.6098% | 0.6098%
1 | 2017 | 2018-07-05 | 2018 | 141205.111 | 8 | 141984.1932 | 0.5517% | 0.5517%
1 | 2017 | 2018-07-10 | 2018 | 140150.333 | 10 | 139258.5722 | -0.6363% | 0.6363%
1 | 2017 | 2018-07-16 | 2018 | 143150.582 | 7 | 143582.7945 | 0.3019% | 0.3019%
1 | 2017 | 2018-08-27 | 2018 | 145597.433 | 3 | 145498.5625 | -0.06791% | 0.06791%
1 | 2017 | 2018-08-28 | 2018 | 150572.808 | 1 | 151771.827 | 0.7963% | 0.7963%
1 | 2017 | 2018-08-29 | 2018 | 143442.173 | 6 | 146658.7645 | 2.242% | 2.242%
1 | 2018 | 2019-07-02 | 2019 | 138403.111 | 10 | 139765.4322 | 0.9843% | 0.9843%
1 | 2018 | 2019-07-10 | 2019 | 141567.047 | 4 | 139905.7713 | -1.173% | 1.173%
1 | 2018 | 2019-07-15 | 2019 | 138710.44 | 9 | 138733.3751 | 0.01653% | 0.01653%
1 | 2018 | 2019-07-16 | 2019 | 139525.479 | 8 | 140683.3561 | 0.8299% | 0.8299%
1 | 2018 | 2019-07-17 | 2019 | 143008.405 | 3 | 144062.7979 | 0.7373% | 0.7373%
1 | 2018 | 2019-07-19 | 2019 | 151301.741 | 1 | 150293.0168 | -0.6667% | 0.6667%
1 | 2018 | 2019-07-20 | 2019 | 149412.248 | 2 | 146074.6916 | -2.234% | 2.234%
1 | 2018 | 2019-07-21 | 2019 | 139687.839 | 7 | 140167.3055 | 0.3432% | 0.3432%
1 | 2018 | 2019-07-29 | 2019 | 139688.005 | 6 | 140013.9668 | 0.2333% | 0.2333%
1 | 2018 | 2019-08-19 | 2019 | 141158.111 | 5 | 141586.6228 | 0.3036% | 0.3036%
1 | 2019 | 2020-07-06 | 2020 | 141264.048 | 4 | 147300.3985 | 4.273% | 4.273%
1 | 2019 | 2020-07-09 | 2020 | 143261.19 | 3 | 145029.6892 | 1.234% | 1.234%
1 | 2019 | 2020-07-20 | 2020 | 144319.628 | 1 | 149336.0191 | 3.476% | 3.476%
1 | 2019 | 2020-07-21 | 2020 | 140681.328 | 7 | 145523.8911 | 3.442% | 3.442%
1 | 2019 | 2020-07-27 | 2020 | 143576.032 | 2 | 148304.4942 | 3.293% | 3.293%
1 | 2019 | 2020-07-28 | 2020 | 139943.202 | 10 | 145540.6773 | 4% | 4%
1 | 2019 | 2020-07-29 | 2020 | 140835.75 | 5 | 143109.5364 | 1.614% | 1.614%
1 | 2019 | 2020-08-10 | 2020 | 140487.485 | 8 | 141639.0969 | 0.8197% | 0.8197%
1 | 2019 | 2020-08-24 | 2020 | 140182.293 | 9 | 141155.2997 | 0.6941% | 0.6941%
1 | 2019 | 2020-08-27 | 2020 | 140804.525 | 6 | 144858.3726 | 2.879% | 2.879%
2 | 2016 | 2018-06-18 | 2018 | 148250.815 | 2 | 150359.0066 | 1.422% | 1.422%
2 | 2016 | 2018-07-01 | 2018 | 140284.592 | 9 | 142857.457 | 1.834% | 1.834%
2 | 2016 | 2018-07-02 | 2018 | 144963.328 | 5 | 150005.4259 | 3.478% | 3.478%
2 | 2016 | 2018-07-03 | 2018 | 145467.163 | 4 | 146965.9904 | 1.03% | 1.03%
2 | 2016 | 2018-07-05 | 2018 | 141205.111 | 8 | 144356.6325 | 2.232% | 2.232%
2 | 2016 | 2018-07-10 | 2018 | 140150.333 | 10 | 141885.122 | 1.238% | 1.238%
2 | 2016 | 2018-07-16 | 2018 | 143150.582 | 7 | 146126.0694 | 2.079% | 2.079%
2 | 2016 | 2018-08-27 | 2018 | 145597.433 | 3 | 147909.4112 | 1.588% | 1.588%
2 | 2016 | 2018-08-28 | 2018 | 150572.808 | 1 | 154336.1536 | 2.499% | 2.499%
2 | 2016 | 2018-08-29 | 2018 | 143442.173 | 6 | 149022.7032 | 3.89% | 3.89%
2 | 2017 | 2019-07-02 | 2019 | 138403.111 | 10 | 140821.5091 | 1.747% | 1.747%
2 | 2017 | 2019-07-10 | 2019 | 141567.047 | 4 | 140992.6853 | -0.4057% | 0.4057%
2 | 2017 | 2019-07-15 | 2019 | 138710.44 | 9 | 139864.3813 | 0.8319% | 0.8319%
2 | 2017 | 2019-07-16 | 2019 | 139525.479 | 8 | 141738.0567 | 1.586% | 1.586%
2 | 2017 | 2019-07-17 | 2019 | 143008.405 | 3 | 145088.638 | 1.455% | 1.455%
2 | 2017 | 2019-07-19 | 2019 | 151301.741 | 1 | 151278.5546 | -0.01532% | 0.01532%
2 | 2017 | 2019-07-20 | 2019 | 149412.248 | 2 | 146905.9028 | -1.677% | 1.677%
2 | 2017 | 2019-07-21 | 2019 | 139687.839 | 7 | 140973.3723 | 0.9203% | 0.9203%
2 | 2017 | 2019-07-29 | 2019 | 139688.005 | 6 | 141219.615 | 1.096% | 1.096%
2 | 2017 | 2019-08-19 | 2019 | 141158.111 | 5 | 142718.8036 | 1.106% | 1.106%
2 | 2018 | 2020-07-06 | 2020 | 141264.048 | 4 | 147073.2653 | 4.112% | 4.112%
2 | 2018 | 2020-07-09 | 2020 | 143261.19 | 3 | 144626.9561 | 0.9533% | 0.9533%
2 | 2018 | 2020-07-20 | 2020 | 144319.628 | 1 | 148887.7503 | 3.165% | 3.165%
2 | 2018 | 2020-07-21 | 2020 | 140681.328 | 7 | 145117.4131 | 3.153% | 3.153%
2 | 2018 | 2020-07-27 | 2020 | 143576.032 | 2 | 147932.5415 | 3.034% | 3.034%
2 | 2018 | 2020-07-28 | 2020 | 139943.202 | 10 | 145192.7581 | 3.751% | 3.751%
2 | 2018 | 2020-07-29 | 2020 | 140835.75 | 5 | 142709.7925 | 1.331% | 1.331%
2 | 2018 | 2020-08-10 | 2020 | 140487.485 | 8 | 141172.1952 | 0.4874% | 0.4874%
2 | 2018 | 2020-08-24 | 2020 | 140182.293 | 9 | 140817.3589 | 0.453% | 0.453%
2 | 2018 | 2020-08-27 | 2020 | 140804.525 | 6 | 144716.7432 | 2.778% | 2.778%
3 | 2016 | 2019-07-02 | 2019 | 138403.111 | 10 | 143853.6975 | 3.938% | 3.938%
3 | 2016 | 2019-07-10 | 2019 | 141567.047 | 4 | 144126.0806 | 1.808% | 1.808%
3 | 2016 | 2019-07-15 | 2019 | 138710.44 | 9 | 142957.1816 | 3.062% | 3.062%
3 | 2016 | 2019-07-16 | 2019 | 139525.479 | 8 | 144615.8301 | 3.648% | 3.648%
3 | 2016 | 2019-07-17 | 2019 | 143008.405 | 3 | 148106.3022 | 3.565% | 3.565%
3 | 2016 | 2019-07-19 | 2019 | 151301.741 | 1 | 154283.5752 | 1.971% | 1.971%
3 | 2016 | 2019-07-20 | 2019 | 149412.248 | 2 | 149551.6109 | 0.09327% | 0.09327%
3 | 2016 | 2019-07-21 | 2019 | 139687.839 | 7 | 143401.7279 | 2.659% | 2.659%
3 | 2016 | 2019-07-29 | 2019 | 139688.005 | 6 | 144316.3831 | 3.313% | 3.313%
3 | 2016 | 2019-08-19 | 2019 | 141158.111 | 5 | 145439.1252 | 3.033% | 3.033%
3 | 2017 | 2020-07-06 | 2020 | 141264.048 | 4 | 147783.4738 | 4.615% | 4.615%
3 | 2017 | 2020-07-09 | 2020 | 143261.19 | 3 | 145699.1533 | 1.702% | 1.702%
3 | 2017 | 2020-07-20 | 2020 | 144319.628 | 1 | 149917.5124 | 3.879% | 3.879%
3 | 2017 | 2020-07-21 | 2020 | 140681.328 | 7 | 146152.9391 | 3.889% | 3.889%
3 | 2017 | 2020-07-27 | 2020 | 143576.032 | 2 | 148996.9563 | 3.776% | 3.776%
3 | 2017 | 2020-07-28 | 2020 | 139943.202 | 10 | 146185.2669 | 4.46% | 4.46%
3 | 2017 | 2020-07-29 | 2020 | 140835.75 | 5 | 143755.303 | 2.073% | 2.073%
3 | 2017 | 2020-08-10 | 2020 | 140487.485 | 8 | 142391.6179 | 1.355% | 1.355%
3 | 2017 | 2020-08-24 | 2020 | 140182.293 | 9 | 141927.5607 | 1.245% | 1.245%
3 | 2017 | 2020-08-27 | 2020 | 140804.525 | 6 | 145748.1441 | 3.511% | 3.511%

## Model Accuracy Explainer
2016 Vintage Model Accuracy Calculations
Horizon | Forecast Vintage | Date | Year | Gross Load | Rank | Gross Forecast | Pct Error | Abs % Error
3 | 2016 | 2019-07-02 | 2019 | 140362.8868 | 10 | 142073.1748 | 1.218% | 1.218%
3 | 2016 | 2019-07-10 | 2019 | 143325.9707 | 4 | 142682.2576 | -0.4491% | 0.4491%
3 | 2016 | 2019-07-15 | 2019 | 140411.5443 | 9 | 141492.0937 | 0.7696% | 0.7696%
3 | 2016 | 2019-07-16 | 2019 | 141203.3419 | 8 | 142785.9805 | 1.121% | 1.121%
3 | 2016 | 2019-07-17 | 2019 | 145039.3664 | 3 | 146344.8939 | 0.9001% | 0.9001%
3 | 2016 | 2019-07-19 | 2019 | 152987.674 | 1 | 152964.752 | -0.01498% | 0.01498%
3 | 2016 | 2019-07-20 | 2019 | 151736.0886 | 2 | 148644.5212 | -2.037% | 2.037%
3 | 2016 | 2019-07-21 | 2019 | 141849.1661 | 7 | 142245.1926 | 0.2792% | 0.2792%
3 | 2016 | 2019-07-29 | 2019 | 142244.7153 | 6 | 143052.457 | 0.5679% | 0.5679%
3 | 2016 | 2019-08-19 | 2019 | 143116.9702 | 5 | 143215.4892 | 0.06884% | 0.06884%
Horizon: Years out from forecast start
Forecast Vintage: Year in which the forecast would have been effective.
Date: Date of actual load and weather input into forecast model
Year: Year under study
Gross Load: Unrestricted load plus solar estimates
Rank: Rank of the daily load for that given Summer
Gross Forecast: Forecast vintage model solved with actual weather conditions (not reduced by solar).
% Error: (Forecast - Actual)/Actual, expressed as a percent
Abs % Error: Absolute value of % Error

## Model Accuracy Data
Horizon | Forecast Vintage | Date | Year | Gross Load | Rank | Gross Forecast | Pct Error | Abs % Error
0 | 2015 | 2015-06-15 | 2015 | 134511.132 | 9 | 132641.5994 | -1.39% | 1.39%
0 | 2015 | 2015-06-22 | 2015 | 135172.9221 | 8 | 137602.2255 | 1.797% | 1.797%
0 | 2015 | 2015-06-23 | 2015 | 137975.4018 | 5 | 139529.3021 | 1.126% | 1.126%
0 | 2015 | 2015-07-20 | 2015 | 143838.4251 | 2 | 144968.3419 | 0.7855% | 0.7855%
0 | 2015 | 2015-07-27 | 2015 | 136020.557 | 6 | 133717.8564 | -1.693% | 1.693%
0 | 2015 | 2015-07-28 | 2015 | 144376.0425 | 1 | 142117.7649 | -1.564% | 1.564%
0 | 2015 | 2015-07-29 | 2015 | 143309.8343 | 3 | 144014.344 | 0.4916% | 0.4916%
0 | 2015 | 2015-07-30 | 2015 | 135293.6685 | 7 | 139625.9832 | 3.202% | 3.202%
0 | 2015 | 2015-08-17 | 2015 | 140681.694 | 4 | 140254.8147 | -0.3034% | 0.3034%
0 | 2015 | 2015-08-18 | 2015 | 134348.979 | 10 | 134217.8525 | -0.0976% | 0.0976%
0 | 2016 | 2016-07-22 | 2016 | 143930.9624 | 6 | 142056.0518 | -1.303% | 1.303%
0 | 2016 | 2016-07-23 | 2016 | 143825.3333 | 7 | 140740.7347 | -2.145% | 2.145%
0 | 2016 | 2016-07-25 | 2016 | 152370.4025 | 2 | 150005.3605 | -1.552% | 1.552%
0 | 2016 | 2016-07-26 | 2016 | 143579.7011 | 8 | 144832.5416 | 0.8726% | 0.8726%
0 | 2016 | 2016-07-27 | 2016 | 145809.4889 | 4 | 145243.8895 | -0.3879% | 0.3879%
0 | 2016 | 2016-08-10 | 2016 | 144436.4619 | 5 | 143141.4411 | -0.8966% | 0.8966%
0 | 2016 | 2016-08-11 | 2016 | 153411.6134 | 1 | 151185.078 | -1.451% | 1.451%
0 | 2016 | 2016-08-12 | 2016 | 148471.1124 | 3 | 149676.2238 | 0.8117% | 0.8117%
0 | 2016 | 2016-08-16 | 2016 | 142915.6901 | 10 | 141198.913 | -1.201% | 1.201%
0 | 2016 | 2016-08-26 | 2016 | 143304.2978 | 9 | 140132.9191 | -2.213% | 2.213%
0 | 2017 | 2017-06-12 | 2017 | 141924.2157 | 4 | 145237.7223 | 2.335% | 2.335%
0 | 2017 | 2017-06-13 | 2017 | 140114.7186 | 5 | 143625.523 | 2.506% | 2.506%
0 | 2017 | 2017-07-12 | 2017 | 136474.6198 | 9 | 141259.7068 | 3.506% | 3.506%
0 | 2017 | 2017-07-13 | 2017 | 136693.5738 | 8 | 142540.535 | 4.277% | 4.277%
0 | 2017 | 2017-07-18 | 2017 | 139520.1148 | 6 | 136073.4962 | -2.47% | 2.47%
0 | 2017 | 2017-07-19 | 2017 | 146849.6315 | 1 | 145518.8188 | -0.9062% | 0.9062%
0 | 2017 | 2017-07-20 | 2017 | 146733.9373 | 2 | 147173.0742 | 0.2993% | 0.2993%
0 | 2017 | 2017-07-21 | 2017 | 143506.9597 | 3 | 146210.1145 | 1.884% | 1.884%
0 | 2017 | 2017-08-16 | 2017 | 135799.6331 | 10 | 132530.3931 | -2.407% | 2.407%
0 | 2017 | 2017-08-22 | 2017 | 136699.4885 | 7 | 137998.0374 | 0.9499% | 0.9499%
0 | 2018 | 2018-06-18 | 2018 | 150047.5697 | 2 | 148630.2699 | -0.9446% | 0.9446%
0 | 2018 | 2018-07-01 | 2018 | 142018.9166 | 9 | 141975.4785 | -0.03059% | 0.03059%
0 | 2018 | 2018-07-02 | 2018 | 147277.0798 | 4 | 148885.0728 | 1.092% | 1.092%
0 | 2018 | 2018-07-03 | 2018 | 147780.9319 | 3 | 145840.6272 | -1.313% | 1.313%
0 | 2018 | 2018-07-05 | 2018 | 143567.5083 | 8 | 143162.2864 | -0.2823% | 0.2823%
0 | 2018 | 2018-07-10 | 2018 | 141922.17 | 10 | 140641.709 | -0.9022% | 0.9022%
0 | 2018 | 2018-07-16 | 2018 | 145390.6253 | 6 | 144654.2902 | -0.5065% | 0.5065%
0 | 2018 | 2018-08-27 | 2018 | 147016.4865 | 5 | 145964.5233 | -0.7155% | 0.7155%
0 | 2018 | 2018-08-28 | 2018 | 152118.5174 | 1 | 152492.1888 | 0.2456% | 0.2456%
0 | 2018 | 2018-08-29 | 2018 | 145265.5847 | 7 | 147008.2777 | 1.2% | 1.2%
0 | 2019 | 2019-07-02 | 2019 | 140362.8868 | 10 | 141217.0793 | 0.6086% | 0.6086%
0 | 2019 | 2019-07-10 | 2019 | 143325.9707 | 4 | 141823.3476 | -1.048% | 1.048%
0 | 2019 | 2019-07-15 | 2019 | 140411.5443 | 9 | 140763.1057 | 0.2504% | 0.2504%
0 | 2019 | 2019-07-16 | 2019 | 141203.3419 | 8 | 142057.8719 | 0.6052% | 0.6052%
0 | 2019 | 2019-07-17 | 2019 | 145039.3664 | 3 | 145582.3391 | 0.3744% | 0.3744%
0 | 2019 | 2019-07-19 | 2019 | 152987.674 | 1 | 152428.9329 | -0.3652% | 0.3652%
0 | 2019 | 2019-07-20 | 2019 | 151736.0886 | 2 | 148635.4099 | -2.043% | 2.043%
0 | 2019 | 2019-07-21 | 2019 | 141849.1661 | 7 | 142522.8558 | 0.4749% | 0.4749%
0 | 2019 | 2019-07-29 | 2019 | 142244.7153 | 6 | 142364.3953 | 0.08414% | 0.08414%
0 | 2019 | 2019-08-19 | 2019 | 143116.9702 | 5 | 142648.8208 | -0.3271% | 0.3271%
0 | 2020 | 2020-07-06 | 2020 | 143735.3246 | 4 | 147421.6354 | 2.565% | 2.565%
0 | 2020 | 2020-07-09 | 2020 | 145688.6716 | 3 | 146298.5352 | 0.4186% | 0.4186%
0 | 2020 | 2020-07-20 | 2020 | 146812.197 | 1 | 150340.4306 | 2.403% | 2.403%
0 | 2020 | 2020-07-21 | 2020 | 143224.4636 | 6 | 146449.0081 | 2.251% | 2.251%
0 | 2020 | 2020-07-27 | 2020 | 146310.7525 | 2 | 149416.6219 | 2.123% | 2.123%
0 | 2020 | 2020-07-28 | 2020 | 141856.6631 | 10 | 146219.3386 | 3.075% | 3.075%
0 | 2020 | 2020-07-29 | 2020 | 142815.9405 | 8 | 144554.5912 | 1.217% | 1.217%
0 | 2020 | 2020-08-10 | 2020 | 143225.8119 | 5 | 142258.7024 | -0.6752% | 0.6752%
0 | 2020 | 2020-08-24 | 2020 | 141980.9597 | 9 | 141301.2251 | -0.4788% | 0.4788%
0 | 2020 | 2020-08-27 | 2020 | 143131.1812 | 7 | 144778.5253 | 1.151% | 1.151%
1 | 2015 | 2016-07-22 | 2016 | 143930.9624 | 6 | 143271.8865 | -0.4579% | 0.4579%
1 | 2015 | 2016-07-23 | 2016 | 143825.3333 | 7 | 141724.3802 | -1.461% | 1.461%
1 | 2015 | 2016-07-25 | 2016 | 152370.4025 | 2 | 151201.1576 | -0.7674% | 0.7674%
1 | 2015 | 2016-07-26 | 2016 | 143579.7011 | 8 | 146130.183 | 1.776% | 1.776%
1 | 2015 | 2016-07-27 | 2016 | 145809.4889 | 4 | 146499.8029 | 0.4734% | 0.4734%
1 | 2015 | 2016-08-10 | 2016 | 144436.4619 | 5 | 144341.4922 | -0.06575% | 0.06575%
1 | 2015 | 2016-08-11 | 2016 | 153411.6134 | 1 | 152356.7184 | -0.6876% | 0.6876%
1 | 2015 | 2016-08-12 | 2016 | 148471.1124 | 3 | 150682.5014 | 1.489% | 1.489%
1 | 2015 | 2016-08-16 | 2016 | 142915.6901 | 10 | 142353.9997 | -0.393% | 0.393%
1 | 2015 | 2016-08-26 | 2016 | 143304.2978 | 9 | 141187.9947 | -1.477% | 1.477%
1 | 2016 | 2017-06-12 | 2017 | 141924.2157 | 4 | 145810.8304 | 2.739% | 2.739%
1 | 2016 | 2017-06-13 | 2017 | 140114.7186 | 5 | 144100.6693 | 2.845% | 2.845%
1 | 2016 | 2017-07-12 | 2017 | 136474.6198 | 9 | 141673.696 | 3.81% | 3.81%
1 | 2016 | 2017-07-13 | 2017 | 136693.5738 | 8 | 142841.8471 | 4.498% | 4.498%
1 | 2016 | 2017-07-18 | 2017 | 139520.1148 | 6 | 136590.2468 | -2.1% | 2.1%
1 | 2016 | 2017-07-19 | 2017 | 146849.6315 | 1 | 146114.8063 | -0.5004% | 0.5004%
1 | 2016 | 2017-07-20 | 2017 | 146733.9373 | 2 | 147590.2134 | 0.5836% | 0.5836%
1 | 2016 | 2017-07-21 | 2017 | 143506.9597 | 3 | 146604.7608 | 2.159% | 2.159%
1 | 2016 | 2017-08-16 | 2017 | 135799.6331 | 10 | 132874.8377 | -2.154% | 2.154%
1 | 2016 | 2017-08-22 | 2017 | 136699.4885 | 7 | 138303.7184 | 1.174% | 1.174%
1 | 2017 | 2018-06-18 | 2018 | 150047.5697 | 2 | 148888.2387 | -0.7726% | 0.7726%
1 | 2017 | 2018-07-01 | 2018 | 142018.9166 | 9 | 141912.8391 | -0.07469% | 0.07469%
1 | 2017 | 2018-07-02 | 2018 | 147277.0798 | 4 | 148910.122 | 1.109% | 1.109%
1 | 2017 | 2018-07-03 | 2018 | 147780.9319 | 3 | 145686.4982 | -1.417% | 1.417%
1 | 2017 | 2018-07-05 | 2018 | 143567.5083 | 8 | 143032.6441 | -0.3726% | 0.3726%
1 | 2017 | 2018-07-10 | 2018 | 141922.17 | 10 | 140739.3394 | -0.8334% | 0.8334%
1 | 2017 | 2018-07-16 | 2018 | 145390.6253 | 6 | 144767.1158 | -0.4289% | 0.4289%
1 | 2017 | 2018-08-27 | 2018 | 147016.4865 | 5 | 146277.3694 | -0.5027% | 0.5027%
1 | 2017 | 2018-08-28 | 2018 | 152118.5174 | 1 | 152763.0521 | 0.4237% | 0.4237%
1 | 2017 | 2018-08-29 | 2018 | 145265.5847 | 7 | 147180.2419 | 1.318% | 1.318%
1 | 2018 | 2019-07-02 | 2019 | 140362.8868 | 10 | 141399.8155 | 0.7387% | 0.7387%
1 | 2018 | 2019-07-10 | 2019 | 143325.9707 | 4 | 141993.2663 | -0.9298% | 0.9298%
1 | 2018 | 2019-07-15 | 2019 | 140411.5443 | 9 | 140816.0272 | 0.2881% | 0.2881%
1 | 2018 | 2019-07-16 | 2019 | 141203.3419 | 8 | 142205.9316 | 0.71% | 0.71%
1 | 2018 | 2019-07-17 | 2019 | 145039.3664 | 3 | 145704.8475 | 0.4588% | 0.4588%
1 | 2018 | 2019-07-19 | 2019 | 152987.674 | 1 | 152548.9043 | -0.2868% | 0.2868%
1 | 2018 | 2019-07-20 | 2019 | 151736.0886 | 2 | 148452.417 | -2.164% | 2.164%
1 | 2018 | 2019-07-21 | 2019 | 141849.1661 | 7 | 142126.1033 | 0.1952% | 0.1952%
1 | 2018 | 2019-07-29 | 2019 | 142244.7153 | 6 | 142403.6275 | 0.1117% | 0.1117%
1 | 2018 | 2019-08-19 | 2019 | 143116.9702 | 5 | 142563.6529 | -0.3866% | 0.3866%
1 | 2019 | 2020-07-06 | 2020 | 143735.3246 | 4 | 147514.6168 | 2.629% | 2.629%
1 | 2019 | 2020-07-09 | 2020 | 145688.6716 | 3 | 146376.8201 | 0.4723% | 0.4723%
1 | 2019 | 2020-07-20 | 2020 | 146812.197 | 1 | 150517.2853 | 2.524% | 2.524%
1 | 2019 | 2020-07-21 | 2020 | 143224.4636 | 6 | 146690.5861 | 2.42% | 2.42%
1 | 2019 | 2020-07-27 | 2020 | 146310.7525 | 2 | 149676.3046 | 2.3% | 2.3%
1 | 2019 | 2020-07-28 | 2020 | 141856.6631 | 10 | 146333.0318 | 3.156% | 3.156%
1 | 2019 | 2020-07-29 | 2020 | 142815.9405 | 8 | 144441.6118 | 1.138% | 1.138%
1 | 2019 | 2020-08-10 | 2020 | 143225.8119 | 5 | 142464.3591 | -0.5316% | 0.5316%
1 | 2019 | 2020-08-24 | 2020 | 141980.9597 | 9 | 141570.7266 | -0.2889% | 0.2889%
1 | 2019 | 2020-08-27 | 2020 | 143131.1812 | 7 | 145239.0299 | 1.473% | 1.473%
2 | 2015 | 2017-06-12 | 2017 | 141924.2157 | 4 | 146890.3869 | 3.499% | 3.499%
2 | 2015 | 2017-06-13 | 2017 | 140114.7186 | 5 | 145193.1911 | 3.625% | 3.625%
2 | 2015 | 2017-07-12 | 2017 | 136474.6198 | 9 | 142647.28 | 4.523% | 4.523%
2 | 2015 | 2017-07-13 | 2017 | 136693.5738 | 8 | 143794.0833 | 5.194% | 5.194%
2 | 2015 | 2017-07-18 | 2017 | 139520.1148 | 6 | 137764.0767 | -1.259% | 1.259%
2 | 2015 | 2017-07-19 | 2017 | 146849.6315 | 1 | 147240.9557 | 0.2665% | 0.2665%
2 | 2015 | 2017-07-20 | 2017 | 146733.9373 | 2 | 148529.5006 | 1.224% | 1.224%
2 | 2015 | 2017-07-21 | 2017 | 143506.9597 | 3 | 147487.1829 | 2.774% | 2.774%
2 | 2015 | 2017-08-16 | 2017 | 135799.6331 | 10 | 133831.8981 | -1.449% | 1.449%
2 | 2015 | 2017-08-22 | 2017 | 136699.4885 | 7 | 139273.258 | 1.883% | 1.883%
2 | 2016 | 2018-06-18 | 2018 | 150047.5697 | 2 | 149466.601 | -0.3872% | 0.3872%
2 | 2016 | 2018-07-01 | 2018 | 142018.9166 | 9 | 142408.3309 | 0.2742% | 0.2742%
2 | 2016 | 2018-07-02 | 2018 | 147277.0798 | 4 | 149389.7982 | 1.435% | 1.435%
2 | 2016 | 2018-07-03 | 2018 | 147780.9319 | 3 | 146047.8571 | -1.173% | 1.173%
2 | 2016 | 2018-07-05 | 2018 | 143567.5083 | 8 | 143413.3091 | -0.1074% | 0.1074%
2 | 2016 | 2018-07-10 | 2018 | 141922.17 | 10 | 141232.7949 | -0.4857% | 0.4857%
2 | 2016 | 2018-07-16 | 2018 | 145390.6253 | 6 | 145228.9494 | -0.1112% | 0.1112%
2 | 2016 | 2018-08-27 | 2018 | 147016.4865 | 5 | 146646.565 | -0.2516% | 0.2516%
2 | 2016 | 2018-08-28 | 2018 | 152118.5174 | 1 | 153182.3847 | 0.6994% | 0.6994%
2 | 2016 | 2018-08-29 | 2018 | 145265.5847 | 7 | 147495.7565 | 1.535% | 1.535%
2 | 2017 | 2019-07-02 | 2019 | 140362.8868 | 10 | 141503.4642 | 0.8126% | 0.8126%
2 | 2017 | 2019-07-10 | 2019 | 143325.9707 | 4 | 142073.4509 | -0.8739% | 0.8739%
2 | 2017 | 2019-07-15 | 2019 | 140411.5443 | 9 | 140945.54 | 0.3803% | 0.3803%
2 | 2017 | 2019-07-16 | 2019 | 141203.3419 | 8 | 142307.6505 | 0.7821% | 0.7821%
2 | 2017 | 2019-07-17 | 2019 | 145039.3664 | 3 | 145787.5848 | 0.5159% | 0.5159%
2 | 2017 | 2019-07-19 | 2019 | 152987.674 | 1 | 152485.6719 | -0.3281% | 0.3281%
2 | 2017 | 2019-07-20 | 2019 | 151736.0886 | 2 | 148241.1686 | -2.303% | 2.303%
2 | 2017 | 2019-07-21 | 2019 | 141849.1661 | 7 | 141956.3298 | 0.07555% | 0.07555%
2 | 2017 | 2019-07-29 | 2019 | 142244.7153 | 6 | 142578.3317 | 0.2345% | 0.2345%
2 | 2017 | 2019-08-19 | 2019 | 143116.9702 | 5 | 142868.5042 | -0.1736% | 0.1736%
2 | 2018 | 2020-07-06 | 2020 | 143735.3246 | 4 | 147417.35 | 2.562% | 2.562%
2 | 2018 | 2020-07-09 | 2020 | 145688.6716 | 3 | 146271.8927 | 0.4003% | 0.4003%
2 | 2018 | 2020-07-20 | 2020 | 146812.197 | 1 | 150212.8382 | 2.316% | 2.316%
2 | 2018 | 2020-07-21 | 2020 | 143224.4636 | 6 | 146436.1108 | 2.242% | 2.242%
2 | 2018 | 2020-07-27 | 2020 | 146310.7525 | 2 | 149520.8761 | 2.194% | 2.194%
2 | 2018 | 2020-07-28 | 2020 | 141856.6631 | 10 | 146082.2431 | 2.979% | 2.979%
2 | 2018 | 2020-07-29 | 2020 | 142815.9405 | 8 | 144320.7483 | 1.054% | 1.054%
2 | 2018 | 2020-08-10 | 2020 | 143225.8119 | 5 | 142199.1911 | -0.7168% | 0.7168%
2 | 2018 | 2020-08-24 | 2020 | 141980.9597 | 9 | 141349.2451 | -0.4449% | 0.4449%
2 | 2018 | 2020-08-27 | 2020 | 143131.1812 | 7 | 145092.6512 | 1.37% | 1.37%
3 | 2015 | 2018-06-18 | 2018 | 150047.5697 | 2 | 150473.7986 | 0.2841% | 0.2841%
3 | 2015 | 2018-07-01 | 2018 | 142018.9166 | 9 | 143205.5606 | 0.8356% | 0.8356%
3 | 2015 | 2018-07-02 | 2018 | 147277.0798 | 4 | 150365.2669 | 2.097% | 2.097%
3 | 2015 | 2018-07-03 | 2018 | 147780.9319 | 3 | 147015.3056 | -0.5181% | 0.5181%
3 | 2015 | 2018-07-05 | 2018 | 143567.5083 | 8 | 144258.8645 | 0.4816% | 0.4816%
3 | 2015 | 2018-07-10 | 2018 | 141922.17 | 10 | 142322.4433 | 0.282% | 0.282%
3 | 2015 | 2018-07-16 | 2018 | 145390.6253 | 6 | 146236.0638 | 0.5815% | 0.5815%
3 | 2015 | 2018-08-27 | 2018 | 147016.4865 | 5 | 147710.213 | 0.4719% | 0.4719%
3 | 2015 | 2018-08-28 | 2018 | 152118.5174 | 1 | 154349.197 | 1.466% | 1.466%
3 | 2015 | 2018-08-29 | 2018 | 145265.5847 | 7 | 148373.4969 | 2.139% | 2.139%
3 | 2016 | 2019-07-02 | 2019 | 140362.8868 | 10 | 142073.1748 | 1.218% | 1.218%
3 | 2016 | 2019-07-10 | 2019 | 143325.9707 | 4 | 142682.2576 | -0.4491% | 0.4491%
3 | 2016 | 2019-07-15 | 2019 | 140411.5443 | 9 | 141492.0937 | 0.7696% | 0.7696%
3 | 2016 | 2019-07-16 | 2019 | 141203.3419 | 8 | 142785.9805 | 1.121% | 1.121%
3 | 2016 | 2019-07-17 | 2019 | 145039.3664 | 3 | 146344.8939 | 0.9001% | 0.9001%
3 | 2016 | 2019-07-19 | 2019 | 152987.674 | 1 | 152964.752 | -0.01498% | 0.01498%
3 | 2016 | 2019-07-20 | 2019 | 151736.0886 | 2 | 148644.5212 | -2.037% | 2.037%
3 | 2016 | 2019-07-21 | 2019 | 141849.1661 | 7 | 142245.1926 | 0.2792% | 0.2792%
3 | 2016 | 2019-07-29 | 2019 | 142244.7153 | 6 | 143052.457 | 0.5679% | 0.5679%
3 | 2016 | 2019-08-19 | 2019 | 143116.9702 | 5 | 143215.4892 | 0.06884% | 0.06884%
3 | 2017 | 2020-07-06 | 2020 | 143735.3246 | 4 | 147547.5898 | 2.652% | 2.652%
3 | 2017 | 2020-07-09 | 2020 | 145688.6716 | 3 | 146410.0065 | 0.4951% | 0.4951%
3 | 2017 | 2020-07-20 | 2020 | 146812.197 | 1 | 150329.4409 | 2.396% | 2.396%
3 | 2017 | 2020-07-21 | 2020 | 143224.4636 | 6 | 146561.3334 | 2.33% | 2.33%
3 | 2017 | 2020-07-27 | 2020 | 146310.7525 | 2 | 149655.0247 | 2.286% | 2.286%
3 | 2017 | 2020-07-28 | 2020 | 141856.6631 | 10 | 146268.8197 | 3.11% | 3.11%
3 | 2017 | 2020-07-29 | 2020 | 142815.9405 | 8 | 144460.9255 | 1.152% | 1.152%
3 | 2017 | 2020-08-10 | 2020 | 143225.8119 | 5 | 142565.6413 | -0.4609% | 0.4609%
3 | 2017 | 2020-08-24 | 2020 | 141980.9597 | 9 | 141674.5172 | -0.2158% | 0.2158%
3 | 2017 | 2020-08-27 | 2020 | 143131.1812 | 7 | 145340.2265 | 1.543% | 1.543%