## DataMoreESR
HourIndex | Load | ThCap | ThOutageRate | Thermal | Intermittent | 8-hr Storage | Hydro w/ Pondage | Hybrid (Open Loop) | Hybrid (Closed Loop) | 4h Storage | DR Available | Ambient | EPOF_Adj | MarginBeforePumpSto | MarginBeforeHyLim | MarginBeforeHy3 | MarginBeforeHy3cl | MarginBeforeSto | MarginBeforeDR | Margin | DR Dispatched | PercLoad | Loss of Load | Day | HourBeginning | Intermittent | Solar | 4hr Storage | 8hr Storage | Hybrids (Open Loop) | HydInt | LFInt | Hydro w/ Pondage | Hybrids (Closed Loop)
1056 | 106938.3625 | 139009.9 | 0.081666 | 102677.3101 | 4261.0524 | -5000 | 641.7257 | -550 | 0 | -2264 | 0 | 2500 | 0 | 33832.5899 | 28832.5899 | 29474.3155 | 28924.3155 | 28924.3155 | 26660.3155 | 26660.3155 | 0 | 0.684 | 0 | 44 | 0 | 45270 | 22146 | 2264 | 5000 | 1100 | 720 | 310 | 2340 | 1100
1057 | 100305.9599 | 139065.7337 | 0.081297 | 96305.836 | 4000.1239 | -5000 | 314.3523 | -550 | 0 | -2264 | 0 | 2500 | 0 | 40259.8977 | 35259.8977 | 35574.2501 | 35024.2501 | 35024.2501 | 32760.2501 | 32760.2501 | 0 | 0.64158 | 0 | 44 | 1
1058 | 95796.746 | 139815.8483 | 0.076342 | 92040.0706 | 3756.6754 | -5000 | 334.3268 | -550 | 0 | -2264 | 0 | 2500 | 0 | 45275.7777 | 40275.7777 | 40610.1045 | 40060.1045 | 40060.1045 | 37796.1045 | 37796.1045 | 0 | 0.61273 | 0 | 44 | 2 | Portfolio is above
1059 | 93099.2282 | 139351.3761 | 0.07941 | 89736.0158 | 3363.2123 | -5000 | 349.2001 | -550 | 0 | -2264 | 0 | 2500 | 0 | 47115.3602 | 42115.3602 | 42464.5603 | 41914.5603 | 41914.5603 | 39650.5603 | 39650.5603 | 0 | 0.59548 | 0 | 44 | 3
1060 | 93007.7048 | 138814.8864 | 0.082954 | 90188.1803 | 2819.5245 | -5000 | 358.2472 | 0 | 0 | 0 | 0 | 2500 | 0 | 46126.7061 | 41126.7061 | 41484.9532 | 41484.9532 | 41484.9532 | 41484.9532 | 41484.9532 | 0 | 0.5949 | 0 | 44 | 4
1061 | 96117.0762 | 138759.0526 | 0.083323 | 93200.7882 | 2916.288 | -5000 | 420.8295 | 0.24444 | 0 | 0 | 0 | 2500 | 0 | 43058.2644 | 38058.2644 | 38479.094 | 38479.3384 | 38479.3384 | 38479.3384 | 38479.3384 | 0 | 0.61478 | 0 | 44 | 5
1062 | 101958.8063 | 138803.5578 | 0.083029 | 98062.6293 | 3896.177 | -5000 | 460.241 | 46.3222 | 0 | 0 | 0 | 2500 | 0 | 38240.9285 | 33240.9285 | 33701.1696 | 33747.4918 | 33747.4918 | 33747.4918 | 33747.4918 | 0 | 0.65215 | 0 | 44 | 6
1063 | 111962.9149 | 139140.1788 | 0.080805 | 102813.3198 | 9149.595 | -5000 | 729.5104 | 332.6889 | 0 | 0 | 0 | 2500 | 0 | 33826.8589 | 28826.8589 | 29556.3694 | 29889.0583 | 29889.0583 | 29889.0583 | 29889.0583 | 0 | 0.71614 | 0 | 44 | 7
1064 | 122597.8369 | 139343.2842 | 0.079464 | 107017.6192 | 15580.2176 | 0 | 444.2539 | 712.8 | 162.8 | 0 | 0 | 2500 | 0 | 29825.665 | 29825.665 | 30269.9189 | 30982.7189 | 31145.5189 | 31145.5189 | 31145.5189 | 0 | 0.78416 | 0 | 44 | 8
1065 | 132408.684 | 139844.9789 | 0.076149 | 113270.4197 | 19138.2643 | 0 | 339.467 | 912.0222 | 362.0222 | 0 | 0 | 2500 | 0 | 24074.5592 | 24074.5592 | 24414.0262 | 25326.0484 | 25688.0706 | 25688.0706 | 25688.0706 | 0 | 0.84691 | 0 | 44 | 9
1066 | 142247.6171 | 139678.2868 | 0.07725 | 122404.063 | 19843.5541 | 0 | 596.0346 | 933.2889 | 383.2889 | 0 | 0 | 2500 | 0 | 14774.2238 | 14774.2238 | 15370.2585 | 16303.5473 | 16686.8362 | 16686.8362 | 16686.8362 | 0 | 0.90984 | 0 | 44 | 10
1067 | 150312.9178 | 139657.248 | 0.077389 | 131689.1069 | 18623.8109 | 0 | 723.0468 | 879.1444 | 708.4 | 0 | 0 | 2500 | 0 | 5468.1411 | 5468.1411 | 6191.1879 | 7070.3324 | 7778.7324 | 7778.7324 | 7778.7324 | 0 | 0.96143 | 0 | 44 | 11
1068 | 156510.6578 | 139442.0048 | 0.078811 | 136942.0048 | 18858.1659 | 711.4871 | 1046.5133 | 903.9556 | 903.9556 | 0 | 0 | 2500 | 0 | -710.4871 | 1 | 1047.5133 | 1951.4688 | 2855.4244 | 2855.4244 | 2855.4244 | 0 | 1.0011 | 0 | 44 | 12
1069 | 161158.7699 | 140554.6342 | 0.071461 | 138054.6342 | 18289.4471 | 4815.6886 | 1200.5241 | 883.5444 | 883.5444 | 0 | 0 | 2500 | 0 | -4814.6886 | 1 | 1201.5241 | 2085.0685 | 2968.613 | 2968.613 | 2968.613 | 0 | 1.0308 | 0 | 44 | 13
1070 | 163744.2172 | 140169.4621 | 0.074006 | 137669.4621 | 19014.9105 | 5000 | 1340.0796 | 1100 | 920.5778 | 0 | 0 | 2500 | 0 | -7059.8446 | -2059.8446 | -719.765 | 380.235 | 1300.8128 | 1300.8128 | 1300.8128 | 0 | 1.0473 | 0 | 44 | 14
1071 | 164495.4203 | 140594.2843 | 0.071199 | 138094.2843 | 19749.7408 | 5000 | 1393.086 | 1100 | 958.2222 | 0 | 0 | 2500 | 0 | -6651.3952 | -1651.3952 | -258.3092 | 841.6908 | 1799.913 | 1799.913 | 1799.913 | 0 | 1.0521 | 0 | 44 | 15
1072 | 165921.7053 | 140798.1989 | 0.069852 | 138298.1989 | 17669.7424 | 5000 | 1617.5978 | 1100 | 1100 | 1137.1662 | 0 | 2500 | 0 | -9953.764 | -4953.764 | -3336.1662 | -2236.1662 | -1136.1662 | 1 | 1 | 0 | 1.0613 | 0 | 44 | 16
1073 | 166132.5672 | 140881.545 | 0.069301 | 138381.545 | 15654.7537 | 5000 | 1739.9025 | 1100 | 1100 | 1811.2 | 9563.5436 | 2500 | 0 | -12096.2685 | -7096.2685 | -5356.366 | -4256.366 | -3156.366 | -1345.166 | 8218.3777 | 1345.166 | 1.0626 | 0 | 44 | 17
1074 | 164139.6195 | 141146.1485 | 0.067553 | 138646.1485 | 10131.7493 | 5000 | 1505.426 | 1021.5333 | 1021.5333 | 1811.2 | 9448.8181 | 2500 | 0 | -15361.7218 | -10361.7218 | -8856.2958 | -7834.7624 | -6813.2291 | -5002.0291 | 4446.7891 | 5002.0291 | 1.0499 | 0 | 44 | 18
1075 | 159768.8943 | 141082.2229 | 0.067976 | 138582.2229 | 4283.7782 | 5000 | 1799.8989 | 711.5778 | 711.5778 | 1811.2 | 9197.2141 | 2500 | 0 | -16902.8932 | -11902.8932 | -10102.9943 | -9391.4165 | -8679.8387 | -6868.6387 | 2328.5754 | 6868.6387 | 1.0219 | 0 | 44 | 19
1076 | 155034.5093 | 141146.9577 | 0.067548 | 138646.9577 | 1478.6177 | 4472.8243 | 1764.2018 | 211.6889 | 532.8889 | 1811.2 | 8924.6758 | 2500 | 0 | -14908.9339 | -10436.1096 | -8671.9078 | -8460.2189 | -7927.33 | -6116.13 | 2808.5458 | 6116.13 | 0.99163 | 0 | 44 | 20
1077 | 151470.1682 | 140618.5599 | 0.071039 | 138118.5599 | 1930.3522 | 0 | 1703.8873 | 0 | 0 | 674.0338 | 8719.4918 | 2500 | 0 | -11421.2561 | -11421.2561 | -9717.3688 | -9717.3688 | -9717.3688 | -9043.335 | -323.8432 | 8719.4918 | 0.96883 | 1 | 44 | 21
1078 | 140779.9638 | 141295.8477 | 0.066564 | 138265.3945 | 2514.5693 | 0 | 1278.7719 | -550 | 0 | 0 | 0 | 2500 | 0 | 530.4532 | 530.4532 | 1809.2251 | 1259.2251 | 1259.2251 | 1259.2251 | 1259.2251 | 0 | 0.90046 | 0 | 44 | 22
1079 | 128298.3738 | 141569.3523 | 0.064758 | 125239.198 | 3059.1758 | -5000 | 735.7717 | -550 | 0 | -2264 | 0 | 2500 | 0 | 13830.1543 | 8830.1543 | 9565.926 | 9015.926 | 9015.926 | 6751.926 | 6751.926 | 0 | 0.82062 | 0 | 44 | 23
1080 | 117716.9378 | 142110.6971 | 0.061181 | 114431.991 | 3284.9468 | -5000 | 736.0605 | -550 | 0 | -2264 | 0 | 2500 | 0 | 25178.7061 | 20178.7061 | 20914.7666 | 20364.7666 | 20364.7666 | 18100.7666 | 18100.7666 | 0 | 0.75294 | 0 | 45 | 0
1081 | 110303.2638 | 142127.69 | 0.061069 | 106956.7586 | 3346.5053 | -5000 | 534.716 | -550 | 0 | -2264 | 0 | 2500 | 0 | 32670.9314 | 27670.9314 | 28205.6473 | 27655.6473 | 27655.6473 | 25391.6473 | 25391.6473 | 0 | 0.70552 | 0 | 45 | 1
1082 | 104874.2899 | 141923.7753 | 0.062416 | 101847.3379 | 3026.952 | -5000 | 156.0483 | 0 | 0 | -2264 | 0 | 2500 | 0 | 37576.4374 | 32576.4374 | 32732.4858 | 32732.4858 | 32732.4858 | 30468.4858 | 30468.4858 | 0 | 0.6708 | 0 | 45 | 2
1083 | 101622.2779 | 141912.4467 | 0.062491 | 99079.4571 | 2542.8208 | -5000 | 167.1305 | 0 | 0 | 0 | 0 | 2500 | 0 | 40332.9896 | 35332.9896 | 35500.1201 | 35500.1201 | 35500.1201 | 35500.1201 | 35500.1201 | 0 | 0.65 | 0 | 45 | 3
1084 | 100647.7496 | 141799.1608 | 0.063239 | 98411.766 | 2235.9837 | -5000 | 174.647 | 0 | 0 | 0 | 0 | 2500 | 0 | 40887.3949 | 35887.3949 | 36062.0418 | 36062.0418 | 36062.0418 | 36062.0418 | 36062.0418 | 0 | 0.64376 | 0 | 45 | 4
1085 | 103274.8822 | 142249.8769 | 0.060262 | 101385.8031 | 1889.0791 | -5000 | 176.2629 | 0.24444 | 0 | 0 | 0 | 2500 | 0 | 38364.0739 | 33364.0739 | 33540.3367 | 33540.5812 | 33540.5812 | 33540.5812 | 33540.5812 | 0 | 0.66057 | 0 | 45 | 5
1086 | 108743.7636 | 142497.4875 | 0.058626 | 106069.2036 | 2674.56 | -5000 | 169.9394 | 52.3111 | 0 | 0 | 0 | 2500 | 0 | 33928.2839 | 28928.2839 | 29098.2233 | 29150.5345 | 29150.5345 | 29150.5345 | 29150.5345 | 0 | 0.69555 | 0 | 45 | 6
1087 | 117655.3439 | 141616.285 | 0.064447 | 107764.8218 | 9890.5221 | 0 | 267.4719 | 437.4333 | 0 | 0 | 0 | 2500 | 0 | 31351.4632 | 31351.4632 | 31618.9351 | 32056.3684 | 32056.3684 | 32056.3684 | 32056.3684 | 0 | 0.75255 | 0 | 45 | 7
1088 | 127529.8257 | 141786.2139 | 0.063325 | 110504.4113 | 17025.4143 | 0 | 158.0725 | 824.3889 | 274.3889 | 0 | 0 | 2500 | 0 | 28781.8025 | 28781.8025 | 28939.875 | 29764.2639 | 30038.6528 | 30038.6528 | 30038.6528 | 0 | 0.81571 | 0 | 45 | 8
1089 | 137395.7097 | 141425.3173 | 0.065709 | 119738.8283 | 17656.8814 | 0 | 278.2811 | 851.2778 | 301.2778 | 0 | 0 | 2500 | 0 | 19186.489 | 19186.489 | 19464.7701 | 20316.0479 | 20617.3257 | 20617.3257 | 20617.3257 | 0 | 0.87881 | 0 | 45 | 9
1090 | 146436.2102 | 141599.2921 | 0.06456 | 126434.4943 | 20001.7159 | 0 | 790.3185 | 966.0444 | 416.0444 | 0 | 0 | 2500 | 0 | 12664.7979 | 12664.7979 | 13455.1163 | 14421.1608 | 14837.2052 | 14837.2052 | 14837.2052 | 0 | 0.93663 | 0 | 45 | 10
1091 | 153977.3635 | 141733.6169 | 0.063672 | 133771.4583 | 20205.9052 | 0 | 691.6307 | 967.8778 | 907.8667 | 0 | 0 | 2500 | 0 | 5462.1586 | 5462.1586 | 6153.7893 | 7121.6671 | 8029.5338 | 8029.5338 | 8029.5338 | 0 | 0.98487 | 0 | 45 | 11
1092 | 159146.1635 | 141743.3271 | 0.063608 | 139023.9632 | 20122.2002 | 0 | 994.3038 | 958.5889 | 958.5889 | 0 | 0 | 2500 | 0 | 219.3638 | 219.3638 | 1213.6676 | 2172.2565 | 3130.8454 | 3130.8454 | 3130.8454 | 0 | 1.0179 | 0 | 45 | 12
1093 | 162815.0979 | 141831.5282 | 0.063026 | 139331.5282 | 19530.1429 | 3954.4267 | 654.4189 | 929.1333 | 929.1333 | 0 | 0 | 2500 | 0 | -3953.4267 | 1 | 655.4189 | 1584.5522 | 2513.6855 | 2513.6855 | 2513.6855 | 0 | 1.0414 | 0 | 45 | 13
1094 | 165550.6123 | 141995.7928 | 0.06194 | 139495.7928 | 19242.9719 | 5000 | 1240.7423 | 1100 | 917.0333 | 0 | 0 | 2500 | 0 | -6811.8476 | -1811.8476 | -571.1053 | 528.8947 | 1445.928 | 1445.928 | 1445.928 | 0 | 1.0589 | 0 | 45 | 14
1095 | 166617.6051 | 141868.7508 | 0.06278 | 139368.7508 | 17917.6751 | 5000 | 1373.6612 | 1100 | 1100 | 758.5181 | 0 | 2500 | 0 | -9331.1793 | -4331.1793 | -2957.5181 | -1857.5181 | -757.5181 | 1 | 1 | 0 | 1.0657 | 0 | 45 | 15
1096 | 167175.2309 | 141888.9804 | 0.062646 | 139388.9804 | 18923.3961 | 5000 | 1406.0448 | 1100 | 1100 | 257.8095 | 0 | 2500 | 0 | -8862.8544 | -3862.8544 | -2456.8095 | -1356.8095 | -256.8095 | 1 | 1 | 0 | 1.0693 | 0 | 45 | 16
1097 | 166635.2287 | 142113.9338 | 0.06116 | 139613.9338 | 13375.7689 | 5000 | 1532.1126 | 1100 | 1100 | 1811.2 | 9592.4797 | 2500 | 0 | -13645.526 | -8645.526 | -7113.4133 | -6013.4133 | -4913.4133 | -3102.2133 | 6490.2664 | 3102.2133 | 1.0658 | 0 | 45 | 17
1098 | 164626.5034 | 142073.4746 | 0.061427 | 139573.4746 | 5453.7078 | 5000 | 1567.5124 | 755.5778 | 755.5778 | 1811.2 | 9476.846 | 2500 | 0 | -19599.321 | -14599.321 | -13031.8086 | -12276.2308 | -11520.653 | -9709.453 | -232.6071 | 9476.846 | 1.053 | 1 | 45 | 18
1099 | 160282.2966 | 142729.7237 | 0.057092 | 140229.7237 | 2320.8171 | 5000 | 1648.7507 | 591.4333 | 591.4333 | 1811.2 | 9226.7685 | 2500 | 0 | -17731.7559 | -12731.7559 | -11083.0052 | -10491.5719 | -9900.1386 | -8088.9386 | 1137.83 | 8088.9386 | 1.0252 | 0 | 45 | 19
1100 | 155373.2423 | 142202.135 | 0.060577 | 139702.135 | 1513.7952 | 5000 | 1563.9626 | 16.1333 | 199.1 | 1811.2 | 8944.1752 | 2500 | 0 | -14157.3122 | -9157.3122 | -7593.3496 | -7577.2163 | -7378.1163 | -5566.9163 | 3377.2589 | 5566.9163 | 0.9938 | 0 | 45 | 20
1101 | 151297.04 | 141987.701 | 0.061994 | 139487.701 | 1512.4719 | 1045.5733 | 1453.9136 | 0 | 0 | 794.8724 | 8709.5256 | 2500 | 0 | -10296.8671 | -9251.2938 | -7797.3802 | -7797.3802 | -7797.3802 | -7002.5078 | 1707.0178 | 7002.5078 | 0.96773 | 0 | 45 | 21
1102 | 141053.2715 | 141992.5561 | 0.061962 | 139489.9875 | 1563.284 | 0 | 1335.9813 | -550 | 0 | 0 | 0 | 2500 | 0 | 2.5685 | 2.5685 | 1338.5499 | 788.5499 | 788.5499 | 788.5499 | 788.5499 | 0 | 0.9022 | 0 | 45 | 22
1103 | 129112.868 | 141855.8038 | 0.062865 | 127443.3352 | 1669.5328 | -5000 | 566.2295 | -550 | 0 | -2264 | 0 | 2500 | 0 | 11912.4686 | 6912.4686 | 7478.6981 | 6928.6981 | 6928.6981 | 4664.6981 | 4664.6981 | 0 | 0.82583 | 0 | 45 | 23
1104 | 118394.6196 | 141360.5825 | 0.066137 | 116638.961 | 1755.6586 | -5000 | 782.5851 | -550 | 0 | -2264 | 0 | 2500 | 0 | 22221.6216 | 17221.6216 | 18004.2067 | 17454.2067 | 17454.2067 | 15190.2067 | 15190.2067 | 0 | 0.75727 | 0 | 46 | 0
1105 | 110481.8868 | 141350.0631 | 0.066206 | 108713.7794 | 1768.1074 | -5000 | 162.362 | -550 | 0 | -2264 | 0 | 2500 | 0 | 30136.2837 | 25136.2837 | 25298.6457 | 24748.6457 | 24748.6457 | 22484.6457 | 22484.6457 | 0 | 0.70666 | 0 | 46 | 1
1106 | 105119.0582 | 141479.5327 | 0.065351 | 103273.7083 | 1845.3499 | -5000 | 160.7339 | 0 | 0 | -2264 | 0 | 2500 | 0 | 35705.8245 | 30705.8245 | 30866.5584 | 30866.5584 | 30866.5584 | 28602.5584 | 28602.5584 | 0 | 0.67236 | 0 | 46 | 2
1107 | 101598.3506 | 141660.7902 | 0.064153 | 99654.4484 | 1943.9021 | -5000 | 163.3991 | 0 | 0 | 0 | 0 | 2500 | 0 | 39506.3418 | 34506.3418 | 34669.7408 | 34669.7408 | 34669.7408 | 34669.7408 | 34669.7408 | 0 | 0.64984 | 0 | 46 | 3
1108 | 100945.4777 | 142038.6796 | 0.061657 | 98828.7689 | 2116.7088 | -5000 | 172.9714 | 0 | 0 | 0 | 0 | 2500 | 0 | 40709.9107 | 35709.9107 | 35882.882 | 35882.882 | 35882.882 | 35882.882 | 35882.882 | 0 | 0.64567 | 0 | 46 | 4
1109 | 103925.8838 | 141806.4435 | 0.063191 | 101957.9438 | 1967.94 | -5000 | 184.2595 | 0.12222 | 0 | 0 | 0 | 2500 | 0 | 37348.4997 | 32348.4997 | 32532.7592 | 32532.8814 | 32532.8814 | 32532.8814 | 32532.8814 | 0 | 0.66473 | 0 | 46 | 5
1110 | 109385.1967 | 141573.3982 | 0.064731 | 106866.5235 | 2518.6732 | -5000 | 162.7788 | 40.9444 | 0 | 0 | 0 | 2500 | 0 | 32206.8747 | 27206.8747 | 27369.6535 | 27410.5979 | 27410.5979 | 27410.5979 | 27410.5979 | 0 | 0.69965 | 0 | 46 | 6
1111 | 118356.0825 | 141587.9635 | 0.064635 | 109571.9924 | 8784.0901 | 0 | 426.144 | 388.3 | 0 | 0 | 0 | 2500 | 0 | 29515.9711 | 29515.9711 | 29942.1151 | 30330.4151 | 30330.4151 | 30330.4151 | 30330.4151 | 0 | 0.75703 | 0 | 46 | 7
1112 | 128611.8025 | 140601.567 | 0.071151 | 112645.5731 | 15966.2294 | 0 | 469.4136 | 783.4444 | 233.4444 | 0 | 0 | 2500 | 0 | 25455.9938 | 25455.9938 | 25925.4074 | 26708.8519 | 26942.2963 | 26942.2963 | 26942.2963 | 0 | 0.82263 | 0 | 46 | 8
1113 | 138331.4653 | 140358.0023 | 0.07276 | 119876.1559 | 18455.3094 | 0 | 517.6686 | 915.5667 | 365.5667 | 0 | 0 | 2500 | 0 | 17981.8463 | 17981.8463 | 18499.515 | 19415.0816 | 19780.6483 | 19780.6483 | 19780.6483 | 0 | 0.88479 | 0 | 46 | 9
1114 | 148470.8155 | 140716.4712 | 0.070392 | 129692.9871 | 18777.8284 | 0 | 692.9688 | 917.1556 | 367.1556 | 0 | 0 | 2500 | 0 | 8523.4841 | 8523.4841 | 9216.4529 | 10133.6085 | 10500.764 | 10500.764 | 10500.764 | 0 | 0.94965 | 0 | 46 | 10
1115 | 156770.146 | 140925.241 | 0.069013 | 137916.0858 | 18854.0601 | 0 | 703.2003 | 915.8111 | 795.1778 | 0 | 0 | 2500 | 0 | 509.1551 | 509.1551 | 1212.3555 | 2128.1666 | 2923.3444 | 2923.3444 | 2923.3444 | 0 | 1.0027 | 0 | 46 | 11
1116 | 161988.8755 | 141504.6175 | 0.065185 | 139004.6175 | 18057.4392 | 4000 | 913.8369 | 888.482 | 874.5 | 0 | 0 | 2500 | 0 | -4926.8189 | -926.8189 | -12.982 | 875.5 | 1750 | 1750 | 1750 | 0 | 1.0361 | 0 | 46 | 12
1117 | 166058.5573 | 140828.1388 | 0.069654 | 138328.1388 | 18241.1146 | 4000 | 838.9062 | 1100 | 1100 | 905.6 | 9559.2832 | 2500 | 0 | -9489.3039 | -5489.3039 | -4650.3977 | -3550.3977 | -2450.3977 | -1544.7977 | 8014.4855 | 1544.7977 | 1.0621 | 0 | 46 | 13
1118 | 168250.4823 | 140825.7112 | 0.06967 | 138325.7112 | 17477.5698 | 4000 | 871.229 | 1100 | 1100 | 905.6 | 9685.463 | 2500 | 0 | -12447.2013 | -8447.2013 | -7575.9723 | -6475.9723 | -5375.9723 | -4470.3723 | 5215.0907 | 4470.3723 | 1.0762 | 0 | 46 | 14
1119 | 168974.5869 | 140867.7888 | 0.069392 | 138367.7888 | 11284.8901 | 4000 | 1420.4088 | 1053.3519 | 1053.3519 | 905.6 | 9727.1466 | 2500 | 0 | -19321.908 | -15321.908 | -13901.4992 | -12848.1473 | -11794.7955 | -10889.1955 | -1162.0489 | 9727.1466 | 1.0808 | 1 | 46 | 15
1120 | 169773.3563 | 140384.7054 | 0.072584 | 137884.7054 | 10956.5731 | 4000 | 1358.1213 | 1032.9407 | 1032.9407 | 905.6 | 9773.1284 | 2500 | 0 | -20932.0777 | -16932.0777 | -15573.9565 | -14541.0157 | -13508.075 | -12602.475 | -2829.3466 | 9773.1284 | 1.0859 | 1 | 46 | 16
1121 | 169703.9969 | 140107.1549 | 0.074417 | 137607.1549 | 7245.8343 | 4000 | 1464.4413 | 847.163 | 847.163 | 905.6 | 9769.1356 | 2500 | 0 | -24851.0077 | -20851.0077 | -19386.5664 | -18539.4035 | -17692.2405 | -16786.6405 | -7017.5049 | 9769.1356 | 1.0855 | 1 | 46 | 17
1122 | 167540.2226 | 140120.911 | 0.074326 | 137620.911 | 6448.333 | 4000 | 1371.6053 | 355.2514 | 369.2333 | 905.6 | 9644.5764 | 2500 | 0 | -23470.9785 | -19470.9785 | -18099.3732 | -17744.1218 | -17374.8885 | -16469.2885 | -6824.7121 | 9644.5764 | 1.0716 | 1 | 46 | 18
1123 | 163141.0439 | 140904.2022 | 0.069152 | 138404.2022 | 3025.4127 | 4000 | 1466.3192 | 90.2 | 90.2 | 905.6 | 9391.3344 | 2500 | 0 | -21711.4291 | -17711.4291 | -16245.1099 | -16154.9099 | -16064.7099 | -15159.1099 | -5767.7755 | 9391.3344 | 1.0435 | 1 | 46 | 19
1124 | 158540.5113 | 140863.7429 | 0.069419 | 138363.7429 | 1476.6598 | 4000 | 1044.5403 | 2.0778 | 2.0778 | 905.6 | 9126.5014 | 2500 | 0 | -18700.1086 | -14700.1086 | -13655.5682 | -13653.4905 | -13651.4127 | -12745.8127 | -3619.3113 | 9126.5014 | 1.0141 | 1 | 46 | 20
1125 | 154121.9259 | 140369.3309 | 0.072685 | 137869.3309 | 1476.2981 | 4000 | 891.4788 | 0 | 0 | 905.6 | 8872.1422 | 2500 | 0 | -14776.297 | -10776.297 | -9884.8181 | -9884.8181 | -9884.8181 | -8979.2181 | -107.0759 | 8872.1422 | 0.98579 | 1 | 46 | 21
1126 | 144468.9004 | 140221.25 | 0.073663 | 137721.25 | 1457.2779 | 0 | 727.1134 | 0 | 0 | 905.6 | 0 | 2500 | 0 | -5290.3725 | -5290.3725 | -4563.2591 | -4563.2591 | -4563.2591 | -3657.6591 | -3657.6591 | 0 | 0.92405 | 1 | 46 | 22
1127 | 132206.1975 | 140223.6775 | 0.073647 | 130449.4207 | 1756.7769 | -5000 | 716.0093 | -550 | 0 | -2264 | 0 | 2500 | 0 | 7274.2569 | 2274.2569 | 2990.2662 | 2440.2662 | 2440.2662 | 176.2662 | 176.2662 | 0 | 0.84562 | 0 | 46 | 23
1128 | 121720.6239 | 139920.2332 | 0.075652 | 119809.5669 | 1911.057 | -5000 | 495.3666 | -550 | 0 | -2264 | 0 | 2500 | 0 | 17610.6663 | 12610.6663 | 13106.0329 | 12556.0329 | 12556.0329 | 10292.0329 | 10292.0329 | 0 | 0.77855 | 0 | 47 | 0
1129 | 114028.8719 | 139530.206 | 0.078229 | 112111.4646 | 1917.4072 | -5000 | 350.9805 | -550 | 0 | -2264 | 0 | 2500 | 0 | 24918.7414 | 19918.7414 | 20269.7219 | 19719.7219 | 19719.7219 | 17455.7219 | 17455.7219 | 0 | 0.72935 | 0 | 47 | 1
1130 | 108694.0652 | 139671.8133 | 0.077293 | 106674.0309 | 2020.0343 | -5000 | 160.6267 | -550 | 0 | -2264 | 0 | 2500 | 0 | 30497.7824 | 25497.7824 | 25658.4091 | 25108.4091 | 25108.4091 | 22844.4091 | 22844.4091 | 0 | 0.69523 | 0 | 47 | 2
1131 | 105287.5051 | 139420.966 | 0.07895 | 102986.5843 | 2300.9208 | -5000 | 172.022 | 0 | 0 | 0 | 0 | 2500 | 0 | 33934.3816 | 28934.3816 | 29106.4037 | 29106.4037 | 29106.4037 | 29106.4037 | 29106.4037 | 0 | 0.67344 | 0 | 47 | 3
1132 | 104542.542 | 139751.1135 | 0.076769 | 102238.304 | 2304.238 | -5000 | 178.4698 | 0 | 0 | 0 | 0 | 2500 | 0 | 35012.8095 | 30012.8095 | 30191.2793 | 30191.2793 | 30191.2793 | 30191.2793 | 30191.2793 | 0 | 0.66867 | 0 | 47 | 4
1133 | 107378.1919 | 139973.6394 | 0.075299 | 105119.5156 | 2258.6763 | -5000 | 206.6005 | 0.12222 | 0 | 0 | 0 | 2500 | 0 | 32354.1238 | 27354.1238 | 27560.7243 | 27560.8465 | 27560.8465 | 27560.8465 | 27560.8465 | 0 | 0.68681 | 0 | 47 | 5
1134 | 112768.0299 | 139976.8761 | 0.075278 | 109777.1778 | 2990.8521 | -5000 | 320.2432 | 48.7667 | 0 | 0 | 0 | 2500 | 0 | 27699.6983 | 22699.6983 | 23019.9415 | 23068.7082 | 23068.7082 | 23068.7082 | 23068.7082 | 0 | 0.72129 | 0 | 47 | 6
1135 | 122222.6987 | 139992.2506 | 0.075176 | 113637.7289 | 8584.9699 | 0 | 418.9529 | 357.9889 | 0 | 0 | 0 | 2500 | 0 | 23854.5217 | 23854.5217 | 24273.4746 | 24631.4635 | 24631.4635 | 24631.4635 | 24631.4635 | 0 | 0.78176 | 0 | 47 | 7
1136 | 132510.0302 | 140853.2235 | 0.069488 | 117324.0944 | 15185.9358 | 0 | 513.5375 | 739.4444 | 189.4444 | 0 | 0 | 2500 | 0 | 21029.1291 | 21029.1291 | 21542.6666 | 22282.1111 | 22471.5555 | 22471.5555 | 22471.5555 | 0 | 0.84756 | 0 | 47 | 8
1137 | 142943.1382 | 140857.2694 | 0.069462 | 125171.8448 | 17771.2935 | 0 | 324.3536 | 879.5111 | 329.5111 | 0 | 0 | 2500 | 0 | 13185.4247 | 13185.4247 | 13509.7783 | 14389.2894 | 14718.8005 | 14718.8005 | 14718.8005 | 0 | 0.91429 | 0 | 47 | 9
1138 | 153235.1235 | 140737.5101 | 0.070253 | 134425.293 | 18809.8306 | 0 | 581.3648 | 922.0444 | 372.0444 | 0 | 0 | 2500 | 0 | 3812.2171 | 3812.2171 | 4393.5819 | 5315.6264 | 5687.6708 | 5687.6708 | 5687.6708 | 0 | 0.98012 | 0 | 47 | 10
1139 | 161810.3615 | 140690.5773 | 0.070563 | 138190.5773 | 18873.4461 | 3636.3636 | 795.0906 | 1100 | 765.4778 | 0 | 0 | 2500 | 0 | -4746.3381 | -1109.9744 | -314.8838 | 785.1162 | 1550.594 | 1550.594 | 1550.594 | 0 | 1.035 | 0 | 47 | 11
1140 | 167340.5132 | 140394.4156 | 0.072519 | 137894.4156 | 18977.8398 | 3636.3636 | 1028.7457 | 1100 | 1100 | 823.2727 | 9633.08 | 2500 | 0 | -10468.2578 | -6831.8941 | -5803.1484 | -4703.1484 | -3603.1484 | -2779.8757 | 6853.2043 | 2779.8757 | 1.0703 | 0 | 47 | 12
1141 | 171420.4734 | 140291.6491 | 0.073198 | 137791.6491 | 20201.2531 | 3636.3636 | 1140.0231 | 1100 | 1100 | 823.2727 | 9867.9459 | 2500 | 0 | -13427.5712 | -9791.2076 | -8651.1845 | -7551.1845 | -6451.1845 | -5627.9118 | 4240.0341 | 5627.9118 | 1.0964 | 0 | 47 | 13
1142 | 173105.9219 | 140048.0844 | 0.074807 | 137548.0844 | 20357.5771 | 3636.3636 | 1151.4611 | 1100 | 1100 | 823.2727 | 9964.97 | 2500 | 0 | -15200.2604 | -11563.8967 | -10412.4356 | -9312.4356 | -8212.4356 | -7389.1629 | 2575.807 | 7389.1629 | 1.1072 | 0 | 47 | 14
1143 | 174540.5559 | 139812.6115 | 0.076363 | 137312.6115 | 17336.5366 | 3636.3636 | 1473.431 | 1100 | 1100 | 823.2727 | 10047.5557 | 2500 | 0 | -19891.4077 | -16255.0441 | -14781.6131 | -13681.6131 | -12581.6131 | -11758.3403 | -1710.7846 | 10047.5557 | 1.1164 | 1 | 47 | 15
1144 | 175176.7297 | 139989.0139 | 0.075198 | 137489.0139 | 19799.3259 | 3636.3636 | 1082.9135 | 1100 | 1100 | 823.2727 | 10084.1775 | 2500 | 0 | -17888.39 | -14252.0264 | -13169.1128 | -12069.1128 | -10969.1128 | -10145.8401 | -61.6626 | 10084.1775 | 1.1205 | 1 | 47 | 16
1145 | 173737.3902 | 140061.0314 | 0.074722 | 137561.0314 | 17492.2902 | 3636.3636 | 1364.675 | 1100 | 1100 | 823.2727 | 10001.3209 | 2500 | 0 | -18684.0687 | -15047.705 | -13683.03 | -12583.03 | -11483.03 | -10659.7573 | -658.4364 | 10001.3209 | 1.1113 | 1 | 47 | 17
1146 | 171268.9555 | 140048.0844 | 0.074807 | 137548.0844 | 12238.991 | 3636.3636 | 1560.0678 | 1087.4111 | 1087.4111 | 823.2727 | 9859.2236 | 2500 | 0 | -21481.8802 | -17845.5165 | -16285.4487 | -15198.0376 | -14110.6265 | -13287.3538 | -3428.1301 | 9859.2236 | 1.0955 | 1 | 47 | 18
1147 | 167235.7361 | 140500.4188 | 0.071819 | 138000.4188 | 4811.6579 | 3636.3636 | 1525.4029 | 406.1444 | 597.5444 | 823.2727 | 9627.0484 | 2500 | 0 | -24423.6594 | -20787.2957 | -19261.8928 | -18855.7484 | -18258.2039 | -17434.9312 | -7807.8828 | 9627.0484 | 1.0697 | 1 | 47 | 19
1148 | 163176.0588 | 140472.0974 | 0.072006 | 137972.0974 | 2301.1046 | 3636.3636 | 1680.1912 | 1.5889 | 1.5889 | 823.2727 | 9393.3501 | 2500 | 0 | -22902.8568 | -19266.4932 | -17586.302 | -17584.7131 | -17583.1242 | -16759.8515 | -7366.5014 | 9393.3501 | 1.0437 | 1 | 47 | 20
1149 | 159442.9087 | 140998.0676 | 0.068532 | 138498.0676 | 2919.941 | 3636.3636 | 1689.3394 | 0 | 0 | 823.2727 | 9178.4485 | 2500 | 0 | -18024.9 | -14388.5364 | -12699.197 | -12699.197 | -12699.197 | -11875.9243 | -2697.4758 | 9178.4485 | 1.0198 | 1 | 47 | 21
1150 | 149829.16 | 141941.5774 | 0.062299 | 139441.5774 | 3948.1447 | 0 | 828.5357 | 0 | 0 | 823.2727 | 0 | 2500 | 0 | -6439.4379 | -6439.4379 | -5610.9021 | -5610.9021 | -5610.9021 | -4787.6294 | -4787.6294 | 0 | 0.95834 | 1 | 47 | 22
1151 | 137989.4136 | 142077.5205 | 0.0614 | 132903.9717 | 5085.4419 | -5000 | 695.6888 | -550 | 0 | 0 | 0 | 2500 | 0 | 6673.5488 | 1673.5488 | 2369.2376 | 1819.2376 | 1819.2376 | 1819.2376 | 1819.2376 | 0 | 0.88261 | 0 | 47 | 23