## Setup
Enter Stakeholder Committee Name in cell A2:
Electric Gas Coordination Senior Task Force | Priorities
Low
Enter issue title (use title from Issue Tracking if applicable) in cell A5: | Low-Medium
Natural Gas and Electric Coordination | Low-High
Medium
Medium-High
High

## 1. Interest Identification
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
Interest Identification
Instructions: List interests of all parties on this page.
|  | Primary Category | Secondary Category
FERC
1 | Competitive gas market | FERC
2 | Consistency of merchant power business model and pipeline business model | FERC
3 | No risk shifting from gas market to power market | FERC
4 | No risk shifting from power suppliers to customers | FERC
5 | Competitive power market | FERC
FERC/NAESB
6 | Intraday supply and nominations | FERC/NAESB
7 | Revisiting options for further gas day/electric day alignment | FERC/NAESB
8 | Opportunities for enhancements to NAESB nomination guidelines for generators during cold weather alerts/constrained periods | FERC/NAESB
NATURAL GAS INDUSTRY/TARIFF
9 | Daily natural gas balancing rules | Natural Gas Industry/Tariff
10 | Monthly/Seasonal Natural Gas balancing rules | Natural Gas Industry/Tariff
11 | Central/coordinated gas transportation planning | Natural Gas Industry/Tariff
PJM FUEL COST POLICY
12 | Appropriate inclusion of natural gas, cost adders would cover items (e.gx pipeline post cycle supply or sales, storage, no-notice service, park and loan service) | PJM Fuel Cost Policy | FERC
PJM MARKETS
13 | A minimum natural gas volume commitment for volumes purchased in advance of DA Awards using DA MW/LMP projections | PJM Markets | PJM Operations
14 | Allowing power producers to purchase solar/wind substitutes, where available, for balancing PJMs system instead of using combined cycle gas units | PJM Markets | FERC
15 | Ancillary product for purchasing options to accommodate a growing, intermittent sector of total generation | PJM Markets | FERC
16 | Market Incentives | PJM Markets
17 | Multi-day, DA award model to match multiple day natural gas market purchasing realities over weekend/holidays-----Weekend/holiday gas market liquidity limitations | PJM Markets | Natural Gas Markets
18 | Opportunities for enhancements to day ahead and real time award process during cold weather alerts/constrained periods | PJM Markets
19 | The obligations of capacity resources to obtain gas supply and pipeline transportation with defined reliability characteristics should be clarified | PJM Markets | FERC
20 | Rules for cost recovery and incentives created by the rules lead to reasonably efficient actions in the face of uncertainty from the customer's perspective. | PJM Markets
PJM OPERATIONS
21 | Clear definition of fuel related unavailability/outages | PJM Operations | NERC
22 | Ensuring critical gas infrastructure is clearly identified within system restoration, load shedding and demand response programs | PJM Operations | Natural Gas Industry
23 | Expanded Tabletop Drills | PJM Operations | Natural Gas Industry
24 | Factoring natural gas volume commitment and pipeline restrictions into RT dispatch | PJM Operations
25 | Gas capacity requirements identified to support power generation capacity and generation flexibility | PJM Operations | Gas Pipeline Operations
26 | Improve cost and availability awareness associated with intra-day supply and pipeline service flexibility | PJM Operations | Generation Stakeholders
27 | Improve practice of awarding/running peaking units on cost to address system transmission constraints to ensure long term viability of peaking units | PJM Operations | PJM Markets
28 | Improve understanding of on-site, alternate fuel inventory and capability | PJM Operations | Generation Stakeholders
29 | In addition to N-1 (unit failure paradigm) contingency planning, some contingency planning around load and intermittent generation forecast error should be used in reserve calculations and associated fueling requirements | PJM Operations
30 | N-1 reliability and emergency spin reserves to consider fuel limitations and constraints | PJM Operations
31 | Opportunities for enhanced protocols for communication of advanced notice of gas limitations (either due to physical delivery or contractual) from market participants to PJM | PJM Operations
32 | PJM should have full information about the pipeline and gas supply arrangements and dual fuel supply arrangements of all generators | PJM Operations | Generation Stakeholders
33 | Real Time Gas systems to coordinate with PJM power desk | PJM Operations | Gas Pipeline Operations
34 | Visibility of all fuel limitations and the impact on reliability and reserves | PJM Operations | Generation Stakeholders
PJM OPERATIONS AND MARKETS
35 | Communicating to FERC where PJM and the Electric Industry need more flexibility with the Gas Industry | PJM Operations and Markets
36 | Examine the concept of Residual unit commitment | PJM Operations and Markets
37 | Fuel security program | PJM Operations and Markets
38 | The assignment of gas availability and price risk to capacity resources should be clarified | PJM Operations and Markets | Generation Stakeholders
PJM OPERATIONS AND PLANNING
39 | Collaboration with natural gas pipelines/generators/PJM on system expansion projects (generation/transmission) | PJM Operations and Planning | Natural Gas Industry
PJM RISK MANAGEMENT
40 | Accounting of failure of financial corporate structure during extreme events and high fuel costs | PJM RISK MANAGEMENT | Generation Stakeholders
High
Low-Medium
Medium
Medium-High
Low

## 2. Options Matrix- Design Comp.
Electric Gas Coordination Senior Task Force
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
1 | Implementation
SITUATIONAL AWARENESS
8 | Improve understanding of on-site, alternate fuel inventory and capability Fuel inventory and alternate fuel capability | Medium-High | Annual Pre Winter Generator Fuels Data Request; PJM Manual defined guidelines for fuel limited resources offered as maximum emergency; PJM Data Requests | Increased telemetry to track onsite fuel inventories | Generators update fuel inventories in MIRA. More regular updates should be performed. PJM needs full real time situational awareness.
11 | PJM should have full information about the pipeline and gas supply arrangements and dual fuel supply arrangements of all generators Pipeline, gas supply, dual fuel arrangements | Low-Medium | Annual Pre Winter Generator Fuels Data Request; PJM Manual defined guidelines for fuel limited resources offered as maximum emergency; PJM Data Requests | More frequent requests for data | Material changes may require notification to PJM | Generators need to provide PJM and the IMM with all pertinent pipeline and supply information immediately.
12 | Visibility of all fuel limitations and the impact on reliability and reserves Visibility of all fuel limitations | Medium-High | Fuel limitations reflected in operating parameters that determine reserve estimates | Generator provides PJM with DA/RT MW capability based on fuel/contract provisions | Accurately report unit availability when pipelines/LDC/suppliers notifies Market Seller of gas limitations | Update PJM Manual 13 to establish clear requirements/rules for natural gas generators to report availability to PJM through unit parameter exemption process outlined in Manual 11 Section 2.3.4.3 | PJM reserve calculations and the ability to offer reserves should account for actual terms of gas availability.
13 | Accounting of failure of financial corporate structure during extreme events and high fuel costs - check with credit SMEs (finance and risk) Corporate financial stability awareness | Low | EPFSTF - Circuit Breaker Issue Charge - additional discussion needed and keeping in the Options Matrix for now (10/12/22) | Gas/Electric market price caps during extreme events
FINANCIAL
2 | Appropriate inclusion of natural gas cost adders would cover items (e.g. pipeline post cycle supply or sales, storage, no-notice service, park and loan service) - will move to the design component associated with situational awareness. Cost adders (e.g. pipeline post cycle supply or sales, storage, no-notice service, park and loan service) |  | Gas costs are addressed in Fuel cost Policies. Fuel cost policies define acceptable gas cost adders
5 | Recovery of cost of fuel disposal as a result of a canceled dispatch [SLM Question: Should this component be limited to cancelled dispatches or should this be expanded to recovery of costs in any scenario leading to disposal?] | Medium | LOC only, temporary exemptions allowed for pipeline enforced ratable gas for PLS | Allow the recovery of imbalance costs associated with PJM dispatch changes | Allow the recovery of losses associated with sales of unused gas supply associated with a PJM dispatch change | Allow the recovery of imbalance costs associated with PJM dispatch changes
MARKETS & OPERATIONS
3 | A minimum natural gas volume commitment for volumes purchased in advance of DA Awards using DA MW/LMP projections Natrual gas volume commitment | High | Owner makes economic decision to self-schedule and burn the remaining gas or choses to dispose of it. Generators typically need to procure gas prior to knowing if they are needed (primarily real time dispatch or over weekend periods beyond the day ahead market) | The generator provide a minimum volume commitment - generator offer a multi-day offer | Allow the recovery of losses associated with sales of unused gas supply associated with a PJM dispatch change
4 | Gas pipeline/supply constraints considered in dispatch instructions Dispatch instructions | High | Gas pipeline and supply constraints not incorporated in dispatch instructions | Don't count gas reserves if no nominations beyond the timely/evening nomination cycle | Establish a threshold for reserves | Generators identify specific constraints and fuel supply/generation output impact | Submit a Temporary Exception if prior to the DA-Market or if in RT, submit a RT-Market. | Create a process to improve PJM’s daily situational awareness through evaluations, tracking, analysis of fuel supply and generator fuel costs in dispatch models.
6 | Multi-day, DA award model to match multiple day natural gas market purchasing realities over weekend/holidays-----Weekend/holiday gas market liquidity limitations Day ahead award model | High | Lack of weekend gas market liquidity The natural gas market is generally not as liquid during weekend periods with many market participants procuring required gas volumes on Friday for the Saturday through Monday periods. On Friday, generation resources will only know their day ahead commitment requirements for the Saturday electric day (12am to 12am). Units that are needed during the weekend are subject to gas availability and price risk over the weekend period. | Enhancements to the availability of weekend gas supply/market liquidity | Binding multi-day forecast following DA commitment | Start with a non-binding multi-day forecast following DA binding commitment | Binding multi-day forecast with alternative for procurement (if NG does not meet commitment) | Create voluntary option for any generation resource to make a multi-day offer with an associated PJM commitment decision for weekends and holidays.
7 | Expanded Tabletop Drills Training | Low | PJM/Pipeline/LDCs Historically, PJM has been engaged in various tabletop drills with interstate pipelines and local gas distribution companies | Incorporate generation owners into future collaborative system disruption/restoration drills/exercises (include in both option A and B) | Develop expanded annual tabletop exercises to include gas generation owners to work with PJM and the natural gas industry on critical system disruption and recovery drills | PJM should include IMM and state PUC's in their table top drills as well as generator owners
9 | N-1 reliability and emergency spin reserves to consider fuel limitations and constraints (may be included in Dominion Option 1) N-1 reliability and emergency spin reserves | Low | PJM currently assesses pre-defined gas contingencies during all cold weather and hot weather alerts as well as when certain events occur such as an emergent pipeline failure or disruption. | PJM reserve calculations and the ability to offer reserves should account for actual terms of gas availability including nomination periods.
10 | Opportunities for enhanced protocols for communication of advanced notice of gas limitations (either due to physical delivery or contractual) from market participants to PJM. Communication protocols foradvance notice of fuel limitations. | High | Markets Gateway functionality Market participants can currently use Markets Gateway to communicate gas limitations to PJM | Create a flag in Markets Gateway for gas fired generators that informs PJM if (by DA market bid submission deadline) Timely or Next Day has been bought or nominated for delivery | Any gas limitations generators identify need to be reported to PJM immediately |  |  |  | Low
14 | CT firm commitment in day-ahead | [7 empty] | Low - High
Medium
Medium - High
Implementation
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attribute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Status Quo | A - Dominion Energy | B - PJM | C-IMM | D - E-Cubed | E - PJM/DOM | F- LS Power | G- Red Oak/Rockland/J-Power | H - Red Oak/Rockland/J-Power | I - NEW CONSOLIDATED PACKAGE (PJM/DOM ENERGY/GABEL)
SITUATIONAL AWARENESS
8 | Fuel inventory and alternate fuel capability | Annual Pre Winter Generator Fuels Data Request; PJM Manual defined guidelines for fuel limited resources offered as maximum emergency; PJM Data Requests | Status Quo | Status Quo | Status Quo | Status Quo plus the following information. PJM and Gen owners must also provide a history of gas pipeline OFOs and ratable take orders and/or their equivalent along with the weather and load circumstances under which each of these has occurred. This should help address the lack of PJM situational awareness going into the DA market and RT operations. Also historic incidences of fuel resupply logistics bottlenecks. | Status Quo | Annual Pre Winter Generator Fuels Data Request; PJM Manual defined guidelines for fuel limited resources offered as maximum emergency; PJM Data Requests (Status Quo) plus the following information - PJM and Gen owners must also provide a history of gas pipeline critical notices, OFOs and ratable take orders and/or their equivalent along with the weather under which each of these has occurred. Also, historic incidences of commodity unavailability and indication whether the unavailability was before the timely nomination deadline or after. This should help address the lack of PJM situational awareness going into the DA market and RT operations. | Status Quo plus three intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC1, RTC2 and RTC3 | Status Quo plus two intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC2 and RTC3 | Status Quo plus two intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC2 and RTC3 | Low
11 | Pipeline, gas supply, dual fuel arrangements | Annual Pre Winter Generator Fuels Data Request; PJM Manual defined guidelines for fuel limited resources offered as maximum emergency; PJM Data Requests | Status Quo | Status Quo | Status Quo | Status Quo plus the following information. PJM and Gen owners must also provide a history of gas pipeline OFOs and ratable take orders and/or their equivalent along with the weather and load circumstances under which each of these has occurred. This should help address the lack of PJM situational awareness going into the DA market and RT operations. Also historic incidences of fuel resupply logistics bottlenecks. | Status Quo | Annual Pre Winter Generator Fuels Data Request; PJM Manual defined guidelines for fuel limited resources offered as maximum emergency; PJM Data Requests (Status Quo) plus the following information - PJM and Gen owners must also provide a history of gas pipeline critical notices, OFOs and ratable take orders and/or their equivalent along with the weather under which each of these has occurred. Also, historic incidences of commodity unavailability and indication whether the unavailability was before the timely nomination deadline or after. This should help address the lack of PJM situational awareness going into the DA market and RT operations | Status Quo plus three intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC1, RTC2 and RTC3 | Status Quo plus two intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC2 and RTC3 | Status Quo plus two intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC2 and RTC3 | Medium
12 | Visibility of all fuel limitations | Fuel limitations reflected in operating parameters that determine reserve estimates | Status Quo; and Performance after Periods of Stress: Report ACE Performance (Frequency and length of excursions) Quantify amount and type of backup fuel consumed; Make evaluations public. | Based upon forecasted grid conditions (i.e. Cold Weather Alert or Conservative Operations) and pipeline issued OFOs indicating resources must adhere to nomination timelines, PJM will make gas units in the impacted area ineligible to satisfy the Non-Synchronized Reserve requirement in the DA, RAC and Real Time Markets –No changes to the eligibility for Synchronized Reserve –Impact: Additional and earlier commitments of gas fired resources for energy/synch reserve will be made | Short Term: Reflect nomination deadlines, ratable takes in operating parameters when enforced by pipelines. Document method of doing this in the Manuals. Mid Term: Remove RTVs. Allow for real time temporary exceptions. Long Term: Introduce new operating parameter for extending runs. (See 10/18 IMM Presentation for details) | Change the default start-up and notification operating parameters to reflect the FERC gas tariff defined nomination and flow timelines. Gas-fired generation can always put in shorter start and notification times if the pipeline will allow such operation by gas generators. Gas generators offering "more flexible" parameters can reflect the cost of gas imbalance charges in their fuel cost policies and offers in the DA and RT energy markets and can update as needed in RT. To the extent the default nomination and flow timelines do not allow gas resources to be counted toward reserves, these should not be counted. To the extent a gas generator can provide reserves being more flexible, those costs must be included in the reserve offer (imbalance charges, park and load, line pack, etc.) | Short Term: Reflect nomination deadlines, ratable takes in operating parameters when enforced by pipelines. (9/8/23-temporary exception guideline document posted on PJM and IMM websites) Document in PJM manuals Mid Term: Remove RTVs. Allow for real time temporary exceptions. (9/11/23 Joint PJM/IMM FERC filing) Long Term: Introduce new operating parameter for extending runs. | In cases where a unit eligible to respond in Real-Time Energy Markets is not committed during the DAM clearing, allow those units to modify operating parameters to reflect the required notification and flow timelines imposed by interconnected pipelines in order to respond to RT dispatch instruction if needed. Units would coordinate with PJM market operations during adjustment period to demonstrate need to readjust RT operating parameters. Such demonstration could include third-party notice of operating parameter requirements from Pipeline operator to PJM as documentation for parameter adjustment. | Status Quo plus three intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC1, RTC2 and RTC3 Support updating parameters to reflect proper operating conditions within current Tariff rules. Support the removal of RTVs. | Status Quo plus two intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC2 and RTC3. Support updating parameters to reflect proper operating conditions within current Tariff rules. Support the removal of RTVs. | Status Quo plus two intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC2 and RTC3. Short Term: Reflect nomination deadlines, ratable takes in operating parameters when enforced by pipelines. (9/8/23-temporary exception guideline document posted on PJM and IMM websites) Document in PJM manuals Mid Term: Remove RTVs. Allow for real time temporary exceptions. (9/11/23 Joint PJM/IMM FERC filing approved by FERC on 11/30/23) Long Term: Introduce new operating parameter for extending unit runs. NOTE: Short Term and Mid Term items have been addressed | Medium - High
13 | Corporate financial stability awareness | EPFSTF - Circuit Breaker Issue Charge - additional discussion needed and keeping in the Options Matrix for now (10/12/22) |  |  | N/A |  | N/A |  | N/A | N/A | N/A
FINANCIAL
2 |  | Fuel cost policies define acceptable gas cost adders | Status quo |  | Status Quo | Fuel cost policies need to be updated to reflect specific costs of services such as park and loan, line pack, storage, no-notice or short notice service that allow gas resources to have short notification and start times and can be reflected in energy and reserve offers as needed. No resource type should be asked to operate at a loss as has been historically embedded in the PJM market design. | Status Quo | Fuel cost policies need to be updated to reflect specific costs of services such as park and loan, line pack, storage, no-notice or short notice service that allow gas resources to have short notification and start times and can be reflected in energy and reserve offers as needed. No resource type should be asked to operate at a loss as has been historically embedded in the PJM market design. Resources may offer up to their cost-based offer when mitigated. | Status quo | Status quo | Status quo
5 | Recovery of cost of fuel disposal as a result of a canceled dispatch | LOC only, temporary exemptions allowed for pipeline enforced ratable gas for PLS | Status quo and Generators will be allowed to recover the losses (if any) incurred for gas purchases for PJM dispatch directives but were then not called on in the real-time. Resources that resources receive a DA award would be ineligible Generators would have to demonstrate gas net losses to PJM and the IMM. |  | Status Quo | To the extent gas resources are committed by PJM and PJM subsequently decommits those resources should be allowed to recover those costs as in the Dominion proposal. If gas resources are committed economically in the DA market, a gen owner may choose to continue running on its DA schedule or if RT prices are lower than running costs plus any imbalance charges and gas resale costs, the gas owner can come off for economics consistent with the two settlement system. This is consistent with the idea any resource should not be subject to operating at a loss. | Status Quo | To the extent gas resources are committed by PJM and PJM subsequently decommits those resources they should be allowed to recover those costs. If resources operate in the RT at a reduced schedule over their DA award and intraday gas prices result in a sellback loss on fuel (including any imbalance charges), the generation owner will be made whole up to its day-ahead commitment. This is consistent with the idea any resource should not be subject to operating at a loss. | Status Quo plus apply Manual 28, section 5.2.4 (Credits for Canceled Pool-Scheduled Resources) for when PJM cancels committed resources | Status Quo plus apply Manual 28, section 5.2.4 (Credits for Canceled Pool-Scheduled Resources) for when PJM cancels committed resources | Status Quo
MARKETS & OPERATIONS
3 | Natural gas volume commitment | Owner makes economic decision to self-schedule and burn the remaining gas or choses to dispose of it. Generators typically need to procure gas prior to knowing if they are needed (primarily real time dispatch or over weekend periods beyond the day ahead market) | Quantify Fueling Sourcing for DA Awards, generators upload gas nomination and approved burn profiles, giving PJM increased ability to document and evaluate aggregated DA fueling plan as well a (make public daily) impact of RT dispatch on fuel plan. | Generation Owners will be required to confirm that their gas supply has been purchased and nominated via a to be developed mechanism in Markets Gateway. Any changes to the gas nomination w quantity in subsequent NAESB gas nomination cycles would also require updating in Markets Gateway. The intent is to provide PJM with the specific hours of availability based on the nomination levels reported. | Gas units will be required to confirm if gas supply has been purchased and nominated to meet DA award. This will be a checkbox in Markets Gateway. | Quantify Fueling Sourcing for DA Awards, generators upload gas nomination and approved burn profiles, giving PJM increased ability to document and evaluate aggregated DA fueling plan as well a (make public daily) impact of RT dispatch on fuel plan. PJM required to follow nomination and flow timelines to the extent PJM commits and/or distayces the gas resource for additional hours or output during hours in which it is already committed. | Gas units will be required to confirm if gas supply has been purchased and nominated to meet DA award. | PJM market operations to develop five-day forecast error outlook of potential market forecast error to determine need for deployment of multi-day energy security (MDES) product (described below.) Five-day forecast error outlook to consider weather, intermittent generation, known fuel outage or constraints, and other information to determination of forecast uncertainty. PJM required to follow nomination and flow timelines to the extent PJM commits and/or dispatches the gas resource for additional hours during hours in which it is already committed. | #11 (CT firm commitment in day-ahead) below plus three intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC1, RTC2 and RTC3 | #11 (CT firm commitment in day-ahead) below plus two intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC2 and RTC3 | By 3pm eastern time each day, gas generators will be required to confirm that gas supply has been procured and scheduled to meet their Day Ahead obligation via a checkbox in Markets Gateway. (This mechanism does not exist today but will need to be developed)
4 | Dispatch instructions | Gas pipeline and supply constraints not incorporated in dispatch instructions | Account for Gas Fueling Constraints in Generation Dispatch and Reserve Calculation. If DA fueling plan is deemed unreliable, implement solutions: If too much reliance on ID2/ID3 noms, consider awarding additional MW covered by pipeline timely nomination cycle (e.g., DA). Add fueling constraints to PJM’s reliability (re-offer) run. Account for Fueling Constraints in RT Dispatch Price Signal Additional economic considerations applied if current LMP would cause in-place fuel plans to become unreliable. Ex: If LMPs send unit to eco min/max in violation of pipeline imbalance parameters, unit must remain at planned levels. Ex: If system emergency req unit to raise fuel consumption or come online, implement fuel reserve contingency. | During a PJM Cold Weather Alert or Conservative Operations, natural gas units in the impacted zone(s) will be required to confirm, and supply supporting evidence/documentation, that any OFOs issued by the pipeline/LDC they are connected to either: Do Not affect their parameters, Or Do affect their parameters and confirm parameters have been updated using the Temporary Exception or Real Time Value process outlined in Manual 11, Sections 2.3.4.3 and 2.3.4.4 Enhance Manual 11 and Manual 13 language with proper process for how to reflect gas pipeline constraints in parameters | Status Quo | If PJM wants to use Real-time Values, it must file a tariff and OA change to make this happen. As it stands, FERC has rejected RT values and thus it is hard to reconcile PJM's continued desire to use RT values with a FERC rejection of such ideas. This also requires as noted above a change to the default parameter values which should provide the needed visibility to PJM. By reference, also see Dominion option. Also, allowing real-time updates to offers to incorporate imbalance charges if a resource is needed to ramp up to produce additional MW beyond what had been previously committed by PJM. | Status Quo | See Multi-Day Energy Reserves Product described below | Three intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC1, RTC2 and RTC3 | Two intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC2 and RTC3 | Two intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC2 and RTC3
6 | Day ahead award model | Lack of weekend gas market liquidity The natural gas market is generally not as liquid during weekend periods with many market participants procuring required gas volumes on Friday for the Saturday through Monday periods. On Friday, generation resources will only know their day ahead commitment requirements for the Saturday electric day (12am to 12am). Units that are needed during the weekend are subject to gas availability and price risk over the weekend period. | Allow generators to make multi-day contingent offers over holidays and weekends during extreme weather alerts and/or PAI alerts. |  | Status Quo |  | Status Quo | See Multi-Day Energy Reserves Product described below | N/A | N/A | N/A
7 | Training | PJM/Pipeline/LDCs Historically, PJM has been engaged in various tabletop drills with interstate pipelines and local gas distribution companies | Status quo; and make results public |  | Status Quo but make non confidential training material and exercise information available to stakeholders | Status quo; and make results public. Also PJM must compile historic records of OFOs and other pipeline operational constraints and the conditions under which these have occurred and make these public to inform market participants and PJM personnel. | Status Quo but make non confidential training material and exercise information available to stakeholders |  | Status Quo but make non confidential training material and exercise information available to stakeholders | Status Quo but make non confidential training material and exercise information available to stakeholders | Status Quo but make non confidential training material and exercise information available to stakeholders
9 | N-1 reliability and emergency spin reserves | PJM currently assesses pre-defined gas contingencies during all cold weather and hot weather alerts as well as when certain events occur such as an emergent pipeline failure or disruption. | Quantify and make explicit reserve fueling sourcing assumptions in system dispatch model. -Quantify onsite & pipeline source back-up fueling capabilities (volumes, replenishment schedule). -Evaluate (make public) overall reliability of reserve fueling plan and review with pipeline | Based upon forecasted grid conditions (i.e. Cold Weather Alert or Conservative Operations) and pipeline issued OFOs indicating resources must adhere to nomination timelines, PJM will make gas units in the impacted area ineligible to satisfy the Non-Synchronized Reserve requirement in the DA, RAC and Real Time Markets –No changes to the eligibility for Synchronized Reserve –Impact: Additional and earlier commitments of gas fired resources for energy/synch reserve will be made | Status quo. With the implementation of short and mid term solutions in 12, units that normally qualify as offline primary or secondary reserves will not be assigned reserves based on the extended notification times. | PJM needs to consider committing gas resources to provide reserves even if the cost is not zero as PJM as the RC has the obligation to ensure sufficient reserves to the extent they are available and they are less costly than going short reserves. | Status quo. With the implementation of short and mid term solutions in 12, units that normally qualify as offline primary or secondary reserves will not be assigned reserves based on the extended notification times. |  | Topic should be addressed with the Reserve Certainty STF | Topic should be addressed with the Reserve Certainty STF | Topic should be addressed with the Reserve Certainty STF | Low - Medium
10 | Communication protocols for advance notice of fuel limitations. | Markets Gateway functionality Market participants can currently use Markets Gateway to communicate gas limitations to PJM | Status Quo, and create a flag in Markets Gateway for gas fired generators that informs PJM if (by DA market bid submission deadline) Timely or Next Day has been bought or nominated for delivery | See #3 | During PJM Cold Weather Alerts, require gas fired units offering on gas and that have not secured gas supply to proactively contact suppliers twice a day during cold weather alerts to confirm supply availability. The first check on supply availability should occur no later than 9am to be indicative of requirements for the 4pm to 8pm evening peak period. The second check on supply availability should occur no later than 6pm to be indicative of potential requirements for the next morning peak period (6am to 10am). Any indication of lack of supply should be reflected as a forced outage immediately. Failure to meet requirement will result in forfeit of daily capacity payment. Penalty does not apply if unit runs or unit is called on and cannot run (forced out). The penalty has similar impact as a forced outage for a full day. Same impact a unit would see if it declares a proactive lack of fuel outage. Penalty would be allocated the same as current RPM deficiency charges. | Quantify Fueling Sourcing for DA Awards, generators upload gas nomination and approved burn profiles, giving PJM increased ability to document and evaluate aggregated DA fueling plan as well a (make public daily) impact of RT dispatch on fuel plan. PJM required to follow nomination and flow timelines to the extent PJM commits and/or distayces the gas resource for additional hours or output during hours in which it is already committed. Change the default start-up and notification operating parameters to reflect the FERC gas tariff defined nomination and flow timelines. Gas-fired generation can always put in shorter start and notification times if the pipeline will allow such operation by gas generators. Gas generators offering "more flexible" parameters can reflect the cost of gas imbalance charges in their fuel cost policies and offers in the DA and RT energy markets and can update as needed in RT. To the extent the default nomination and flow timelines do not allow gas resources to be counted toward reserves, these should not be counted. To the extent a gas generator can provide reserves being more flexible, those costs must be included in the reserve offer (imbalance charges, park and load, line pack, etc.) | During PJM Cold Weather Alerts, require gas fired units offering on gas and that have not secured gas supply to proactively contact suppliers twice a day during cold weather alerts to confirm supply availability. The first check on supply availability should occur no later than 9am to be indicative of requirements for the 4pm to 8pm evening peak period. The second check on supply availability should occur no later than 6pm to be indicative of potential requirements for the next morning peak period (6am to 10am). Any indication of lack of supply should be reflected as a forced outage immediately. | PJM market operations to develop five-day forecast error outlook of potential market forecast error to determine need for deployment of multi-day energy reserve product (described below.) Five-day forecast error outlook to consider weather, intermittent generation, known fuel outage or constraints, and other information to determination of forecast uncertainty. In cases where a unit eligible to respond in Real-Time Energy Markets is not committed during the DAM clearing, allow those units to modify operating parameters to reflect the required notification and flow timelines imposed by interconnected pipelines in order to respond to RT dispatch instruction if needed. Units would coordinate with PJM market operations during adjustment period to demonstrate need to readjust RT operating parameters. Such demonstration could include third-party notice of operating parameter requirements from Pipeline operator to PJM as documentation for parameter adjustment. | Status Quo plus three intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC1, RTC2 and RTC3 | Status Quo plus two intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC2 and RTC3 | Status Quo plus two intra-day RT Commitment (RTC) runs aligning with the gas day nomination deadlines - RTC2 and RTC3 | Low - High
11 | CT firm commitment in day-ahead | Status Quo: Gas units that do not meet the Flexible Resource definition that clear DA are treated the same as STs/CCs in real time. OA Definition. “Flexible Resource” shall mean a generating resource that must have a combined Start-up Time and Notification Time of less than or equal to two hours; and a Minimum Run Time of less than or equal to two hours. |  |  | Document status quo in Manuals. |  | Status Quo Gas units that do not meet the Flexible Resource definition that clear DA should be treated the same as STs/CCs in real time. OA Definition. “Flexible Resource” shall mean a generating resource that must have a combined Start-up Time and Notification Time of less than or equal to two hours; and a Minimum Run Time of less than or equal to two hours. |  | Document the intention of Status in Manuals | Document the intention of Status in Manuals | Document the intention of Status in Manuals
Multi-Day Energy Reserves Product
1 | Applicability | [6 empty] | Financial call option product over duration of multi-day gas package and/or during periods of extended cold weather alerts to procure energy reserves backed by procured fuel. Procurement of the product would provide a price floor for circumstances when load forecasts weaken through the course of the weekend Any resource capable of providing energy reserves during identified periods would be eligible to bid to provide service. | N/A | N/A | N/A
2 | Temporal Constraints |  |  |  | Status Quo |  | Status Quo | Temporal constraints of such reserve product would need to respect the FERC-mandated minimum requirements for pipeline nomination deadlines, flow schedules, and hourly take requirements – i.e., 4-6 hour notification+start-up times, if such conditions are imposed by the pipeline operator. Resources to bid in MWh increments over the duration of the identified extended period, which bids PJM will clear to satisfy the required incremental energy identified. | N/A | N/A | N/A
3 | Strike Price | [6 empty] | PJM will established an LMP strike price at a level to attract out-of-money generation to bid risk of gas procurement and loss at resale if generator not called for energy See Development of ISO-NE Day-Ahead Ancillary Services Initiative (DASI) strike price for potential methodological approach. Strike price would be designed to hold resources out of market in energy reserve for all but most tight conditions rather than target daily peak running of energy reserve resources. | N/A | N/A | N/A
4 | Resource Obligations | [6 empty] | Supply resources bid competitively to provide reserves over duration of option period at market-cleared option premium Resources have an obligation to offer energy at the strike price, (similar to ISO-NE’s FRM Threshold Price). This would dissuade more efficient units from taking on the weekend obligation, collecting option premiums, and offering at an economic price, collecting inframarginal rents in the process. Successful offerors must show evidence of fuel procurement post-auction. | N/A | N/A | N/A
5 | Settlement |  | Situational Awareness and gas constrained dispatch. Implementation by December 1, 2023 |  |  |  |  | If strike price not reached over option period, supply resources collect option premium but are not guaranteed recovery of losses for purchased fuel. If strike price is exceeded for any interval, settlement in excess of the strike would occur with the refund inuring to load. | N/A | N/A | N/A
1 | Implementation |  | Situational Awareness and gas constrained dispatch. Implementation by December 1, 2023 | [5 empty] | Implementation by December 1, 2023 | Implementation by December 1, 2023 | Implementation by January 1, 2024
Instructions:
1. Copy over design component, priority, and status quo columns from options matrix
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27

## Parking Lot
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description
Competitive gas market
Consistency of merchant power business model and pipeline business model
No risk shifting from gas market to power market
No risk shifting from power suppliers to customers
Competitive power market
Allowing power producers to purchase solar/wind substitutes, where available, for balancing PJMs system instead of using combined cycle gas units
Ancillary product for purchasing options to accommodate a growing, intermittent sector of total generation
Fuel security program
The assignment of gas availability and price risk to capacity resources should be clarified
Real Time Gas systems to coordinate with PJM power desk
Clear definition of fuel related unavailability/outages
In addition to N-1 (unit failure paradigm) contingency planning, some contingency planning around load and intermittent generation forecast error should be used in reserve calculations and associated fueling requirements
Communicating to FERC where PJM and the Electric Industry need more flexibility with the Gas Industry (discussion on at a later date - update under the FERC heading)
Collaboration with natural gas pipelines/generators/PJM on system expansion projects (generation/transmission) - check with PJM Planning
The obligations of capacity resources to obtain gas supply and pipeline transportation with defined reliability characteristics should be clarified - PJM does not require generators to obtain specific types of gas supply and/or transportation capacity contracts. Market sellers are incentivized to reliably deliver electricity via Capacity Performance - RASTF to address

## Revision History
Electric Gas Coordination Senior Task Force
Natural Gas and Electric Coordination
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3

## Future Consideration
For Future Consideration Activities currently out of PJM control and/or scope of the Issue Charge
Topics | Potential Actions
1. Gas/Electric Day Alignment | Initiate discussion with NAESB/FERC staff to review potential operating day alignment opportunities
2. NAESB nomination guidelines for generators during cold weather alerts/constrained periods | PJM / Stakeholders consider re-engaging NAESB Gas Electric Harmonization committee to consider reopening this topic for further consideration
3. Natural Gas Balancing Rules | Investigate opportunity to streamline gas balancing rules for generators across the gas industry to coordinate with electric market
4. Incentives | Investigate - Are there sufficient Market incentives for fuel procurement in advance?
5. Weekend Gas Market | Investigate opportunity to advocate for implementation of a weekend gas market
7. FERC Engagement | Communicating to FERC where PJM and the Electric Industry need more flexibility with the Gas Industry
8. Residual Unit Commitment | Examine the concept of Residual unit commitment - Further explore CAISO RUC program for potential incorporation into PJM operations
9. Collaboration with Planning | Develop Coordinated/Collaborative system planning function between gas and electric industries - Collaboration with natural gas pipelines/generators/PJM on system expansion projects (generation/transmission)
10. Explore Failure Risk | Accounting of failure of financial corporate structure during extreme events and high fuel costs and explore concept of gas/electric price caps during extreme events
11. Market Suspension | Education on market suspension rules (MIC) during an extreme event
12. Revisiting options for further gas day/electric day alignment | Misaligned operating days Electric Day: 12am - 12am; Gas Day: 10am - 10am Align gas day to current electric day Initiate discussion with NAESB/FERC staff to review potential operating day alignment opportunities NAESB Gas Electric Harmonization Committee - Review of FERC/NERC Recommendation 7
13. Opportunities for enhancements to NAESB nomination guidelines for generators during cold weather alerts/constrained periods | NAESB gas nomination cycles govern all natural gas shippers the same. Must follow pipeline nomination guidelines. Current NAESB Gas Electric Harmonization Effort Initiate discussion with NAESB/FERC staff to review potential gas nomination cycle enhancements
14. Daily, Monthly and Seasonal natural gas balancing rules | Rules not consistent across natural gas industry Streamlining of gas balancing rules for generators across the gas industry to coordinate with electric market
15. Examine the concept of CAISO Residual Unit Commitment (RUC) | PJM RAC Further explore CAISO RUC program for potential incorporation into PJM operations Expand the current scope of the EGCSTF to formally explore the CAISO RUC process to determine if there is an opportunity to leverage its use within the PJM dispatch process.
**Recommendation for the the creation of a new Gas/Electric Coordination subcommittee with meetings scheduled quarterly or as needed; OR scheduled updates to the OC with meetings scheduled as needed.