## Slide 1: Hourly Offers Schedule Update Examples
GOFSTF
August 21, 2015
Note: Due to shading & animation please view in “presentation” mode

## Slide 2: Allowable Schedule Updates in Real Time
Committed DA | Committed RT | Committed on | Change cost for committed hrs | Change price for committed hrs | Change cost uncommitted hrs | Change price uncommitted hrs
Y | N | Price | Yes (increase and decrease) | Decrease Only | Yes (increase and decrease) | Yes (up, down) Increase in price will be limited (limit TBD)
Y | N | Cost |  |  |  | 
N | Y (Comm. RT for min run) | Price |  |  |  | 
N | Y (Comm. RT for min run) | Cost |  |  |  | 
N | N | NA | NA | NA |  | 

## Slide 3: Example Set Up
Price-based Unit
Unit has a single point on its incremental offer curve (for the sake of simplicity)
Schedules can be updated in RT up to T-60 min
Unit is following its commitment unless otherwise specified
Price Schedule Submitted DA
Time (Hour)
$/MWh
10
2
4
6
8
12
14
16
18
20
22
Cost Schedule Submitted DA
30
50

## Slide 4: Allowable Real Time Schedule Updates – Committed on Price Schedule
Price Schedule submitted DA
10
2
4
6
8
12
14
16
18
20
22
Cost Schedule Submitted DA
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
Commitment (DA or RT)
Only
or
or

## Slide 5: Allowable Real Time Schedule Updates – Committed on Cost Schedule
Price Schedule Submitted DA
10
2
4
6
8
12
14
16
18
20
22
Cost Schedule Submitted DA
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
Commitment (DA or RT)
Only
or
or

## Slide 6: Example 1a: Committed on Price – Increase to Offer in RT
10
2
4
6
8
12
14
16
18
20
22
Cost schedule submitted DA
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
$60
$60
DA Commitment
Price schedule submitted DA
Price schedule update
submitted in RT @ 7:00
Cost schedule update
submitted in RT @ 7:00
Assume cost increases for hour 10 and beyond
Price schedule can be increased for uncommitted hours
*
*

## Slide 7: Example 1a: Committed on Price – Increase to Offer in RT
DA Commitment
Price schedule submitted DA
Price schedule update
submitted in RT @ 7:00
Assume cost increases for hour 10 and beyond
10
2
4
6
8
12
14
16
18
20
22
$30
$50
$20
$40
$60
Price schedule can be increased for uncommitted hours
*
The offer used for the Operating Reserves Credit calculations:
Offer Used for Day-Ahead:
For HB 0 – 10 the offer used is $30
For HB 10 – 14 the offer used is $50
Offer Used for Balancing:
For HB 0 – 10 the offer used is $30 (segment 1)
For HB 10 – 14 the offer used is $50 (segment 1)
If the resource was extended past HB 14, then the offer used is $60 (segment 2)

## Slide 8: Example 1b: Committed on Cost – Increase to Offer in RT
10
2
4
6
8
12
14
16
18
20
22
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
$60
$60
Assume cost increases for hour 10 and beyond
*
*
Cost schedule submitted DA
DA Commitment
Price schedule submitted DA
Price schedule update
submitted in RT @ 7:00
Cost schedule update
submitted in RT @ 7:00
Additional portion of curve used for RT dispatch and pricing

## Slide 9: Example 1b: Committed on Cost – Increase to Offer in RT
10
2
4
6
8
12
14
16
18
20
22
$30
$50
$20
$40
$60
Cost schedule submitted DA
DA Commitment
Cost schedule update
submitted in RT @ 7:00
Additional portion of curve used for RT dispatch and pricing
*
The offer used for the Operating Reserves Credit calculations:
Offer Used for Day-Ahead:
For HB 0 – 10 the offer used is $20
For HB 10 – 14 the offer used is $40
Offer Used for Balancing:
For HB 0 – 10 the offer used is $20 (segment 1)
For HB 10 – 14 the offer used is $40 (segment 1)
If the resource was extended past HB 14, then the offer used is $50 (segment 2)
Assume cost increases for hour 10 and beyond

## Slide 10: Example 2a: Committed on Price – Decrease to Offer in RT
10
2
4
6
8
12
14
16
18
20
22
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
$60
$60
Assume CT was committed DA and not called on in RT. In RT unit decreases offer to increase chance of being called on.
Price schedule can be decreased for committed and uncommitted hours
*
No decrease to cost schedule needed if cost didn’t decrease
Cost schedule submitted DA
DA Commitment
Price schedule submitted DA
Price schedule update
submitted in RT @ 6:00

## Slide 11: Example 2a: Committed on Price – Decrease to Offer in RT
10
2
4
6
8
12
14
16
18
20
22
$30
$50
$20
$40
$60
Price schedule can be decreased for committed and uncommitted hours
*
DA Commitment
Price schedule submitted DA
Price schedule update
submitted in RT @ 6:00
The offer used for the Operating Reserves Credit calculations:
Offer Used for Day-Ahead:
For HB 6 – 10 the offer used is $30
For HB 10 – 14 the offer used is $50
Offer Used for Balancing (If the unit is called online):
For HB 6 the offer used is $30 (segment 1)
For HB 7 – 14 the offer used is $25 (segment 1)
If the resource was extended past HB 14, then the offer used is $25 (segment 2)
Assume CT was committed DA and not called on in RT. In RT unit decreases offer to increase chance of being called on.

## Slide 12: Example 2b: Committed on Price – Increase to Offer in RT
10
2
4
6
8
12
14
16
18
20
22
Cost schedule submitted DA
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
$60
$60
DA Commitment
Price schedule submitted DA
Price schedule update
submitted in RT the day prior (after the DA market clears)
Cost schedule update
submitted in RT the day prior (after the DA market clears)
Assume cost increases for the entire day after DA market clears
Price schedule can be increased for uncommitted hours
*
*

## Slide 13: Example 2b: Committed on Price – Increase to Offer in RT
10
2
4
6
8
12
14
16
18
20
22
$30
$50
$20
$40
$60
DA Commitment
Price schedule submitted DA
Price schedule update
submitted in RT the day prior (after the DA market clears)
Price schedule can be increased for uncommitted hours
The offer used for the Operating Reserves Credit calculations:
Offer Used for Day-Ahead:
For HB 6 – 10 the offer used is $30
For HB 10 – 14 the offer used is $50
Offer Used for Balancing (If the unit is called online):
For HB 6 - 10 the offer used is $30 (segment 1)
For HB 10 – 14 the offer used is $50 (segment 1)
If the resource was extended before HB 6 or past HB 14, then the offer used is $60 (segment 2 excluding ramp)
Assume cost increases for the entire day after DA market clears

## Slide 14: Example 3: Committed on Cost in RT (for min run) – Increase to offer during committed and uncommitted hours
10
2
4
6
8
12
14
16
18
20
22
Cost schedule submitted DA
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
$60
$60
RT Commitment
(commitment decision made @ 5:00) – used for make whole
Price schedule submitted DA
Price schedule update
submitted in RT @ 8:11
Cost schedule update submitted in RT @ 8:11
Price schedule can be increased for uncommitted hours
(hours after min run time is met)
*
Unit has a min run time of 8 hours. Assume cost increases for hours 10 and beyond subsequent to DA offer submission and offer was not updated prior to RT commitment.
Additional portion of curve used for RT dispatch and pricing (not included in make whole)
*

## Slide 15: Example 3: Committed on Cost in RT (for min run) – Increase to offer during committed and uncommitted hours
8
$60
Additional portion of curve used for RT dispatch and pricing (not included in make whole)
Cost schedule submitted DA
10
2
4
6
12
14
16
18
20
22
$30
$50
$20
$40
RT Commitment
(commitment decision made @ 5:00) – used for make whole
Cost schedule update submitted in RT @ 8:11
*
The offer used for the Operating Reserves Credit calculations:
Offer Used for Day-Ahead:
Not Committed
Offer Used for Balancing:
For HB 6 - 10 the offer used is $20 (segment 1)
For HB 10 – 14 the offer used is $40 (segment 1)
If the resource was extended past HB 14, then the offer used is $50 (segment 2)
Unit has a min run time of 8 hours. Assume cost increases for hours 10 and beyond subsequent to DA offer submission and offer was not updated prior to RT commitment.

## Slide 16: Example 4a: Committed on Price in RT (for min run) – Increase to offer for uncommitted hours
10
2
4
6
8
12
14
16
18
20
22
Cost schedule submitted DA
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
$60
$60
RT Commitment
(commitment decision made @ 5:00)
Price schedule submitted DA
Price schedule update
submitted in RT @ 8:11
Cost schedule update submitted in RT @ 8:11
Price schedule can be increased for uncommitted hours
(hours after min run time is met)
*
*
Unit has a min run time of 6 hours. Assume cost increases for hours 10 and beyond subsequent to DA offer submission and offer was not updated prior to RT commitment.

## Slide 17: Example 4a: Committed on Price in RT (for min run) – Increase to offer for uncommitted hours
10
2
4
6
8
12
14
16
18
20
22
$30
$50
$20
$40
$60
RT Commitment
(commitment decision made @ 5:00)
Price schedule submitted DA
Price schedule update
submitted in RT @ 8:11
Price schedule can be increased for uncommitted hours
(hours after min run time is met)
*
The offer used for the Operating Reserves Credit calculations:
Offer Used for Day-Ahead:
Not Committed
Offer Used for Balancing:
For HB 6 - 10 the offer used is $30 (segment 1)
For HB 10 – 12 the offer used is $50 (segment 1)
If the resource was extended past HB 12, then the offer used is $60 (segment 2)
Unit has a min run time of 6 hours. Assume cost increases for hours 10 and beyond subsequent to DA offer submission and offer was not updated prior to RT commitment.

## Slide 18: Example 4b: Committed on Price in RT (for min run) – Increase to offer for uncommitted hours
10
2
4
6
8
12
14
16
18
20
22
Cost schedule submitted DA
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
$60
$60
RT Commitment (commitment decision made @ 5:00)
Price schedule submitted DA
Price schedule update
submitted in RT @ 3:45
Cost schedule update submitted in RT @ 3:45
Price schedule can be increased for uncommitted hours
(hours after min run time is met)
*
*
Unit has a min run time of 6 hours. Assume cost increases for hours 10 and beyond subsequent to DA offer submission. Offer is updated in RT prior to RT commitment. Offer is then updated again in RT after commitment decision is made.
Price schedule update
submitted in RT @ 8:45
*
*
Price schedule update
submitted in RT @ 8:45

## Slide 19: Example 4b: Committed on Price in RT (for min run) – Increase to offer for uncommitted hours
10
2
4
6
8
12
14
16
18
20
22
$30
$50
$20
$40
$60
RT Commitment (commitment decision made @ 5:00)
Price schedule submitted DA
Price schedule update
submitted in RT @ 3:45
Price schedule can be increased for uncommitted hours
(hours after min run time is met)
Price schedule update
submitted in RT @ 8:45
*
The offer used for the Operating Reserves Credit calculations:
Offer Used for Day-Ahead:
Not Committed
Offer Used for Balancing:
For HB 6 - 10 the offer used is $30 (segment 1)
For HB 10 – 12 the offer used is $55 (segment 1)
If the resource was extended past HB 12, then the offer used is $60 (segment 2)
Unit has a min run time of 6 hours. Assume cost increases for hours 10 and beyond subsequent to DA offer submission. Offer is updated in RT prior to RT commitment. Offer is then updated again in RT after commitment decision is made.

## Slide 20: Example 4c: Committed on Price in RT (for min run) – Extended on Price in RT
10
2
4
6
8
12
14
16
18
20
22
Cost schedule submitted DA
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
$60
$60
RT Commitment (commitment decision made @ 5:00)
Price schedule submitted DA
Price schedule update
submitted in RT @ 3:45
Cost schedule update submitted in RT @ 3:45
*
*
Unit has a min run time of 6 hours. Assume cost increases for hours 10 and beyond subsequent to DA offer submission. Offer is updated in RT prior to RT commitment. Offer is then updated again in RT after commitment decision is made. Unit is then extended in RT.
Price schedule update
submitted in RT @ 8:45
*
*
Cost schedule update
submitted in RT @ 8:45
RT Commitment Extended (commitment decision made @ 11:30)

## Slide 21: Example 4c: Committed on Price in RT (for min run) – Extended on Price in RT
RT Commitment (commitment decision made @ 5:00)
Price schedule submitted DA
Price schedule update
submitted in RT @ 3:45
Price schedule update
submitted in RT @ 8:45
10
2
4
6
8
12
14
16
18
20
22
$30
$50
$20
$40
$60
*
*
RT Commitment Extended (commitment decision made @ 11:30)
The offer used for the Operating Reserves Credit calculations:
Offer Used for Day-Ahead:
Not Committed
Offer Used for Balancing:
For HB 6 - 10 the offer used is $30 (segment 1)
For HB 10 – 12 the offer used is $55 (segment 1)
For HB 12 to the end of day the offer used is $60 (segment 2)
Unit has a min run time of 6 hours. Assume cost increases for hours 10 and beyond subsequent to DA offer submission. Offer is updated in RT prior to RT commitment. Offer is then updated again in RT after commitment decision is made. Unit is then extended in RT.

## Slide 22: Example 4d: Committed on Price in RT (for min run) – Extended on Cost in RT
10
2
4
6
8
12
14
16
18
20
22
Cost schedule submitted DA
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
$60
$60
RT Commitment (commitment decision made @ 5:00)
Price schedule submitted DA
Price schedule update
submitted in RT @ 3:45
Cost schedule update submitted in RT @ 3:45
Price schedule can be increased for uncommitted hours
(hours after min run time is met)
*
*
Assume cost increases for hours 10 and beyond subsequent to DA offer submission. Offer is updated in RT prior to any commitment. Unit is then committed in RT for its min run time of 6 hours. Offer is then updated again in RT after commitment decision is made. Unit is then extended, but offer capped for failing the TPS test after its min run elapsed.
Price schedule update
submitted in RT @ 8:45
*
*
Cost schedule update
submitted in RT @ 8:45

## Slide 23: Example 4d: Committed on Price in RT (for min run) – Extended on Cost in RT
Cost schedule submitted DA
10
2
4
6
8
12
14
16
18
20
22
$30
$50
$20
$40
$60
Cost schedule update submitted in RT @ 3:45
*
*
Cost schedule update
submitted in RT @ 8:45
Price schedule submitted DA
Price schedule update
submitted in RT @ 3:45
The offer used for the Operating Reserves Credit calculations:
Offer Used for Day-Ahead:
Not Committed
Offer Used for Balancing:
For HB 6 - 10 the Price schedule offer used is $30 (segment 1)
For HB 10 – 12 the Price schedule offer used is $55 (segment 1)
For HB 12 to the end of day the Cost schedule offer used is $50 (segment 2)
Assume cost increases for hours 10 and beyond subsequent to DA offer submission. Offer is updated in RT prior to any commitment. Unit is then committed in RT for its min run time of 6 hours. Offer is then updated again in RT after commitment decision is made. Unit is then extended, but offer capped for failing the TPS test after its min run elapsed.
RT Commitment (commitment decision made @ 5:00)

## Slide 24: Example 5a: Committed on Cost in DA - Brought on Early in RT on Price (CTs)
10
2
4
6
8
12
14
16
18
20
22
Cost schedule submitted DA
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
$60
$60
DA Commitment
Price schedule submitted DA
Price schedule update
submitted in RT the day prior (after the DA market clears)
Cost schedule update
submitted in RT the day prior (after the DA market clears)
CT is offer capped DA and committed on cost. Assume cost increases for the entire day after DA market clears. Unit has an 8 hour min run. Unit is brought on early and does not fail the TPS test.
*
*
RT Commitment (commitment decision made at 3:00)
CT LOC eligible
CT LOC paid for DA committed hours not run in RT

## Slide 25: Example 5a: Committed on Cost in DA - Brought on Early in RT on Price (CTs)
10
2
4
6
8
12
14
16
18
20
22
$30
$50
$20
$40
$60
Price schedule submitted DA
Price schedule update
submitted in RT the day prior (after the DA market clears)
*
RT Commitment (commitment decision made at 3:00)
Cost schedule submitted DA
DA Commitment
Cost schedule update
submitted in RT the day prior (after the DA market clears)
CT LOC eligibility
The offer used for the Operating Reserves Credit calculations:
Offer Used for Day-Ahead:
For HB 6 – 10 the Cost schedule offer used is $20
Offer Used for Balancing:
For HB 4 - 6 the Price schedule offer used is $60 (segment 2)
For HB 6 – 10 the Price schedule offer used is $30 (segment 1)
For HB 10 – 12 the Price schedule offer used is $50 (segment 1)
CT is offer capped DA and committed on cost. Assume cost increases for the entire day after DA market clears. Unit has an 8 hour min run. Unit is brought on early and does not fail the TPS test.
For HB 10 – 14 the Cost schedule offer used is $40
Eligible for CT LOC for HB12-14. Details to be discussed at the next GOFSTF meeting.

## Slide 26: Example 5b: Committed on Cost in DA – Brought on early in RT on Price (Combined Cycle)
10
2
4
6
8
12
14
16
18
20
22
Cost schedule submitted DA
$30
$50
10
2
4
6
8
12
14
16
18
20
22
$20
$40
$30
$50
$20
$40
$60
$60
DA Commitment
Price schedule submitted DA
Price schedule update
submitted in RT the day prior (after the DA market clears)
Cost schedule update
submitted in RT the day prior (after the DA market clears)
Combined Cycle unit is offer capped DA and committed on cost. Assume cost increases for the entire day after DA market clears. Unit has an 8 hour min run. Unit is brought on early and does not fail the TPS test.
*
*
RT Commitment (commitment decision made at 3:00)
Additional portion of curve used for RT dispatch and pricing (not included in make whole)

## Slide 27: Example 5b: Committed on Cost in DA – Brought on early in RT on Price (Combined Cycle)
Cost schedule submitted DA
10
2
4
6
8
12
14
16
18
20
22
$30
$50
$20
$40
$60
DA Commitment
Cost schedule update
submitted in RT the day prior (after the DA market clears)
*
Additional portion of curve used for RT dispatch and pricing (not included in make whole)
Price schedule update
submitted in RT the day prior (after the DA market clears)
RT Commitment (commitment decision made at 3:00)
The offer used for the Operating Reserves Credit calculations:
Offer Used for Day-Ahead:
For HB 6 – 10 the Cost schedule offer used is $20
Offer Used for Balancing:
For HB 4 - 6 the Price schedule offer used is $60 (segment 2)
For HB 6 – 10 the Cost schedule offer used is $20 (segment 1)
For HB 10 – 14 the Cost schedule offer used is $40 (segment 1)
Combined Cycle unit is offer capped DA and committed on cost. Assume cost increases for the entire day after DA market clears. Unit has an 8 hour min run. Unit is brought on early and does not fail the TPS test.
For HB 10 – 14 the Cost schedule offer used is $40

## Slide 28: Adjustment to Balancing Value
PJM proposes change to Balancing Value calculation
  Addresses case for unit committed on Cost in DA and increases offer in RT resulting in unit being dispatched down.
  As a result the unit has to buy back energy in RT.
  Absent a change, BOR credits would compensate the unit for the buy back due to Balancing Value going negative.
Balancing Value = (RT Generation MWh – DA Scheduled MWh) x RT Generator LMP
Where RT Generation MWh is greater of
[RT Generation MWh
Or
Lesser of (Greater of (RT Dispatch Desired MWh and Original Schedule Desired MWh using the committed offer schedule) and DA Scheduled MWh)]
Bal Op Res Credit = RT Offer – Balancing Value – DA Value – DA Operating Reserve Credit – Any Sync/Non Sync/Reactive/DASR revenue

## Slide 29: Existing Balancing Value Calculation Example
Original Cost Offer - DA
Segment | MW | Price
1 | 50 | 5
2 | 100 | 10
Updated Cost Offer - RT
Segment | MW | Price
1 | 50 | 10
2 | 100 | 15
In DA, LMP = $10 and unit clears at 100 MW
In RT, LMP = $10 and unit is dispatched at 50 MW
Applying the existing Balancing Value equation:
RT Generation MWh is greater of
[RT Generation MWh (50 MW)
Or
Lesser of (RT Dispatch Desired MWh (50 MW) and DA Scheduled MWh (100 MW))]
RT Generation MWh = 50 MW
Balancing Value = (RT Generation MWh (50 MW) – DA Scheduled MWh (100 MW)) x RT Generator LMP ($10) = -$500
A negative balancing value results in an increased Balancing Operating Reserve Credit

## Slide 30: Proposed Balancing Value Calculation Example
Original Cost Offer - DA
Segment | MW | Price
1 | 50 | 5
2 | 100 | 10
Updated Cost Offer - RT
Segment | MW | Price
1 | 50 | 10
2 | 100 | 15
In DA, LMP = $10 and unit clears at 100 MW
In RT, LMP = $10 and unit is dispatched at 50 MW
Applying the proposed Balancing Value equation:
RT Generation MWh is greater of
[RT Generation MWh (50 MW)
Or
Lesser of (Greater of (RT Dispatch Desired MWh (50 MW) and Original Schedule Desired MWh (100 MW) using the committed offer schedule) and DA Scheduled MWh (100 MW))]
RT Generation MWh = 100 MW
Balancing Value = (RT Generation MWh (100 MW) – DA Scheduled MWh (100 MW)) x RT Generator LMP ($10) = $0

## Slide 31: Resource Offer Curves used for Settlement Example

## Slide 32: Settlement Example for Operating Reserves
DA 66 B
DA 66 A
Cost 66 - Dispatch
Price 99