## Setup
Enter Stakeholder Committee Name in cell A2:
Task Force: Interconnection Process Reform
Enter issue title (use title from Issue Tracking if applicable) in cell A5:

## 1. Interest Identification
Task Force: Interconnection Process Reform
Interest Identification
Instructions: List interests of all parties on this page.
Interconnection Studies:
Streamline the study process while maintaining system reliability
Align queue request windows with the study deadlines
Improve efficiency of study phases
Improve pre-application guidance and direction provided to Interconnection Customers
Improve accuracy / clarity / completeness of project information provided in applications and kick-off calls
Improve scheduling of model lockdowns and clearing of closed queues (Lockdowns covered in monthly IWG meetings)
Improve clearing of closed queues (combined with 12)
Improve modeling of system upgrades in study models - (Is this what is meant?: Improve modeling of transmission system upgrades in queue study models.)
Improve process for managing impacts across multiple TOs
Improve process for conducting combined studies
Improve accuracy of project information and process for making changes to that information prior to the start of each study phase
Improve cost estimating requirements and provide flexibility (Clarification needed)
Improve retooling criteria and address scheduling impacts
Improve identification and assignment of redispatch costs to appropriate customers (Clarification needed)
Improve modeling of deactivated generation and generation not participating in markets
Significantly reduce multi-year delays in completing facility studies
Improve developer ability to forecast study timelines, upgrade costs and construction schedules
Improve ability of transmission owners to produce realistic estimates at the system impact study phase
Improve the coordination, clarification, consistency of the deficiency review process
Ensuring stability studies are only being performed for queue projects that are actually moving forward
Improve transparency of the FaS re-tool process and the timelines associated with post TO engineering activities
Improve communications between developers and PJM in the facilities phase about changes in the timeline, re-tools and the schedule.
Improve the necessary study process to evaluate equipment modification
Replicate current affected systems study process in place between PJM / MISO and other PJM neighbors
Integrate the interconnection process with state policy resource requirements and PJM state agreement approach and a transformative grid process
Establishing methodologies for prioritizing commercially ready projects
Establish or improve cost commitments related to advancement of the study process - refundable and/or non-refundable
Establish a case review process before the actual study begins.
Establish a process for releasing cases for study before queue submission.
Define metrics for the process specifcally to time and cost
Account for multiple CIR levels within one submission
Integrate the interconnection process with state policy resource requirements and a transformative grid process
Eliminate or reduce of the ability to place generation in queue positions in suspension
Eliminate or reduce the ability to enter two or more queue positions at the same project location and time
Establish review mechanisms for generator lead lines for sight control
Introduce group studies and decision points to improve cost certainity (by removing first to cause) and reduce re-tools.
Create incentives for meeting deadlines
Shorten the time allocated ICs have to execute an ISA after receiving a completed Facility Study to reduce re-tool study time
| Create/Tighten/Enforce certainty requirements to encourage viable project queue submittals. | New
| Establish protocols for informing TO of active, withdrawn, and on-hold network upgrades. | New
| Improve transparency of the status of network upgrades | New
Cost Concerns:
Cost allocation approach to maximize throughput
Cost certainty for New Service Customers
Improve the cost allocation rule of the first project causing an overload (for example applying a minimum shift factor and/or MW impact threshold)
Improve the process so it allows for a faster, cluster based, coordinated decision making for ISA cost allocation acceptance.
Improve the security requirements for shared upgrades.
Establish methodology to socialize the costs for large upgrades.
Ensuring Network Upgrade costs are the responsibility of interconnecting generation projects.
Certanity around baseline upgrade (potential) or a network upgrade
| Improve security requirements for upgrades across multiple TO zones | New
Interim Operation and Agreements:
Ensure system reliability with interim operation studies
Improve efficiency for all parties
Minimize effect of suspension provisions on projects under study (Duplicate - Line 39)
Improve terms and conditions in Interim ISA (i.e. facilitate TO oversight for ICs that utilize the Option to Build) (tie to 68)
Improve timing of Interim ISA
Ensure projects that could pose risk to public safety or reliability of system are not placed in-service (tie to 63)
Interim ISA &/ ICSA scope needs to facilitate TO oversight for ICs that utilize the Option to Build (tie to 66)
Consistent usage of new agreements
| Improve timelines and schedules associated with construction activities | New
| Improve education on the usage of Interim ISA | New
| Improve terms/conditions for utilitzing WMPAs | New
| Improve procedures for transferring facilities in the CSA | New
New Service Request Requirements and Project Modifications:
Balance flexibility and timeliness
Reduce the amount of speculative projects
Simplify deposit structure
Higher project collateral requirements
Ability to identify company affiliates/parent companies of project developers.
Extend the Permissible Technological Advancement option after the ISA has been executed
Limit the number of technological changes allowed per project and allow the changes to be submitted within a window.
Establish appropriate interconnection security requirements for entering and progressing in the queue
Require developers to secure a certain percentage of the generator tie line and site control (Duplicate - Line 41)
Ensure entry into the queue is not overly restrictive
| Improve requirements to ensure the developer has site control and property rights earlier on in the queue process. | New
Current and Future Backlog:
Changes applied to existing and future projects
| Create/Tighten/Enforce mechanisms to cancel “stale” projects (i.e. time limits). | New
| Improve transparency of backlog by establishing public reporting requirements | New
Other:
Ensure coordination and clarity between generation energy metering and load metering
Ensure coordination and clarity between DER connecting to retail owned distribution and retail customer taking transmission service through LSE

## 1a. Categorized Interests
Task Force: Interconnection Process Reform
Interest Identification
Instructions: List interests of all parties on this page.
Application Requirements
Eliminate or reduce of the ability to place generation in queue positions in suspension
Eliminate or reduce the ability to enter two or more queue positions at the same project location and time
Establish review mechanisms for generator lead lines for sight control
| Improve requirements to ensure the developer has site control and property rights earlier on in the queue process. | New
Information Sharing
Improve pre-application guidance and direction provided to Interconnection Customers
Improve accuracy / clarity / completeness of project information provided in applications and kick-off calls
Improve accuracy of project information and process for making changes to that information prior to the start of each study phase
Improve identification and assignment of redispatch costs to appropriate customers (Clarification needed)
Improve developer ability to forecast study timelines, upgrade costs and construction schedules
Improve the coordination, clarification, consistency of the deficiency review process
Improve transparency of the FaS re-tool process and the timelines associated with post TO engineering activities
Improve communications between developers and PJM in the facilities phase about changes in the timeline, re-tools and the schedule.
Establish a process for releasing cases for study before queue submission.
Define metrics for the process specifcally to time and cost
| Establish protocols for informing TO of active, withdrawn, and on-hold network upgrades. | New
| Improve transparency of the status of network upgrades | New
| Improve transparency of backlog by establishing public reporting requirements | New
Modeling
Improve modeling of system upgrades in study models - (Is this what is meant?: Improve modeling of transmission system upgrades in queue study models.)
Improve modeling of deactivated generation and generation not participating in markets
Study Process
Improve scheduling of model lockdowns and clearing of closed queues (Note: Lockdowns covered in monthly IWG meetings)
Improve clearing of closed queues (combined with 31)
Improve process for managing impacts across multiple TOs
Improve process for conducting combined studies
Improve retooling criteria and address scheduling impacts
Ensuring stability studies are only being performed for queue projects that are actually moving forward
Improve the necessary study process to evaluate equipment modification
Replicate current affected systems study process in place between PJM / MISO and other PJM neighbors
Integrate the interconnection process with state policy resource requirements and PJM state agreement approach and a transformative grid process
Establishing methodologies for prioritizing commercially ready projects
Establish a case review process before the actual study begins.
Account for multiple CIR levels within one submission
Integrate the interconnection process with state policy resource requirements and a transformative grid process (Combined with 39)
| Improve procedures for transferring facilities in the CSA | New
Efficiency
Streamline the study process while maintaining system reliability
Align queue request windows with the study deadlines
Improve efficiency of study phases
Significantly reduce multi-year delays in completing facility studies
Introduce group studies and decision points to improve cost certainity (by removing first to cause) and reduce re-tools.
Shorten the time allocated ICs have to execute an ISA after receiving a completed Facility Study to reduce re-tool study time
| Improve timelines and schedules associated with construction activities | New
| Improve education on the usage of Interim ISA | New
| Improve terms/conditions for utilitzing WMPAs | New
| Create/Tighten/Enforce mechanisms to cancel “stale” projects (i.e. time limits). | New
Costs
Improve cost estimating requirements and provide flexibility (What is meant by flexibility?)
Improve ability of transmission owners to produce realistic estimates at the system impact study phase
Establish or improve cost commitments related to advancement of the study process - refundable and/or non-refundable
Create incentives for meeting deadlines
Cost allocation approach to maximize throughput
Cost certainty for New Service Customers
Improve the cost allocation rule of the first project causing an overload (for example applying a minimum shift factor and/or MW impact threshold)
Improve the process so it allows for a faster, cluster based, coordinated decision making for ISA cost allocation acceptance.
Improve the security requirements for shared upgrades.
Establish methodology to socialize the costs for large upgrades.
Ensuring Network Upgrade costs are the responsibility of interconnecting generation projects.
| (Create/Tighten/Enforce)--> Improve certainty requirements (to encourage viable project queue submittals). | New
| Improve security requirements for upgrades across multiple TO zones | New
Other
Changes applied to existing and future projects
Ensure coordination and clarity between generation energy metering and load metering
Ensure coordination and clarity between DER connecting to retail owned distribution and retail customer taking transmission service through LSE

## 2. Options Matrix- Design Comp.
Task Force: Interconnection Process Reform
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
* | Implementation
1 | Application Queue Windows |  | Two 6 months queues annually. April 1-Sep. 30 and Oct. 1- March 31. No limit on the amount of applications accepted
2 | Application Requirements
3 | Site Control |  | Generation site only: lease, deed, option agreement
4 | Deposit |  | Add in $ amounts 1-4 months - $10K + $100/MW (Max - $110K) 5th month - $20K + $150/MW (Max - $120K) 6th month - $30K + $200/MW (Max - $130K) Refundable and (10%) non-refundable amounts Wire or check
5 | Project Information |  | MWs requested for CIR and Energy, site plan, single line
6 | Point of Interconnection |  | GPS Coordinates, address, pole number, etc. Multiple projects behind the same POI are treated as separate projects Customer may select primary or secondary POI
7 | Requirements for a "complete" Queue Position |  | Deposit, Queue Point data, site control, signed agreement
8 | Deficiency Review Process |  | Will review when application receives a queue position or if no site control
9 | PJM Deficiency Review |  | 5 business days
10 | Customer Response Period |  | 10 business days total from PJM initial determination
11 | PJM Follow up to Customer response |  | 5 business days
12 | Scoping Meeting |  | PJM to provide customer with a list of dates Customer requirement to complete based on application submission: 1-4 month - 45 days 5th month - 30 days 6th month - 20 days Can be waived by customer or held separately with customer and then with Transmission Owner
13 | Feasibility Study Requirements
14 | Analytical Studies |  | DC Power Flow Short Circuit
15 | Upgrades |  | For Primary POI only: Network Upgrade cost, scope, schedule Attachment Facilities and physical interconnecton scope, cost, and schedule Secondary POI: Sensitivity study with overloads only
16 | Study window |  | November 1 - January 31 or May 1 - July 31
17 | System Impact Study Agreement
18 | Project Information |  | Air permit application Dynamic Data Reconfirm Attachment N data Select Primary or Secondary POI if applicable
19 | Deposit |  | Tiered based on MW amount (Max. $300K): Greater than or equal to 20 MW - $500/MW Between 2 MW and 20 MW - $10K Less than 2 MW - $5K Refundable & (10%) Non-refundable
20 | Ability to waive study |  | At discretion of Transmission Provider for Small Generation.
21 | Return Window |  | 30 calendar days from Feasibility Study issuance or the project is withdrawn
22 | System Impact Study Requirements
23 | Analytical Studies |  | AC Power flow Short Circuit
24 | Upgrades |  | Network upgrade cost, scope, schedule along with cost allocation Attachment Facilties and physical interconnection scope, cost, and schedule
25 | Study window |  | November 1 - February 28 or May 1 - August 31
26 | Facilities Study Agreement
27 | Deposit |  | Tiered based on MW amount or estimated cost of 1st quarter of work, whichever is greater: Greater than or equal to 20 MW - $100K Between 2 MW and 20 MW - $50K Less than 2 MW - $15K Fully refundable
28 | Milestones |  | Optional based on project High-side Xfmr site control if not previously provided Site plan Others as may be required by Transmission Provider
29 | Cost accuracy |  | TO Zone specific and included in Schedule A if applicable | [5 empty] | Low
30 | Ability to waive study |  | At discretion of Transmission Provider
31 | Return Window |  | 30 calendar days from System Impact tudy issuance or the project is withdrawn
32 | Facilities Study Requirements | [7 empty] | Low - Medium
33 | Analytical Studies |  | Dynamic studies and retool analysis as needed | [5 empty] | Low - High
34 | Upgrades |  | Network upgrade cost, scope, schedule Attachment Facilties and physical interconnection scope, cost, and schedule | [5 empty] | Medium
35 | Study window |  | 180 days (Reasonable efforts) | [5 empty] | Medium - High
36 | Site Visit |  | Transmission Owner specific | [5 empty] | High
37 | Scoping Meeting |  | Held at request of Interconnection Customer
38 | Project Modifications
39 | Reductions |  | Based on study phase: Before Feasibility Before SISA Before ISA
40 | POI Changes |  | Limited based on circumstances
41 | Permissible Technology Advancement |  | Allowed before execution of FSA
42 | Fuel Type |  | Studied for material modification
43 | Project site move |  | Allowed as long as site control is maintained throughout the process
44 | Project Transfer |  | Allowed with a Consent to Assignment
45 | Withdrawals |  | Allowed at any time in the process
46 | Cost allocation
47 | Drivers |  | First to cause the need for the network upgrade pays 100%
48 | Inter-queue |  | Network Upgrade cost less than or equal to $5 million: Allocated in queue identied Network Upgrade cost more than $5 million: Allocated to cost causer for 5 years after completion of network upgrade
49 | Thresholds |  | Based on DFAX and MW contribution to the network upgrade
50 | Interim Interconnection Service Agreement
51 | Purpose |  | Engineering and procurement activities as agreed to between the Transmission Owner and Interconection Customer
52 | Interconnection Service Agreement
53 | Issuance |  | Concurrent with the release of the Facilities Study
54 | Execution time |  | 60 calendar days from issuance of Faciltiies Study or the project is withdrawn
55 | Transmission Owner execution |  | 15 business days after Interconnection Customer execution
56 | Interconnection Construction Service Agreement
57 | Issuance |  | 45 calendar days after the execution of the ISA
58 | Execution time |  | 90 calendar days from receipt
59 | Transmission Owner execution |  | 15 business days after Interconnection Customer execution
60 | Option to Build |  | Permitted for Direct Connection Network Upgrades and Transmission Owner Attachment Facilities if elected within 30 calendar days from receipt of Facilities Study
61 | Suspension Provisions |  | 1 year or 3 years if not material to other projects

## 2a. Design Component Details
Task Force: Interconnection Process Reform
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Task Force: Interconnection Process Reform
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Task Force: Interconnection Process Reform
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Task Force: Interconnection Process Reform
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Task Force: Interconnection Process Reform
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Task Force: Interconnection Process Reform
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1
2
3