## Setup
Enter Stakeholder Committee Name in cell A2:
Resource Adequacy Senior Task Force
Enter issue title (use title from Issue Tracking if applicable) in cell A5:
Reliability Risks and Drivers - KWA 2

## 1. Interest Identification
Resource Adequacy Senior Task Force
Reliability Risks and Drivers - KWA 2
Interest Identification
Instructions: List interests of all parties on this page.
1 | Maintain reliability through the changing resource mix
2 | To the extent uncertainty is accounted for on the supply side via capacity accreditation for some resources, all generation resources should be treated the same
3 | Differentiate reliability value of capacity resources through accreditation
4 | Differentiate reliability value on a resource-class basis and unit-specific basic
5 | Support accurate price signals for market entry/exit among all technology types
6 | Reasonable PJM workload on implementation
7 | Reasonably transparent process to identify resource values
8 | Maintain a reasonable look ahead period and procedure
9 | Account for existing and new thermal technologies
10 | Discuss impacts on CIR retention over time
11 | Ensure risk assessment reasonably captures scenarios of concern, with consideration of reliability risks during more extreme, low probability events
12 | Consider source of uncertainties / risks in determining where they should be accounted for (i.e. capacity target level vs. accreditation level)
13 | If ELCC is applied to all resources, make sure it is applied consistently across all resources (may apply to KWA 5 as well)
14 | Balancing ease of implementation with complexity
15 | Recognizing upcoming auction schedules and timeline to implement changes
16 | Ensure that the modeling underlying ELCC or any derating method is consistent with the operation of competitive markets
17 | Reflect transmission limitations
18 | Solutions be consistent with the operations of competitive markets
19 | Minimizing cross subsidies and cross accreditation (may apply to KWA 5 as well)
20

## 2. Options Matrix- Design Comp.
Resource Adequacy Senior Task Force
Reliability Risks and Drivers - KWA 2
OPTIONS MATRIX
Solution Options2
# | Design Components1 | Priority | Status Quo | A | B | C | D | E
* | Implementation
Accounting of Existing Uncertainties / Risks Modeled in RA Studies
1 | Load Forecast |  | Reflected in RPM: Demand-side Modeling: PJM Load Forecast captures weather uncertainty (period 1994-2020) RRS and CETO: normal distributions (only distribution from RTO's peak week matched PJM Load Forecast. ELCC: based on PJM Load Forecast uncertainty CETL: zone under study modeled at 90/10 forecasted load; other zones at 50/50 forecasted load
2 | Random forced outages of Unlimited Resources |  | Reflected in RPM: Supply-side Modeling: Accreditation: most recent 1-year EFORd calculated using GADS data RRS, CETO, ELCC: most recent 5-year EFORd calculated using GADS data CETL: most recent 5-year EFORd calculated using GADS data
3 | Planning outages of Unlimited Resources |  | Reflected in RPM: Demand-side Modeling: Accreditation: not reflected RRS, CETO, ELCC: most recent 5-year Equivalent Planned Outage Factor (EPOF) for each unlimited thermal unit calculated using GADS data. The planned outage schedule is then derived by using a heuristic that levelizes weekly thermal reserves throughout the year. CETL: 0 MW of planned outages
4 | Maintenance outages of Unlimited Resources |  | Reflected in RPM: Demand-side Modeling: Accreditation: not reflected RRS, CETO, ELCC: most recent 5-year Equivalent Maintenance Outage Factor (EMOF) calculated using GADS data. A quarter (1/4) of the EMOF is added to the EFORd to create the EEFORd of each unit; the remainder (3/4) is added to the EPOF CETL: 0 MW of maintenance outages
5 | Ambient Derates of Unlimited Resources |  | Reflected in RPM: Demand-side Modeling: Accreditation: not reflected. Testing (and ICAP values) are based on 50/50 weather conditions. Ambient derates occur during weather conditions more extreme than 50/50 weather. CETO: not reflected RRS, ELCC: evaluation of summer test data 5 years ago established that around 2,500 MW of ICAP are affected by ambient derates. CETL: 0 MW of ambient derates | [5 empty] | Low
6 | Outages & limitations of ELCC Resources |  | Reflected in RPM: Supply-side Modeling: Accreditation: Average Total ELCC (includes EFORd calculation for some ELCC classes) CETO: not reflected (for reliability requirement calculation purposes, this is adequate) RRS: not included because accreditation process is intended to reflect all the uncertainty CETL: modeled at CIR value | [5 empty] | Low - Medium
7 | Outages & limitations of Demand Resources |  | Reflected in RPM: Supply-side (partially) Modeling: Accreditation: no impact; 1 MW ICAP of DR is assumed to be worth around 1.08 MW UCAP (if FPR is equal to 1.08) CETO: DR outages and limitations are not reflected (for reliability requirement calculation purposes, this is adequate) RRS: not reflected; this is adequate because limitations should be on the accreditation side ELCC: dispatched in model reflecting performance window limitations but no impact on accreditation CETL: modeled at value included in PJM Load Forecast (reduction of load) | [5 empty] | Low - High
8 | Correlated cold weather forced outages of Unlimited Resources |  | Reflected in RPM: Demand-side Modeling: Accreditation: mostly not reflected (the 1-year EFORd may reflect some of these outages if they occurred in the 1-year period; however, the correlation with weather is not captured) RRS, CETO, ELCC: based on ~11 years of actual aggregate RTO-wide forced outage rates during winter peak weeks (this modeling technique basically captures random and cold weather-related forced outages) CETL: Considers gas pipeline contingencies | [5 empty] | Medium
9 | Emergency Imports |  | Reflected in RPM: Demand-side Modeling: RRS: decreases the FPR by around 1.33 percentage points (~2,000 MW UCAP). An approximate model that assesses peak load coincidence between PJM and its neighbors is used to determine the above value. Also, the approximate model uses the Capacity Benefit Margin (equal to 3,500 MW) as the maximum amount of emergency imports that PJM can receive at any given hour. CETO: Not considered ELCC: Not considered CETL: Not considered | [5 empty] | Medium - High
10 | Internal Transmission Risks |  | Reflected in RPM: Demand-side (load deliverability) and Supply-side (gen deliverability) Modeling: Load deliverability studies (CETO and CETL) used in RPM for determining separately modeled LDAs and setting reliability requirements in LDAs Generation deliverability study used to ensure capacity is not "bottled" in a particular area.
11 | Outage Assymetry of Unlimited Resources |  | Reflected in RPM: Demand-side (RRS) Modeling: Accreditation: not reflected UCAP accounting using EFORd presumes only average outages need to be addressed.
12 | Common Mode Failure of Unlimited Resources |  | Reflected in RPM: Demand-side (RRS) Modeling: Accreditation: not reflected Most resource adequacy modeling randomly assigns availability status for each resource independently In reality, outages can be correlated between resources due to common mode failures (e.g. shared step up transformers)
13 | Correlated Hot Weather Dependent Outages of Unlimited Resources |  | Reflected in RPM: Demand-side (RRS) Modeling: Accreditation: not reflected Additional correlated outage impacts observed in historical data based on weather impacts Hot weather events: extended run times, heat stress on components
14 | Fuel Availability Outages of Unlimited Resources |  | Reflected in RPM: Demand-side (RRS) Modeling: Accreditation: not reflected Natural gas supply constraints known to occur during cold weather As much as 10% of natural gas supply can become unavailable at temperatures of 0F (based on review of ERCOT 2021 event, 2014 Polar Vortex, 2011 FERC report on cold weather outages) Leads to an increase in cumulative outages for specific resource classes such as CTs and CCGTs
15 | Treatment of output above the CIR or above the reference temperature |  | Not Reflected
16 | Risk of energy delivery based on committed capacity resource obligation per PJM governing documents |  | N/A
Additional Uncertainties / Drivers of Reliability Risks
17 | Additional uncertainties / risks to be considered in the capacity market | [7 empty] | High
12
13
Instructions:
*Implementation should consider timing for both PJM and stakeholders (added as standard component based on Stakeholder feedback- 2015)
1Design Components - each is an "attibute" or "component" of any proposed solution. Consensus of the group should be sought on selection of a set of solution criteria.
2Solution Options - each is a solution alternative elicited from the stakeholder group that meet one of the specific solution criteria.
To complete the matrix:
1. Elicit from the stakeholder group a set of components (attributes) desired for any proposed solution. Enter a short label for each in the Design Components column.
2. If needed, enter a more detailed description of each criteria on the "Design Component Details" tab (2a).
3. Using informal feedback from the participants, rate each component's priority in the final solution as "high/medium/low"
4. Elicit from the stakeholder group potential solution alternative(s) for each component. Enter a short label for each in the Solution Options columns.
5. If needed, enter a more detailed description of each potential solution option on the "Option Details" tab 2b.
6. Once the matrix is filled out, the group will attempt to select a single solution alternative (column) for each component (row) to form a solution "package", to be documented in tab 3, "Packages Matrix".
Example: cells 1B, 2C, 3A, 4B, 5D could make up a solution package.

## 2a. Design Component Details
Resource Adequacy Senior Task Force
Reliability Risks and Drivers - KWA 2
COMPONENT DETAILS
Instructions: Complete this form as needed. Design components should be populated from the Options Matrix.
Design Component | Detailed Description
1 | <enter detailed description of this component>
2 | <enter detailed description of this component>
3 | <enter detailed description of this component>
4 | <enter detailed description of this component>
5 | <enter detailed description of this component>

## 2b. Option Details
Resource Adequacy Senior Task Force
Reliability Risks and Drivers - KWA 2
SOLUTION OPTION DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of options than the Options Matrix allows.
Cell # | Detailed Description
Corresponding cell number from Options Matrix (ex. 1A, 1B, 2A, etc.) | <enter detailed description of this option>

## 3. Package Matrix
Resource Adequacy Senior Task Force
Reliability Risks and Drivers - KWA 2
PACKAGE/ PROPOSAL MATRIX
Packages
# | Design Components | Priority | Status Quo | A | B | C | D | E
1
2
3
4
5
6
7
8
9 | [8 empty] | Low
10 | [8 empty] | Low - Medium
Low - High
Medium
Instructions: | [8 empty] | Medium - High
1. Copy over design component, priority, and status quo columns from options matrix | [8 empty] | High
2. Complete individual packages in columns by selecting individual component options from the options matrix.

## 3a. Package Details
Resource Adequacy Senior Task Force
Reliability Risks and Drivers - KWA 2
PACKAGE / PROPOSAL DETAILS
Instructions: Complete this form as needed, including more detailed / expansive descriptions of package components than the Package Matrix allows.
Package Solutions2
| A | B | C | D | E
1 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
2 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
3 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
4 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>
5 | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component> | <enter detailed description of this component>

## Parking Lot
Resource Adequacy Senior Task Force
Reliability Risks and Drivers - KWA 2
PARKING LOT
Instructions: Use this space to document any items not specific to another topic area.
Description

## Revision History
Resource Adequacy Senior Task Force
Reliability Risks and Drivers - KWA 2
Revision History
Current Spreadsheet Version:
Instructions: Document all version changes to this matrix for easy identification of changes.
Version | Posting Date | Description of changes
1 | 2022-01-06 | Interest Identification
2 | 2022-02-01 | Interest Identification
3 | 2022-02-23 | Interest Identification and Design Components
4 | 2022-02-28 | Interests and Design Components
5 | 2022-03-21 | Interests and Design Components
6 | 2022-03-28 | Interests and Design Components