## MISO M2M Flowgates
Market to Market Flowgate Name | Flowgate ID | Branch Name | Branch Type | Contingency Description | Monitoring RTO | PJM Long-Term FTR Auction Round 5 FFE | Direction
0404 Quad Cities-H471 l/o 15503 Cordova-Nelson 345 kV | 3227 | 4 QUAD C345 KV 0404 | LN | Cordova-Nelson (15503) 345 Line | PJM | 1374.5 | 1
0621 Byron-Cherry Valley 345 kV l/o 0622 Byron-Cherry Valley 345 kV | 3216 | 6 BYRON 345 KV 0621 | LN | Byron-Cherry Valley Red (0622) 345 Line | PJM | 1194.3 | 1
0622 Byron-Cherry Valley 345 kV l/o 0621 Byron-Cherry Valley 345 kV | 3218 | 6 BYRON 345 KV 0622 | LN | Byron-Cherry Valley Blue (0621) 345 Line | PJM | 1225.7 | 1
112 Wilton Center TR93 345/765 kV xfmr l/o 112 Wilton Center-23 Collins 765 kV | 554 | 112 WILT345 KV TR93CT-S | XF | 112 Wilton Center-23 Collins 765 kV | PJM | 674.1 | 1
155 Nelson 345/138kV TR82 l/o Byron-LeeCo 345kV | 3291 | 155 NELS345 KV TR82CT-P | XF | Byron - Lee 0627 345kv line | PJM | 277.1 | 1
155 Nelson TR82 345/138kV l/o Nelson - 15507 - Dixon 138kV | 590 | 155 NELS345 KV TR82CT-P | XF | Nelson B-Dixon B (15507 Z2) 138 Line | PJM | 303.5 | 1
15518 - 132 Garden Plain 138 kV l/o 0405 Quad Cities - Rock Creek 345 kV | 592 | 15518 138 KV 15518 2 | LN | Quad Cities-Rock Creek 345 | MISO | 19.1 | 1
15616 Cherry Valley-Silver Lake l/o 15502 Nelson-Electric Jct. | 3245 | 138 SILV345 KV 15616 | LN | Nelson-Electric Junction 345kV (15502 line) | PJM | 1200.2 | -1
17714-Hegewisch 138 l/o Burnham-Sheffield 345 | 551 | 55 HEGEW138 KV 17714 2 | LN | Burnham-Sheffield 345 | PJM | 262.7 | -1
74 Kewanee-6101 138 KV l/o KewaneeEast-Bureau 138 kV | 26615 | 74 KEWAN138 KV 6101 3 | LN | Bureau - Kewanee Easst 138 kV | PJM | 99.5 | 1
7405 (Normandy Tap) - 74 Kewanee 138 kV l/o 155Nelson-15518-133RockFall 138 kV | 26684 | 74 KEWAN138 KV 7405 2 | LN | 155Nelson-15518-133RockFall 15518 138 kV | PJM | 130.1 | -1
7405 (Normandy Tap) - 74 Kewanee 138 kV L/O Nelson-Electric Junction 345 kV | 25883 | 74 KEWAN138 KV 7405 2 | LN | Nelson-Electric Junction 345kV (15502 line) | PJM | 142.8 | -1
7713 -981 Cresent 138 kV for loss of Powerton-Toulon.0321 138 kV | 26512 | 7713 138 KV 7713 2 | LN | Toulon - Powerton 138 kV | PJM | 90.1 | -1
7713-981 CRES 138 KV l/o Hennepin-EKS Tap3-HKOK 1556 138 kV | 26966 | 7713 138 KV 7713 2 | LN | Hennepin-EKS Tap3-HKOK 1556 138 kV | PJM | 89.3 | -1
7713-Mazon l/o L0112 Kickapoo Creek-Lasalle | 544 | 7713 138 KV 7713 1 | LN | Kickapoo Crk-Lasalle 138 | PJM | 193 | 1
7713Tap_Oglesby l/o Hennepin_Hickok | 26965 | 7713 138 KV 7713 3 | LN | Hennepin-EKS Tap3-HKOK 1556 138 kV | MISO | 22 | -1
974 Zion-22 Zion 345 kV l/o Pleasant Prairie-22 Zion 345kV | 3297 | 22 ZION 345 KV 2223 | LN | Zion-Pleas PR (2221) 345 Line | PJM | 843.2 | -1
Albany-Garden Plain 138 l/o Nelson TR84 345/138 | 585 | 132 GARD138 KV 13219 | LN | Nelson 345/138 TR84CT-P | PJM | 156.4 | -1
Albany-Garden Plain 138 l/o Quad Cities-H471 345 | 588 | 132 GARD138 KV 13219 | LN | Quad-H471 (0404) 345 Line | PJM | 164.9 | -1
Allen Junction - Morocco 345 kV l/o Lallandorf - Monroe 345 kV | 26273 | ALLENJUN345 KV ALL-MORO | LN | Monroe-Lallendorf 345 kV | PJM | 1333.7 | 1
Argenta-Tompkins 345 kV l/o Argent-_Battle Creek 345 kV | 25749 | ARGENTA2345 KV ARG-TOM | LN | Argenta-Battle Creek 345 kV | MISO | 251.9 | 1
Babcock-Stillwell 345 kV l/o Wilton Center-Dumont 765 kV | 22472 | BABCOCK 345 KV BAB-STI1 | LN | Dumont-Wilton Center 765kV | MISO | 441.8 | 1
Baker-Broadford 765 kV l/o Culloden-Wyoming 765 kV | 251 | BAKER 765 KV BAK-BRO1 | LN | Culloden - Wyoming 765 | PJM | 4111.5 | 1
Baldwin XF 345/138 l/o PrairieState-MtVernon 345 kV | 21605 | BALDWIN3345 KV T 132275 | XF | Prairie State-W Mt. Vernon 345 | MISO | 93.3 | 1
Baldwin XF 345/138 l/o TurkeyHill XF 345/138 | 21608 | BALDWIN3345 KV T 132275 | XF | Turkey Hill TR 345/138 | MISO | 82.2 | 1
Batesville-Hubble 138 l/o Tanners Crk-Miami Fort 345 | 2445 | BATESVIL138 KV BAT-HUB1 | LN | Tanners Crk-Miami Fort 345 | MISO | 66.5 | 1
Bayshore 345/138kV T2 loss of Bayshore 345/138kV T1 | 2846 | BAYSHOR2345 KV 2 | XF | Bayshore 345/138kV TX1 | PJM | 443.7 | 1
BayShore TR1 345/138 kV l/o FostoriaCentral - Lallendorf 345 kV | 24079 | BAYSHOR2345 KV 1 | XF | FostoriaCentral - Lallendorf 345 kV | PJM | 436.9 | 1
Beaver-Davis Besse 345 | 2983 | BEAVER 345 KV BEA-DAV1 | LN | BASE | PJM | 1047.2 | 1
Benton Harbor - Segreto 345 kV l/o Cook - Segreto 345 kV | 24286 | BENTONHA345 KV BEN-SEG | LN | Cook-Segreto 345 kV | PJM | 1225.7 | 1
Benton Harbor 1 345/138 kV l/o Oive 2 345/138 | 25805 | BENTONHA345 KV . 1 | XF | Olive 345/138 transformer | PJM | 330.7 | 1
Benton Harbor 345/138 kV l/o Argenta - WeedLake 345 kV | 25793 | BENTONHA345 KV . 1 | XF | Argenta - WeedLake 345 kV | PJM | 328.1 | 1
Benton Harbor 345/138kV transformer l/o Segreto-Cook 345kV line | 24513 | BENTONHA345 KV . 1 | XF | Cook-Segreto 345 kV | PJM | 314.5 | 1
Bosserman-Michigan City 138 kV l/o Dumont-Wilton Center 765 kV | 24058 | BOSSERMN138 KV BOS-MIC | LN | Dumont-Wilton Center 765kV | PJM | 264.4 | 1
BREC Paradise Tap-Paradise FP 161 kV l/o Barkly-Princeton 161 kV | 2644 | BR_TAP 161 KV BRT-PAR | LN | Barkley-Princeton 161 kV | MISO | 45.9 | 1
Brokaw-Cornbelt 138 l/o Blue Mound-Pontiac 345 | 21519 | BROKAW 138 KV BRO-CORN | LN | Pontiac-Blue Mound 345 | MISO | 83.2 | 1
Bunsonvil-Eugene 345 kV l/o Sullivan XF 2 765/345 | 21585 | EUGENE 345 KV EUG-BUN1 | LN | Sullivan TR 2-P 765/345 | MISO | 456.4 | -1
Bunsonville-Eugene 345 kV l/o Rockport-Jefferson 765 kV | 21563 | EUGENE 345 KV EUG-BUN1 | LN | Jefferson-Rockport (JEF-ROC1) 765 Line | MISO | 452.7 | -1
Burnham-Munster 345 | 2516 | 177 BURN345 KV BUR-MUN1 | LN | BASE | PJM | 538.1 | 1
Burnham-Munster 345 kV l/o Braidwood-E. Frankfort 345 kV | 2205 | 177 BURN345 KV BUR-MUN1 | LN | Braidwood-E. Frankfort 2001 345 kV | PJM | 692.8 | 1
Burnham-Munster 345 kV l/o E. Frankfort-Crete 345 kV | 2204 | 177 BURN345 KV BUR-MUN1 | LN | E. Frankfort-Crete 345 kV | PJM | 751.4 | 1
Burnham-Munster 345 l/o Dumont-Wilton Center 765 | 2286 | 177 BURN345 KV BUR-MUN1 | LN | Dumont-Wilton Center 765kV | PJM | 777.8 | 1
Burnham-Munster 345 l/o E. Frankfort-UP North 345 | 2206 | 177 BURN345 KV BUR-MUN1 | LN | E. Frankfort-University Park North 345 | PJM | 615.4 | 1
Burnham-Sheffield 345 flo Dumont-Wilton Center 765 | 2288 | 177 BURN345 KV BUR-SHE1 | LN | Dumont-Wilton Center 765kV | PJM | 663 | 1
Butler - Bluemound 138kV 5061 l/o Arcadian - Granvil 345kV | 26900 | BUTLER 3138 KV 38864392 | LN | Arcadian-Granvil 345 | MISO | 48.8 | 1
Byron-Cherry Valley 0621 345 kV l/o Byron-Wempletown 345 kV | 3217 | 6 BYRON 345 KV 0621 | LN | Byron-Wempletown 345 (0624 line) | PJM | 1065.1 | 1
Byron-Cherry Valley 0621 345kV l/o Nelson-Electric Junction 15502 345kV | 3289 | 6 BYRON 345 KV 0621 | LN | Nelson-Electric Junction 345kV (15502 line) | PJM | 1081.2 | 1
Byron-Cherry Valley 0622 345 l/o Byron-Wempletown 0624 345 | 3200 | 6 BYRON 345 KV 0622 | LN | Byron-Wempletown 345 (0624 line) | PJM | 1105.9 | 1
Byron-Wempletown 0624 345 kV line l/o Byron-Cherry Valley 0621 345 kV | 3293 | 171 WEMP345 KV 0624 | LN | Byron-Cherry Valley Blue (0621) 345 Line | PJM | 1089.7 | -1
Canteen-Mryvlrea l/o Stalling-Jarvis 345kv | 27054 | CNTN 138 KV CNT-MRYV | LN | Stallin3-Jarv 345 kV | MISO | 45.4 | 1
CaseyW_Neoga_345_flo_Newton_Casey_345 | 26421 | NEOGA 3345 KV 30309313 | LN | Newton-Casey 345 kV | MISO | 202.1 | -1
CasyW-Sullivan 345 kV l/o Bunsonvil-Eugene 345 kV | 26948 | SULLIVA2345 KV SUL-WCA | LN | Eugene-Bunsonville 345 | MISO | 529.7 | -1
Cayuga 345/230 XFMR 9 (flo) Cayuga 345/230 XFMR 10 | 2457 | CAYUGA2 345 KV 9-P | XF | Cayuga 345/230 xfmr 10 | MISO | 43.5 | 1
Cayuga Starbus TR 9-P l/o Cayuga-Nucor 345 | 21553 | CAYUGA2 345 KV 9-P | XF | Nucor-Cayuga 345 kV | MISO | 92 | 1
Cayuga Starbus TR 9S l/o Cayuga-Cayuga CT 345 | 21555 | CAYUGA2 230 KV 9-S | XF | Cayuga2-Cayuga CT 345kV | MISO | 29.8 | 1
Cayuga_HilsdaleN_230_flo_Dresser_SugarCreek_345 | 25103 | CAYUGA2 230 KV CAY-HILS | LN | Dresser-SugarCreek 345 kV | MISO | 85.6 | 1
Cherry Valley Silver Lake 15616 345kV l/o Byron-Wayne 0626 345 kV | 24956 | 138 SILV345 KV 15616 | LN | Byron - Wayne 345 kV | PJM | 1105 | -1
Cherry Valley-Silver Lake (15616) 345 kV line | 552 | 138 SILV345 KV 15616 | LN | BASE | PJM | 1018.3 | -1
Chicago - Praxair 138 kV l/o Wilton Center - Dumont 765 kV | 2680 | CHIC_AVE138 KV CHI-PRA2 | LN | Dumont-Wilton Center 765kV | MISO | 36 | 1
Chicago-Praxair 3 13831 138kV l/o Burnham-Munster 34504 345kV | 26996 | CHIC_AVE138 KV CHI-PRA2 | LN | Burnham-Munster 345 | MISO | 39.2 | 1
Clifty Creek-Dearborn 1 345 kV l/o Hanging Rock-Jefferson 765 kV | 2000 | CLIFTYCR345 KV CLI-DEA1 | LN | Jefferson-Hanging Rock 765 kV line | PJM | 694.5 | 1
Clifty Creek-Dearborn 345 kV line l/o Jefferson-Greentown 765 kV | 280 | CLIFTYCR345 KV CLI-DEA1 | LN | Jefferson-Greentown 765 line | PJM | 695.3 | 1
CoffeenN_Roxford_345_flo_Mt_Vrnon_Xenia_345 | 26412 | COFFEN 3345 KV 30395322 | LN | Mt Vernon-Xenia 345 kV | MISO | 206.4 | 1
College - Collinsville 138 kV l/o Dumont - Sorenson 765 kV | 26096 | COLLEGEC138 KV COL-COL6 | LN | Dumont - Sorenson 765 kV | PJM | 222.7 | 1
College - Collinsville 138 kV l/o Marysville - Sorenson 765 kV | 26097 | COLLEGEC138 KV COL-COL6 | LN | Marysville-Sorenson 765 kV | PJM | 225.3 | 1
College - Collinsville 138 kV l/o Tanners Creek - Miami Fort 345 kV | 26307 | COLLEGEC138 KV COL-COL6 | LN | Tanners Crk-Miami Fort 345 | PJM | 223.6 | 1
College - Collinsville 138 kV l/o TannersCreek - Dearborn 345 kV | 26066 | COLLEGEC138 KV COL-COL6 | LN | Dearborn-Tanners Creek 345 kV ckt 1 | PJM | 227 | 1
College Corner - Collinsville 138 kV l/o Cllge Crnr - Trenton - Hutching 138 kV | 26534 | COLLEGEC138 KV COL-COL6 | LN | College Corner-Trenton-Hutching 138 kV | PJM | 218.5 | 1
College Corner - Collinsville 138 kV l/o Red Bank-Terminal 345 kV | 26622 | COLLEGEC138 KV COL-COL6 | LN | Red Bank-Terminal 345kV | PJM | 218.5 | 1
College Corner - Collinsville 138 kV l/o TannersCreek-EastBend 345 kV | 26658 | COLLEGEC138 KV COL-COL6 | LN | Tanners Creek - East Bend 345kV | PJM | 218.5 | 1
College Corner- Collinsville 138 kV l/o Terminal.BK11 345/138 kV | 26581 | COLLEGEC138 KV COL-COL6 | LN | Terminal.BK11 345/138 kV | PJM | 219.3 | 1
Commodore 345-230 xfmr 2 l/o Prairie State-Mt Vernon 345 | 27209 | CMDR 345 KV XFM2 | XF | Prairie State-W Mt. Vernon 345 | MISO | 79.8 | 1
Cook - Olive 345 kV l/o Dumont - Cook 765 kV | 26495 | COOK 345 KV COO-OLI1 | LN | Cook-Dumont 765 | PJM | 995.4 | 1
Cook - Segreto 345 kV | 26938 | COOK 345 KV COO-SEG | LN | BASE | PJM | 915.5 | 1
Cordova-Nelson 345 (flo) Quad Cities-H471 345 | 505 | 155 NELS345 KV 15503 | LN | Quad-H471 (0404) 345 Line | PJM | 1376.2 | -1
Cordova-Nelson 345 kV (15503) l/o H471-Nelson 345 kV (15504) | 514 | 155 NELS345 KV 15503 | LN | 155 Nelson-H471 (15504) 345 kV | PJM | 1372.8 | -1
Cornbelt-Gibson 138kV l/o Vermilion-NChampagne 138kV | 21502 | CORNBELT138 KV COR-GIBS | LN | Vermilion-Champagne 138 | MISO | 88.4 | 1
Crescent - 7713 138kV line for l/o Lockport-Kendall 10805 345kV line | 3294 | 7713 138 KV 7713 2 | LN | Kendall-Lockport 345 kV | PJM | 96.1 | -1
Crescent Ridge - 7713 138 l/o Kewanee East - Bureau | 26000 | 7713 138 KV 7713 2 | LN | Bureau - Kewanee Easst 138 kV | PJM | 87.6 | -1
Crescent-7713 138 l/o Kewanee-Streator 6101 138 | 568 | 7713 138 KV 7713 2 | LN | Kewanee-Streator 6101 138 | PJM | 91.8 | -1
Crete - St John 345 kV l/o Burnham - Sheffield 345 kV | 2429 | CRETSTJO345 KV CRE-STJO | LN | Burnham-Sheffield 345 | PJM | 740.4 | 1
Crete - St John 345 l/o Burnham - Munster 345 | 2428 | CRETSTJO345 KV CRE-STJO | LN | Burnham-Munster 345 | PJM | 743.8 | 1
Crete-St Johns Tap 345 kV l/o Dumont-Wilton Center 765 kV line | 2975 | CRETSTJO345 KV CRE-STJO | LN | Dumont-Wilton Center 765kV | PJM | 775.2 | 1
Crete-St. Johns 345 kV Line | 2393 | CRETSTJO345 KV CRE-STJO | LN | BASE | PJM | 629 | 1
Dearborn-Pierce 345 kV l/o East Bend-Terminal 345 kV | 25964 | PIERCE 345 KV PIE-DEA1 | LN | E.Bend-Terminal 345 kV line | PJM | 737.8 | -1
Dearborn-Pierce 345kV lo Miami Fort-Terminal 345kV | 24635 | PIERCE 345 KV PIE-DEA1 | LN | Miami Fort - Terminal 345 kV | PJM | 758.2 | -1
Dresden-Elwood 1222 345 kV l/o Dresden-Electric 1223 345 kV | 549 | 12 DRESD345 KV 1222 | LN | Dresden-Electric Jct. 345 kV | PJM | 1177.3 | 1
Dumont - Stillwell 345 kV l/o 112Wilton TR93 765/345 kV | 26681 | DUMONT2 345 KV DUM-STI1 | LN | Wilton Center 765/345 xfmr TR93 | PJM | 674.9 | 1
Dumont - Stillwell 345 kV l/o Burr Oak - Schahfer 345 kV | 25692 | DUMONT2 345 KV DUM-STI1 | LN | Schahfer-Burr Oak 345 | PJM | 707.2 | 1
Dumont-Stillwell 345 flo Dumont-Wilton Center 765 | 2299 | DUMONT2 345 KV DUM-STI1 | LN | Dumont-Wilton Center 765kV | PJM | 710.6 | 1
Dune Acres - Michigan City 138 kV l/o Wilton Center - Dumont 765 kV | 26763 | DUNEACRE138 KV DUN-MIC1 | LN | Dumont-Wilton Center 765kV | MISO | 67.1 | 1
DuneAcre - MichCity 13939 138 kV l/o DuneAcre - MichCity 138 kV 13843 | 26997 | DUNEACRE138 KV DUN-MIC1 | LN | Dune Acre-Michigan City #2 | MISO | 88.1 | 1
DuneAcre-MichCity 138kV l/o WiltonCenter-Dumont 765kV | 26699 | DUNEACRE138 KV DUN-MIC2 | LN | Dumont-Wilton Center 765kV | MISO | 71.6 | 1
East Frankfort-Crete 345 kV l/o Dumont-Wilton Center 765 Kv | 522 | 66 E FRN345 KV 6607 | LN | Dumont-Wilton Center 765kV | PJM | 865.3 | 1
East Frankfort-Goodings Grove (11601) 345 kV line | 520 | 66 E FRN345 KV 11601 | LN | BASE | PJM | 997.1 | 1
East Frankfort-Goodings Grove (11602) 345 kV line | 521 | 66 E FRN345 KV 11602 | LN | BASE | PJM | 1035.3 | 1
Edwards-Kewanee 138 kV l/o Hennepin-Woodhall 138 kV | 21630 | 74 KEWAN138 KV 7423 | LN | Hennepin-Ltvsteel-Woodhall 138 kV | MISO | 39.6 | -1
Edwards-Kewanee 138 kV l/o Tazewell XF 2 345/138 | 21641 | 74 KEWAN138 KV 7423 | LN | Tazewell 345/138 kV T2 | MISO | 42.8 | -1
Effingham-NW-Neoga 138 kV l\o Newton-Casey 345 kV | 27107 | NEOGA 3138 KV 30516313 | LN | Newton-Casey 345 kV | MISO | 25.8 | -1
Enon-Montgomery 345 KV l/o Labadie-Montgomery 345 kV | 21615 | ENON TP 345 KV ENO-MONT | LN | Labadie - Montgomery 345kV | MISO | 158.2 | 1
Eugene-Cayuga 345 l/o Rockport-Jefferson 765 | 20569 | EUGENE 345 KV EUG-CAY1 | LN | Jefferson-Rockport (JEF-ROC1) 765 Line | MISO | 582.3 | 1
Francisco - Duff 345 kV flo Gibson -ABBrown 345 kV | 25957 | DUFF 345 KV DUF-FRC | LN | Gibson-AB Brown 345 kV | MISO | 228 | -1
Garden Plain - 15518 138 kV l/o Cordova - Nelson 345 kV | 26564 | 15518 138 KV 15518 2 | LN | Cordova-Nelson (15503) 345 Line | PJM | 130.1 | -1
Garden Plain - 15518 2 138 kV l/o Nelson - H471 15504 345 kV | 24665 | 15518 138 KV 15518 2 | LN | 155 Nelson-H471 (15504) 345 kV | PJM | 125.8 | -1
Garden Plain-15518 138kV l/o Nelson TR84 345/138kV | 584 | 15518 138 KV 15518 2 | LN | Nelson 345/138 TR84CT-P | PJM | 113.9 | -1
Garden Plain-15518 2 138kV l/o Quad Cities-H471 0404 345kV | 593 | 15518 138 KV 15518 2 | LN | Quad-H471 (0404) 345 Line | PJM | 125.8 | -1
Gibson-Abbrown 345 l/o Gibson-Merom 345 | 21529 | GIBSON2 345 KV GIB-ABB | LN | Gibson-Merom 345kV | MISO | 335.2 | 1
Gibson-Francisco-345 kV l/o Gibson-Abbrown-345 kV | 26856 | FRCSCCIN345 KV FRC-GIB | LN | Gibson-AB Brown 345 kV | MISO | 290.6 | -1
Gibson-Paxton 138kV l/o Clinton-MaroaJ-Oreana 345kV+Goosecrk-MaroaJ 345kV | 21505 | GIBSON 3138 KV GIB-OSWD | LN | Clinton-MaroaJ-Oreana 345kV+Goosecrk-MaroaJ 345kV | MISO | 74 | 1
Gibson-Petersburg 345 kV l/o Gibson-Francisco 345 kV | 21530 | GIBSON2 345 KV GIB-PET1 | LN | Gibson-Francisco 345 | MISO | 198.9 | 1
Gibson-Petersburg 345kV l/o Gibson-Bedford 345kV | 2047 | GIBSON2 345 KV GIB-PET1 | LN | Gibson-Bedford 345kV + Bedford 345/138kV XF | MISO | 154.7 | 1
Goodland - Reynolds 138 kV l/o Bunsonvile - Eugene 345 kV | 2679 | REYNOLD2138 KV REY-17G1 | LN | Eugene-Bunsonville 345 | MISO | 62.6 | -1
Grand Mound - Maquoketa 161 kV l/o Rock Creek - Salem 345 kV | 24526 | GR MND 6161 KV GRM-MQO6 | LN | Salem-Rock Crk 345 | MISO | 53.7 | 1
Greentown 765/138 kV xfmr 2 l/o Dumont-Sorenson765 kV | 25947 | GREENTO2138 KV 2-T | XF | Dumont - Sorenson 765 kV | MISO | 208.3 | 1
Greentown_Kokomo_230_flo_Rockport_Sullivan_765 | 26422 | GREENTO2230 KV GRE-KOK1 | LN | Rockport-Sullivan 765kV | MISO | 109.3 | 1
Hennepin-LTVSteel 138 kV l/o Dresden-Tazewell 345 kV | 21611 | HENNEPIN138 KV HEN-LTV1 | LN | Dresden-Tazewell 345 | MISO | 62.5 | 1
Hennepin-LTVSteel 138 kV l/o Hennepin-Ottawa 138 kV+ Ottawa-Oglesby 138 kV | 21629 | HENNEPIN138 KV HEN-LTV1 | LN | Ottawa-Oglesby-Hennepin 138 kV | MISO | 68.8 | 1
Henry-New Castle 138 l/o Noblesville-Sanderson 138 | 6526 | 08HENCO 138 KV 08H-NEW | LN | Noblesville-Sanderson | MISO | 27.8 | 1
Holland-Neoga 345 l/o Kincaid-Pana-Coffeen 345 | 3076 | HDNW 345 KV HDN-NEO | LN | Pana-Kincaid 345kV | MISO | 324.4 | 1
Holland-Neoga 345 l/o Newton-Casey 345 | 6242 | HDNW 345 KV HDN-NEO | LN | Newton-Casey 345 kV | MISO | 311.1 | 1
Hortonville-Whitestown 345 kV l/o Whitestown Guion 345+Guion TR | 21564 | HORTONVI345 KV HOR-WHI1 | LN | Whitestown-Guion 345kV + Guion 345/138kV XF1 | MISO | 218.4 | 1
Jacksons Ferry-Antioch 500 kV l/o Broadford-Sullivan 500 kV | 2417 | JACKSONS500 KV JAC-ANT1 | LN | Broadford - Sullivan 500 kV | PJM | 1905.7 | 1
Joppa - Shawnee 3 161 kV l/o Joppa - Shawnee 4 161 kV | 26834 | JOPPA N3161 KV JOP-SHA3 | LN | Joppa - Shawnee 4 161 kV | MISO | 31.7 | 1
Joppa 345kV/161kV TR l/o Shawnee 500kV/345kV TR | 3084 | JOPPA N3345 KV XF A | XF | Shawnee 500/345 | MISO | 146.5 | 1
Joppa-Shawnee 4 161 kV l/o Joppa-Shawnee 2 161 kV | 27004 | JOPPA N3161 KV JOP-SHA4 | LN | Joppa-Shawnee 3 161 kV | MISO | 59.3 | 1
Kewanee - Kewanee East 138 kV Tie l/o Toulon - Powerton 138 kV | 24532 | 74 KEWAN138 KV BTIE Z1 | LN | Toulon - Powerton 138 kV | PJM | 209.1 | 1
Kewanee-6101 138 kV l/o Steator-Kickapo-Marseile 138 kV | 25355 | 74 KEWAN138 KV 6101 3 | LN | Streator-Kickapo-Marseile 138 kV | PJM | 77.4 | 1
Kewanee-6101 138 l/o Nelson-Electric Junction 345 | 582 | 74 KEWAN138 KV 6101 3 | LN | Nelson-Electric Junction 345kV (15502 line) | PJM | 110.5 | 1
Kewanee-6101 138 l/o Oglesby Tap 138 sub | 576 | 74 KEWAN138 KV 6101 3 | LN | Oglesby Tap 138 sub | PJM | 91.8 | 1
Kokomo-Tipton 230 l/o Nucor-Cayuga 345 | 26694 | KOKOMOPS230 KV KOK-TIP | LN | Nucor-Cayuga 345 kV | MISO | 73.2 | 1
Labadie-GraySummit 2 345 kV l/o Labadie-GraySummit 1 345 kV | 21616 | GRAYSUM3345 KV GRA-LABA | LN | Labadie-Greysum Ckt1 345kV | MISO | 71.4 | -1
Laclede Steel North tap - Gilespie 138 l/o PrairSt - WMTVernon 345 | 27102 | LAC N T3138 KV 32291322 | LN | Prairie State-W Mt. Vernon 345 | MISO | 24.3 | 1
Laclede Steel North tap-Gilespie 138 flo Maywood - Herleman 345 kV | 27079 | LAC N T3138 KV 32291322 | LN | Maywood-Herleman 345kV | MISO | 19.5 | 1
Lafayette 138/230 TR1 l/o Sorenson - Marysvil 765kV | 27119 | 08LAFYTE138 KV 1S | XF | Marysville-Sorenson 765 kV | PJM | 219.3 | 1
Lafayette_138_230_TR1_flo_Lafayette_138_230_TR4 | 27086 | 08LAFYTE138 KV 1S | XF | Lafayette 138/230 kV TR4 | PJM | 263.5 | 1
Lanesvil_Interstate138_flo_Kincaid_Austin345_2106_CloneInFault | 26386 | INTERSTA138 KV INT-LAN | LN | Kincaid - Austin 345 kV SPOG 1-3-A | MISO | 99.2 | -1
Lasalle Jct-Esk Tap 138 kv l/o Ottawa-Hennepin-Oglesby 138 kV | 21588 | ESK TAP3138 KV ESK-HKOK | LN | Ottawa Tap 138 Sub 2 | MISO | 111.9 | -1
Lutevil-StFrancis 345 kV l/o PrairieState-MtVernon 345 kV | 21635 | STFRANCS345 KV 30974317 | LN | Prairie State-W Mt. Vernon 345 | MISO | -43.3 | -1
MAP - LNG 138 l/o Wilton Center - Dumont 765 kV | 25634 | MAPLNIPS138 KV MAP-LNG1 | LN | Dumont-Wilton Center 765kV | MISO | 32.9 | 1
Map-Chryslr 13811 l\o Greentown-Delco 13810 | 26697 | MAPLECIN138 KV MAP-08C1 | LN | Greentown-Delco 138 kV | MISO | 2 | 1
MapleST - Chrysler 138 kV l/o HighlandPark - New London 230 kV | 25475 | MAPLECIN138 KV MAP-08C1 | LN | Kokomo Highland Park - New London 230 | MISO | 7.3 | 1
Maroa E-GooseCreek 345 kV l/o Wilton Center-Dumont 765 kV | 23412 | GOOSECRK345 KV GOO-MAR | LN | Dumont-Wilton Center 765kV | MISO | 312.8 | -1
Maroa-E GooseCreek 345kV l/o Faraday-Kansas 345kV | 27261 | GOOSECRK345 KV GOO-MAR | LN | Faraday-Kansas 345 kV | MISO | 425.4 | -1
Maroa-E-GooseCreek 345 l/o HollandNW -Neoga 345 | 27233 | GOOSECRK345 KV GOO-MAR | LN | Holland-Neoga 345 kV | MISO | 401.9 | -1
Miami Fort 345/138 kV TX9 lo Miami Fort-Terminal 345kV | 24848 | MIAMIFOR345 KV 9 | XF | Miami Fort - Terminal 345 kV | PJM | 363 | 1
Miami Fort 345/138 TB 9 (flo) Dearborn - Tanners Creek 345 | 2566 | MIAMIFOR345 KV 9 | XF | Dearborn-Tanners Creek 345 kV ckt 1 | PJM | 360.4 | 1
Miami Fort 345/138 Xfm flo East Bend-Terminal 345 | 2908 | MIAMIFOR345 KV 9 | XF | E.Bend-Terminal 345 kV line | PJM | 352.8 | 1
MiamiFort XF9 345/138 kV l/o MiamiFort XF10 345/138 kV | 26570 | MIAMIFOR345 KV 9 | XF | MiamiFort XF10 345/138 kV | PJM | 360.4 | 1
Michigan City-Bosserman 138 kV l/o Wilton Center - Dumont 765 kV | 2427 | BOSSERMN138 KV BOS-MIC | LN | Dumont-Wilton Center 765kV | PJM | 307.7 | -1
Michigan City-Bosserman 138 l/o Michigan City-Trail Creek 138 | 2671 | BOSSERMN138 KV BOS-MIC | LN | Michigan City-Trail Creek 138 | PJM | 325.6 | -1
Michigan City-Maple 138 kV l/o Wilton Center-Dumont 765 kV | 27216 | MICHIGA2138 KV MIC-MAP1 | LN | Dumont-Wilton Center 765kV | MISO | 107.6 | 1
Michigan City-Trail Creek 138 kV l/o Wilton Center-Dumont 765 kV | 2578 | MICHIGA2138 KV MIC-TRA1 | LN | Dumont-Wilton Center 765kV | MISO | 60 | 1
Michigan City-Trail Creek 138 l/o Michigan City-Bosserman 138 | 21077 | MICHIGA2138 KV MIC-TRA1 | LN | MichiganCity-Bosserman 138kV | MISO | 59.4 | 1
MichiganCity - DuneAcres 138kV 43 l/o Dumont - WiltonCenter 765kV | 26814 | DUNEACRE138 KV DUN-MIC2 | LN | Dumont-Wilton Center 765kV | MISO | 60.4 | -1
Mohomet - ChampTP 138 kV l/o Clinton - Oreana - GooseCrk 345 kV | 24817 | CHAMP T3138 KV 1592 2 | LN | Clinton-Oreana-GooseCrk 345 kV | MISO | 64.9 | -1
Monroe-Lallendorf 345 kV l/o Lulu 345 kV Sub | 2647 | LALLENDO345 KV LAL-MON | LN | Lulu 3-Terminal Line 3 | MISO | -93.6 | -1
Monroe-Lallendorf l/o Morocco-Allen Junction | 23427 | LALLENDO345 KV LAL-MON | LN | Allen Jct-Morocco 345 kV | MISO | -50.7 | -1
Montgomery-Labadie 4 345 kV l/o Belleau-Montgomery 345 kV | 27241 | LABADIE3345 KV 30886312 | LN | Belleau - Montogomery 345 kV | MISO | 89.5 | -1
Morocco-Allen Junction 345 KV l/o Davis Besse U1 | 26509 | ALLENJUN345 KV ALL-MORO | LN | Davis Besse Unit | PJM | 1261.4 | -1
Morocco-Allen Junction 345 kV l/o Dumont-Sorenson 765 kV | 27240 | ALLENJUN345 KV ALL-MORO | LN | Dumont - Sorenson 765 kV | PJM | 1247 | -1
Morocco-Allen Junction 345 KV l/o Lemoyne-Majestic 345 kV | 26505 | ALLENJUN345 KV ALL-MORO | LN | Lemoyn-Majestic 345 line | PJM | 1343.9 | -1
Morocco-Allen Junction 345 KV l/o Marysville-Sorenson 765kV | 26506 | ALLENJUN345 KV ALL-MORO | LN | Marysville-Sorenson 765 kV | PJM | 1303.9 | -1
Mt Vernon TR 345/138 kV l/o Mt Vernon-WFrankfort 345 kV | 21633 | MT VRNO3345 KV TX00 | XF | Mt Vernon-EWFKF3 345 kV | MISO | 76.1 | 1
Mt Vernon TR 345/138 kV l/o Mt Vernon-Xenia 345 kV | 21634 | MT VRNO3345 KV TX00 | XF | Mt Vernon-Xenia 345 kV | MISO | 32.5 | 1
Mt Vernon-W Salem 138 kV l/o Newton-Xenia 345 kV | 3424 | SALEM 3138 KV LN 2868 | LN | Xenia-Newton (31330323) 345 Line | MISO | -0.2 | -1
MtVernon XF 345/138 l/o Casey-Newton 345 kV | 21592 | MT VRNO3345 KV TX00 | XF | Newton-Casey 345 kV | MISO | 34.5 | 1
MtVernonWest - SalemWest 138 kV l/o Coffeen - Roxford 345 kV | 26275 | SALEM 3138 KV LN 2868 | LN | Coffeen-Roxfd 345 | MISO | 5.6 | -1
Munster-Burnham 345 l/o Dumont-Wilton Center 765 | 3268 | 177 BURN345 KV BUR-MUN1 | LN | Dumont-Wilton Center 765kV | PJM | 911.2 | -1
N Lake Geneva Tap Burlington 138kV l/o University Mukwonago 138 | 26576 | BRLGTN43138 KV 39267393 | LN | University-Mukwonago 138kV | MISO | 47.6 | -1
NChamp - Vermilion 138 kV l/o Sidney - Bunsonvil 345 kV | 26043 | NCHAMPGN138 KV NCH-VERM | LN | Bunsonville-Sidney 345 kV | MISO | 61.1 | 1
Nelson 345/138 TR82 l/o Nelson 345/138 TR81 | 23655 | 155 NELS345 KV TR82CT-P | XF | 345/138.155Nelson.TR81 | PJM | 293.3 | 1
Nelson 345/138 TR82 l/o Nelson-Electric Jct 345 | 527 | 155 NELS345 KV TR82CT-P | XF | Nelson-Electric Junction 345kV (15502 line) | PJM | 374 | 1
Nelson 345/138 xfmr 82 (flo) Nelson 345/138 xfmr 84 | 507 | 155 NELS345 KV TR82CT-P | XF | Nelson 345/138 TR84CT-P | PJM | 296.7 | 1
Nelson 345/138 xfmr 84 (flo) Nelson 345/138 xfmr 82 | 506 | 155 NELS345 KV TR84CT-P | XF | 345/138.155Nelson.TR82 | PJM | 290.7 | 1
Nelson TR 84 loss of Nelson - H471 15504 345kV | 587 | 155 NELS345 KV TR84CT-P | XF | 155 Nelson-H471 (15504) 345 kV | PJM | 302.6 | 1
Nelson-Electric Jct (15502) l/o Cherry Val-Silver Lake (15616) | 3250 | 155 NELS345 KV 15502 | LN | Cherry Valley-Silver Lake 345kV (15616 line) | PJM | 1336.2 | 1
Nelson-Electric Jct 15502 345 kV l/o Byron-Wayne 0626 345 kV | 24274 | 155 NELS345 KV 15502 | LN | Byron - Wayne 345 kV | PJM | 1201.9 | 1
Nelson-Electric Junction (15502) l/o Byron-Cherry Valley (0621) | 3274 | 155 NELS345 KV 15502 | LN | Byron-Cherry Valley Blue (0621) 345 Line | PJM | 1303.1 | 1
Nelson-Electric Junction 345 kV | 25125 | 155 NELS345 KV 15502 | LN | BASE | PJM | 967.3 | 1
Neoga-CaseyW 345 l/o Newton-Casey 345 | 26974 | NEOGA 3345 KV 30309313 | LN | Newton-Casey 345 kV | MISO | 333.3 | 1
New London-Kokomo 230kV l/o Cayuga-Nucor 345kV | 23148 | KOKOMOPS230 KV KOK-NEW1 | LN | Nucor-Cayuga 345 kV | MISO | 92.4 | -1
Newcarlis_BSMN_NIP_1_138kv_flo_Newcarlis_BSMN_NIP_2 | 25906 | NEWCARLI138 KV NEW-NWN1 | LN | NewCarlis-Bosserman#2 138kV | MISO | 42.4 | 1
NewLondon_KokomoHglndPk230kV_flo_Dumont_Sorenson765KV | 25518 | KOKOMOPS230 KV KOK-NEW1 | LN | Dumont - Sorenson 765 kV | MISO | 114.4 | -1
Newton TR 345/138 kV l/o Casey-Newton 345 kV | 21595 | NEWTON 3345 KV TR1 | XF | Newton-Casey 345 kV | MISO | 47.8 | 1
Newton_Xfmr_345_138_2_flo_Casey_Newton_345 | 26522 | NEWTON 3345 KV TR2 | XF | Newton-Casey 345 kV | MISO | 39.2 | 1
Norris City N-Crossvill 138kV l/o Newton-Xenia 345kV | 27256 | NORRIS 3138 KV 30439313 | LN | Xenia-Newton (31330323) 345 Line | MISO | 26.1 | 1
Northwest Tap - Purdue 138 kV l/o Westwood - W Lafayette 138 kV | 25944 | 08NW TAP138 KV NWT-PUR | LN | Westwood-08NW_Tap-WLafyett 138 | PJM | 44.2 | 1
Nucor -Whitestown 345 l/o Dresser-SugarCreek 345 | 27184 | NUCOR 345 KV NUC-WHI1 | LN | Dresser-SugarCreek 345 kV | MISO | 301.8 | 1
Nucor-Whitestown 345 kV l/o Rockport-Jefferson 765 kV | 3646 | NUCOR 345 KV NUC-WHI1 | LN | Jefferson-Rockport (JEF-ROC1) 765 Line | MISO | 240.8 | 1
NW Tap - Purdue 138 kV l/o Westwood TippLabs 138 kV | 26489 | 08NW TAP138 KV NWT-PUR | LN | Westwood-Tippencan 138 kV | MISO | 35.3 | 1
NW-tap-Purdue 13820 l/o Dequine-MeadowLake 345kV-line2 | 27058 | 08NW TAP138 KV NWT-PUR | LN | Dequine-Meadow Lake 2 345kV | MISO | 114 | 1
Oglesby 7713 3 TIE A 138 kV l/o Kewanee East-Bureau | 26545 | 7713 138 KV 7713 3 | LN | Bureau - Kewanee Easst 138 kV | PJM | 54.4 | 1
Olive - NewCarisle 138 kV | 25915 | NEWCARLI138 KV NEW-OLI1 | LN | BASE | PJM | 201.5 | -1
Olive 345/138kV TR2P lo Olive-Cook 345kV | 23689 | OLIVE 345 KV 2-P | XF | Olive-Cook 345 kV | PJM | 595 | 1
Palisades-Roosevelt 345 l/o Palisades-Vergennes 345 | 26672 | PALISAD2345 KV PAL-ROO | LN | Palisades-Vergennes 345 kV | MISO | 334.3 | 1
Paradise - BR Tap 161 kV l/o E.BowlingGreen - SummerShade 161 kV | 27076 | BR_TAP 161 KV BRT-PAR | LN | E_BowlingGreen - SummerShade 161 kV | MISO | -40.6 | -1
Paradise - BR_Tap 161 kV l/o Gibson Unit 1 | 27077 | BR_TAP 161 KV BRT-PAR | LN | Gibson Unit 1 | MISO | -37.3 | -1
Paradise-Big River Tap l/o Wilson1 | 2677 | BR_TAP 161 KV BRT-PAR | LN | Wilson Unit 1 | MISO | -52 | -1
Paradise-BR Tap 161kV (flo) Phipps Bend-Volunteer 500kV | 2442 | BR_TAP 161 KV BRT-PAR | LN | Volunteer-PhippB 500 line | MISO | -13.2 | -1
Paxton East-Hoopest 138 l/o Vermilion-Tilton 138 | 21520 | HOOPEST3138 KV HOO-PAXT | LN | Vermilion-Tilton 138 kV | MISO | 51.1 | -1
Pierce_Beckjord138_ckt1889_flo_Pierce_Foster345 | 2530 | BECKJORD138 KV PIE-BEC4 | LN | Pierce-Foster 345 line | PJM | 470.1 | -1
Pleasant Prairie-Zion 345 l/o Pleasant Prairie-Zion EC 345 | 3335 | 22 ZION 345 KV 2221 | LN | Pleasant Prairie-Zion EC 345 | MISO | 436.4 | -1
Pleasant Prairie-Zion EC 345 kV l/o Pleasant Prairie-Zion 345 kV | 3326 | 974 ZION345 KV PLPL41 | LN | Zion-Pleas PR (2221) 345 Line | MISO | 436.6 | -1
Pontiac-Wilton Center 345 kV l/o Dresden-Electric Jct. 345 kV | 501 | 80 PONTI345 KV 8012 1 | LN | Dresden-Electric Jct. 345 kV | PJM | 862.8 | 1
Powerton - Toulon 138 kV l/o Fargo-Sandburg 345 kV | 25425 | 81 TOULO138 KV 0321X | LN | Sandburg-Fargo 345 kV | PJM | 94.4 | -1
Powerton - Towerline 138 kV l/o Fargo - Sandburg 345 kV | 25358 | 3 POWERT138 KV POW-TWRL | LN | Sandburg-Fargo 345 kV | PJM | 176 | 1
Powerton - Towerline 138 kV l/o Hennepin-Kewenee-Streator 138 kV | 25353 | 3 POWERT138 KV POW-TWRL | LN | Kewanee-Streator 6101 138 | PJM | 162.4 | 1
Powerton - Towerline 138 kV l/o Nelson - Electric Junction 15502 345 kV | 26048 | 3 POWERT138 KV POW-TWRL | LN | Nelson-Electric Junction 345kV (15502 line) | PJM | 164.9 | 1
Powerton-Towerline 138 KV for l/o Oak Grove-Sandburg 345 KV | 27235 | 3 POWERT138 KV POW-TWRL | LN | Oak Grove - Sandburg 345 kV | PJM | 142 | 1
Powerton-Towerline 138 kV l/o Nelson-Rock Fall 138 kV | 26195 | 3 POWERT138 KV POW-TWRL | LN | Nelson-Rock Fall 138 kV | PJM | 201.5 | 1
Powerton-Towerline 138 kv l/o Rock Fall-Schauff Road 138 kv | 26678 | 3 POWERT138 KV POW-TWRL | LN | Rock Fall-Schauff Road 138 kv | PJM | 152.2 | 1
Prest Tibb 138 kV l/o Prairie State Mt Vernon 345 kV | 26642 | PRES 138 KV PRE-TIBB | LN | Prairie State-W Mt. Vernon 345 | MISO | 40.4 | 1
Pres-Tibb l/o St-Francis-Lutesville 345kV | 27053 | PRES 138 KV PRE-TIBB | LN | St. Francis-Lutesville 345kV | MISO | 56.4 | 1
Quad Cities - Cordova 0402 345kV l/o Quad Cities - Cordova 0403 345kV | 575 | 4 QUAD C345 KV 0402 | LN | Quad Cities-Cordova 0403 345 kV | MISO | 459.8 | 1
Quad Cities-Cordova 0402 345kV line l/o Quad Cities-H471 0404 345kV | 512 | 4 QUAD C345 KV 0402 | LN | Quad-H471 (0404) 345 Line | MISO | 493.9 | 1
QuadCities-RockCreek 345 kV l/o QuadCities-Sub91 345/161 kV Sub91 XF | 26203 | 4 QUAD C345 KV 0405 | LN | Quad Cities-Sub91 345 + Sub91 345/161 | MISO | 361 | 1
Rantoul Jct-Paxt East 138kV l/o Vermilion-NChampagne 138kV | 21488 | GIFFORD 138 KV GIF-PAX | LN | Vermilion-Champagne 138 | MISO | 67.6 | -1
Rantoul Jct-Paxton East 138 kV l/o Goodland-Morrison + Goodland xfmr 1 | 21518 | GIFFORD 138 KV GIF-PAX | LN | Godlnd-Morrison 138kV + GodLnd 69/138kV XF1 | MISO | 36.7 | -1
Rantoul Jct-Paxton East 138 kV l/o Tilton EC-West Tilton 138 kV | 21512 | GIFFORD 138 KV GIF-PAX | LN | Tiltonec-West Tilt 138 kV | MISO | 65.1 | -1
Rantoul-Paxton 138 l/o Goodland-Reynolds + Goodland xfmr | 21522 | GIFFORD 138 KV GIF-PAX | LN | Godlnd-Reynolds 138kV + GodLnd 69/138kV XF2 | MISO | 48.2 | -1
Reynold-Magneton-138 l/o Westwood-Dequine1-345 | 27068 | MAGNTATN138 KV MAG-REY | LN | Dequine-Westwood 345 kV | MISO | 157.1 | -1
Reynolds 345/138 kV Xfmr1 l/o Meadow Lake - Dequine2 345 kV | 27104 | REYNOLD2345 KV . 1 | XF | Dequine-Meadow Lake 2 345kV | MISO | 84.4 | 1
Rising Xmfr1 l/o Rising Sidney 345kV | 27155 | RISING 345 KV 45TR1 | XF | Sidney-Rising 345 kV | MISO | 159.1 | 1
Rock Creek TR1 345/161 kV l/o Quadcities-SUB91 345 + Sub91 345/161 kV | 26231 | ROCK CRE345 KV TR21 | XF | Quad Cities-Sub91 345 + Sub91 345/161 | MISO | 179 | 1
RockCreek_BeaverChannel_161kV_flo_QuadCity_Sub91_345kV | 25162 | ROCK CRE161 KV 62083620 | LN | Quad Cities-Sub91 345 + Sub91 345/161 | MISO | 87.9 | 1
Ross-Hopw 138 l/o Tilton-WTiliton 138 | 26695 | HOOPEST3138 KV HOO-ROSS | LN | Tiltonec-West Tilt 138 kV | MISO | 39.8 | -1
Rossville - Vermillion 138 kV l/o Sidney - Bunsonvile 345 kV | 26055 | ROSSVILL138 KV ROS-VERM | LN | Bunsonville-Sidney 345 kV | MISO | 54 | 1
Rossville-Vermilion 138kV l/o PaxtonEast - Gifford 138 kV | 21504 | ROSSVILL138 KV ROS-VERM | LN | Paxton - Gifford 138 kV | MISO | 38.5 | 1
Rossvill-Hoopest 138kV l/o Vermilion-NChampagne 138 kV | 21513 | HOOPEST3138 KV HOO-ROSS | LN | Vermilion-Champagne 138 | MISO | 50.8 | -1
Roxana-Praxair 1 138 kV l/o Wilton Center-Dumont 765 kV | 2577 | 17ROXANA138 KV 17R-PRA1 | LN | Dumont-Wilton Center 765kV | MISO | 39.2 | 1
Roxana-Praxair 138 kV l/o Gary Ave-Sheffield 345 kV | 2581 | 17ROXANA138 KV 17R-PRA1 | LN | Sheffield-Gary Ave 345 kV | MISO | 35.9 | 1
Roxana-Praxair 138 kV l/o Inland5-Marktown 138 kV | 2531 | 17ROXANA138 KV 17R-PRA1 | LN | Inland Steel5-Marktown 138 kV | MISO | 28.5 | 1
Roxford_Sioux_345_flo_Baldwin_Rush_Island_345 | 26391 | ROXFORD3345 KV 31651317 | LN | BASE | MISO | 121.7 | 1
Sandburg xfmr 3 l/o Oak Grove - Sandburg 345 kV | 23576 | SANDBRG 161 KV TR3 | XF | Oak Grove - Sandburg 345 kV | MISO | 64.2 | 1
Scott_BunceCreek_220_flo_StClair_Stephens_345 | 26946 | BUNCE 220 KV BUN-SCO1 | LN | St.Clair - Stephens 2 345 kV | MISO | 91.2 | -1
Segreto - Benton Harbor 345 KV l/o Cook-Segreto 345kV | 26435 | BENTONHA345 KV BEN-SEG | LN | Cook-Segreto 345 kV | PJM | 988.6 | -1
Shadeland-Lafayette South 13808 l/o Westwood-NW Tap 13806 | 27030 | LAFAYSOU138 KV LAF-SHA | LN | Westwood-08NW_Tap-WLafyett 138 | MISO | 43.5 | -1
Sheffield_Amoco138kV_13877_flo_Sheffied_Marktown138kV_13878 | 25543 | SHEFFILD138 KV SHE-AMO1 | LN | Sheffield-Marktown 138 | MISO | 10.9 | 1
State Line - Roxana 138kv l/o Sheffield Xfmr 345/138 | 2563 | 7 STATE 138 KV STA-17R1 | LN | Sheffield 345/138 kV transformer | PJM | 495.6 | 1
State Line 345/138 TR82 l/o Blue Island - Burnham 345 kV + Blue Island TR81 | 3288 | 7 STATE 345 KV TR82CT | XF | Blue Island-Burnham 345(RED)+Blue Island TR81 | PJM | 217.6 | 1
State Line -Wolf Lake 138 kV l/o Gary Ave 345/138 kV Xfmr | 2596 | 7 STATE 138 KV STA-17W1 | LN | Gary Ave 345/138 kV | PJM | 150.5 | 1
State Line-Roxana 138 kV l/o Gary Ave-Sheffield 345 kV | 2584 | 7 STATE 138 KV STA-17R1 | LN | Sheffield-Gary Ave 345 kV | PJM | 517.7 | 1
State Line-Roxana 138 l/o Burnham-Sheffield 345 | 2664 | 7 STATE 138 KV STA-17R1 | LN | Burnham-Sheffield 345 | PJM | 503.2 | 1
State Line-Roxanna 138 kV l/o State Line-Wolf Lake 138 kV | 2586 | 7 STATE 138 KV STA-17R1 | LN | State Line-Wolf Lake 138 kV | PJM | 505.8 | 1
State Line-Roxanna 138 kV l/o Wilton Center-Dumont 765 kV | 556 | 7 STATE 138 KV STA-17R1 | LN | Dumont-Wilton Center 765kV | PJM | 510 | 1
State Line-Wolf Lake 138 | 2497 | 7 STATE 138 KV STA-17W1 | LN | BASE | PJM | 102.9 | 1
State Line-Wolf Lake 138 kV l/o Sheffield 345/138 kV xfmr | 3272 | 7 STATE 138 KV STA-17W1 | LN | Sheffield 345/138 kV transformer | PJM | 126.7 | 1
State Line-Wolf Lake 138 l/o Burnham-Munster 345 | 2569 | 7 STATE 138 KV STA-17W1 | LN | Burnham-Munster 345 | PJM | 145.4 | 1
State Line-Wolf Lake 138 l/o Burnham-Sheffield 345 | 3270 | 7 STATE 138 KV STA-17W1 | LN | Burnham-Sheffield 345 | PJM | 132.6 | 1
State Line-Wolf Lake 138 l/o Wilton Center-Dumont 765 | 3271 | 7 STATE 138 KV STA-17W1 | LN | Dumont-Wilton Center 765kV | PJM | 124.1 | 1
Staunton-Gilespie 138 kV l/o Coffeen-Roxford 345 kV | 21639 | STAUNTO3138 KV 32296322 | LN | Coffeen-Roxfd 345 | MISO | 51.5 | 1
Stillwell - LNG 138 kV l/o Olive XF 345/138 | 26700 | STILLWEL138 KV STI-LNG1 | LN | Olive 345/138 transformer | MISO | 80.8 | 1
Stillwell-Dumont 345 kV l/o Wilton Center-Dumont 765 kV | 3431 | DUMONT2 345 KV DUM-STI1 | LN | Dumont-Wilton Center 765kV | PJM | 624.8 | -1
Stillwell-Dumont 345kV l/o Cook-Dumont 765kV | 23781 | DUMONT2 345 KV DUM-STI1 | LN | Cook-Dumont 765 | PJM | 544 | -1
STJOHNS-CRETSTJO CRE-STJO 345 KV l/o Dumont-Greentown 765 kV | 26663 | 945 CRET345 KV CRE-CRET | LN | Dumont-Greentown 765 kV line | PJM | 651.1 | 1
Sugar Creek-Dresser 345 kV l/o Cayuga XF9 | 26560 | DRESSER 345 KV DRE-MIR | LN | Cayuga 2 Transformer 9 | MISO | 278 | -1
SugarCk-Dresser-345 l/o Cayuga-CayugaCT-345 | 27280 | DRESSER 345 KV DRE-MIR | LN | Cayuga2-Cayuga CT 345kV | MISO | 429.1 | -1
SugarCreek-Dresser 345kV l/o Cayuga-BK10 345-230kV | 27249 | DRESSER 345 KV DRE-MIR | LN | Cayuga 345/230 xfmr 10 | MISO | 430.2 | -1
Sullivan-Casey 345 kV l/o Dumont-Greentown 765 kV | 21586 | SULLIVA2345 KV SUL-WCA | LN | Dumont-Greentown 765 kV line | MISO | 247.1 | 1
Sullivan-Casey 345 kV l/o Wilton Center-Dumont 765 kV | 21619 | SULLIVA2345 KV SUL-WCA | LN | Dumont-Wilton Center 765kV | MISO | 247.5 | 1
Sullivan-Petersburg 345 l/o Rockport-Jefferson 765 | 2646 | PETERSB2345 KV PET-SUL | LN | Jefferson-Rockport (JEF-ROC1) 765 Line | MISO | 474.9 | -1
Tanners Creek - Miami Fort 345 kV l/o East Bend-Terminal 345 kV | 26346 | TANNERSC345 KV TAN-MIA1 | LN | E.Bend-Terminal 345 kV line | PJM | 2091 | 1
Tanners Creek - Miami Fort 345 kV l/o Marysville - Sorenson 765 kV | 26272 | TANNERSC345 KV TAN-MIA1 | LN | Marysville-Sorenson 765 kV | PJM | 2096.1 | 1
Tazewell TR2 345/138 kV l/o Tazewell TR1 345/138 kV | 21640 | TAZEWEL2345 KV 967 | XF | Tazewell 345/138 kV T1 | MISO | 102.9 | 1
Tdd Hntr17 - 345/138 kV XF l/o TddHntr-Grvr 345kV and Tdd Hntr16 138/345 kV XF | 26745 | TODDHUNT345 KV 17 | XF | Toddhunter-Garver 345 kV | PJM | 291.6 | 1
Todd Hunter 345/138 15 l/o Todd Hunter 345/138 17 | 3295 | TODDHUNT345 KV 15 | XF | Todd Hunter 345/138 17 | PJM | 331.5 | 1
Todd Hunter 345/138 17 l/o Todd Hunter 345/138 15 | 3299 | TODDHUNT345 KV 17 | XF | Todd Hunter 345/138 15 | PJM | 345.1 | 1
Todd Hunter 345/138 kV TX 15 l/o Garver-Todd Hunter 345kV | 26808 | TODDHUNT345 KV 15 | XF | Toddhunter-Garver 345 kV | PJM | 265.2 | 1
Toddhunter_Trenton138_flo_TannersCreek_Xfmr_AB | 3644 | TODDHUNT138 KV TOD-TRE | LN | Tanners Creek 345/138 kV AB | PJM | 193.8 | 1
Toddhunt-Woodsdale1 4561 345kV l/o Toddhunt-Woodsdale2 4562 345kV | 26803 | TODDHUNT345 KV TOD-WOO1 | LN | Toddhunt-Woodsdale2 4562 345kV | PJM | 1143.3 | 1
Toulon - Powerton 138 kV | 24810 | 81 TOULO138 KV 0321X | LN | BASE | PJM | 135.2 | 1
Toulon Powerton 138kV l/o Kewanee Hennepin Streator 6101 138kV line | 24829 | 81 TOULO138 KV 0321X | LN | Kewanee-Streator 6101 138 | PJM | 153 | 1
Toulon-Powerton 138 kV for l/o Fargo-Sandburg 345 kV | 26513 | 81 TOULO138 KV 0321X | LN | Sandburg-Fargo 345 kV | PJM | 149.6 | 1
Toulon-Powerton 138 kV l/o Nelson-Rock Fall 138 kV | 26194 | 81 TOULO138 KV 0321X | LN | Nelson-Rock Fall 138 kV | PJM | 142.8 | 1
TrailCreek - MichCity 138 kV l/o Bosserman-MichCity 138 kV | 2678 | MICHIGA2138 KV MIC-TRA1 | LN | MichiganCity-Bosserman 138kV | MISO | 19.4 | -1
Turkey Hill Mascouta 138 l/o St Franicois Lutesvil 345 | 27075 | MASCOUT3138 KV LN 2634 | LN | St. Francis-Lutesville 345kV | MISO | 39.9 | -1
Turkey Hill TR 345/138 kV l/o Prairie State-Mt Vernon 345 kV | 21638 | TURKY H3345 KV TX00 | XF | Prairie State-W Mt. Vernon 345 | MISO | 75.9 | 1
Turkey Hill-Mascouta 138 kV l/o Prairie State-Mt Vernon 345 kV | 26732 | MASCOUT3138 KV LN 2634 | LN | Prairie State-W Mt. Vernon 345 | MISO | 28.9 | -1
TurkeyRiver-Stoneman161 l/o Nelson-ElectricJct345B-15502 | 26986 | STONEMAN161 KV STO-TRKR | LN | Nelson-Electric Junction 345kV (15502 line) | MISO | 77.9 | -1
Twin Branch-Argenta 345 kV l/o Benton Harbor-Segreto 345 kV | 2381 | ARGENTA2345 KV ANG-DUM | LN | Benton Harbor-Segreto 345 line | PJM | 811.8 | -1
Twin Branch-Argenta 345 kV l/o Cook-Segreto 345 + Cook-Benton Harbor 345 | 2349 | ARGENTA2345 KV ANG-DUM | LN | Cook-Segreto 345 kV + Cook-Benton Harbor 345 kV | PJM | 872.1 | -1
Twin Branch-Argenta 345 kV l/o Cook-Segreto 345 kV | 2340 | ARGENTA2345 KV ANG-DUM | LN | Cook-Segreto 345 kV | PJM | 810.9 | -1
Twin Branch-Argenta 345 kV l/o Cook-Segreto 345kV+BentonHarbor-Segreto 345kV | 2343 | ARGENTA2345 KV ANG-DUM | LN | Cook-Segreto 345kV+Benton Harbor-Segreto 345kV | PJM | 887.4 | -1
Twin Branch-Argenta 345 l/o Cook-Benton Harbor 345 | 2951 | ARGENTA2345 KV ANG-DUM | LN | Benton Harbor-Cook 345 kV | PJM | 809.2 | -1
TWRL - POWERTO1 BASE FLOW | 25703 | 3 POWERT138 KV POW-TWRL | LN | BASE | PJM | 180.2 | 1
Vermilion-Nchampgn 138 kV l/o Tiltonec-West Tilt 138 kV | 21478 | NCHAMPGN138 KV NCH-VERM | LN | Tiltonec-West Tilt 138 kV | MISO | 63.7 | -1
Vermilion-Nchampgn 138kV l/o Brokaw-Cornbelt 138kV + Gibson-Cornbelt 138kV | 21514 | NCHAMPGN138 KV NCH-VERM | LN | Brokaw-Cornbelt 138kV + Gibson-Cornbelt 138kV | MISO | 46.9 | -1
Vermilion-NChampgn 138kV l/o Hoopest-Rossvill 138kV | 21498 | NCHAMPGN138 KV NCH-VERM | LN | Hoopest-Rossvill 138kV | MISO | 46.8 | -1
Vermilion-Nchampgn 138kV l/o Paxton-Paxton East + Paxton-Gibson | 21517 | NCHAMPGN138 KV NCH-VERM | LN | Paxton East-Paxton-Gibson 138 kV | MISO | 52.1 | -1
Vermilion-NChampgn 138kV l/o Vermilion-Tilton 138kV | 21470 | NCHAMPGN138 KV NCH-VERM | LN | Vermilion-Tilton 138 kV | MISO | 47.1 | -1
Vermilion-Tilton 138 kV l/o Bunsonville-Sidney 345 kV | 21476 | TILTN EC138 KV TIL-VERM | LN | Bunsonville-Sidney 345 kV | MISO | 72.2 | -1
Wash St 3-Raab Rd3 138 kv l/o Clinton Unit 1 | 6534 | MCLEAN 138 KV MCL-WASH | LN | Clinton Unit 1 | MISO | 81.5 | 1
Waukegan-Zion 138kV l/o Zion-Arcadian 345kV | 536 | 16 WAUKE138 KV 1609 | LN | Zion-Arcadian (2222) 345 Line | PJM | 80.8 | 1
Wempletown 345/138kV 84 xfmr l/o Byron-Cherry Valley 0621 345kV line | 3296 | 171 WEMP345 KV TR84CT-P | XF | Byron-Cherry Valley Blue (0621) 345 Line | PJM | 340 | 1
Westwood 345/138 BK1 l/o Westwood 345/138 BK2 | 2300 | WESTWOOD345 KV 1 | XF | Westwood 345/138 XF2 | PJM | 216.8 | 1
Westwood 345-138 BK1 l/o Meadowlk -Dequine 345-2 | 27065 | WESTWOOD345 KV 1 | XF | Dequine-Meadow Lake 2 345kV | MISO | 206.3 | 1
Westwood 345-138 -BK1 l/o Sorenson-Marysvil-765 | 27067 | WESTWOOD345 KV 1 | XF | Marysville-Sorenson 765 kV | MISO | 137.9 | 1
WestWood 345-138-xfmr-1 | 27064 | WESTWOOD345 KV 1 | XF | BASE | MISO | 137 | 1
Westwood_NWTap13806_flo_Dequine_Eugene345kV | 26301 | 08NW TAP138 KV NWT-WES | LN | Eugene-Dequine 345 kV | PJM | 102 | -1
Whitestown-Guion 345 l/o Petersburg xfmr E | 21524 | WHITESTO345 KV WHI-GUI1 | LN | Petersburg 345/138/34 kV xfmr E | MISO | 195.2 | 1
Wilton Center TR93 345/765 kV | 563 | 112 WILT765 KV TR93CT-P | XF | BASE | PJM | 538.9 | 1
Wilton Center TR94 345/765 kV | 562 | 112 WILT765 KV TR94CT-P | XF | BASE | PJM | 543.2 | 1
Zion-Libertyvlle 15423 l/o Libertyvlle-Prospect Heights 15424+Libertyvlle T83 | 591 | 154 LIBE345 KV 15423 | LN | Libertyville-Prospect Heights and Libertyville TR8 | PJM | 691.9 | -1
Zion-Waukegan 2218 345kv l/o Zion-Waukegan 2219 345kv | 586 | 16 WAUKE345 KV L2218 | LN | Zion-Waukegan 2219 345 kV | PJM | 985.2 | -1