## Included Contingencies
Contingencies modeled in 2024/2025 planning period
Contingency Description | Contingency ID
05CORNU 765kV-05HANGR 765kV | 20012182
11 FISK TR75 (SERIES DEV) | 10026270
112 Wilton Center-23 Collins 765 kV | 20002450
115/35.NorthMeshoppen.TR2 | 10100009
115/69.Face Rock.1&2 | 10066590
116 Good-98 Nevad L9806 345kV | 20012211
138.Cheswick-Logans Ferry.Z-52 | 10040530
138/115.Altavista.T3 | 10089560
138/115.Altavista.T4 | 10089570
138/115.Edinburg.TX4 | 10067720
138/23.England.TXB | 10101001
138/69.BigSandy.T5 & L69.BigSandy-Burnaugh | 10075900
138/69.Cheswold.AT1 | 10001480
138/69.Dravosburg.T1 | 10040840
138/69.Easton.AT1 | 10001490
138/69.Gavin.T1 | 10095050
138/69.Hartford.T1 | 10081730
138/69.Haviland.T4 (Sctnlz) | 10102125
138/69.Lewis.T2 | 10000840
138/69.Lowellsville.TB8 | 10053760
138/69.MiamiFort.T17 | 10060000
138/69.MoorePark.T1 | 10089920
138/69.OceanBay.AT1 | 10063020
138/69.Renaker.T1813 | 10070730
138/69.Tidd.T12 | 10019750
138/69.Vienna.AT1 | 10001580
138/69.Vienna.AT2 | 10001590
138/69/34.Bellefonte.T2 | 10095010
138/69/34.DeerCreek.T1 | 10085960
138/69/34.Mottville.TX5 | 10038110
138L11103 Electric Jct-Aurora 138 kV Line | 10027850
138L13803 State Line-Wolf Lake 138 kV Line | 10028400
138L15509 Nelson-Rock Fall 138 kV Line | 10028640
138L5105 GF McCook-Ridgeland 138 kV SPOG 2-25 | 10027240
138L7413 Kewanee-Crescent Ridge 138 kV Line | 10027480
155 Nelson-H471 (15504) 345 kV | 20002490
155Nelson-15518-133RockFall 15518 138 kV | 20012143
156 Cherry Valley TR82 XFMR | 20009600
161/69.LaurelCo.T188 | 10068260
177Burnham-150Calumet-153Taylor 345kV | 20012191
230/115.Farmville.TX4 | 10101450
230/115.Hathaway.TX1 | 10092910
230/115.Hathaway.TX2 | 10098637
230/115.Hayes.TX3 | 10065880
230/115.Hunterstown.TR2 | 10086600
230/115.Lewistown.T3 | 10009850
230/115.MiddletownJct.T5 | 10009740
230/115.NorthEast.230-3 | 10085710
230/115.Riverside.230-1 | 10008760
230/115.Riverside.230-2 | 10008780
230/115.SedgeHill.TX2 | 10087070
230/115.Seward.9TX+T11 | 10005790
230/115.Yorkana.T3 | 10051030
230/13.Foulk.2TR | 10011370
230/138.Bergen.T220-4 | 10074440
230/138.CedarCreek.AT20 | 10001000
230/138.Chichester.9A/B | 10004030
230/138.Edgemoor.AT20 | 10004930
230/138.Emilie.7TR | 10005100
230/138.IndianRiver.AT21 | 10005650
230/138.Keeney.AT20 | 10005830
230/138.Lafayette.T4(Cinergy) | 10101576
230/138.Milford.AT20 | 10001010
230/138.PineyGrove.AT20 | 10001910
230/138.Siegfried.4 | 10057410
230/138.Siegfried.5 | 10057420
230/138.Vienna.AT20 | 10001020
230/26.Sewaren.T220-3 | 10071640
230/35.Aqueduct.T1 | 10013450
230/66.Mountain.T1 (Sctnlz) | 10062550
230/66.Mountain.T2 (Sctnlz) | 10062540
230/69.Benning.T8 | 10051210
230/69.Cartanza.AT2 + L69.Cartanza-NorthSt.2 | 10063410
230/69.Churchtown.T1 | 10000810
230/69.Copperstone.T2 | 10077570
230/69.Harwood.T5 | 10065080
230/69.Harwood.T6 | 10057290
230/69.Lackawanna.T1 (Sctnlz F) | 10057510
230/69.Lackawanna.T2 (Sctnlz F) | 10057520
230/69.Mickleton.T1 | 10008440
230/69.Mountain.T3(UGI) | 10007720
230/69.QuinceOrchard.T1 | 10044560
230/69.Schuylkill.7TR | 10012460
230/69.SouthLebanon.T1 | 10094540
230/69.WestShore.TRAN3 | 10100447
345/138.12 Dresden.TR83 | 10025730
345/138.155Nelson.TR81 | 10044610
345/138.155Nelson.TR82 | 10025960
345/138.155Nelson.TR84 | 10025970
345/138.156CherryValley.TR81 | 10025580
345/138.156CherryValley.TR82 | 10025590
345/138.156CherryValley.TR83 | 10025600
345/138.16Waukegan.TR83 | 10072400
345/138.171Wempletown.TR84 | 10026240
345/138.1Lasalle.TR81 R | 10025880
345/138.AllenIM.T1 | 10090760
345/138.Amos.T7 | 10022030
345/138.Ashtabula.TR4 | 10043470
345/138.Bayshore.T1 | 10030340
345/138.Beatty.3 | 10021950
345/138.Buffington.45 | 10060030
345/138.Buffington.46 | 10060040
345/138.CLoverdale.T3 | 10022060
345/138.Carson.T1 | 10087410
345/138.Collier.T1 | 10029600
345/138.Collier.T2 | 10029610
345/138.Collier.T3 | 10065040
345/138.Crescent.T1 | 10029570
345/138.Desoto.T1 | 10043990
345/138.Desoto.T2 | 10099858
345/138.EastLima.T1 | 10044670
345/138.EastLima.T2(Sctnlz) | 10044000
345/138.Eastlake.TR62 | 10052570
345/138.FallCreek.XF2 | 10071390
345/138.FostoriaCentral.T1 | 10072000
345/138.Galion.T4 | 10030440
345/138.Greene.BK-N | 10022210
345/138.Greene.BK-S | 10022220
345/138.Holloway.TR1 | 10085390
345/138.Hoytdale.T2 | 10030500
345/138.Inland.4 | 10030520
345/138.JacksonRoad.T5 | 10043860
345/138.Juniper.T2&T3 | 10030530
345/138.Juniper.T6 | 10030550
345/138.Kammer.T301 | 10073080
345/138.KanawhaRiver.A | 10076780
345/138.KanawhaRiver.B | 10044230
345/138.KenzieCreek.T1 | 10043910
345/138.MiamiFort.T10 | 10098278
345/138.MiamiFort.T9 | 10098277
345/138.MuskingumRiver.D | 10077870
345/138.MuskingumRiver.E | 10045450
345/138.OhioCentral.T1 | 10044290
345/138.Olive.T2 | 10044070
345/138.PortUnion.T19 | 10059860
345/138.RobisonPark.T5 | 10044320
345/138.Sheffield.T2 (NIPS) | 10041250
345/138.Shenango.T1 | 10030590
345/138.Shenango.T2 | 10030600
345/138.SouthCanton.T1 | 10045460
345/138.SouthMahwah.BK258 | 10077520
345/138.SouthWestLima.T1 | 10022010
345/138.SouthWestLima.T2 | 10022000
345/138.Stillwell.T1 (NIPS) | 10041060
345/138.TannersCreek.T5 | 10071410
345/138.Terminal.BK11 | 10059760
345/138.Todhunter.T15 | 10059930
345/138.Todhunter.T16 | 10059940
345/138.Todhunter.T17 | 10059950
345/138.Toronto.T1 | 10077480
345/138.Toronto.T2 | 10077490
345/138.Twinbranch.6 & 7 | 10044630
345/138.Vassell.T3 | 10077890
345/138.WestBellaire.T3 | 10044280
345/138.WestMilton.BK-W | 10101127
345/138.Westwood.XTR2 | 10020720
345/230.Cayuga.TX10 | 10066650
345/230.HomerCity.AT-S | 10005550
345/230.HomerCity.TR4_N | 10005520
345/230.Linden.345-1 | 10092790
345/230.PierceBrook.TR1 | 10086020
345/230.Waldwick.345-2 | 10061740
345L10807 Lockport-Lombard 345 kV Line | 10024730
345L11124 Electric Jct-Lombard 345 kV Line | 10024770
345L2310 Collins-Kendall 345 kV Line | 10024460
4NBURBN 2 138Kv-4ST FRANC 2 138Kv Ckt 1 | 20012188
500/138.502Junction.T1 | 10070470
500/138.Bedington.T4 + 500.Cap.2&3 (Sctnlz) | 10013610
500/138.Belmont.T1&T2 (Sctnlz F) | 10013730
500/138.BlackOak.T3 + BlackOak.SVC + BlackOak.Caps | 10013950
500/138.Cranberry.T2 | 10064020
500/138.Pruntytown.T1 & T2 (Sctnlz F) | 10016250
500/138.Pruntytown.T3 & T4 (Sctnlz F) | 10016280
500/138.Wescosville.T3 | 10002020
500/138.Yukon.TR5 | 10100577
500/138.Yukon.TR7 | 10100983
500/161.Sullivan XF #3 (TVA) | 10042920
500/161.Sullivan.T4 (TVA) | 10042930
500/230.Brambleton.TX1 (Sctnlz) | 10093730
500/230.Brambleton.TX2 (Sctnlz) | 10093740
500/230.Brighton.T1 | 10002070
500/230.Carson.TX2 (Sctnlz F) | 10050420
500/230.Carson.TX2 (Sctnlz) | 10066050
500/230.ChalkPoint.T5 | 10009120
500/230.ChalkPoint.T6 | 10009130
500/230.Clover.T8 | 10066540
500/230.Conastone.500-2 | 10003500
500/230.Conastone.500-4 | 10003520
500/230.Conemaugh.TX3 | 10100279
500/230.Doubs.T2&T4 (Sctnlz F) | 10014760
500/230.Elmont.TX1 (Sctnlz F) | 10032300
500/230.Elmont.TX1 (Sctnlz) | 10043280
500/230.Elmont.TX2 (Sctnlz F) | 10061840
500/230.Fentress.TX3 | 10043300
500/230.Hunterstown.T1 | 10002060
500/230.Juniata.T1 | 10084270
500/230.Juniata.T2 | 10003470
500/230.Keeney.AT50 | 10003540
500/230.Keystone.T4 | 10005870
500/230.Lackawanna.T4 | 10074750
500/230.Ladysmith.T2 | 10101356
500/230.Lauschtown.T3 | 10088900
500/230.OX.TX1 (Sctnlz F) | 10034550
500/230.Orchard.T1 | 10044800
500/230.PleasantView.T3 | 10043380
500/230.RedLion.AT50 | 10009470
500/230.RedLion.AT51 | 10009480
500/230.Roseland.TR2 | 10072450
500/230.SteelCity.T1 (Sctnlz) | 10057460
500/230.Sunbury.T24 | 10078770
500/230.Susquehanna.T21 | 10057470
500/230.TMI.T1 | 10003530
500/230.WaughChapel.500-1 | 10008240
500/230.WaughChapel.500-3 | 10050270
500/230.WaughChapel.500-4 | 10048470
500/230.Whitpain.3TR | 10059170
500/345.Cloverdale.T15 | 10087590
500/345.Cloverdale.T16 | 10087600
500/35.Mt.Storm.RSS6AndGT1 | 10071100
765/138.Amos.T6 | 10051280
765/138.Broadford.T5 | 10101537
765/138.JacksonsFerry.T2 | 10021800
765/138.JacksonsFerry.XF3 | 10085290
765/138.JoshuaFalls.1 | 10021770
765/138.NorthProctorville.T2 | 10089210
765/345.112Wilton.TR93 | 10026250
765/345.Amos.T5 | 10021960
765/345.Baker.T100 | 10021820
765/345.Baker.T300 | 10087020
765/345.Cloverdale.T17 | 10021780
765/345.Dumont.T3 | 10098013
765/345.Marysville.T2 | 10076930
765/345.Vassell.T1 | 10076590
765/345.Wilton.TR94 | 10026260
765/500.Belmont.T5 (Sctnlz) | 10044030
765/500.Cloverdale.T14 | 10087580
80 Ponti-92 Mclea (8001) 345kV | 20012224
Allen Jct-Morocco 345 kV | 20009790
Amoco - Marktown 138 kV | 20012229
Arcadian-Granvil 345 | 20012152
Argenta - WeedLake 345 kV | 20012097
Argenta-Battle Creek 345 kV | 20012092
BALSAM 138 138 /SPRG VAL 138 | 20012174
BRADFORD-LENAPE 230 LINE | 10005980
Barkley-Princeton 161 kV | 20002020
Batesville - Ghent 345 kV | 20012244
Bayshore 345/138kV TX1 | 20009210
Benton Harbor-Cook 345 kV | 20001540
Benton Harbor-Segreto 345 line | 20000480
Braidwood-E. Frankfort 2001 345 kV | 20004410
Broadford - Sullivan 500 kV | 20001380
Bull Run-Volunteer 500 kV | 20010770
Bureau - Kewanee East 138 kV | 20012106
Burnham-Munster 345 | 20002650
Burnham-Sheffield 345 | 20000660
Burr Oak 345kV- Reynolds 2 345Kv | 20012193
Byron - Lee 0627 345kv line | 20004870
Byron - Wayne 345 kV | 20011500
Byron-Cherry Valley Blue (0621) 345 Line | 20000130
Byron-Cherry Valley Red (0622) 345 Line | 20000120
Byron-Wempletown 345 (0624 line) | 20000140
CMDR 345/230kV XF | 20012166
Carlisle (FE) 345/138 kV Transformer | 10030370
Caysub-Eugene 345kV | 20001880
Cayuga 345/230 xfmr 10 | 20003740
Cayuga 345/230kV XF9 | 20012250
Cayuga2-Cayuga CT 345kV | 20010020
Cayuga2-Cayuga3 345 kV | 20012236
Cherry Valley-Silver Lake 345kV (15616 line) | 20000230
Cherry Valley-Wempletown 345 | 20007970
CherryValley 15622-Sabrooke 15622 | 20012200
Clinton (DUQ) 345/138 KV TRANSFORMER | 10029620
Cloverdale-Jacksons Ferry 765kV | 20002420
Coffeen-Roxfd 345 | 20000700
College Corner-Trenton-Hutching 138 kV | 20012129
Conemaugh-Vinco 500kV | 20001950
Cook-Dumont 765 | 20009130
Cook-Segreto 345 kV | 20000470
Corbin - CrescentRidge 138 kV | 20012248
Corbin - Rutland 138 kV | 20012241
Corbin-Hennepin 1516 138kV | 20012223
Cordova-Nelson (15503) 345 Line | 20000170
Cordova-Sub 39(39-QC-1)345 Line | 20000270
Culloden - Wyoming 765 | 20001340
DTX138.LumsPond.T1 | 10100736
DTX138.Torrey.T2 | 10098211
Dearborn-Tanners Creek 345 kV ckt 1 | 20002070
Dresden - Mulberry 345kV 1202 | 20012231
Dresden-Electric Jct. 345 kV | 20002280
Dresden-Pontiac 345 kV | 20002710
Dresser-SugarCreek 345 kV | 20012053
Dumont - Sorenson 765 kV | 20011320
Dumont-Greentown 765 kV line | 20001640
Dumont-Stillwell 345 kV | 20002700
Dumont-Wilton Center 765kV | 20000080
E. Frankfort-Crete 345 kV | 20004380
E. Frankfort-University Park North 345 | 20000580
E.Bend-Terminal 345 kV line | 20001580
ENONTP 345-ENON 345 1-BELLEAU 345-MONTGMRY 345 1 | 20012168
Eddystone-Printz 230 kV line | 10011850
Electric Junction-Lombard 345 kV | 20010620
Eugene-Bunsonville 345 | 20008620
Eugene-Dequine 345 kV | 20012114
FG.345/138.155Nelson.TR81 | 20002740
FG.345/138.155Nelson.TR82 | 20001920
Faraday-Arlond 345 kV | 20011870
FostoriaCentral - Lallendorf 345 kV | 20011988
Gary Ave 345/138 kV | 20004080
Gibson-AB Brown 345 kV | 20011180
Gibson-Francisco 345 | 20005110
Gibson-Merom 345kV | 20010030
Goose Creek-Rising 345 kV | 20009900
Grahamville - Joppa_N3 854 161kV | 20012213
Greensville - Rogers Road 500 kV + Greensville CC | 20012040
Greentown-Delco 138 kV | 20012144
Hatfield-Black Oak 500 kV + Black Oak TR3 | 20002940
Hennepin-Ltvsteel-Woodhall 138 kV | 20010630
Hennepin-Putnam 138 kV | 20012155
Heritage-Rawlings 500 kV | 20011610
Heritage-Wake 500 kV | 20001790
Hoytdale-Mansfield 345 kV | 20002770
Hugh - Zachary 345 kV | 20012245
Hunterstown-Conastone 500 kV | 20003280
Hunterstown-Lincoln (962) 115 kV line | 10009680
Hunterstown-TexasEastern-Gardners (991) 115 kV lin | 10009660
Inland Steel5-Marktown 138 kV | 20003880
Jefferson-Greentown 765 line | 20000990
Jefferson-Hanging Rock 765 kV line | 20001660
Jefferson-Rockport (JEF-ROC1) 765 Line | 20000360
Joppa - Shawnee 4 161 kV | 20012150
Kansas - Sugar Creek 345 kV | 20012225
Kendall-Lockport 345 kV | 20003450
Kewanee - Putnam 138 kV | 20012249
Kickapoo Crk-Lasalle 138 | 20006370
Kincaid-Austin 345kV | 20002030
Kokomo Highland Park - New London 230 | 20011140
Kokomohighlandpark - Delco 138 kV | 20012011
L115.Altavista-Skimmer.30 | 10034010
L115.Burma-Piney + 138/115.Burma.T1 | 10009210
L115.Cambria-Summit | 10046940
L115.Center-Erdman.110556 | 10003980
L115.Claysmil-SedgeHill.33 | 10102037
L115.EastSayre-EastTowanda.1056 | 10004870
L115.EastTowanda-NorthMeshoppen.1057 | 10010990
L115.Eclipse-Piney.1038 | 10016910
L115.Edgewood.Shelocta.1036 (Sctnlz) | 10101389
L115.ErieWest-FairviewEast | 10017130
L115.FarmersValley-PierceBrook | 10086070
L115.ForkUnion-Bremo.1030 | 10072200
L115.Glory-Garman.992 | 10009980
L115.Glory-Seward | 10017160
L115.Henderson-Kerrdam.45 | 10034080
L115.Hunterstown-Oxford (Sctnlz) | 10101425
L115.JohnsTown-HillTop | 10016940
L115.Mainesburg-Mansfield | 10079620
L115.MiddletownJct-Collins.975 (Sctnlz) | 10062670
L115.Orchards-Westport.110586 | 10074780
L115.Pecan-Carolina.1010 | 10099548
L115.Plywood-SedgeHill.151 | 10089720
L115.Ridgeway-Whetstone | 10009920
L115.Rockwood-Somerset | 10017270
L115.RoundTop-Newberry.975 (Sctnlz) | 10051110
L115.Summit-Thirty First St. | 10010010
L115.Thirty First St.-Westfall | 10057090
L138.133RockFall-187SchauffRoad.18702 | 10100133
L138.155Nelson-15518-133RockFall.15518 | 10028660
L138.Abingdon-ClinchRiver | 10035980
L138.Aladdin-Strawton | 10101614
L138.AllenIM-Logtown | 10090030
L138.Amos-Curry-Milton | 10035900
L138.Athenia-KullerRoad.J-1362 | 10004550
L138.Auburn-Varner | 10100459
L138.Beatty-McComb | 10021440
L138.Bedington-Opequon | 10013650
L138.Bergen-EastRutherford.R-1344 | 10004860
L138.BigSandy-Inez | 10036360
L138.Bixby-LSII | 10036700
L138.BluffPoint-Randolph | 10089630
L138.Bosserman-Shoreline | 10082900
L138.Broadford-Keywood-WolfHill | 10047480
L138.Broadford-Saltville.1 | 10038410
L138.Broadford-Saltville.2 | 10038390
L138.Brunot Island-Collier.Z-41 | 10040450
L138.Butler-KarnsCity | 10014170
L138.BuzzardPoint-10th Street.13862 | 10018060
L138.BuzzardPoint-Southwest.13841 | 10018030
L138.Chadwick-Tristate.1 | 10038570
L138.Charleroi-Yukon | 10014510
L138.CherryValley-15622-Sabrooke.15622 | 10028680
L138.Cheswick-LogansFerry.Z-53 | 10040500
L138.Cheswold-Felton.13704 | 10001240
L138.Church-Pondtown.13735 | 10101971
L138.Cloverdale-Catawba | 10097240
L138.Cloverdale-LakeForest-Ivyhill-Coffee-Reusens | 10036090
L138.Conaway-IndianRiver.13766 | 10048620
L138.Corbin-CrescentRidge.98105 | 10027490
L138.Corbin-Hennepin.1516 (IP/MISO) | 10102146
L138.Corey-Mottville | 10087770
L138.Corridor-Genoa | 10037100
L138.Crescent-North.Z-21 | 10040610
L138.Crossland-Duferco | 10060850
L138.Cumberland-Sherman.1415 | 10000690
L138.Davidson-BethelRoad | 10092450
L138.Dravosburg-Wilson.Z-72 | 10073890
L138.EastLeipsic-Richland | 10054750
L138.EastLima-Haviland | 10037610
L138.Ebersole-FostoriaCentral.1 | 10077300
L138.Ebersole-FostoriaCentral.2 | 10077280
L138.Emilie-Falls + 138/35.Falls.T1 | 10005210
L138.Emilie-Neshaminy.130-25 | 10006720
L138.England-Scull-Mill.1407 | 10000580
L138.Fairlawn-KullerRoad.L-1364 | 10004540
L138.Fawkes-FawkesLG (Tie) | 10086500
L138.Fawkes-WestBerea.+ 138/69.WestBerea.T187 | 10067150
L138.Gavin-FireBrick | 10021600
L138.Gavin-Sporn.2 | 10021590
L138.GlenLyn-Hinton | 10036280
L138.GrandPoint-Guilford | 10015390
L138.Greentown-Delco | 10062460
L138.Greentown-Grant | 10037380
L138.Groton-Hayes | 10099008
L138.Heath-WestMillersport | 10072570
L138.Highland-Hillsboro | 10082700
L138.Hutching-Crown + 138/69.Crown.T7 | 10030780
L138.JacksonsFerry-Huffman | 10038190
L138.Jefferson-Fisk.4523 | 10027120
L138.Johnson-LakeAvenue.1 | 10081860
L138.Johnson-LakeAvenue.2 | 10081870
L138.Kammer-Natrium | 10020970
L138.Keemin(MISO/Ameren)-Kewanee.7411 | 10027470
L138.Keemin-18706-187SchauffRoad.18706 | 10087480
L138.KenzieCreek-Colby-Valley | 10038130
L138.Kewanee-Putnam | 10102662
L138.KewaneeEast-Bureau (Ameren) | 10070150
L138.KingsCreek-Loretto.13713 | 10001270
L138.Kittanning-AllDam6 | 10013370
L138.Lincoln-Union | 10043430
L138.Loretto-PineyGrove.13777 | 10001250
L138.Loretto-Vienna.13780 | 10001260
L138.Lowellville-Lincoln Park | 10053750
L138.LumsPond-Reybold.13841 | 10043580
L138.Meadowbrook-Bartonville | 10045100
L138.MiamiFort-Morgan | 10059490
L138.Muskingum-SouthCaldwell.1 | 10090420
L138.Nagel-WestKingsport | 10035870
L138.NewChurch-PineyGrove.13764 | 10001140
L138.OakPark-KelsoGap (Sctnlz) | 10100197
L138.OhioCentral-Powelson | 10079140
L138.Olive-RickermanRd | 10038000
L138.OpossumCreek-SLynchbu | 10093600
L138.Ottawa-WestFremont.2 | 10054140
L138.PaxtonEast-Gifford | 10099962
L138.Powerton-Toulon.0321 | 10050950
L138.Powerton-TowerLine.L1404 Tie Line | 10026780
L138.RedBank-Oakley | 10059410
L138.Redeye-SmithMou | 10100468
L138.Reid-Antrim (Sctnlz) | 10100199
L138.Richland-Wauseon | 10053960
L138.Riverside-MainStreet | 10038160
L138.Roberts-WestCampus | 10063210
L138.Rochelle-Terminal | 10060670
L138.Sammis-Hagan | 10054830
L138.Sawmill-Brookside | 10021300
L138.Selmapar-Richmond | 10037300
L138.SouthBend-TwinBranch | 10038060
L138.SouthwestLima-WestLima | 10037510
L138.Springboro-Monticello | 10099970
L138.Springdale-All4Jct-All4Tap-All6-Brackenridge | 10069690
L138.Springdale-MurryCrest (Sctnlz) | 10100250
L138.Springdale-ShaffersCorner | 10064920
L138.Spurlock-Mysvl-Plumville | 10067370
L138.SteelTap-Falls + 138/35.Falls.T2 | 10005220
L138.Steele-Easton.13712 | 10101840
L138.Steele-Hillsboro-WyeMills.13761/13788 | 10001130
L138.Stinger-ValleyIM | 10089050
L138.Studebaker-EastSide | 10037950
L138.SulphurCity-ParrRun | 10101244
L138.Turner-Chemical | 10071990
L138.Twinbranch-Concord | 10071040
L138.Waukegan-1607-RoundLake-Gurnee-Antioch.1607 | 10026830
L138.Waverly-WareRoad | 10038750
L138.Wayne-WestChicago.14405 (SPOG 3-30) | 10028510
L138.WestRaver-Yukon (Sctnlz) | 10100294
L138.Westwood-08NW_Tap-WLafyett | 10092020
L138.Westwood-Tippecanoe | 10070930
L138.Wilson-Mitchell.Z-11 | 10073170
L138.YoungWood-Yukon | 10016680
L138/69.Fremont.T1 + 69.Fremont.Bus | 10100340
L161.Cooper-Elihu | 10067050
L161.LaurelCo-LaurelDam | 10067280
L161.SummerShade(EKPC)-SummerShade(TVA) | 10070330
L230.Aldene-SpringfieldRoad.G-2285 | 10006000
L230.Altoona-BearRock | 10004430
L230.Athenia-Belleville.Z-2226 | 10004520
L230.Beaumeade-Nivo.2116 | 10074040
L230.Belmont-Stonewater.2178A | 10100005
L230.Bergen-Leonia.K-2289 | 10044840
L230.Bergen-Saddlebrook.C-2334 | 10087190
L230.Bergenfield-Leonia.P-2294 | 10069570
L230.Berks-SouthLebanon.1074 | 10007500
L230.Brambleton-Belmont.201 | 10034850
L230.Brambleton-PolandRoad.2183 | 10098293
L230.BrandonShores-Wagner.2346 | 10004760
L230.BrandonShores-Wagner.2347 | 10004770
L230.BrandonShores-WaughChapel.2343 | 10009320
L230.Bremo-Cartersville-Powhatan-Midlothian.2027 | 10031590
L230.Bremo-ForkUnion.2193 | 10100241
L230.Bridgeport-Mickleton.2315 | 10004730
L230.BurchesHill-PalmersCorner.23091 | 10006960
L230.CabinRun-YardleyRidge.2213 | 10096830
L230.Camden-Richmond.C-220-29 | 10007350
L230.Carolina-Lakeview.2141 | 10032880
L230.Carson-ClubHouse.238 (Sctnlz) | 10066040
L230.Carson-Poe.2002 (Sctnlz) | 10066060
L230.Cartanza-Milford.23033 | 10040860
L230.Cartanza-SilverRun.23032 | 10100375
L230.Cedar-OysterCreek | 10007510
L230.CedarCreek-SilverRun.23030 | 10100378
L230.CedarGrove-CedarSub-Roseland.Y-2277 | 10004080
L230.CedarGrove-CedarSub-William.F-2206 | 10009070
L230.CedarGrove-Clifton-Athenia.K-2263 | 10063520
L230.CedarGrove-JacksonRoad.S-2350 | 10009560
L230.Chesterfield-Basin.259 | 10033230
L230.Chesterfield-Chickahomny.287 | 10033430
L230.Chesterfield-Hopewell.211 | 10032850
L230.Chesterfield-Hopewell.228 | 10032990
L230.Chesterfield-Southwest.208 | 10032810
L230.Chichester-Eddystone.220-36 | 10004910
L230.Chichester-Foulk.220-04 | 10004140
L230.Chichester-Trainer.220-53 | 10007940
L230.Chinquapin-Everetts.2160 | 10033000
L230.Chuckatuck-Surry.290 | 10033450
L230.Claymont-Edgemoor.23015 | 10004920
L230.Clifton-Pender.2051 | 10034800
L230.Clinton-Saegers | 10077720
L230.Clover-Briery-Farmville.235 | 10033040
L230.Clover-SedgeHill.2068 | 10087040
L230.ClubHouse-DryBread.2201A | 10100552
L230.ColonialTrail-Surry.212 | 10100108
L230.Columbia-Montour | 10004120
L230.Conastone-Graceton.2323 | 10005350
L230.Conastone-Graceton.2324 | 10088870
L230.Conastone-Northwest.2310 | 10006860
L230.Conastone-Northwest.2322 | 10006870
L230.Conemaugh-Seward | 10072100
L230.Conowingo-Colora.220-88 | 10041420
L230.Conowingo-Nottingham-220-03 | 10008870
L230.CoolSprings-Milford.23069 | 10050900
L230.Crest-Colora.22704 | 10097020
L230.Croydon-Burlington.D-220-30 | 10008900
L230.Cumberland-Juniata + 230/69.Cumberland.T2 | 10009110
L230.Cumberland-Orchard.2314 | 10044910
L230.CuthbertBlvd-Gloucester.C-2308 | 10004260
L230.Dauphin-Juniata.1087 + 230/69.Dauphin.T2 | 10004280
L230.DickersonH-Dickerson.23103 | 10009330
L230.DickersonH-Dickerson.23104 | 10009340
L230.Dooms-Charlottesville.233 | 10033020
L230.Dranesville-Reston.2062 | 10031880
L230.ETowanda-Hillside.2002 [NYISO] | 10094120
L230.Earleys-Suffolk.246 | 10034880
L230.EastPalmerton-Harwood | 10005440
L230.EastTowanda-Canyon-NMeshoppen | 10018670
L230.EastWindsor-Windsor.F2006 | 10008930
L230.Eddington-Holmesburg-Richmond.220-56 | 10004900
L230.Edgemoor-Harmony.23012 | 10004940
L230.Edgemoor-Linwood.220-85 | 10004050
L230.Elko-Quehanna-Moshannon | 10014980
L230.Elko-Shawville | 10005070
L230.Elmont-Hanover-FourRivers.2032 | 10031630
L230.Elmont-Northeast.283 | 10033380
L230.Emilie-Eddington-Croydon | 10011890
L230.Essex-Newark Energy Center.Q-2322 | 10084070
L230.Everetts-Greenville.218 [CPL] | 10034860
L230.EvergreenMills-Brableton.2172 | 10100973
L230.EvergreenMills-YarleyRidge.2209 | 10100972
L230.Fairlawn-Waldwick.O-2267 + Fairlawn.220-1 | 10005190
L230.Forest-Glade | 10059220
L230.Forest-SquabHollow | 10079010
L230.Frackville-Siegfried | 10007610
L230.Fredericksburg-Birchwood.2083 | 10032000
L230.Fredericksburg-CranesCorner.2157 | 10084940
L230.Gilbert-Springfield | 10005300
L230.Glade-LewisRun | 10093330
L230.Glade-Warren.2088 | 10092740
L230.Graceton-Bagley-RaphaelRoad.2305 | 10065800
L230.Graceton-Bagley-RaphaelRoad.2313 | 10091960
L230.Graceton-FvFrks.110510 + 230/115.Grctn.230-1 | 10008560
L230.GraysFerry-Tunnel.220-89 + 230/13.GrysFrry.T1 | 10007020
L230.Greenbrook-LakeNelson | 10086220
L230.Grottoes-Harrisonburg.260 | 10033240
L230.Harmony-Keeney.23010 | 10005820
L230.Harmony-Keeney.23013 | 10005810
L230.Harwood-Susquehanna.1 | 10005450
L230.Harwood-Susquehanna.2 | 10007820
L230.HomerCity-Johnstown | 10005730
L230.HomerCity-Quemahoning.2024 (Sctnlz) | 10101386
L230.HomerCity-Seward.2011 | 10005510
L230.HomerCity-Shelocta.2014 (Sctnlz) | 10101419
L230.Hopewell-PrGeorge.2124 + 230/115.PrGeorge.T1 | 10065120
L230.Hosensack-Springfield | 10071430
L230.Hosensack-Wescosville + 230/138.Wescosvlle.T5 | 10005610
L230.Hunterstown-Jackson.1053 | 10005700
L230.Idylwood-Redfield-CIA.2035 | 10031660
L230.IndianRiver-Milford.23034 | 10042710
L230.IndianRiver-PineyGrove.23002 | 10001920
L230.Ironwood-SouthLebanon.1054 | 10049180
L230.Jackson-TMI.1051 | 10007880
L230.Johnstown-Seward.2018 | 10005740
L230.Keeney-Steele.23001 | 10005860
L230.Keeney-Steele.23009 | 10005850
L230.Kittatinny-Newton.T2298 | 10009250
L230.Lackawanna-Lack.EC + Lackawanna.EC.CC | 10091510
L230.Lackawanna-Oxbow (Sctnlz) | 10101394
L230.Lackawanna-Paupack | 10080320
L230.Lackawanna-Summit.1 | 10091850
L230.Lackawanna-Summit.2 | 10096850
L230.Ladysmith-LadysmithCT.2089 + LadySmth.T1&T2 | 10074010
L230.Lakewood-Larrabee.K2011 | 10006110
L230.Lanexa-Chickahominy.2024 | 10031560
L230.Lenape-Concord.220-70 | 10004160
L230.LewisRun-PierceBrook | 10086040
L230.Lewistown-Juniata | 10005800
L230.Limerick-Cromby.220-60 | 10004230
L230.Limerick-Lock.220-61 | 10004220
L230.Linwood-Post.220-97A | 10018520
L230.Loudoun-ElkLickDp.2173 | 10066030
L230.MartinsCreek-Portland.1008 | 10002570
L230.MartinsCreek-Quarry | 10089700
L230.Maywood-Saddlebrook.G-2259 | 10006650
L230.Mickleton-Monroe.2316 | 10018640
L230.MiddletownJct-SouthLebanon.1004 | 10007490
L230.Milesburg-Moshannon | 10076860
L230.Milford-Steele.23076 | 10006400
L230.Montour-Saegers.2 | 10077750
L230.Moshannon-Shawville.2019 | 10006540
L230.NewFreedom-Cardiff.2310 | 10006730
L230.NewLondon-KokomoHighlandPark | 10099482
L230.NorthBoyertown-Boonetown.1006 | 10099905
L230.Northeast-RaphaelRoad.2315 | 10008970
L230.OtterCreek-Conastone.2302 | 10029850
L230.Ox-Idylwood.2097 | 10032070
L230.Ox-VirginiaHills.248B + SR1 | 10033130
L230.Oxbow-NMeshoppen (Sctnlz) | 10101395
L230.OysterCreek-Manitou.O1029 | 10006140
L230.ParagonPark-Beaumeade.2206 | 10101791
L230.PleasantValley-Rocktown.Z-2357 | 10009280
L230.PleasantView-Belmont.2180 | 10086880
L230.Plymouth Meeting-Upper Merion.220-69 | 10008000
L230.Printz-Ridley-Morton-MacDade.220-46 | 10011840
L230.RedLion-SilverRun.2 | 10007330
L230.RedLion-SilverRun.23057 | 10100376
L230.Remington-MarshRun.280 | 10034920
L230.Remington-RemingtonCT.2077 | 10034820
L230.Roseland-Whippany.A-941 | 10008300
L230.Roseland-William.S-2297 | 10070160
L230.Sayreville-Kilmer-LakeNelson.W-1037 | 10008650
L230.SedgeHill-Hendrick | 10102360
L230.Shawville-Shingletown.2022 | 10007590
L230.Shellhorn-Enterprise.2186 | 10096840
L230.Siegfried-MartinsCreek.1 | 10006240
L230.Smithburg-EastWindsor.E-2005 | 10008920
L230.SteelCity-Quarry.1 | 10010410
L230.SteelCity-Quarry.2 | 10003820
L230.Steele-Vienna.23085 & 230/138.Vienna.AT20 | 10000990
L230.Stonewater-Brambleton.206B | 10100207
L230.Sunbury-Susquehanna | 10007800
L230.Surry-Yadkin.223 | 10035340
L230.TMI-MiddletownJunction.1091 | 10006320
L230.TMI-MiddletownJunction.1092 | 10006330
L230.Thrasher-Yadkin.2105 + 230/35.Thrasher.T1 | 10061250
L230.Tosco-VFT St.2271 | 10009450
L230.WaughChapel-BrandonShores.2342 | 10009310
L230.WaughChapel-RussettEast.2327 | 10082650
L230.Whitpain-PlymouthMeeting.220-15 | 10007210
L230.Yorkana-BrunnerIsland + Yorkana.T1 | 10004790
L345.108Lockport-935Kendall.10806 | 10024720
L345.111Electric Jct-144Wayne.11126 | 10024780
L345.12 Dresden-900 Elwood.1220 | 10024020
L345.12 Dresden-900 Elwood.1222 | 10024050
L345.12Dresden-939Mulberry.1202 | 10065330
L345.12Dresden-939Mulberry.1227 | 10099692
L345.13Crawford-116Goodings Grove.1312 | 10024090
L345.155Nelson-H471.15504 | 10025110
L345.940Cordova-Sub39 | 10023800
L345.Adkins-Atlanta | 10022150
L345.AllenJunction-Morocco (ITC) Tie | 10078020
L345.Amos-KanawhaRiver | 10020560
L345.Amos-Sporn | 10020570
L345.Argenta-Palisades.2 | 10042580
L345.Argenta-TwinBranch | 10019930
L345.Argenta-WeedLake | 10089530
L345.Armstrong-HomerCity | 10073180
L345.Arsenal-BrunotIsland.305 | 10029630
L345.Arsenal-BrunotIsland.306 | 10049360
L345.Ashtabula-ErieWest | 10009180
L345.Ashtabula-Perry | 10101640
L345.Avonlake-Juniper | 10052110
L345.Bath-Greene | 10022090
L345.Bayshore-DavisBesse | 10030010
L345.Bayshore-Lallendorf.1 | 10085800
L345.Beatty-Bixby | 10020290
L345.Beaver-DavisBesse | 10030000
L345.Beaver-Hayes | 10072380
L345.Beaver-LakeAvenue.1 | 10081790
L345.BentonHarbor-Segreto | 10078860
L345.BiersRun-Bixby | 10078790
L345.Bixby-Kirk | 10020270
L345.Braidwood-Davis.2004 | 10024140
L345.Braidwood-DavisCreek.2002 | 10024110
L345.Braidwood-EastFrankfort.2001 | 10024100
L345.Braidwood-EastFrankfort.2003 | 10024130
L345.Bunsonville-Eugene | 10020680
L345.Burnham-BlueIsl.17702 + 345/138.BluIsl.TR81 | 10025220
L345.Burnham-DavisCreek.17704 | 10025240
L345.Burnham-Munster.17703 | 10025230
L345.Burnham-Sheffield.17705 TIE | 10025260
L345.BurrOak-Reynolds | 10099525
L345.BurrOak-Schaffer (NIPS) | 10041090
L345.Byron-CherryValley.0621 | 10023890
L345.Byron-CherryValley.0622 | 10023910
L345.Byron-LeeCounty.0627 | 10023950
L345.Byron-Wayne.0626 | 10086140
L345.Byron-Wempletown.0624 | 10023930
L345.Carlisle-North Medina | 10051640
L345.Cayuga-Eugene | 10020690
L345.Cayuga-Nucor (CIN) | 10096470
L345.Cayuga2-Cayuga3.34535(CIN) | 10099845
L345.Chamberlin-Harding | 10029060
L345.CherryValley-SilverLake.15616 | 10025150
L345.CherryValley-Wempletown.15615 | 10025140
L345.Clinton-Collier | 10029590
L345.Clinton-Greene | 10022170
L345.Cloverdale-MattFunk | 10020520
L345.Coffeen-Pana (Ameren) | 10067900
L345.Cook-BentonHarbor | 10043890
L345.Cook-Olive | 10019890
L345.Cook-Segreto | 10078850
L345.Crawford-Fisk.1310 | 10061380
L345.Crescent-Mansfield | 10051720
L345.DOEX530-Kygercre.2 | 10029350
L345.DOEX530-Pierce.2 | 10029370
L345.DaviesCo-Hardin | 10069480
L345.DavisBesse-Hayes | 10072370
L345.DavisBesse-Lemoyne | 10030020
L345.Dequine-Eugene | 10019870
L345.Dequine-MeadowLake.2 | 10056540
L345.Dequine-Westwood.1+345/138.Westwood.1 | 10020700
L345.Desoto-FallCreek | 10019840
L345.Desoto-Sorenson | 10019810
L345.Dowling-Lemoyne | 10077940
L345.Dresser-SugarCreek | 10100427
L345.Duck Creek-Ipva (AMIL) | 10050730
L345.Dumont-Sorenson | 10019880
L345.Dumont-Stillwell (NIPS) | 10020650
L345.East Lake-Perry | 10030110
L345.EastBend-Terminal | 10029810
L345.EastElkhart-Thomson | 10101104
L345.EastLima-FostoriaCentral | 10020120
L345.EastLima-MaddoxCreek | 10060980
L345.EastLima-SouthWestLima | 10020130
L345.ErieSouth-ErieWest.3001 | 10005130
L345.ErieWest-Wayne.3004 | 10008160
L345.Faraday-Arlond | 10098607
L345.Fargo-Sandbrg | 10098054
L345.Foster-PortUnion.4508 | 10059270
L345.FostoriaCentral-Lallendorf | 10085830
L345.FostoriaCentral-Lemoyne | 10020760
L345.Garver-ToddHunter | 10091780
L345.GaryAve-Sheffield (NIPS) | 10065000
L345.Ghent-Trimble County | 10048940
L345.GlenWillow-Perry | 10077440
L345.GoodingsGr-E.Frankfort.11602 SPOG 3-29 | 10099773
L345.GoodingsGr-E.Frankfort.11602 (SF) SPOG 3-29 | 10024800
L345.GoodingsGrove-Elwood.11620 | 10024880
L345.GoodingsGrove-Elwood.11622 | 10024890
L345.Gristmill-Shelby | 10020260
L345.HandsomeLake-Armstrong | 10008180
L345.HandsomeLake-Wayne | 10008170
L345.Hanna-Highland | 10030040
L345.Hanna-Juniper | 10029080
L345.Hayden-HyattCS | 10020190
L345.HomerCity-Mainesburg | 10079590
L345.Hoytdale-Mansfield | 10016800
L345.Hoytdale-McClelland | 10099889
L345.Juniper-Star | 10029070
L345.Kammer-WestBellaire | 10087430
L345.KanawhaRiver-MattFunk | 10020540
L345.KanawhaRiver-Sporn | 10020550
L345.Kansas-WestCasey (Ameren) | 10071050
L345.Kincaid-Austin.2106 | 10060260
L345.Kincaid-Latham.2102 | 10024250
L345.Kincaid-Pana.2105 | 10024300
L345.KygerCreek-Marquis | 10020780
L345.LakeGeorge-Munster (NIPS) | 10041150
L345.LakeRedMonRoad-MillCreek | 10097910
L345.Lallendorf-Monroe[DET].Tie | 10085820
L345.Lasalle - Braidwood.0104 | 10023610
L345.Lasalle - Plano.0101 | 10023580
L345.Lemoyne-Majestic | 10030080
L345.Lemoyne-Midway | 10030090
L345.LeroyCenter-Perry | 10085880
L345.Lockport-Kendall.10805 | 10024700
L345.Lordstown-Highland.1 | 10094210
L345.Lordstown-Highland.2 | 10094220
L345.Loretto-WiltonCenter.11212 | 10048240
L345.MaddoxCreek-RPMone | 10060970
L345.Mainesburg-Watercure [NYISO] | 10079600
L345.MapleRidge-Tazewell | 10041320
L345.Marquis-Stuart | 10020590
L345.McClelland-Shenango | 10099890
L345.McLean-PontiacMidpoint.8001 | 10100098
L345.MiamiFort-Terminal.4514 | 10059290
L345.MiamiFort-Woodsdale.4592 | 10059350
L345.Monroe-Wayne(DET) | 10098577
L345.Nelson-Cordova.15503 | 10025070
L345.Nelson-ElectricJunction.15502 | 10025060
L345.Newton-Casey (Ameren) | 10070500
L345.Niles-Shenango | 10077540
L345.Oakgrove-Louisa (MEC) | 10099802
L345.Oakgrove-Sandburg (MEC) | 10098055
L345.OhioCentral-Galion | 10044300
L345.OhioCentral-MuskingumRiver | 10020360
L345.Olive-GreenAcres.6615 | 10019780
L345.Palisades-Segreto.1 | 10078870
L345.Palisades-Vergennes | 10044540
L345.Petersburg-Sullivan.Tie | 10086670
L345.Petersburg-Thompson | 10043150
L345.Pierce-Foster | 10029420
L345.Plano-ElectricJct.16703 | 10025180
L345.Pontiac-Blue Mound.8002 | 10024170
L345.PrairieState-MountVernon | 10099965
L345.QuadCities-Cordova.0403 | 10023810
L345.QuadCities-H471.0404 | 10023840
L345.QuadCities-RockCreek.0405 | 10023870
L345.QuadCities-Sub91.0401 | 10023780
L345.Red Bank-Terminal | 10059320
L345.Reynolds-Olive.2 | 10094290
L345.Rising-Sidney | 10092850
L345.RobisonPark-Sorenson | 10088050
L345.Schahfer-StJohns (NIPS) | 10041170
L345.Sheffield-7StateLine | 10023980
L345.SilverLake-Libertyville.13821 | 10024980
L345.SouthBerwick-FostoriaCentral | 10044050
L345.SouthBerwick-Galion | 10044060
L345.SouthWestLima-Gristmill | 10100438
L345.Spurlock-NorthClark | 10067360
L345.Sub91-Davenport (MEC) | 10042380
L345.TannersCreek-Dearborn.1 | 10020860
L345.TannersCreek-EastBend | 10020830
L345.TannersCreek-Hanna.Tie | 10020840
L345.TannersCreek-MiamiFort | 10098279
L345.Terminal-PortUnion.4513 | 10059260
L345.Tidd-Collier | 10016870
L345.Tidd-WylieRidge | 10016530
L345.Tiffin-Mrgnvly | 10043620
L345.Todhunter-Woodsdale1.4561 | 10059330
L345.Toronto-WylieRidge | 10077470
L345.UniversityParkNorth-Olive.97008 | 10025460
L345.Vassell-HyattCS | 10073410
L345.Wayne-SilverLake.14401 | 10024990
L345.Wayne-Tollway.14402 R | 10025000
L345.Wellsville-Sammis | 10100244
L345.WestMilton-MiamiFort | 10030630
L345.Zimmer-PortUnion.4544 | 10042020
L345.Zion(EnergyCntr/974)-Pleasant Prairie.PLPL41 | 10071450
L345.Zion-Pleasant Prairie.2221 | 10024420
L500 Chickahominy-Elmont.557A(Sctnlz) | 10043220
L500.502Junction-MtStorm (TRAIL) | 10057210
L500.502Junction-NorthLongview | 10049320
L500.Alburtis-Branchburg.5016 | 10003200
L500.Alburtis-Hosensack.5027 | 10003210
L500.Alburtis-Juniata.5009 | 10003220
L500.BathCounty-Lexington.547 | 10017880
L500.BathCounty-Valley.548 | 10016900
L500.Bedington-BlackOak | 10003380
L500.Bedington-Doubs | 10003390
L500.Belmont-FlintRun.528 | 10018950
L500.Bismark-Doubs | 10082110
L500.Bismark-MtStorm | 10082120
L500.BlackOak-Hatfield | 10011080
L500.Brambleton-GooseCreek.558 | 10071780
L500.Brambleton-Mosby.546 | 10086830
L500.Brambleton-Mosby.590A | 10071790
L500.Branchburg-Deans.5019 | 10008520
L500.Branchburg-Hopatcong.5060 | 10072020
L500.Breinigsville-Wescosville.5044 | 10077690
L500.Brighton-Conastone.5011 | 10003590
L500.Brighton-Doubs.5055 | 10003600
L500.Brighton-WaughChapel | 10003580
L500.Bristers-Chancelr.552 | 10033590
L500.Bristers-Ox.539 | 10043540
L500.Broadford-Sullivan (TVA) Tie | 10019720
L500.BrunswickHeritage-Rawlings.591 | 10084350
L500.BrunswickHeritage-RogersRoad.503 | 10092950
L500.BrunswickSS-BrunswickCounty.509 & Units | 10086150
L500.BrunswickSwitchingStationHeritage-Wake.570 | 10079580
L500.Bullrun-Volunteer (TVA) | 10042860
L500.BurchesHill-Cheltenham.5071 | 10087010
L500.BurchesHill-PossumPoint.560 | 10057060
L500.Cabot-Cranberry | 10011090
L500.Cabot-Keystone.5002 | 10003340
L500.CalvertCliffs-ChalkPoint.5072 | 10003560
L500.Carson-Midlothian.563 | 10033660
L500.Carson-Rawlings.511 | 10080430
L500.Carson-RogersRoad.585 | 10092940
L500.Carson-Septa.562 | 10033650
L500.Carson-Suffolk.544 | 10060950
L500.Centerpoint-Elroy.5033 | 10059140
L500.Chickahominy-Surry.567 | 10033680
L500.Clifton-Mosby.559A | 10077100
L500.Clover-Rawlings.556 | 10080440
L500.Cloverdale-Lexington.566 | 10089800
L500.Conastone-PeachBottom.5012 | 10003300
L500.Conemaugh-Juniata.5005 | 10003310
L500.Conemaugh-Keystone.5003 | 10003320
L500.Conemaugh-Vinco.5006 | 10018400
L500.Cranberry-WylieRidge | 10063820
L500.Cunningham-Fluvanna.542 | 10033550
L500.Cunningham-Fluvanna.564 | 10033670
L500.Deans-EastWindsor.5022 | 10010630
L500.Deans-Smithburg.5020 | 10003680
L500.Dooms-Cunningham.534 | 10033540
L500.Dooms-Lexington.555 | 10033610
L500.Dooms-Valley.549 | 10033570
L500.Doubs-GooseCreek.514 | 10014720
L500.Elmont-Cunningham.553 | 10033600
L500.Elmont-Ladysmith.574 | 10033740
L500.Fentress-Yadkin.588 | 10084490
L500.FlintRun-Harrison.598 | 10101456
L500.FrontRoyal-Morrisville.541 | 10065640
L500.FrontRoyal-WarrenCo.592 + FrontRoyal.CC | 10075740
L500.FtMartin-Pruntytown.508 | 10015210
L500.FtMartin-Ronco.516 | 10015230
L500.GreenlandGap-MeadowBrook.540 | 10057160
L500.GreenlandGap-MtStorm.5572 | 10057150
L500.Greensville-RogersRoad.596 + Greensville.CC | 10092960
L500.Harrison-Pruntytown.526 | 10051130
L500.Harrison-WylieRidge.530 | 10015520
L500.Hatfield-RhodesLane.518 | 10015570
L500.Hatfield-Ronco.538 | 10015220
L500.Hopatcong-Lackawanna.5063 | 10074770
L500.Hopatcong-Ramapo.5018 | 10072010
L500.Hopatcong-Roseland.5061 | 10072430
L500.HopeCreek-RedLion.5015 | 10010370
L500.HopeCreek-Salem.5037 | 10010340
L500.Hosensack-Elroy.5028 + 500/138.Elroy.T3 | 10003160
L500.Hosensack-SteelCity.5032 | 10018470
L500.Hunterstown-Conastone.5013 | 10003620
L500.Hunterstown-Vinco.5068 | 10098064
L500.JacksonsFerry-Antioch(DUKE)Tie+765/500.JF.T1 | 10019760
L500.Juniata-Keystone.5004 | 10003230
L500.Juniata-Sunbury.5046 | 10078750
L500.Juniata-TMI.5008 | 10003240
L500.Kammer-502Jct + 765/500.Kammer.200 | 10049300
L500.Keeney-RedLion.5036 | 10009300
L500.Keeney-RockSprings.5025 | 10003350
L500.Keystone-SouthBend.5001(513) | 10003330
L500.Lackawanna-Shickshinny.5062 | 10088910
L500.Ladysmith-NorthAnna.575 | 10033750
L500.Ladysmith-Possum Point.568 | 10033690
L500.Limerick-PeachBottom.5010 | 10003170
L500.Loudoun-Meadowbrook.5535 | 10057190
L500.Loudoun-Morrisville.569 | 10033700
L500.Loudoun-Mosby.502A | 10063370
L500.Loudoun-Mosby.584A | 10071920
L500.McGuire-Antioch | 10066240
L500.MeadowBrook-FrontRoyal.580 | 10011070
L500.Midlothian-NorthAnna.576 | 10063360
L500.Morrisville-Spotsylvania.594 | 10033730
L500.MtStorm-Meadowbrook.5529 | 10057200
L500.MtStorm-Pruntytown.554 | 10003400
L500.MtStorm-Valley.550 | 10033580
L500.NewFreedom-EastWindsor.5038 | 10045050
L500.NorthAnna-Spotsylvania.573 | 10079100
L500.NorthLongview-FtMartin.523 | 10015200
L500.PeachBottom-Delta.5034 + Delta.CCs | 10061050
L500.PeachBottom-RockSprings.5014 | 10018410
L500.PeachBottom-TMI.5007 | 10003180
L500.PeachBottom.BusTie.1 | 10090170
L500.PeachBottom.BusTie.2 | 10090180
L500.Phippsbend-Sullivan (TVA) | 10042840
L500.Phippsbend-Volunteer (TVA) | 10042870
L500.PleasantView-GooseCreek.595 | 10029840
L500.Possum Point-Ox.571 | 10033720
L500.RhodesLane-Yukon.517 | 10093350
L500.Salem-Orchard.5021 | 10003730
L500.Shickshinny-Susquehanna.5067 | 10091940
L500.SkiffesCreek-Surry.582 | 10086160
L500.SouthBend-Yukon | 10016630
L500.Suffolk-Yadkin.565 | 10051480
L500.Sunbury-Susquehanna.5045 | 10078760
L500.Susquehanna-Wescosville.5043 | 10003710
L500.TMI-Lauschtown.5026 | 10093200
L69.BasinRd-WestDPL | 10074840
L69.Benning-12th&Irving.69049R | 10018170
L69.Chester-MarcusHook.6653 | 10012180
L69.CoolSprings-Harbeson.6753 | 10050760
L69.Cromby-Moser.6681 | 10012270
L69.Edgemoor-NewCastle.6801 | 10074860
L69.FaceRock-Manor | 10078740
L69.FaceRock-Millwood.1 | 10078720
L69.Ft Slocum-Takoma.69167 | 10017950
L69.Harrington-SouthHarrington.6739 | 10001820
L69.Lindenwold-SilverLake.0744 | 10007160
L69.Llanerch - Upper Darby | 10012190
L69.Monroe-Vineland.0711 | 10000220
L69.Newport-SouthMillville.0762 | 10000290
L69.OakHall-Perdue-Tasley.6778 | 10001890
L69.Sherman-Vineland.0761 | 10000240
L69.Somerset-Ferguson (Tie) | 10100058
L69.Todd-ViennaLocal-Vienna.6702 | 10001620
L69.UpperSaddleRiver-SouthMahwah | 10010330
L765.Amos-Culloden | 10019640
L765.Axton-JacksonsFerry + 765/138.Axton.T1 | 10019540
L765.Baker-Broadford | 10019580
L765.Baker-Culloden | 10019610
L765.Baker-HangingRock | 10019570
L765.Broadford-JacksonsFerry + B138.Broadford.RL3 | 10019550
L765.Cloverdale-JoshuaFalls | 10019670
L765.Collins - Plano.2315 | 10023560
L765.Cook-Dumont | 10019450
L765.Culloden-Gavin | 10019590
L765.Culloden-Wyoming | 10019600
L765.DonMarquis-HangingRock | 10019520
L765.Dumont-Greentown | 10019440
L765.Dumont-Sorenson | 10078900
L765.Dumont-WiltonCenter.11215 | 10019430
L765.Flatlick-Gavin | 10019530
L765.Flatlick-Marysville | 10019710
L765.Gavin-Mountaineer | 10019560
L765.Greentown-Reynolds + Reynolds.T3 | 10098927
L765.HangingRock-Jefferson | 10019510
L765.JacksonsFerry-Cloverdale + 138CB.JF.L | 10019680
L765.JacksonsFerry-Cloverdale + Relay.Fail | 10101254
L765.Jefferson-Rockport | 10019470
L765.Kammer-SouthCanton + 765/345/34.SCanton.T3 | 10019500
L765.Maliszewski-Marysville | 10019660
L765.Maliszewski-Vassell | 10071630
L765.Marysville-Sorenson | 10078890
L765.Rockport-Sullivan | 10019460
L765.Wilton-Collins.11216 | 10023570
L765.Wyoming-JacksonsFerry | 10042680
Labadie - Montgomery 345kV | 20010360
Labadie - Wildwood - Mason 345 kV | 20009770
Labadie-Greysum Ckt1 345kV | 20010390
Lafayette 138/230kV TR4 | 20012162
Latham-Kincaid 345 kV | 20011810
Lemoyn-Majestic 345 line | 20001010
Lemoyne (FE) 345/138 kV #2 Transformer | 10030570
Loretto-Wilton Center 345 kV | 20002830
Lulu 3-Terminal Line 3 | 20003790
Maple Ridge - Tazewell 345 kV | 20011730
Marktown - Chicago 138 kV | 20012230
Marysville-Sorenson 765 kV | 20010930
Meadowlk - Reynold2 1 Tie 31 34531 | 20012233
Miami Fort - Terminal 345 kV | 20012039
Miami Fort 9 345/138 kV | 20012217
MiamiFort XF10 345/138 kV | 20012131
Monroe-Lallendorf 345 kV | 20001020
Morocco-Monroe-Milan 345kV | 20012234
Mosteller - Conasauga 500 kV | 20011620
Mountain-Gardners (974) 115 kV line | 10009620
Mrgnvly -Tiffin 345 kV | 20012226
Mt Vernon-EWFKF3 345 kV | 20010110
Nelson 345/138 TR84CT-P | 20000390
Nelson B-Dixon B (15507 Z2) 138 Line | 20000300
Nelson-Electric Junction 345kV (15502 line) | 20000250
Nelson-Rock Fall 138 kV | 20012110
NewBourbon - SMNY 138kV | 20012222
NewCarlis-Bosserman#2 138kV | 20012051
Newton TR1 345/138 | 20010130
Newton-Casey 345 kV | 20003100
Noblesville-Sanderson | 20005950
North Meshoppen - Mehoopany1 115 kV line | 10017030
North Meshoppen - Mehoopany2 115 kV line | 10017040
Nucor-Cayuga 345 kV | 20002750
Oak Grove - Sandburg 345 kV | 20011740
Oconee-South Hall 500 kV | 20010590
Olive 345/138 transformer | 20001760
Olive-Cook 345 kV | 20002560
Olive-Green Acres 345kV | 20000040
Orchards-Center (110589) 115 kV line | 10008960
PPGI-Mountain (982) 115 kV line | 10009650
Pana - Austin 345 kV | 20012018
Paxton - Gifford 138 kV | 20012009
Petersburg 345/138/34 kV xfmr E | 20010010
Pierce-Foster 345 line | 20001030
Pleasant Prairie-Zion EC 345 | 20008830
Port Union - Millikin - Todd Hunter 138 kV | 20012218
Portland #3 230/115 kV Transformer | 10017730
Powerton - Towerline 1404 Tie Line | 20012208
Prairie State-W Mt. Vernon 345 | 20002780
Quad Cities-Cordova 0403 345 kV | 20003660
Quad Cities-Rock Creek 345 | 20000740
Quad-H471 (0404) 345 Line | 20000180
Quad-Sub 91 (0401 1)345 Line | 20000260
Red Bank-Terminal 345kV | 20012137
Reynolds 765/345 kV TX | 20012235
Rock Fall-Schauff Road 138 kv | 20012140
Rogers Rd-Carson 500 kV | 20012115
Roxanna - Mitchell Yard 138 kV | 20012232
Sandburg-Fargo 345 kV | 20012005
Schahfer - ST Johns 345 kV | 20012228
Schahfer-Burr Oak 345 | 20002290
Shawnee - C31 - Marshall 161 kV | 20012043
Shawnee 500/345 | 20008770
Sheffield - Marktown 138kV | 20012251
Sheffield 345/138 kV transformer | 20002060
Sheffield-Gary Ave 345 kV | 20002790
Sidney-Rising 345 kV | 20011230
SpringBoro - Monticello 138kV | 20012240
State Line-Wolf Lake 138 kV | 20003570
Stillwell - Babcock 345KV 34514 | 20012101
Streator-Kickapo-Marseile 138 kV | 20012061
Sub_56 - Sub_91 345kV | 20012239
Sullivan TR 2-P 765/345 | 20010710
Tanners Creek - East Bend 345kV | 20011910
Tanners Creek 345/138 kV AB | 20002730
Tanners Crk-Miami Fort 345 | 20005660
Tazewell 345/138 kV T1 | 20010340
Tazewell 345/138 kV T2 | 20002970
Terminal.BK11 345/138 kV | 20012132
Todd Hunter 345/138 15 | 20008860
Todd Hunter 345/138 17 | 20008900
Toddhunt-Woodsdale2 4562 345kV | 20012148
Toddhunter-Garver 345 kV | 20011550
Toulon - Powerton 138 kV | 20012035
Trimble Co - Middletown 345 kV | 20001410
Volunteer-PhippB 500 line | 20000860
WHTWTR3 138/LKHD TP 138 1-SUN 138 138 /LKHD T | 20012186
WYLIERID 3TX (APS) | 10016620
Walton-Deedsville-Leesburg 345 | 20011120
West Milton - Miami Fort 345 kV | 20012215
Westwood 345/138 XF2 | 20005600
Westwood-08NW_Tap-WLafyett 138 | 20009500
Westwood-Tippecanoe Labs 138 kV | 20003800
Wilton Center 765/345 xfmr TR93 | 20002660
Zion-Paris (2222) 345 kV | 20000210
Zion-Pleas PR (2221) 345 Line | 20000220
Zion-Waukegan 2219 345 kV | 20009440