## Winter N-1-1 Load Drop
N-1-1 Analysis Load Drop Summary (2027 Winter)
FG # | First Cont Name | Second Cont Name | TotalLoadLoss | PJM Accepting Proposals | Reasons For Exclusions | Comment
2022W2-N2-WLD1 | DVP_P1-2: LN 9348_SRT-A | DVP_P1-2: LN 2172_SRT-A | 308.58 | YES |  | Listed as flowgate 2022W1-N2-WLD3 from Window 1. Contingency update due to Immediate Need project inclusion.
2022W2-N2-WLD2 | DVP_P1-2: LN 2172_SRT-A | DVP_P1-2: LN 9348_SRT-A | 308.58 | YES |  | Listed as flowgate 2022W1-N2-WLD4 from Window 1. Contingency update due to Immediate Need project inclusion.
2022W2-N2-WLD1 & 2022W2-N2-WLD2
| Bus# | Bus Name | LoadMW
| 313730 | 6CABIN_RUN | 114.9
| 313863 | 6YARDLEY | 56.2
| 313827 | 6EVERGR MILL | 137.5
308.6