## Base and FSA 2025&2028
2020 Market Efficiency Analysis Base Congestion Results* (updated 1/11/2021) (This is NOT the list of Eligible Congestion Drivers)** |  |  | Base Case ($Million) |  | Base Case (Hours Binding) |  | FSA Sensitivity ($Million) |  | FSA Sensitivity (Hours Binding)
Constraint | FROM AREA | TO AREA | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | 2025 Input Assumptions with 2025 Topology | 2028 Input Assumptions with 2025 Topology | Type | Comments
B:23547901JUNCTN 23546701FRNCHM 1 FLO AP-P1-2-PE-500-001 | APS | APS | 18.4529 | 25.876 | 510 | 634 | 37.3527 | 53.3109 | 936 | 1162
B:207977HARW 208113SUSQ 1 FLO PL:48:P12:102309 | PLGRP | PLGRP | 16.7268 | 12.3957 | 949 | 723 | 8.0418 | 4.6302 | 460 | 294 |  | Harwood – Susquehanna congestion driver may be impacted by DLR (Dynamic Link Rating) projects (Expected in-service date 06/01/2021). Driver may be impacted by recently announced Talen Energy retirements. (Retirement notice not submitted to PJM).
B:207950CUMB TR2 208004JUNI BU1 1 FLO ME-P1-2-ME-500-001 | PLGRP | PLGRP | 8.6954 | 9.0676 | 233 | 216 | 14.0849 | 12.0886 | 344 | 305 |  | Cumberland – Juniata congestion driver may be impacted by DLR (Dynamic Link Rating) projects (Expected in-service date 06/01/2021).
B:213906PLYMTG 1 214035WHITPAN1 1 FLO PECO_P1-2_220-61/* $ MONTCO $ PECO_P1-2_220-61 $ | PECO | PECO | 5.4352 | 7.2662 | 154 | 153 | 5.5621 | 4.9788 | 200 | 205
B:920580AA2-161 TAP 23527701YUKON 1 FLO AP-P1-2-WP-138-048 | APS | APS | 4.2969 | 5.3667 | 1740 | 2059 | 3.8688 | 4.4213 | 1884 | 1953
B:24951008GIBSON 24953108FRNCSC 1 FLO EXT_P12:345:SIGE:GIBSON-BROWN:GIBSON:AB_BROWN_34 | DUK-IN | DUK-IN | 4.2832 | 3.7113 | 198 | 211 | 3.9697 | 3.831 | 191 | 192 | M2M
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 553 | DOM | DOM | 3.9258 | 4.2129 | 129 | 115 | 2.3344 | 2.4455 | 89 | 84
B:24302605KAMMER13 24606705NATRIUM34 1 FLO BASE CASE | AEP | AEP | 2.6042 | 13.1901 | 102 | 244 | 1.4795 | 9.9378 | 60 | 153
B:130836N.WAV115 20067626E.SAYRE 1 FLO PN-P1-2-PN-230-101T | NYZC | PENELEC | 1.9093 | 2.6185 | 1923 | 1951 | 2.9394 | 3.4553 | 2231 | 2389 |  | NY Tie line may be open in Operations to mitigate congestion
I:EAST FLO BASE CASE | 0 | 0 | 1.3977 | 0.58141 | 30 | 18 | 0.34599 | 0.090278 | 7 | 5 |  | Interface
I:50045005 FLO VINCO-RICE | 0 | 0 | 1.1416 | 4.8099 | 61 | 148 | 0.76647 | 1.6922 | 45 | 88 |  | Interface
B:23515201BUTLER 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 1.1201 | 1.1881 | 46 | 48 | 0.12184 | 0.010451 | 11 | 8 |  | Congestion decreases significantly in FSA Sensitivity
B:200023WESCOSVILLE 211321WESC 3 FLO PL:20:P12:000092 | PLGRP | PLGRP | 1.0177 | 0.67627 | 14 | 18 | 1.3526 | 2.7875 | 23 | 44
B:24293105BEVERL 24294005MUSKNG 1 FLO AEP_P2-1_246751 05VASSEL 765 270162 AB2-067 TAP | AEP | AEP | 0.99763 | 2.2111 | 113 | 187 | 1.5645 | 3.5147 | 166 | 247
B:24950908DUFF 24953108FRNCSC 1 FLO EXT_P12:345:SIGE:GIBSON-BROWN:GIBSON:AB_BROWN_34 | DUK-IN | DUK-IN | 0.96466 | 3.824 | 81 | 125 | 0.73862 | 3.198 | 59 | 126 | M2M
B:24262005DANVL2 24263105EDAN 1 1 FLO BASE CASE | AEP | AEP | 0.92389 | 0.33967 | 41 | 19 | 1.3279 | 0.68068 | 56 | 42
B:223938DICKH230 223937DICK 230 2 FLO PEPCO_P1_PP1 | PEPCO | PEPCO | 0.66339 | 2.1679 | 114 | 238 | 1.5978 | 3.8698 | 229 | 390
B:271680HAUMESSER; B272756W DEKALB ;3T1 FLO COMED_P1-2_345-L15502_B-R | COMED | COMED | 0.54434 | 0.47977 | 31 | 23 | 0.5251 | 0.135 | 30 | 9
B:200008HOSENSACK 200007ELROY 1 FLO E:501 ALBURTIS 500-BRANCHBG 500 (PLGRP-PSEG) [1] | PLGRP | PECO | 0.52979 | 0 | 9 | 0 | 0 | 0 | 0 | 0
B:271543GARDEN PL; 272512ESS H71 ;BT1 FLO COMED_P1-2_345-L0405___-R | COMED | COMED | 0.48775 | 3.251 | 14 | 53 | 1.2234 | 2.5141 | 35 | 51
B:271322DEVON ;9B272384ROSE HILL;BT1 FLO COMED_P2-1_088-L8810___ | COMED | COMED | 0.46652 | 0.36693 | 2859 | 2797 | 0.43812 | 0.36041 | 3015 | 2811
B:3040706PERSON230 T3146976SEDGE HILL 1 FLO DVP_P1-2: LN 570 | CPLE | DOM | 0.44464 | 1.457 | 55 | 98 | 0.28372 | 0.80736 | 32 | 51
B:274750CRETE EC ;BP25511217STJOHN 1 FLO AEP_P1-2_#695_1681 | COMED | NIPS | 0.42328 | 0.0079439 | 18 | 2 | 0.1042 | 0.031969 | 9 | 3 | M2M
B:271321DEVON ;6R272129NORTHWEST; R1 FLO COMED_P2-1_088-L8803___ | COMED | COMED | 0.40979 | 0.32613 | 2871 | 2747 | 0.38544 | 0.318 | 2942 | 2704
B:24190102LALLENDORF26461219MON12 1 FLO ATSI-P1-2-TE-345-605T | FE-ATSI | DECO | 0.37702 | 0.095181 | 53 | 20 | 0.16087 | 0.007928 | 24 | 4 | M2M
B:24800906CLIFTY 3242274CARROLLTON 1 FLO EXT_249532 08TRIMBL 345 324105 7GHENT 345 1 | OVEC | LKE | 0.33438 | 0.2781 | 14 | 7 | 1.6143 | 0.51039 | 18 | 9
B:24270105LEESVI 3146674ALTVSTA 1 FLO AEP_P1-2_#3174_6 | AEP | DOM | 0.32146 | 0.33293 | 4 | 6 | 0.17006 | 0.42647 | 2 | 6
B:26461219MON12 26470719BNSTNS 1 FLO EXT_P12:345:ITCT:LN:MON12:WAYNE:1 | DECO | DECO | 0.3067 | 0.38412 | 15 | 18 | 6.0521 | 6.3043 | 324 | 307 | M2M
I:BC_PEP FLO BASE CASE | 0 | 0 | 0.16985 | 0.14054 | 17 | 4 | 1.2086 | 0.85492 | 43 | 7
B:3600435PARADISE FP3406245BRTAP 1 FLO EXT_B-500-96 | TVAZ | BREC | 0.16048 | 0.90905 | 42 | 93 | 0.187 | 0.86632 | 65 | 95 | M2M
B:24579705W.CANTON2 23864902DALE 1 FLO ATSI-P1-2-OEC-345-803T | AEP | FE-ATSI | 0.14269 | 0 | 5 | 0 | 0 | 0 | 0 | 0
B:3410202ARGENTUM 24372505GRAYSB 1 FLO AEP_P2-1_243688 05S.PORT MTR 138 342538 4ARGENTU | EKPC | AEP | 0.12887 | 0.038058 | 31 | 8 | 0.0085215 | 0.026083 | 3 | 5
B:3147476BREMO 3147443BREMO 1 FLO DVP_P1-2: LN 2193 | DOM | DOM | 0.12588 | 0.19888 | 30 | 35 | 3.573 | 3.3163 | 121 | 105
B:270729E FRANKFO; R270767GOODINGS ;1R1 FLO BASE CASE | COMED | COMED | 0.12547 | 0.16243 | 11 | 18 | 0.12002 | 0.32402 | 13 | 35
B:23548301MDWBRK 23551301STRASB 1 FLO DVP_P1-2: LN 550 | APS | APS | 0.11592 | 0.43852 | 10 | 21 | 0.14127 | 0.32278 | 5 | 12
B:208109SUNB 207964ELDR 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0.11019 | 0.12494 | 3 | 8 | 6.0093 | 9.0292 | 111 | 145
B:24286505JEFRSO 24800006CLIFTY Z1 FLO AEP_P1-2_#709_546 | AEP | OVEC | 0.10703 | 0.010358 | 7 | 1 | 0.010469 | 0.0024338 | 1 | 1
B:271247CROSBY ; R271327DIVERSEY ; R1 FLO COMED_P1-2_138-L14818_R-C | COMED | COMED | 0.10665 | 0.071143 | 3276 | 3037 | 0.09519 | 0.079152 | 3603 | 3539
B:208396FARO 208395FARO FF 1 FLO PL_P21_000390 | PLGRP | PLGRP | 0.094614 | 0 | 5 | 0 | 0.24638 | 0.19636 | 17 | 12
B:272092NATOMA ; B272184OAK PARK ; B1 FLO BASE CASE | COMED | COMED | 0.094515 | 0.070428 | 3712 | 3577 | 0.087793 | 0.069597 | 4026 | 3922
B:271218CLYBOURN ; B271326DIVERSEY ; B1 FLO BASE CASE | COMED | COMED | 0.064414 | 0.041572 | 2132 | 2039 | 0.056874 | 0.046953 | 2497 | 2509
B:23520501KRENDL 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 0.057112 | 0 | 12 | 0 | 0 | 0 | 0 | 0
B:24748905BOSSERMAN 25515317MICH_CITY 1 FLO AEP_P1-2_#7265_21601 | AEP | NIPS | 0.052502 | 0.26931 | 4 | 11 | 0.025747 | 1.1631 | 6 | 33 | M2M
B:271579GRENSHAW ; R272727WASHINGTO; R1 FLO BASE CASE | COMED | COMED | 0.046828 | 0.03282 | 3847 | 3661 | 0.042377 | 0.041847 | 4215 | 3988
B:272607TOULON ; R272269POWERTON ; 1 FLO BASE CASE | COMED | COMED | 0.046622 | 0.028493 | 4 | 2 | 0.080174 | 0.12039 | 8 | 9
B:24262005DANVL2 24263105EDAN 1 1 FLO AEP_P1-2_#7422_16 | AEP | AEP | 0.046444 | 0.030535 | 5 | 4 | 0.028539 | 0.01065 | 4 | 4
B:23550601RINGLD 23549401OLDFRM 1 FLO AP-P1-2-PE-230-001 | APS | APS | 0.044286 | 0 | 2 | 0 | 0.075632 | 0 | 1 | 0
B:23731001DANSMTN 23550401RIDGLY 1 FLO BASE CASE | APS | APS | 0.041643 | 0.036189 | 5 | 5 | 0.10458 | 0.13039 | 25 | 25
B:23550401RIDGLY 23548401MESSCK 1 FLO AP-P1-2-PE-500-001 | APS | APS | 0.040936 | 0.11748 | 6 | 7 | 0.001025 | 0 | 1 | 0
B:23513901AL&D6T 23520401KITTAN 1 FLO AP-P1-2-WP-345-311T | APS | APS | 0.037991 | 0.021275 | 13 | 3 | 0.035893 | 0.0016013 | 15 | 3
B:23910702SHNAGO 23993402HEASLEY 2 FLO ATSI-P1-2-OEE-138-006-A | FE-ATSI | FE-ATSI | 0.037911 | 0 | 2 | 0 | 0 | 0 | 0 | 0
B:224014BUZZ 138 224092SW 138 2 FLO PEPCO_P1_PP78 | PEPCO | PEPCO | 0.037783 | 0.0531 | 799 | 1020 | 0.090217 | 0.12016 | 1457 | 1740
B:631141ROCK CK3 270864QUAD 1 3-11 1 FLO COMED_P1-2_345-L0401___-R | ALTW | COMED | 0.034679 | 0.33823 | 4 | 23 | 0.0016557 | 0.25856 | 1 | 13 | M2M
B:23905202PV Q4 23876302GR Q-4 1 FLO ATSI-P1-2-SYS-345-701 | FE-ATSI | FE-ATSI | 0.034589 | 0 | 2 | 0 | 0 | 0.032168 | 0 | 1
B:24280205SMITHMTN 24270105LEESVI 1 FLO AEP_P1-3_#1372_05JOSHUA 765_1 | AEP | AEP | 0.03202 | 0 | 1 | 0 | 0.02436 | 0 | 1 | 0
B:271231CRAWFORD ; Y271237CRAWFORD ;YS1 FLO BASE CASE | COMED | COMED | 0.027955 | 0.019601 | 2187 | 2056 | 0.025864 | 0.021642 | 2129 | 1914
B:25511317STILLWELL 25518017STILLWELL 1 FLO AEP_P1-2_#701 | NIPS | NIPS | 0.027551 | 0.012218 | 12 | 4 | 0.000162 | 0 | 1 | 0 | M2M
B:271230CRAWFORD ; G271236CRAWFORD ;GS1 FLO BASE CASE | COMED | COMED | 0.027105 | 0.01889 | 2137 | 2005 | 0.024948 | 0.020255 | 2090 | 1901
B:130836N.WAV115 20067626E.SAYRE 1 FLO PN-P1-2-PN-230-102AT | NYZC | PENELEC | 0.027053 | 0.048824 | 42 | 61 | 0.56591 | 1.1455 | 260 | 500
B:271656HIGGINS ; B272092NATOMA ; B1 FLO BASE CASE | COMED | COMED | 0.023932 | 0.01377 | 676 | 570 | 0.015937 | 0.016706 | 656 | 729
B:271490FRANKL PK; B271492FRANKL PK;5S1 FLO BASE CASE | COMED | COMED | 0.021882 | 0.015796 | 1669 | 1527 | 0.020786 | 0.016404 | 1687 | 1543
B:271491FRANKL PK; R271493FRANKL PK;0S1 FLO BASE CASE | COMED | COMED | 0.02136 | 0.01586 | 909 | 951 | 0.01552 | 0.019215 | 1053 | 1233
I:WEST FLO BASE CASE | 0 | 0 | 0.020956 | 0.096638 | 4 | 5 | 0.034439 | 0.086215 | 4 | 6
B:3145623CLUBHSE 3145636CLUBHSE 1 FLO DVP_P1-2: LN 2201 | DOM | DOM | 0.020392 | 0 | 2 | 0 | 0.0094095 | 0.047408 | 1 | 4
B:271578GRENSHAW ; B272586TAYLOR ; B1 FLO BASE CASE | COMED | COMED | 0.019181 | 0.017161 | 1130 | 985 | 0.020567 | 0.034645 | 1365 | 1114
B:217101STANTER_3 217170MCCARTER 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.018954 | 0.01628 | 1066 | 1076 | 0.031155 | 0.044589 | 1733 | 1958
B:272502STATELINE; B25517217ROXANA 1 FLO EXT_P12:345:NIPS:34520:17SHEFFIELD:17GARY_AVE:1 | COMED | NIPS | 0.016736 | 0 | 15 | 0 | 0.0029316 | 0.00035265 | 7 | 3 | M2M
B:272726WASHINGTO; B272506STATELINE;2S1 FLO COMED_P2-1_170-L0708___ | COMED | COMED | 0.016421 | 0.014912 | 1709 | 1895 | 0.016674 | 0.017061 | 1811 | 2111
B:271406ELMHURST ;3I271490FRANKL PK; B1 FLO TR81_ELMHU_R-C | COMED | COMED | 0.014838 | 0.020052 | 551 | 663 | 0.013859 | 0.024117 | 596 | 627
B:271578GRENSHAW ; B272650UNIVERSIT; B1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.013682 | 0.0083914 | 355 | 207 | 0.012908 | 0.006689 | 328 | 157
B:24260805CLYTR1 24279105SCHRIS 1 FLO AEP_P1-2_#311_5 | AEP | AEP | 0.013438 | 0 | 1 | 0 | 0.072298 | 0.024789 | 6 | 4
B:20052226SHADE GP 938380AE1-071-POI 1 FLO BASE CASE | PENELEC | PENELEC | 0.012488 | 0 | 5 | 0 | 0.19104 | 0.2334 | 38 | 43
B:216914WORANGE 217766ORNGHGHTS2301 FLO BASE CASE | PSEG | PSEG | 0.012078 | 0.018843 | 553 | 471 | 0.011024 | 0.011367 | 225 | 172
B:224086O ST 138 224088O ST T6 1 FLO BASE CASE | PEPCO | PEPCO | 0.012009 | 0.016266 | 1530 | 1804 | 0.025592 | 0.032267 | 2360 | 2520
B:271634HARBOR ; B271632HARBOR ;8S1 FLO BASE CASE | COMED | COMED | 0.01032 | 0.00785 | 1089 | 1024 | 0.010297 | 0.010686 | 1228 | 1295
B:224059NEW HARRISON224079BETH T7 1 FLO PEPCO_P1_PP21 | PEPCO | PEPCO | 0.0080206 | 0.010322 | 137 | 98 | 0.010283 | 0.0057346 | 166 | 126
B:224021BENN 230 224023BENN 69E 1 FLO BASE CASE | PEPCO | PEPCO | 0.0077326 | 0.0059802 | 244 | 189 | 0.010371 | 0.0067649 | 315 | 273
B:24493005NEW CARLI125515217MAPLE 1 FLO AEP_P1-2_#701 | AEP | NIPS | 0.00589 | 0.00016001 | 1 | 1 | 0.024531 | 0.0011268 | 3 | 1 | M2M
B:23550601RINGLD 23549401OLDFRM 1 FLO ME-P1-2-ME-500-004 | APS | APS | 0.0028207 | 0 | 1 | 0 | 0.11309 | 0 | 4 | 0
B:20067526E.TWANDA 20092426CANYON 1 FLO PL:03:P12:001029 | PENELEC | PENELEC | 0.0024501 | 0.0060545 | 8 | 5 | 0.0033774 | 0.019044 | 2 | 11
B:217079ESSEX 217061KEARNY 1 FLO PS_P1-2_R-2296 | PSEG | PSEG | 0.0021859 | 0.0030427 | 108 | 148 | 0.0081603 | 0.011648 | 81 | 88
B:20052226SHADE GP 938380AE1-071-POI 1 FLO ME-P1-2-ME-500-007 | PENELEC | PENELEC | 0.0020532 | 0.0064685 | 1 | 1 | 0.09785 | 0.13377 | 27 | 25
B:25512417CHICAGO_AV25516917PRAXAIR-3 1 FLO AEP_P1-2_#695_1681 | NIPS | NIPS | 0.00048065 | 0.0042282 | 1 | 5 | 0 | 0.013042 | 0 | 5 | M2M
I:AP SOUTH FLO BASE CASE | 0 | 0 | 0 | 0.15235 | 0 | 7 | 0.00079321 | 0.35479 | 1 | 13
I:AEP-DOM FLO BASE CASE | 0 | 0 | 0 | 0.073785 | 0 | 3 | 0 | 0.00057067 | 0 | 1
I:BLABED FLO VINCO-RICE | 0 | 0 | 0 | 0.13119 | 0 | 1 | 0 | 0 | 0 | 0
B:24302605KAMMER13 24606705NATRIUM34 1 FLO AEP_P1-2_#5152_716 | AEP | AEP | 0 | 0 | 0 | 0 | 0.22235 | 1.2471 | 3 | 19
B:24270105LEESVI 3146674ALTVSTA 1 FLO BASE CASE | AEP | DOM | 0 | 0.074768 | 0 | 2 | 0 | 0.12487 | 0 | 4
B:24697105THELM2 3423432THELMA 1 FLO AEP_P1-2_#707_8315 | AEP | EKPC | 0 | 0 | 0 | 0 | 0 | 0.031295 | 0 | 1
B:24260905CLYTR2 934750AD1-102 TAP 1 FLO AEP_P1-2_#311_5 | AEP | AEP | 0 | 0 | 0 | 0 | 0.038279 | 0.020044 | 3 | 2
B:24771205SULLIVAN 3468097CASEY 1 FLO AEP_P1-2_#363_1682 | AEP | AMIL | 0 | 0 | 0 | 0 | 0.40865 | 0.0010313 | 19 | 3 | M2M
B:24263105EDAN 1 24262005DANVL2 1 FLO AEP_P2-1_242520 05J.FERR 500 242514 05J.FERR 765 | AEP | AEP | 0 | 0.041149 | 0 | 1 | 0.021642 | 0 | 1 | 0
B:24308605S HICK 24710805SOWERS 1 FLO BASE CASE | AEP | AEP | 0 | 0.050079 | 0 | 6 | 0 | 0 | 0 | 0
B:23546801FROSTB 23550401RIDGLY 1 FLO AP-P1-2-PE-500-004 | APS | APS | 0 | 0.095196 | 0 | 8 | 0 | 0.035875 | 0 | 4
B:23549401OLDFRM 23548801MONOCY 1 FLO ME-P1-2-ME-500-004 | APS | APS | 0 | 0.013761 | 0 | 2 | 0.014238 | 0.033524 | 1 | 2
B:23549401OLDFRM 23548801MONOCY 1 FLO AP-P1-2-PE-230-001 | APS | APS | 0 | 0 | 0 | 0 | 0.0017505 | 0.015389 | 1 | 1
B:220941H.RDGE16 220983SANDY14T 1 FLO PEPCO_P1_PP28 | BGE | BGE | 0 | 0 | 0 | 0 | 0.025434 | 0 | 3 | 0
B:25152708TP6763 25142308OAKBRK 1 FLO DEOK_P2-1_LOE BRKR OPEN AT BUFFINGTON 6782 | DEOK | DEOK | 0 | 0 | 0 | 0 | 0.32563 | 0 | 3 | 0
B:3143036HOPEWLL 3142866CHESTF A 1 FLO DVP_P1-2: LN 211 | DOM | DOM | 0 | 0 | 0 | 0 | 1.7379 | 1.4704 | 90 | 72
B:3149038CHCKAHM 3142146CHCKAHM 1 FLO DVP_P1-2: LN 567 | DOM | DOM | 0 | 0 | 0 | 0 | 0.89514 | 1.3451 | 49 | 61
B:3149038CHCKAHM 3149248SURRY 1 FLO DVP_P1-2: LN 557 | DOM | DOM | 0 | 0 | 0 | 0 | 0.5007 | 0.72514 | 45 | 50
B:3149038CHCKAHM 3142146CHCKAHM 1 FLO DVP_P1-2: LN 582 | DOM | DOM | 0 | 0 | 0 | 0 | 0.051462 | 0.51614 | 2 | 14
B:3143036HOPEWLL 3142876CHESTF B 1 FLO DVP_P1-2: LN 228 | DOM | DOM | 0 | 0 | 0 | 0 | 0.00090471 | 0.35269 | 1 | 19
B:3142826CARSON 3142856CHRL249 1 FLO DVP_P1-2: LN 2002 | DOM | DOM | 0 | 0.085842 | 0 | 4 | 0.0029176 | 0.00021249 | 1 | 1
B:3146674ALTVSTA 24274105OTTER 1 FLO BASE CASE | DOM | AEP | 0 | 0 | 0 | 0 | 0.022662 | 0 | 1 | 0
B:232927BENNETT_230 232004MILF_230 2 FLO DPL_P1_2_CKT 23034 | DPL | DPL | 0 | 0.27364 | 0 | 2 | 0 | 0 | 0 | 0
B:231205DARLEY 231211NAAMANS 1 FLO DPL_P1_3_EDGE MR AT20 | DPL | DPL | 0 | 0.031151 | 0 | 1 | 0 | 0 | 0 | 0
B:20469327BOONETOWN 20451227S.RDG 1 FLO PL:04:P13:101211 | METED | METED | 0 | 0.18916 | 0 | 13 | 0 | 0.0029905 | 0 | 1
B:25510417GREEN_ACRE270771GREENACRE; T1 FLO AEP_P1-2_#695_1681 | NIPS | COMED | 0 | 0.043044 | 0 | 1 | 0 | 0.23141 | 0 | 3 | M2M
B:25515017LNG 25515217MAPLE 1 FLO EXT_P21:345:NIPS:34514:17BABCOCK:17STILLWELL:1 | NIPS | NIPS | 0 | 0.00022048 | 0 | 1 | 0 | 0.026688 | 0 | 1 | M2M
B:213819N PHILA8 213783MASTER 1 FLO PECO_P1-2_220-18/* $ MONTCO $ PECO_P1-2_220-18 $ | PECO | PECO | 0 | 0.072956 | 0 | 3 | 0 | 0.05866 | 0 | 1
B:20067526E.TWANDA 20094026SCOTCHHLLW1 FLO AP-P1-2-WP-230-324T_FSA_A | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 5.2118 | 6.2125 | 2495 | 2728
B:20094026SCOTCHHLLW919200AA1-144 TAP 1 FLO AP-P1-2-WP-230-324T_FSA_A | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 1.153 | 1.8018 | 771 | 1015
B:938380AE1-071-POI 20052026ROXBURY 1 FLO BASE CASE | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0.76776 | 0.78989 | 157 | 165
B:938380AE1-071-POI 20052026ROXBURY 1 FLO ME-P1-2-ME-500-007 | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0.90922 | 0.77739 | 136 | 113
B:20067526E.TWANDA 20092426CANYON 1 FLO AP-P1-2-WP-230-324T_FSA_A | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0.15499 | 0.41568 | 135 | 272
B:938380AE1-071-POI 20052026ROXBURY 1 FLO PN-P1-2-PN-230-103AT | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0.20906 | 0.12698 | 50 | 34
B:938380AE1-071-POI 20052026ROXBURY 1 FLO AP-P1-2-PE-230-020T | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0.053715 | 0.075255 | 6 | 10
B:20052226SHADE GP 938380AE1-071-POI 1 FLO PN-P1-2-PN-230-103AT | PENELEC | PENELEC | 0 | 0 | 0 | 0 | 0.0071855 | 0.014494 | 7 | 7
B:207973FRAC 938390AE1-058_TAP 1 FLO BASE CASE | PLGRP | PLGRP | 0 | 0 | 0 | 0 | 24.0169 | 28.6086 | 248 | 306
B:207964ELDR 207975FRAC TR3 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0 | 0.44503 | 0 | 12 | 4.4836 | 7.8186 | 118 | 157
B:938390AE1-058_TAP 208072SIEG 1 FLO BASE CASE | PLGRP | PLGRP | 0 | 0 | 0 | 0 | 3.4866 | 5.1585 | 128 | 171
B:208393FAROFIFO TI1208395FARO FF 1 FLO BASE CASE | PLGRP | PLGRP | 0 | 0 | 0 | 0 | 0 | 0.055617 | 0 | 2
B:938390AE1-058_TAP 208072SIEG 1 FLO PL:18:P12:000083 | PLGRP | PLGRP | 0 | 0 | 0 | 0 | 0.13174 | 0.037029 | 7 | 3
B:207930BUSH 20624228KITATINY 1 FLO ME-P1-2-ME-230-212T | PLGRP | JCPL | 0 | 0.022512 | 0 | 3 | 0 | 0.031768 | 0 | 2
B:207923BRISREAC 208132WHEM TR1 1 FLO BASE CASE | PLGRP | PLGRP | 0 | 0 | 0 | 0 | 0.0044603 | 0.023019 | 2 | 3
B:218311SEWAREN 218353MINUEST_R 1 FLO BASE CASE | PSEG | PSEG | 0 | 0 | 0 | 0 | 0.109 | 0.18145 | 61 | 98
*Note: Included PJM internal and prospective M2M constraints >= $10,000 in either 2025 or 2028 with or without FSA units. This list DOES NOT represent the list of congestion drivers for the 2020/21 Long-Term Window.
** The list of eligible congestion drivers is posted separately before the window start. (For description of eligible congestion drivers see Manual 14F, 8.2.1.1 Eligible Congestion Drivers)

## Base Cumulative All Years
2020 Market Efficiency Analysis Base Congestion Results (updated 1/11/2021) (This is NOT the list of Eligible Congestion Drivers)
Constraint | From Area | To Area | Cumulative Congestion Cost 2021, 2025, 2028, 2031 ($Million) | Average Congestion Cost 2021, 2025, 2028, 2031 ($Million) | Cumulative # of Binding Hours 2021, 2025, 2028, 2031 | Average # of Binding Hours 2021, 2025, 2028, 2031
I:50045005 FLO VINCO-RICE | 0 | 0 | 10.1507 | 2.5377 | 356 | 89
I:AEP-DOM FLO BASE CASE | 0 | 0 | 0.15006 | 0.037515 | 4 | 1
I:AP SOUTH FLO BASE CASE | 0 | 0 | 0.34483 | 0.086209 | 22 | 5.5
I:BC_PEP FLO BASE CASE | 0 | 0 | 3.9205 | 0.98012 | 96 | 24
I:BLABED FLO VINCO-RICE | 0 | 0 | 0.13119 | 0.032797 | 1 | 0.25
I:EAST FLO BASE CASE | 0 | 0 | 4.2944 | 1.0736 | 102 | 25.5
I:WEST FLO BASE CASE | 0 | 0 | 0.37678 | 0.094195 | 14 | 3.5
B:228504SHLDLY T 228714CNTRL N 1 FLO AE_P1-2 ORCH-CUMB | AECO | AECO | 0.014524 | 0.0036311 | 7 | 1.75
B:24260805CLYTR1 24279105SCHRIS 1 FLO AEP_P1-2_#311_5 | AEP | AEP | 0.013438 | 0.0033594 | 1 | 0.25
B:24262005DANVL2 24263105EDAN 1 1 FLO AEP_P1-2_#7422_16 | AEP | AEP | 0.084915 | 0.021229 | 11 | 2.75
B:24262005DANVL2 24263105EDAN 1 1 FLO BASE CASE | AEP | AEP | 1.8874 | 0.47185 | 91 | 22.75
B:24263105EDAN 1 24262005DANVL2 1 FLO AEP_P2-1_242520 05J.FERR 500 242514 05J.FERR 765 | AEP | AEP | 0.041149 | 0.010287 | 1 | 0.25
B:24270105LEESVI 3146674ALTVSTA 1 FLO AEP_P1-2_#3174_6 | AEP | DOM | 0.82483 | 0.20621 | 15 | 3.75
B:24270105LEESVI 3146674ALTVSTA 1 FLO BASE CASE | AEP | DOM | 0.17341 | 0.043354 | 4 | 1
B:24280205SMITHMTN 24270105LEESVI 1 FLO AEP_P1-3_#1372_05JOSHUA 765_1 | AEP | AEP | 0.03202 | 0.0080049 | 1 | 0.25
B:24286505JEFRSO 24800006CLIFTY Z1 FLO AEP_P1-2_#709_546 | AEP | OVEC | 0.12227 | 0.030567 | 9 | 2.25
B:24293105BEVERL 24294005MUSKNG 1 FLO AEP_P2-1_246751 05VASSEL 765 270162 AB2-067 TAP | AEP | AEP | 5.6953 | 1.4238 | 552 | 138
B:24302605KAMMER13 24606705NATRIUM34 1 FLO BASE CASE | AEP | AEP | 31.8014 | 7.9504 | 651 | 162.75
B:24308605S HICK 24710805SOWERS 1 FLO BASE CASE | AEP | AEP | 0.050079 | 0.01252 | 6 | 1.5
B:24321905DUMONT 25511317STILLWELL 1 FLO AEP_P1-2_#695_1681 | AEP | NIPS | 0.00027595 | 6.8988e-05 | 1 | 0.25
B:24322905OLIVE 274804UNIV PK N;RP1 FLO AEP_P1-2_#695_1681 | AEP | COMED | 0.0017638 | 0.00044096 | 1 | 0.25
B:24323305TANNER 24956708M.FORT 1 FLO DEOK_P1_TERMINAL-EAST BEND 4516 | AEP | DEOK | 0.013568 | 0.003392 | 4 | 1
B:24493005NEW CARLI125515217MAPLE 1 FLO AEP_P1-2_#701 | AEP | NIPS | 0.024039 | 0.0060098 | 3 | 0.75
B:24579705W.CANTON2 23864902DALE 1 FLO ATSI-P1-2-OEC-345-803T | AEP | FE-ATSI | 0.14269 | 0.035671 | 5 | 1.25
B:24731905WOLFCK 24353305LAYMAN 1 FLO FE-P1-3-MP-765-501T | AEP | AEP | 0.14466 | 0.036165 | 4 | 1
B:24748905BOSSERMAN 25515317MICH_CITY 1 FLO AEP_P1-2_#7265_21601 | AEP | NIPS | 0.32182 | 0.080454 | 15 | 3.75
B:270073FUR RUN_230 270072FUR RUN_500 1 FLO PECO_P1-2_5012/* $ CHESCO $ 5012 $ L | AEP | AEP | 0.014552 | 0.003638 | 2 | 0.5
B:631141ROCK CK3 270864QUAD 1 3-11 1 FLO COMED_P1-2_345-L0401___-R | ALTW | COMED | 1.7958 | 0.44895 | 80 | 20
B:23513901AL&D6T 23520401KITTAN 1 FLO AP-P1-2-WP-345-311T | APS | APS | 0.11183 | 0.027957 | 27 | 6.75
B:23515201BUTLER 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 5.5105 | 1.3776 | 228 | 57
B:23520501KRENDL 23524601SHANOR 1 FLO AP-P1-2-WP-500-302T | APS | APS | 0.069387 | 0.017347 | 17 | 4.25
B:23546801FROSTB 23550401RIDGLY 1 FLO AP-P1-2-PE-500-004 | APS | APS | 0.095196 | 0.023799 | 8 | 2
B:23547901JUNCTN 23546701FRNCHM 1 FLO AP-P1-2-PE-500-001 | APS | APS | 103.8122 | 25.953 | 2358 | 589.5
B:23548301MDWBRK 23551301STRASB 1 FLO DVP_P1-2: LN 550 | APS | APS | 2.804 | 0.701 | 150 | 37.5
B:23549401OLDFRM 23548801MONOCY 1 FLO AP-P1-2-PE-230-001 | APS | APS | 0.001504 | 0.000376 | 1 | 0.25
B:23549401OLDFRM 23548801MONOCY 1 FLO ME-P1-2-ME-500-004 | APS | APS | 0.029208 | 0.0073021 | 5 | 1.25
B:23550401RIDGLY 23548401MESSCK 1 FLO AP-P1-2-PE-500-001 | APS | APS | 0.21254 | 0.053135 | 18 | 4.5
B:23550601RINGLD 23549401OLDFRM 1 FLO AP-P1-2-PE-230-001 | APS | APS | 0.11771 | 0.029427 | 17 | 4.25
B:23550601RINGLD 23549401OLDFRM 1 FLO ME-P1-2-ME-500-004 | APS | APS | 0.0028207 | 0.00070517 | 1 | 0.25
B:23731001DANSMTN 23550401RIDGLY 1 FLO AP-P1-2-PE-500-004 | APS | APS | 0.001985 | 0.00049625 | 1 | 0.25
B:23731001DANSMTN 23550401RIDGLY 1 FLO BASE CASE | APS | APS | 0.10061 | 0.025153 | 13 | 3.25
B:920580AA2-161 TAP 23527701YUKON 1 FLO AP-P1-2-WP-138-048 | APS | APS | 23.1051 | 5.7763 | 9309 | 2327.25
B:220954HOWARD32 220974PUMPHRY 1 FLO BASE CASE | BGE | BGE | 0.033608 | 0.0084021 | 5 | 1.25
B:270694CHERRY VA; B924470GARDEN PR; R1 FLO COMED_P1-2_345-L0626__B-R | COMED | COMED | 0.039174 | 0.0097934 | 1 | 0.25
B:270702CRAWFORD ; B 9876898768_STAR 1 FLO COMED_P1-2_138-L5107__B-C | COMED | COMED | 0.00026557 | 6.6392e-05 | 54 | 13.5
B:270703CRAWFORD ; R270923WEST LOOP; R1 FLO COMED_P1-2_345-L1310__B-C | COMED | COMED | 0.020924 | 0.005231 | 537 | 134.25
B:270729E FRANKFO; R270767GOODINGS ;1R1 FLO BASE CASE | COMED | COMED | 0.29277 | 0.073193 | 37 | 9.25
B:270898TAYLOR ; B270922WEST LOOP; B1 FLO COMED_P1-2_345-L1309__R-C | COMED | COMED | 0.00052634 | 0.00013158 | 47 | 11.75
B:271192CHERRY VA; B275166CHERRY VA;2M1 FLO COMED_P1-3_TR84_WEMPL_B-R | COMED | COMED | 0.026082 | 0.0065205 | 1 | 0.25
B:271218CLYBOURN ; B271326DIVERSEY ; B1 FLO BASE CASE | COMED | COMED | 0.22613 | 0.056533 | 8837 | 2209.25
B:271230CRAWFORD ; G271236CRAWFORD ;GS1 FLO BASE CASE | COMED | COMED | 0.098292 | 0.024573 | 8422 | 2105.5
B:271231CRAWFORD ; Y271237CRAWFORD ;YS1 FLO BASE CASE | COMED | COMED | 0.10106 | 0.025264 | 8551 | 2137.75
B:271246CROSBY ; B272370ROCKWELL ; B1 FLO BASE CASE | COMED | COMED | 0.017067 | 0.0042668 | 3158 | 789.5
B:271247CROSBY ; R271327DIVERSEY ; R1 FLO COMED_P1-2_138-L14818_R-C | COMED | COMED | 0.37685 | 0.094212 | 13051 | 3262.75
B:271247CROSBY ; R272371ROCKWELL ; R1 FLO BASE CASE | COMED | COMED | 0.0015547 | 0.00038868 | 584 | 146
B:271247CROSBY ; R272763WEST LOOP; Y1 FLO BASE CASE | COMED | COMED | 0.020108 | 0.0050271 | 2229 | 557.25
B:271315DES PL198;1I272113NORRIDGE ; R1 FLO BASE CASE | COMED | COMED | 0.012305 | 0.0030762 | 983 | 245.75
B:271320DES PL 46;7I271656HIGGINS ; B1 FLO BASE CASE | COMED | COMED | 0.0077926 | 0.0019482 | 659 | 164.75
B:271321DEVON ;6R272129NORTHWEST; R1 FLO COMED_P2-1_088-L8803___ | COMED | COMED | 1.5753 | 0.39382 | 11658 | 2914.5
B:271322DEVON ;9B272384ROSE HILL;BT1 FLO COMED_P2-1_088-L8810___ | COMED | COMED | 1.7771 | 0.44429 | 11752 | 2938
B:271406ELMHURST ;3I271490FRANKL PK; B1 FLO TR81_ELMHU_R-C | COMED | COMED | 0.065397 | 0.016349 | 2344 | 586
B:271490FRANKL PK; B271492FRANKL PK;5S1 FLO BASE CASE | COMED | COMED | 0.077205 | 0.019301 | 6301 | 1575.25
B:271491FRANKL PK; R271493FRANKL PK;0S1 FLO BASE CASE | COMED | COMED | 0.075399 | 0.01885 | 3867 | 966.75
B:271543GARDEN PL; 272512ESS H71 ;BT1 FLO COMED_P1-2_345-L0405___-R | COMED | COMED | 7.1322 | 1.783 | 159 | 39.75
B:271578GRENSHAW ; B272586TAYLOR ; B1 FLO BASE CASE | COMED | COMED | 0.08152 | 0.02038 | 4765 | 1191.25
B:271578GRENSHAW ; B272650UNIVERSIT; B1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.039184 | 0.0097959 | 904 | 226
B:271579GRENSHAW ; R272727WASHINGTO; R1 FLO BASE CASE | COMED | COMED | 0.15941 | 0.039852 | 15482 | 3870.5
B:271634HARBOR ; B271632HARBOR ;8S1 FLO BASE CASE | COMED | COMED | 0.036607 | 0.0091518 | 4505 | 1126.25
B:271652HEGEWISCH; B271654HEGEWISCH;BT1 FLO COMED_P1-2_345-L17705_B-S | COMED | COMED | 0.004785 | 0.0011962 | 82 | 20.5
B:271656HIGGINS ; B272092NATOMA ; B1 FLO BASE CASE | COMED | COMED | 0.075148 | 0.018787 | 2544 | 636
B:271680HAUMESSER; B272756W DEKALB ;3T1 FLO COMED_P1-2_345-L15502_B-R | COMED | COMED | 1.7597 | 0.43992 | 94 | 23.5
B:271989MCCOOK ; R272353RIDGELAND; R1 FLO COMED_P1-3_TR83_CRAWF_Y-C | COMED | COMED | 0.00011328 | 2.832e-05 | 23 | 5.75
B:272092NATOMA ; B272132NORTHWEST;2I1 FLO BASE CASE | COMED | COMED | 0.0094325 | 0.0023581 | 894 | 223.5
B:272092NATOMA ; B272184OAK PARK ; B1 FLO BASE CASE | COMED | COMED | 0.3572 | 0.0893 | 15013 | 3753.25
B:272135NORTHWEST;8S272129NORTHWEST; R1 FLO BASE CASE | COMED | COMED | 0.001677 | 0.00041925 | 131 | 32.75
B:272190OHIO ; G272762WEST LOOP; G1 FLO BASE CASE | COMED | COMED | 0.0012458 | 0.00031146 | 59 | 14.75
B:272191OHIO ; Y272763WEST LOOP; Y1 FLO BASE CASE | COMED | COMED | 0.0028242 | 0.00070604 | 192 | 48
B:272352RIDGELAND; B272354RIDGELAND;BS1 FLO BASE CASE | COMED | COMED | 4.22e-06 | 1.055e-06 | 2 | 0.5
B:272365ESS H440 ;RT272363ESS H440 ; R1 FLO COMED_P2-1_186-L16914__ | COMED | COMED | 0.11547 | 0.028867 | 5 | 1.25
B:272502STATELINE; B25517217ROXANA 1 FLO EXT_P12:345:NIPS:34520:17SHEFFIELD:17GARY_AVE:1 | COMED | NIPS | 0.019166 | 0.0047915 | 20 | 5
B:272504STATELINE;3B272506STATELINE;2S1 FLO BASE CASE | COMED | COMED | 7.877e-05 | 1.9693e-05 | 202 | 50.5
B:272504STATELINE;3B272506STATELINE;2S1 FLO COMED_P1-2_138-L0708__B-C | COMED | COMED | 0.013118 | 0.0032794 | 1097 | 274.25
B:272504STATELINE;3B272506STATELINE;2S1 FLO COMED_P1-2_138-L17008_B-C | COMED | COMED | 0.00017624 | 4.406e-05 | 27 | 6.75
B:272504STATELINE;3B272506STATELINE;2S1 FLO COMED_P2-1_170-L0708___ | COMED | COMED | 0.00082413 | 0.00020603 | 130 | 32.5
B:272607TOULON ; R272269POWERTON ; 1 FLO BASE CASE | COMED | COMED | 0.35243 | 0.088107 | 30 | 7.5
B:272650UNIVERSIT; B272726WASHINGTO; B1 FLO BASE CASE | COMED | COMED | 0.0013998 | 0.00034995 | 4620 | 1155
B:272726WASHINGTO; B272506STATELINE;2S1 FLO COMED_P2-1_170-L0708___ | COMED | COMED | 0.064879 | 0.01622 | 7384 | 1846
B:274750CRETE EC ;BP25511217STJOHN 1 FLO AEP_P1-2_#695_1681 | COMED | NIPS | 0.50795 | 0.12699 | 23 | 5.75
B:274780RIVER EC ;BU270952ESS Z725 ;BT1 FLO COMED_P2-1_007-L0703___ | COMED | COMED | 0.00016778 | 4.1945e-05 | 4 | 1
B:3040706PERSON230 T3146976SEDGE HILL 1 FLO DVP_P1-2: LN 570 | CPLE | DOM | 4.0569 | 1.0142 | 283 | 70.75
B:26461219MON12 26470719BNSTNS 1 FLO EXT_P12:345:ITCT:LN:MON12:WAYNE:1 | DECO | DECO | 2.1112 | 0.5278 | 158 | 39.5
B:25152708TP6763 25142308OAKBRK 1 FLO DEOK_P2-1_LOE BRKR OPEN AT BUFFINGTON 6782 | DEOK | DEOK | 0.14236 | 0.03559 | 2 | 0.5
B:3142826CARSON 3142856CHRL249 1 FLO DVP_P1-2: LN 2002 | DOM | DOM | 0.085842 | 0.02146 | 4 | 1
B:3145623CLUBHSE 3145636CLUBHSE 1 FLO DVP_P1-2: LN 2201 | DOM | DOM | 0.021249 | 0.0053123 | 3 | 0.75
B:3147476BREMO 3147443BREMO 1 FLO DVP_P1-2: LN 2193 | DOM | DOM | 0.52284 | 0.13071 | 98 | 24.5
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 534 | DOM | DOM | 0.0055026 | 0.0013756 | 1 | 0.25
B:3147496CHARLVL 3147726PROFFIT 1 FLO DVP_P1-2: LN 553 | DOM | DOM | 18.2103 | 4.5526 | 479 | 119.75
B:231205DARLEY 231211NAAMANS 1 FLO DPL_P1_3_EDGE MR AT20 | DPL | DPL | 0.073231 | 0.018308 | 5 | 1.25
B:232927BENNETT_230 232004MILF_230 2 FLO DPL_P1_2_CKT 23034 | DPL | DPL | 0.27364 | 0.06841 | 2 | 0.5
B:24950908DUFF 24953108FRNCSC 1 FLO EXT_P12:345:SIGE:GIBSON-BROWN:GIBSON:AB_BROWN_34 | DUK-IN | DUK-IN | 8.4573 | 2.1143 | 418 | 104.5
B:24951008GIBSON 24953108FRNCSC 1 FLO EXT_P12:345:SIGE:GIBSON-BROWN:GIBSON:AB_BROWN_34 | DUK-IN | DUK-IN | 16.0388 | 4.0097 | 771 | 192.75
B:3410202ARGENTUM 24372505GRAYSB 1 FLO AEP_P2-1_243688 05S.PORT MTR 138 342538 4ARGENTU | EKPC | AEP | 0.16693 | 0.041733 | 39 | 9.75
B:23905202PV Q4 23876302GR Q-4 1 FLO ATSI-P1-2-SYS-345-701 | FE-ATSI | FE-ATSI | 0.034589 | 0.0086472 | 2 | 0.5
B:23910702SHNAGO 23993402HEASLEY 2 FLO ATSI-P1-2-OEE-138-006-A | FE-ATSI | FE-ATSI | 0.037911 | 0.0094777 | 2 | 0.5
B:24190102LALLENDORF26461219MON12 1 FLO ATSI-P1-2-TE-345-605T | FE-ATSI | DECO | 0.5326 | 0.13315 | 86 | 21.5
B:20453827STRABAN 20454427LINCOLN 1 FLO AP-P1-2-PE-230-020T | METED | METED | 0.11833 | 0.029583 | 16 | 4
B:20469327BOONETOWN 20451227S.RDG 1 FLO PL:04:P13:101211 | METED | METED | 0.21092 | 0.052729 | 15 | 3.75
B:25510417GREEN_ACRE270771GREENACRE; T1 FLO AEP_P1-2_#695_1681 | NIPS | COMED | 0.10195 | 0.025487 | 3 | 0.75
B:25511317STILLWELL 25518017STILLWELL 1 FLO AEP_P1-2_#701 | NIPS | NIPS | 0.1237 | 0.030925 | 36 | 9
B:25512417CHICAGO_AV25516917PRAXAIR-3 1 FLO AEP_P1-2_#695_1681 | NIPS | NIPS | 0.0047089 | 0.0011772 | 6 | 1.5
B:25515017LNG 25515217MAPLE 1 FLO EXT_P21:345:NIPS:34514:17BABCOCK:17STILLWELL:1 | NIPS | NIPS | 0.00022048 | 5.512e-05 | 1 | 0.25
B:130836N.WAV115 20067626E.SAYRE 1 FLO PN-P1-2-PN-230-101T | NYZC | PENELEC | 12.4842 | 3.121 | 10266 | 2566.5
B:130836N.WAV115 20067626E.SAYRE 1 FLO PN-P1-2-PN-230-102AT | NYZC | PENELEC | 0.2882 | 0.07205 | 287 | 71.75
B:24800906CLIFTY 3242274CARROLLTON 1 FLO EXT_249532 08TRIMBL 345 324105 7GHENT 345 1 | OVEC | LKE | 0.61247 | 0.15312 | 21 | 5.25
B:213819N PHILA8 213783MASTER 1 FLO PECO_P1-2_220-18/* $ MONTCO $ PECO_P1-2_220-18 $ | PECO | PECO | 0.24269 | 0.060672 | 17 | 4.25
B:213906PLYMTG 1 214035WHITPAN1 1 FLO PECO_P1-2_220-61/* $ MONTCO $ PECO_P1-2_220-61 $ | PECO | PECO | 34.4477 | 8.6119 | 654 | 163.5
B:20052226SHADE GP 938380AE1-071-POI 1 FLO AP-P1-2-PE-230-020T | PENELEC | PENELEC | 0.0075597 | 0.0018899 | 4 | 1
B:20052226SHADE GP 938380AE1-071-POI 1 FLO BASE CASE | PENELEC | PENELEC | 0.097367 | 0.024342 | 27 | 6.75
B:20052226SHADE GP 938380AE1-071-POI 1 FLO ME-P1-2-ME-500-007 | PENELEC | PENELEC | 0.045025 | 0.011256 | 8 | 2
B:20052226SHADE GP 938380AE1-071-POI 1 FLO PN-P1-2-PN-230-103AT | PENELEC | PENELEC | 0.002126 | 0.0005315 | 1 | 0.25
B:20067426TOWANDA 20067726NO MESHO 1 FLO PN-P1-2-PN-230-013A | PENELEC | PENELEC | 0.0009536 | 0.0002384 | 2 | 0.5
B:20067526E.TWANDA 20092426CANYON 1 FLO PL:03:P12:001029 | PENELEC | PENELEC | 0.0085046 | 0.0021262 | 13 | 3.25
B:223938DICKH230 223937DICK 230 2 FLO PEPCO_P1_PP1 | PEPCO | PEPCO | 9.7399 | 2.435 | 888 | 222
B:223998PALM093 224008ALA 089 1 FLO PEPCO_P1_PP68 | PEPCO | PEPCO | 0.00014189 | 3.5472e-05 | 1 | 0.25
B:224014BUZZ 138 224092SW 138 2 FLO PEPCO_P1_PP78 | PEPCO | PEPCO | 0.21745 | 0.054361 | 4186 | 1046.5
B:224021BENN 230 224023BENN 69E 1 FLO BASE CASE | PEPCO | PEPCO | 0.025419 | 0.0063548 | 835 | 208.75
B:224059NEW HARRISON224079BETH T7 1 FLO PEPCO_P1_PP21 | PEPCO | PEPCO | 0.047072 | 0.011768 | 531 | 132.75
B:224086O ST 138 224088O ST T6 1 FLO BASE CASE | PEPCO | PEPCO | 0.066881 | 0.01672 | 7197 | 1799.25
B:200008HOSENSACK 200007ELROY 1 FLO E:501 ALBURTIS 500-BRANCHBG 500 (PLGRP-PSEG) [1] | PLGRP | PECO | 0.53367 | 0.13342 | 10 | 2.5
B:200009JUNIATA 208004JUNI BU1 1 FLO ME-P1-2-ME-500-001 | PLGRP | PLGRP | 0.0036121 | 0.00090303 | 1 | 0.25
B:200009JUNIATA 208004JUNI BU1 1 FLO PL:10:P13:100596 | PLGRP | PLGRP | 0.014386 | 0.0035965 | 4 | 1
B:200023WESCOSVILLE 211321WESC 3 FLO PL:20:P12:000092 | PLGRP | PLGRP | 2.5909 | 0.64772 | 50 | 12.5
B:207923BRISREAC 208132WHEM TR1 1 FLO BASE CASE | PLGRP | PLGRP | 0.17994 | 0.044984 | 20 | 5
B:207930BUSH 20624228KITATINY 1 FLO ME-P1-2-ME-230-212T | PLGRP | JCPL | 0.028207 | 0.0070516 | 6 | 1.5
B:207950CUMB TR2 208004JUNI BU1 1 FLO ME-P1-2-ME-500-001 | PLGRP | PLGRP | 41.588 | 10.397 | 920 | 230
B:207964ELDR 207975FRAC TR3 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0.62554 | 0.15638 | 20 | 5
B:207977HARW 208113SUSQ 1 FLO PL:48:P12:102309 | PLGRP | PLGRP | 53.6729 | 13.4182 | 2857 | 714.25
B:208069PPL-BGE TIE 220964GRACETON 1 FLO PL:05:P12:000260 | PLGRP | BGE | 0.0076192 | 0.0019048 | 1 | 0.25
B:208109SUNB 207964ELDR 1 FLO PL:08:P12:000218 | PLGRP | PLGRP | 0.36933 | 0.092332 | 17 | 4.25
B:208393FAROFIFO TI1208395FARO FF 1 FLO BASE CASE | PLGRP | PLGRP | 0.067298 | 0.016824 | 6 | 1.5
B:208396FARO 208395FARO FF 1 FLO PL_P21_000390 | PLGRP | PLGRP | 1.4259 | 0.35648 | 74 | 18.5
B:208921SAHA 693 208551MANO 1 FLO PL:04:P12:000256 | PLGRP | PLGRP | 0.0055135 | 0.0013784 | 1 | 0.25
B:216914WORANGE 217766ORNGHGHTS2301 FLO BASE CASE | PSEG | PSEG | 0.073876 | 0.018469 | 2021 | 505.25
B:216915CDRGV 216950ROSELAND 1 FLO PS_P1-2_S-2297 | PSEG | PSEG | 0.010911 | 0.0027278 | 131 | 32.75
B:217079ESSEX 217061KEARNY 1 FLO PS_P1-2_R-2296 | PSEG | PSEG | 0.010708 | 0.0026769 | 478 | 119.5
B:217101STANTER_3 217170MCCARTER 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.06679 | 0.016697 | 4615 | 1153.75
B:217921SADDLEBRK_1 217011MAYWOOD_1 1 FLO PS_P1-2_P-2294 | PSEG | PSEG | 0.0015017 | 0.00037544 | 4 | 1
B:218301MIDDLESEX_I 218333LNELSN_I 1 FLO JC-P1-2-JCC-230-009 | PSEG | PSEG | 0.0019536 | 0.00048841 | 2 | 0.5
B:218307ALDENE_2 218430STANTER_1 1 FLO PS_P1-2_A-2306 | PSEG | PSEG | 0.0043426 | 0.0010857 | 321 | 80.25
B:3600435PARADISE FP3406245BRTAP 1 FLO EXT_B-500-96 | TVAZ | BREC | 1.91 | 0.47749 | 291 | 72.75
Total |  |  | 426.9821 | 106.7455 | 194899 | 48724.75